## BoQ1
eProcurement System Government of India Created By: PURAN MAL Created Date/Time: 03-Oct-2026 03:19 PM Tender Title: Annual contract for condition monitoring and maintenance of substation and plant electrical equipment in RTC shift at HWBF-Vadodara for the year 2026-2027 Tender ID: 2026_HWB_926008_1
Tender Inviting Authority: Officer On Special Duty, Heavy Water Board Facilities, Vadodara
Name of Work: Annual contract for condition monitoring and maintenance of substation and plant electrical equipment in RTC shift at HWBF-Vadodara for the year 2026-2027
Contract No: HWBFV/E-2279/2026-27/RTC shift
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | VINAY ELECTRICALS (GSTN-NA) BID ID -3482830 |  | RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED (GSTN-NA) BID ID -3482247
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Preventive Maintenance of LT motors & its feeders/breakers of 415V, 3-phase induction motors of power rating up to 7.5KW. Job involves for preventive maintenance at motor side:- checked the motor terminal condition, cleaning & tightening of terminals and terminal links take the inductance, resistance & IR values with motor checker. Ensure earthing else rectify the same with suitable size wire/strip. For 415 Volt feeder side, jobs includes :- rack out the feeders, check the power contactors, power & control Fuses, tighten all power/control connections, cleaning of the feeders & control terminals etc. Check the coil resistance of the contractor. Replacement of overheated lugs at motor/ feeder side if observed, same should be replaced with new one. The job shall be carried out as per technical specifications given in tender. | 134.00 | Nos |  | 200.00 | 26800.00 | 2500.00 | 335000.00 | 26800.00 | VINAY ELECTRICALS
2.00 | Preventive Maintenance of LT motors & its feeders/breakers of 415V, 3-phase induction motors of power rating from 9.0KW to 45KW. Job involves for preventive maintenance at motor side:- checked the motor terminal condition, cleaning & tightening of terminals and terminal links take the inductance, resistance & IR values with motor checker. Ensure earthing else rectify the same with suitable size wire/strip. For 415 Volt feeder side, jobs includes :- rack out the feeders, check the power contactors, power & control Fuses, tighten all power/control connections, cleaning of the feeders & control terminals etc. Check the coil resistance of the contractor. Replacement of overheated lugs at motor/ feeder side if observed, same should be replaced with new one. The job shall be carried out as per technical specifications given in tender. | 18.00 | Nos |  | 400.00 | 7200.00 | 10000.00 | 180000.00 | 7200.00 | VINAY ELECTRICALS
3.00 | Preventive Maintenance of LT motors & its feeders/breakers of 415V, 3-phase induction motors of power rating from 50KW to 90KW. Job involves for preventive maintenance at motor side:- checked the motor terminal condition, cleaning & tightening of terminals and terminal links take the inductance, resistance & IR values with motor checker. Ensure earthing else rectify the same with suitable size wire/strip. For 415 Volt feeder side, jobs includes :- rack out the feeders, check the power contactors, power & control Fuses, tighten all power/control connections, cleaning of the feeders & control terminals etc. Check the coil resistance of the contractor. Replacement of overheated lugs at motor/ feeder side if observed, same should be replaced with new one. The job shall be carried out as per technical specifications given in tender. | 5.00 | Nos |  | 4000.00 | 20000.00 | 12000.00 | 60000.00 | 20000.00 | VINAY ELECTRICALS
4.00 | Preventive Maintenance of LT motors & its feeders/breakers of 415V, 3-phase induction motors of power rating from 110 KW to 132KW. Job involves for preventive maintenance at motor side:- checked the motor terminal condition, cleaning & tightening of terminals and terminal links take the inductance, resistance & IR values with motor checker. Ensure earthing else rectify the same with suitable size wire/strip. For 415 Volt feeder side, jobs includes :- rack out the feeders, check the power contactors, power & control Fuses, tighten all power/control connections, cleaning of the feeders & control terminals etc. Check the coil resistance of the contractor. Replacement of overheated lugs at motor/ feeder side if observed, same should be replaced with new one. The job shall be carried out as per technical specifications given in tender. | 5.00 | Nos |  | 4000.00 | 20000.00 | 15000.00 | 75000.00 | 20000.00 | VINAY ELECTRICALS
5.00 | Monitoring and logging of parameters of 66KV switch yard equipment, transformers, battery charger, UPS, motors etc. in each shift (RTC shift) as per the log sheet and as per technical specifications given in tender. | 1095.00 | Job |  | 90.00 | 98550.00 | 80.00 | 87600.00 | 87600.00 | RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED
6.00 | Upkeeping & maintenance of individual cells of Class-I &II stationary battery bank :Job includes the cleaning & measuring the cell voltage, specific gravity of the electrolyte of the Cell. Check the tightness of the cell connections. Maintain the electrolyte level of the cell. This job shall be carried out in RTC shift and the job also includes monitoring and logging of parameters of battery charger and UPS to ensure healthiness of battery banks. In addition assisting in other maintenance job during the shift as per technical specifications given in tender. | 6000.00 | Nos |  | 50.00 | 300000.00 | 90.00 | 540000.00 | 300000.00 | VINAY ELECTRICALS
7.00 | Upkeeping & maintenance of (2X12V) battery set of diesel fire pump as per technical specifications given in tender. | 64.00 | Nos |  | 900.00 | 57600.00 | 150.00 | 9600.00 | 9600.00 | RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED
8.00 | Carrying isolations of circuit breaker/ isolator /MCB as per permit/AVI to ensure de-energisation of equipments /system for carrying out maintenenace work and subsequent normalization of circuit breaker/ isolator /MCB after completion of maintenance work and surrender of permit including connection/disconnection of cable as where required. In addition to above receiving, registering of complaints and rectification of minor faults in power circuit/ motor is also in the scope of contractor as per technical specifications given in tender. | 1600.00 | Nos |  | 250.00 | 400000.00 | 80.00 | 128000.00 | 128000.00 | RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED
9.00 | Carrying out weekly / monthly surveillance test/during class-IV failure of 310KVA DG set or 500KVA DG set as per checklist including surveillance check up of connected Battery, logging parameters and diesel topup as per technical specifications given in tender. | 104.00 | Nos |  | 1000.00 | 104000.00 | 180.00 | 18720.00 | 18720.00 | RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED
10.00 | Supply and apply of petrolium jelly on battery terminals | 5.00 | Kg |  | 500.00 | 2500.00 | 350.00 | 1750.00 | 1750.00 | RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED
11.00 | Supply and apply of IOCL/HPCL/BPCL make multi purpose grease confirming to NLGI grade 3 confirming to IS:7623. | 20.00 | Kg |  | 500.00 | 10000.00 | 400.00 | 8000.00 | 8000.00 | RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED
12.00 | Supply and apply of M-seal/Anabond 100gm pack multi purpose sealant. | 15.00 | Nos |  | 150.00 | 2250.00 | 100.00 | 1500.00 | 1500.00 | RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED
13.00 | Supply and replacement of rubberised cork sheet of size 915mmX915mm, thickness of 6mm confirming to IS: 4253. | 2.00 | Nos |  | 2500.00 | 5000.00 | 900.00 | 1800.00 | 1800.00 | RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED
14.00 | Supply and apply of bitumen flash strip roll of width: 40-60mm, length: 10 mtrs. | 15.00 | Nos |  | 500.00 | 7500.00 | 250.00 | 3750.00 | 3750.00 | RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED
15.00 | Supply and replacement of 500W halogen lamp | 20.00 | Nos |  | 150.00 | 3000.00 | 350.00 | 7000.00 | 3000.00 | VINAY ELECTRICALS
16.00 | Supply and replacement of 1000W halogen lamp | 20.00 | Nos |  | 150.00 | 3000.00 | 500.00 | 10000.00 | 3000.00 | VINAY ELECTRICALS
17.00 | Supply and fixing of neoprene rubber sheet of thickness 3mm, width: 1200mm and length: 1000mm | 1.00 | Nos |  | 6000.00 | 6000.00 | 650.00 | 650.00 | 650.00 | RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED
18.00 | Supply and replacement of contactor coil suitable for L&T make MK1 type DOL starter, coil voltage is 360V AC, operating limits: 280V-420V | 3.00 | Nos |  | 600.00 | 1800.00 | 1500.00 | 4500.00 | 1800.00 | VINAY ELECTRICALS
19.00 | Supply and replacement of NO/NC contact element block for push buttons with 240V, 3A rating as per technical specifications given in tender. | 50.00 | Nos |  | 500.00 | 25000.00 | 100.00 | 5000.00 | 5000.00 | RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED
20.00 | Supply and replacement of RED colour mushroom head emergency trip push button actuator as per technical specifications given in tender. | 10.00 | Nos |  | 1000.00 | 10000.00 | 350.00 | 3500.00 | 3500.00 | RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED
21.00 | Supply and replacement of GREEN/RED/YELLOW/BLACK colour flush head metal push button actuator of size 22.5mm as per technical specifications given in tender. | 50.00 | Nos |  | 2000.00 | 100000.00 | 250.00 | 12500.00 | 12500.00 | RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED
22.00 | Supply and replacement of BLACK colour metal selector actuator of size 22.5mm as per technical specifications given in tender. | 20.00 | Nos |  | 2500.00 | 50000.00 | 400.00 | 8000.00 | 8000.00 | RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED
23.00 | Supply of drill bits of size 1 mm to 10mm, 12mm, 14mm and 16mm suitable for drilling metals as per technical specifications given in tender. | 3.00 | Set |  | 5000.00 | 15000.00 | 2500.00 | 7500.00 | 7500.00 | RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED
24.00 | Supply and installation of 1-phase, MF type L&T or equivalent DOL starter uitable for 1-phase motor having power rating up to 1.0 HP as per technical specifications given in tender. | 2.00 | Nos |  | 5000.00 | 10000.00 | 2500.00 | 5000.00 | 5000.00 | RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED
25.00 | Supply and installation of 230V, 4-inch, 19W, 2650rpm axial cooling fans for electrical panels as per technical specifications given in tender | 6.00 | Nos |  | 2500.00 | 15000.00 | 800.00 | 4800.00 | 4800.00 | RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED
26.00 | Supply and installation of 230V, 6-inch 45/39W cooling fans for panels as per technical specifications given in tender. | 4.00 | Nos |  | 3000.00 | 12000.00 | 1100.00 | 4400.00 | 4400.00 | RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED
27.00 | Supply of hydrometer for checking specific gravity of electrolyte of lead acid battery | 3.00 | Nos |  | 250.00 | 750.00 | 500.00 | 1500.00 | 750.00 | VINAY ELECTRICALS
28.00 | Supply, testing and installation of 500W halogen light fittings as per technical specifications given in tender. | 10.00 | Nos |  | 2000.00 | 20000.00 | 1250.00 | 12500.00 | 12500.00 | RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED
29.00 | Supply, testing and installation of 1000W halogen light fittings as per technical specifications given in tender. | 30.00 | Nos |  | 3000.00 | 90000.00 | 1800.00 | 54000.00 | 54000.00 | RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED
30.00 | Supply and installation of SMPS with input voltage of 230V, 50HZ, 1-phase and output voltage of 24V DC, 10A as per technical specifications given in tender. | 2.00 | Nos |  | 27000.00 | 54000.00 | 3000.00 | 6000.00 | 6000.00 | RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED
31.00 | Supply and installation of 2.5 sq.mm spring clamp multiple terminal block with four connection points suitable for DIN rail mounting as per technical specifications given in tender. | 800.00 | Nos |  | 20.00 | 16000.00 | 35.00 | 28000.00 | 16000.00 | VINAY ELECTRICALS
32.00 | Supply and installation of end plate suitable for terminal blocks mentioned under sl. No. 31 | 60.00 | Nos |  | 15.00 | 900.00 | 15.00 | 900.00 | 900.00 | RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED, VINAY ELECTRICALS
33.00 | Supply of electrical rubber hand gloves with proof test voltage of 25000V and working voltage of 17000V confirming to IS: 4770 as per specifications given in tender. | 3.00 | pair |  | 1500.00 | 4500.00 | 1500.00 | 4500.00 | 4500.00 | RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED, VINAY ELECTRICALS
34.00 | Supply and installation of SMPS with input voltage of 230V, 50HZ, 1-phase and output voltage of ±15V DC, 10A as per technical specifications given in tender. | 2.00 | Nos |  | 3000.00 | 6000.00 | 2500.00 | 5000.00 | 5000.00 | RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED
35.00 | Supply and replacement of BUSSMANN/EATON/SIEMENS make 63A semi-conductor fuses equivalent to 63ET model of BUSSMANN as per specifications given in tender. | 10.00 | Nos |  | 1000.00 | 10000.00 | 3000.00 | 30000.00 | 10000.00 | VINAY ELECTRICALS
36.00 | Supply and replacement of BUSSMANN/EATON/SIEMENS make 160A semi-conductor fuses equivalent to 160EET model of BUSSMANN as per specifications given in tender. | 20.00 | Nos |  | 1800.00 | 36000.00 | 6000.00 | 120000.00 | 36000.00 | VINAY ELECTRICALS
37.00 | Supply and replacement of BUSSMANN/EATON/SIEMENS make 100A semi-conductor fuses equivalent to 170M1417/170M1367 model of BUSSMANN as per specifications given in tender. | 25.00 | Nos |  | 2500.00 | 62500.00 | 5000.00 | 125000.00 | 62500.00 | VINAY ELECTRICALS
38.00 | Supply and replacement of 2-way ceramic terminal block suitable for 16A, 240V | 150.00 | Nos |  | 50.00 | 7500.00 | 120.00 | 18000.00 | 7500.00 | VINAY ELECTRICALS
39.00 | Supply and binding of one inch width fiber glass insulation tape rolls each of length 10 meters. | 50.00 | Nos |  | 150.00 | 7500.00 | 100.00 | 5000.00 | 5000.00 | RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED
40.00 | Supply and replacement of plug & socket type terminal blocks equivalent to ELMEX make model No. PSC1/5 with voltage rating of 600V, current rating of 25A and suitable for wire size up to 4 sq.mm | 50.00 | Nos |  | 700.00 | 35000.00 | 200.00 | 10000.00 | 10000.00 | RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED
41.00 | Supply and installation of Industrial Heators/Isotherm Internationale/Heat pad make quartz insulated tape heater with ceramic beads of wattage: 100W/meter, length of 5.0 meters, made of Ni(80%)-Cr(20%) multi strand conductor suitable for operating at continuous temperature of 650 deg.C with 230V, 50HZ AC supply and maximum withstandable temperature of heater shall be 800 deg.C as per specifications given in tender. | 10.00 | Nos |  | 11000.00 | 110000.00 | 2500.00 | 25000.00 | 25000.00 | RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED
42.00 | Supply and installation of Industrial Heators/Isotherm Internationale/Heat pad make quartz insulated tape heater with ceramic beads of wattage: 100W/meter, length of 3.5 meters, made of Ni(80%)-Cr(20%) multi strand conductor suitable for operating at continuous temperature of 650 deg.C with 230V, 50HZ AC supply and maximum withstandable temperature of heater shall be 800 deg.C as per specifications given in tender. | 20.00 | Nos |  | 9000.00 | 180000.00 | 1500.00 | 30000.00 | 30000.00 | RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED
43.00 | Supply and installation of Industrial Heators/Isotherm Internationale/Heat pad make quartz insulated tape heater with ceramic beads of wattage: 100W/meter, length of 2.5 meters, made of Ni(80%)-Cr(20%) multi strand conductor suitable for operating at continuous temperature of 650 deg.C with 230V, 50HZ AC supply and maximum withstandable temperature of heater shall be 800 deg.C as per specifications given in tender. | 20.00 | Nos |  | 7000.00 | 140000.00 | 1200.00 | 24000.00 | 24000.00 | RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED
44.00 | Supply and installation of Industrial Heators/Isotherm Internationale/Heat pad make quartz insulated tape heater with ceramic beads of wattage: 200W/meter, length of 5.0 meters, made of Ni(80%)-Cr(20%) multi strand conductor suitable for operating at continuous temperature of 650 deg.C with 230V, 50HZ AC supply and maximum withstandable temperature of heater shall be 800 deg.C as per specifications given in tender. | 35.00 | Nos |  | 11500.00 | 402500.00 | 1800.00 | 63000.00 | 63000.00 | RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED
45.00 | Supply and replacement of SCR gate drive card for three phase voltage controller equivalent to YUDIAN make and model AIJK6 as per technical specifications given in tender. | 3.00 | Nos |  | 4000.00 | 12000.00 | 15000.00 | 45000.00 | 12000.00 | VINAY ELECTRICALS
46.00 | Supply and installation of SIEMENS/LK/ABB/SCHNEIDER make 440V, 63A TPN switch disconnector fuse unit along with HRC fuse of 63A, 80KA breaking capacity as per specifications given in tender. | 3.00 | Nos |  | 1100.00 | 3300.00 | 12000.00 | 36000.00 | 3300.00 | VINAY ELECTRICALS
47.00 | Supply and installation of SIEMENS/LK/ABB/SCHNEIDER make 440V, 125A TPN switch disconnector fuse unit along with HRC fuse of 125A, 80KA breaking capacity as per specifications given in tender. | 3.00 | Nos |  | 25000.00 | 75000.00 | 18000.00 | 54000.00 | 54000.00 | RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED
48.00 | Supply and installation of SIEMENS/LK/ABB/SCHNEIDER make 440V, 250A TPN switch disconnector fuse unit along with HRC fuse of 250A, 80KA breaking capacity as per specifications given in tender. | 3.00 | Nos |  | 40000.00 | 120000.00 | 22000.00 | 66000.00 | 66000.00 | RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED
49.00 | Supply and installation of SIEMENS/LK/ABB/SCHNEIDER make 440V, 400A TPN switch disconnector fuse unit along with HRC fuse of 400A, 80KA breaking capacity as per specifications given in tender. | 3.00 | Nos |  | 60000.00 | 180000.00 | 30000.00 | 90000.00 | 90000.00 | RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED
| Total in Figures |  |  |  |  | 2885650.00 |  | 2376970.00
Lowest Amount Quoted BY: RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED(2376970.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual contract for condition monitoring and maintenance of substation and plant electrical equipment in RTC shift at HWBF-Vadodara for the year 2026-2027 Tender ID: 2026_HWB_926008_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED (BID ID -3482247) | 2376970.00 | L1
| 2 | VINAY ELECTRICALS (BID ID -3482830) | 2885650.00 | L2