## BoQ1
eProcurement System Government of India Created By: PURAN MAL Created Date/Time: 21-Oct-2026 02:19 PM Tender Title: Civil Maintenance work of E-Type Quarters at housing colony of HWBF Vadodara. Tender ID: 2026_HWB_928220_1
Tender Inviting Authority: Officer On Special Duty, Heavy Water Board Facilities, Vadodara
Name of Work : Civil Maintenance work of E-Type Quarters at housing colony of HWBF Vadodara.
Contact No: 0265 2309315 0265 2309270
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | GUPTA & CO (GSTN-24AGBPG5862H1ZK) BID ID -3491338 |  | Ashtapad Infrastructure (GSTN-NA) BID ID -3491160 |  | S T RATHOD (GSTN-NA) BID ID -3490311
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Removal of doors, windows and clerestory windows (steel or wood) shutter of area of opening 3 sq. metres and below including grills, chowkhats, architrave, holdfasts etc. complete and stacking the material and as directed up to 50 M lead. | 57.00 | Each | 100.00 | 350.00 | 19950.00 | 250.00 | 14250.00 | 600.00 | 34200.00 | 14250.00 | Ashtapad Infrastructure
2.00 | Dismantling of old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish outside the colony premises. | 120.00 | Sqm. | 100.00 | 170.00 | 20400.00 | 100.00 | 12000.00 | 180.00 | 21600.00 | 12000.00 | Ashtapad Infrastructure
3.00 | Demolishing of RCC by mechanical/hand means and stock piling at designated locations, chipping, etc. and disposing off all the debris outside the plant premises, stacking serviceable and disposing unserviceable material including cutting & stacking reinforcement etc. complete as directed. | 8.00 | Cum. | 10.00 | 1700.00 | 13600.00 | 1200.00 | 9600.00 | 2100.00 | 16800.00 | 9600.00 | Ashtapad Infrastructure
4.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut granite for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. | 80.00 | Sq.M | 10.00 | 3005.00 | 240400.00 | 2800.00 | 224000.00 | 4600.00 | 368000.00 | 224000.00 | Ashtapad Infrastructure
5.00 | Providing and fixing aluminium work for doors, window, Ventilators of fixed or sliding type both for glazing and wiremesh shutter with extruded built up standard tubular section/appropriate Z Section and other section of approved make confarming to IS-733 and IS-1285, fixed with rawl plugs and screw or with fixing clips or with expansion hold fasteners including filling of gaps at junctions at top, bottom and sides with weather silicon sealent, powder coated Aluminium sections (minium thickness of powder coating 50 Micron) of required shade of including cost of a cleat angle on, S. S. Screws , aluminium snap beading and fitting of all types like tower bolt locking arrangement, handles, Window Concealed Lock, stoppers, etc., complete and as directed by the Engineer. | 767.70 | Kg | 10.00 | 800.00 | 614160.00 | 650.00 | 499005.00 | 900.00 | 690930.00 | 499005.00 | Ashtapad Infrastructure
6.00 | Providing and fixing 5 mm thickness ( Wt. not less than 12.50 Kg/Sqm. ) of clear float/frosted/Bajara sheet glass/laminated particle board to M/s. Triveni/Shree Vallabh/IAG/Modi guard/ Saint Gobin or other approved equivalent manufactuer and fixing with Aluminium frame work (door/window) including fixing beading and providing and fixing 2 way EDPM gasketing to ensure water and air tightness and neoprene cushions/gasket accommadated in grooves, necessary bronze anodised screws, etc, all complete generally as per drawings specifications and as directed by Engineer-in-Charge | 80.00 | Sq.m | 10.00 | 800.00 | 64000.00 | 750.00 | 60000.00 | 950.00 | 76000.00 | 60000.00 | Ashtapad Infrastructure
7.00 | Providing and laying 15mm thick plaster in cement mortar 1:4 (1 cement : 4 fine sand) finished with a floating coat of neat cement inside surface proportion over brick masonry walls upto 15 mtr. height and concrete surfaces including raking of joints, hacking of concrete surfaces, curing, scaffolding, providing grooves etc. all complete as per drawings,specifications and as directed by the Engineer. | 120.00 | Sq.M. | 10.00 | 710.00 | 85200.00 | 350.00 | 42000.00 | 470.00 | 56400.00 | 42000.00 | Ashtapad Infrastructure
8.00 | Providing & fixing fly proof wire gauze to Aluminium window shutter sections, clerestory windows & doors sections etc including all tools, tackles etc all complete as directed by EIC. | 40.00 | Sqm. | 10.00 | 710.00 | 28400.00 | 750.00 | 30000.00 | 390.00 | 15600.00 | 15600.00 | S T RATHOD
9.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. | 430.00 | Sqm. |  | 80.00 | 34400.00 | 120.00 | 51600.00 | 140.00 | 60200.00 | 34400.00 | GUPTA & CO
10.00 | Providing and laying vitrifed floor / dado tiles of Johnson/Somani/Kajaria or equivalent make in size of tile 500 X 500 approx. (Thickness to be specified by the manufacturer ) water absorption less than 0.08 % and confirming to IS: 15622 of approved make,in all colours and shades, laid on 20 mm thick cement mortor 1:4 ( 1 cement : 4 coarse sand) jointing with grey cement slurry @ 3.3 Kg./Sqm. including skirting grouting the joints with white cement and matching pigments etc. complete and as directed by the Engineer. | 430.00 | Sqm. | 10.00 | 1772.00 | 761960.00 | 1350.00 | 580500.00 | 1450.00 | 623500.00 | 580500.00 | Ashtapad Infrastructure
11.00 | Providing and fixing M.S. grills fixed to openings /wooden frames with rawl plugs screws etc. of required pattern with M.S. ﬂats, square or round bars etc. including priming coat with approved steel primer all complete. including all tools, tackles etc all complete as directed by EIC. | 860.00 | Kg | 10.00 | 125.00 | 107500.00 | 150.00 | 129000.00 | 120.00 | 103200.00 | 103200.00 | S T RATHOD
12.00 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including removal of all existing layers of whitewash/distemper over cemented surface including necessary scaffolding etc and necessary repairs to scratches etc. complete as per specifications & as directed by the EIC. | 730.00 | Sqm | 10.00 | 35.00 | 25550.00 | 20.00 | 14600.00 | 50.00 | 36500.00 | 14600.00 | Ashtapad Infrastructure
13.00 | Providng and applying white cement based putty of average thickness 1 mm, JK or equivalent of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth inclduing necessary scaffolding etc. complete as per directed by E.I.C. | 730.00 | Sqm | 10.00 | 35.00 | 25550.00 | 60.00 | 43800.00 | 95.00 | 69350.00 | 25550.00 | GUPTA & CO
14.00 | Providing and applying one or more coat of water/oil or any suitable primer Cement base primer/Oil base primer on old surfaces for making suitable for applying next finishing coat of any type including surface preparation & filling of cracks, etc. complete and as directed by the Engineer. | 730.00 | Sqm | 10.00 | 35.00 | 25550.00 | 80.00 | 58400.00 | 70.00 | 51100.00 | 25550.00 | GUPTA & CO
15.00 | Providing and applying one or more coats on old or new surfaces of Ist quality synthetic enamel paint of approved make and shade to speed breakers, Kerb stones, wall, doors, windows, etc. including cleaning of all loose scales, filling the uneven surfaces with putty, etc. complete as directed. | 300.00 | Sqm |  | 98.00 | 29400.00 | 120.00 | 36000.00 | 105.00 | 31500.00 | 29400.00 | GUPTA & CO
16.00 | Providing and applying one or more coats of premium acrylic emulsion of approved brand and manufacturer and of required shade having high washability and longer duration on walls, columns, ceiling, etc. (on new or old work) to give an even shade including removing loose scales, fungus, water marks, etc. filling of nail holes and depression with putty of J.K. or equivalent make wall putty repairs and preparing surfaces upto the height of 15 mtrs. including scaffolding, cleaning the splashes on doors, floors, etc. complete as per specifications and as directed by the Engineer. | 1460.00 | Sqm |  | 98.00 | 143080.00 | 150.00 | 219000.00 | 145.00 | 211700.00 | 143080.00 | GUPTA & CO
17.00 | Providing and applying two or more coats of exterior emulsion of Premium Acrylic smooth exterior paint with silicon addetive of APEX of ASIAN or equivalent make of approved brand and manufacturer and of required shade applied @ 1.43 lit/10 Sqm.over and including priming coat of exterior primer applied @ 2.2 kg/10 Sqm to give an even shade; including cost of scaffoldings, etc. at all heights as per specifications and as directed by the Engineer.(In any case it will not be permitted to carry out the job without proper metallic scaffolding and platform at height more than 3.0 m) | 1920.00 | Sqm |  | 98.00 | 188160.00 | 135.00 | 259200.00 | 140.00 | 268800.00 | 188160.00 | GUPTA & CO
18.00 | Providing and fixing 35 mm thick ISI marked flush door shutters conforming to IS :2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters including ISI marked Stainless Steel butt hinges with necessary screws including cost of S.S.tower bolt,150mm long S.S. aldrop, S.S.internal latch, door stopper, 35mm wide 2nd class teak batten lipping etc. complete as directed by Engineer in charge. | 40.00 | Sq.M. |  | 2600.00 | 104000.00 | 4500.00 | 180000.00 | 3800.00 | 152000.00 | 104000.00 | GUPTA & CO
19.00 | Providing, fabricating, transporting and erecting M.S. black pipe hand railing (medium grade) around structural steel platform and on both sides of the stairs conforming to IS-1239 consisting of top rail 40 mm dia nominal bore and middle horizontal pipe of 32mm dia nominal bore with approvximately one meter height upright member of 32mm dia nominal bore at 1000mm distance c/c including all joints, bends, toe guard base plates including providing and fixing 100 x 6mm flat toe guard and painting with Epoxy paint (two or more coats) of approved make and shade over a coat of suitable primer all inclusive, upro a height of 15 m etc. complete and as directed by the Engineer. | 40.00 | Rm |  | 1700.00 | 68000.00 | 500.00 | 20000.00 | 2200.00 | 88000.00 | 20000.00 | Ashtapad Infrastructure
| Total in Figures |  |  |  |  | 2599260.00 |  | 2482955.00 |  | 2975380.00
Lowest Amount Quoted BY: Ashtapad Infrastructure(2482955.00)

## BOQ Summary
BOQ Summary Details Tender Title: Civil Maintenance work of E-Type Quarters at housing colony of HWBF Vadodara. Tender ID: 2026_HWB_928220_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Ashtapad Infrastructure (BID ID -3491160) | 2482955.00 | L1
| 2 | GUPTA & CO (BID ID -3491338) | 2599260.00 | L2
| 3 | S T RATHOD (BID ID -3490311) | 2975380.00 | L3