## BoQ1
eProcurement System Government of India Created By: SRUTHI R BALU Created Date/Time: 29-Sep-2026 03:49 PM Tender Title: Supply, Installation and Commissioning of Automatic Servo Controlled Uniaxial Compression Apparatus for Intact Rock-500 KN Tender ID: 2026_IISRT_925492_1
Tender Inviting Authority: Assistant Registrar, Purchase & Stores, IISER Thiruvananthapuram, Maruthamala, Vithura, Thiruvananthapuram, Kerala 695551.
Name of Work: Supply, Installation and commissioning of Automatic Servo - Controlled Uniaxial Compression Apparatus for Intact Rock-500 KN
Contract No: IISER/PUR/0744/SG/SEESS/26-27
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Hydraulic and Engineering Instrument (GSTN-07AAAFH3487Q1ZT) BID ID -3480549
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Item Description: Supply, Installation and commissioning of Automatic Servo - Controlled Uniaxial Compression Apparatus for Intact Rock-500 KN
1.01 | Item 1: Supply, Installation and commissioning of Automatic Servo - Controlled Uniaxial Compression Apparatus for Intact Rock-500 KN (refer Annexure 7 Technical Specifications) | 1.00 | Nos | 0.00 | 461864.00 | 461864.00 | 461864.00 | Hydraulic and Engineering Instrument
1.02 | Optional Item 1: Instrumentation: adjustable compressometer/extensometer for NX core, with two opposed axial and two opposed lateral displacement transducers recorded independently; each sensor range at least 10 mm and resolution 0.001 mm or finer. (refer Annexure 7 Technical Specifications point no 09 Optional item) | 1.00 | Nos | 0.00 | 310000.00 | 310000.00 | 310000.00 | Hydraulic and Engineering Instrument
1.03 | Optional Item 2: Calibration: individual traceable sensor calibration; system classification or uncertainty declared with reference to ISO 9513:2012/Cor 1:2013 or ASTM E83-25, as applicable. ((refer Annexure 7 Technical Specifications point no 09 Optional item)) | 1.00 | Nos | 0.00 | 28135.00 | 28135.00 | 28135.00 | Hydraulic and Engineering Instrument
| Total in Figures |  |  |  |  | 799999.00
Lowest Amount Quoted BY: Hydraulic and Engineering Instrument(799999.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply, Installation and Commissioning of Automatic Servo Controlled Uniaxial Compression Apparatus for Intact Rock-500 KN Tender ID: 2026_IISRT_925492_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Hydraulic and Engineering Instrument (BID ID -3480549) | 799999.00 | L1