## BoQ1
eProcurement System Government of India Created By: Siddharth Jamwal Created Date/Time: 22-Oct-2026 10:35 AM Tender Title: Comprehensive maintenance of Infrastructure for Campus School (Phase-II) at North Campus of IIT Mandi Tender ID: 2026_IITMD_927577_1
Tender Inviting Authority: Superintending Engineer, IIT Mandi, Kamand Campus, Distt. Mandi (H.P.) Pin 175075
Name of Work: “Comprehensive maintenance of Infrastructure for Campus School (Phase-II) at North Campus of IIT Mandi." Note:- 1. Quoted rate should be inclusive of all applicable taxes including GST (nothing extra shall be payable). 2. All Statutory deduction will be made as per prevailing rates.
Contract No: 01905-267020
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Mansih Kapoor (GSTN-02AGAPK3638G1ZV) BID ID -3491103 |  | Kartike Guleria (GSTN-NA) BID ID -3489662 |  | M/S Reetika Associates & Construction (GSTN-NA) BID ID -3492231 |  | HEM RAJ (GSTN-NA) BID ID -3491514
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Civil items: Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within all lead as per direction of Engineer-in-charge. a) In cement mortar | 26.00 | Cum |  | 1000.00 | 26000.00 | 1600.00 | 41600.00 | 2000.00 | 52000.00 | 1650.00 | 42900.00 | 26000.00 | Mansih Kapoor
2.00 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within all lead. | 413.00 | Sqm |  | 50.00 | 20650.00 | 52.00 | 21476.00 | 50.00 | 20650.00 | 50.00 | 20650.00 | 20650.00 | Mansih Kapoor, HEM RAJ, M/S Reetika Associates & Construction
3.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III)derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 1.00 | Cum |  | 7000.00 | 7000.00 | 11000.00 | 11000.00 | 11000.00 | 11000.00 | 11500.00 | 11500.00 | 7000.00 | Mansih Kapoor
4.00 | Centering and shuttering including strutting, propping etc. and removal of form for : a) Shelves (Cast in situ) | 3.00 | Sqm |  | 200.00 | 600.00 | 850.00 | 2550.00 | 900.00 | 2700.00 | 920.00 | 2760.00 | 600.00 | Mansih Kapoor
5.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. a) Thermo-Mechanically Treated bars of grade Fe-500D or more | 22.00 | Kg |  | 95.00 | 2090.00 | 105.00 | 2310.00 | 100.00 | 2200.00 | 98.00 | 2156.00 | 2090.00 | Mansih Kapoor
6.00 | Brick work with common burnt clay F.P.S. (non-modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : a) Cement mortar 1:4 (1 cement: 4 coarse sand) | 3.00 | Cum |  | 8000.00 | 24000.00 | 9300.00 | 27900.00 | 8700.00 | 26100.00 | 9300.00 | 27900.00 | 24000.00 | Mansih Kapoor
7.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, pre-moulded and pre-polished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. a) Granite stone slab colour black, Cherry/Ruby red i) Area of slab upto 0.50 sqm | 2.00 | Sqm |  | 5000.00 | 10000.00 | 5400.00 | 10800.00 | 5000.00 | 10000.00 | 5400.00 | 10800.00 | 10000.00 | Mansih Kapoor, M/S Reetika Associates & Construction
8.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 3.00 | Sqm |  | 1200.00 | 3600.00 | 1450.00 | 4350.00 | 1250.00 | 3750.00 | 1250.00 | 3750.00 | 3600.00 | Mansih Kapoor
9.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. a) 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws. | 6.00 | Sqm |  | 7000.00 | 42000.00 | 3400.00 | 20400.00 | 3300.00 | 19800.00 | 3450.00 | 20700.00 | 19800.00 | M/S Reetika Associates & Construction
10.00 | Extra for Providing and fixing flush doors with decorative veneering instead of non-decorative ISI marked flush door shutters conforming to IS: 2202 (Part I) a) On one side only | 393.00 | Sqm |  | 550.00 | 216150.00 | 450.00 | 176850.00 | 450.00 | 176850.00 | 350.00 | 137550.00 | 137550.00 | HEM RAJ
11.00 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete (Copper oxidised as per IS 1378) a) 250x16 mm | 10.00 | Nos. |  | 250.00 | 2500.00 | 192.00 | 1920.00 | 180.00 | 1800.00 | 190.00 | 1900.00 | 1800.00 | M/S Reetika Associates & Construction
12.00 | Providing and fixing bright finished brass tower bolts (barrel type) with necessary screws etc. complete : a) 250x10 mm | 6.00 | Nos. |  | 150.00 | 900.00 | 450.00 | 2700.00 | 420.00 | 2520.00 | 440.00 | 2640.00 | 900.00 | Mansih Kapoor
13.00 | Providing and fixing bright finished brass handles with screws etc. complete: a) 125 mm | 6.00 | Nos. |  | 110.00 | 660.00 | 260.00 | 1560.00 | 250.00 | 1500.00 | 250.00 | 1500.00 | 660.00 | Mansih Kapoor
14.00 | Providing and fixing bright finished 100 mm mortice lock with 6 levers without pair of handles of approved quality for aluminium door, with necessary screws etc complete as per direction of Engineer-in-Charge. | 3.00 | Nos. |  | 3400.00 | 10200.00 | 840.00 | 2520.00 | 800.00 | 2400.00 | 850.00 | 2550.00 | 2400.00 | M/S Reetika Associates & Construction
15.00 | Providing and fixing fire resistant door frame of section 143 x 57 mm having built in rebate made out of 16 SWG G.I. sheet (zinc coating not less than 120gm/sqm) duly filled with vermiculite based concrete mix, suitable for mounting 60 minutes fire rated door shutters. The frame is fitted with intumuscent fire seal strip of size 10x4 mm (minimum) all round the frame and fixing with dash fastener of approved size and make, including applying a coat of approved brand fire resistant primer etc. complete as per direction of Engineer-in-charge(Dash fastener to be paid for separately). | 28.00 | Metre |  | 1480.00 | 41440.00 | 1710.00 | 47880.00 | 1700.00 | 47600.00 | 1700.00 | 47600.00 | 41440.00 | Mansih Kapoor
16.00 | Providing and fixing 50 mm thick glazed fire resistant door shutters of 60 minutes fire rating conforming to IS:3614 (Part-II) tested and certified as per laboratory approved by Engineer-in-charge with suitable mounting on doorframe, consisting of vertical styles, lock rail, top rail 100mm wide, bottom rail 200mm wide, made out of 16 SWG G.I. sheet (zinc coating not less than 120 gm/sqm) duly filled FR insulation material and fixing with necessary stainless steel ball bearing hinges of approved make, including applying a coat of approved fire resistant primer etc. all complete as per direction of Engineer-in- charge (panelling to be paid for separately). | 12.00 | Sqm |  | 10000.00 | 120000.00 | 7400.00 | 88800.00 | 7200.00 | 86400.00 | 7500.00 | 90000.00 | 86400.00 | M/S Reetika Associates & Construction
17.00 | Providing and fixing glazing in fire resistant door shutters, fixed panels & partitions etc., with G.I. beading made out 1.6 mm thick G.I. sheet (zinc coating not less than 120 gm/sqm) of size 20 x 33 mm screwed with M4 x 38 mm SS screws at distance of 75 mm from the edges and 150 mm c/c, including applying a coat of approved fire resistant primer/ powder coating of not less than 30 micron on G.I. beading & special ceramic tape of 5 x 20 mm size etc. complete in all respect as per NBC 2016, IS 16231 (Part 3) :2016 and as per direction of Engineer-in-charge with glass of required thickness having 60 minutes of fire resistance both integrity & radiation control (EW60) and minimum 20 min of insulation (EI20). The manufacturer has to give test report / certification of fire glass and the glass should have the stamp showing the value of E, EW & EI. The glass shall be tested in approved NABL accredited lab or any other accreditation body which operates in accordance with ISO/ IEC 17011 and accredits labs as per ISO/ IEC 17025 for testing and calibration scopes shall be eligible. The maximum glazing size shall not be more than 1100 x 2200 mm (w x h) or 2.42 sqm | 3.00 | Sqm |  | 39900.00 | 119700.00 | 40310.00 | 120930.00 | 40000.00 | 120000.00 | 39000.00 | 117000.00 | 117000.00 | HEM RAJ
18.00 | Providing and fixing panic bar / latch (Double point) fitted with a single body, Trim Latch & Lock on back side of the Panic Latch of reputed brand and manufacture to be approved by the Engineer- in- charge, all complete. | 5.00 | Nos. |  | 12000.00 | 60000.00 | 8300.00 | 41500.00 | 8000.00 | 40000.00 | 8300.00 | 41500.00 | 40000.00 | M/S Reetika Associates & Construction
19.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / panelling, C.P. brass/ stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, panelling and dash fasteners to be paid for separately) : a) For fixed portion i) Powder coated aluminium (minimum thickness of powder coating 50 micron). | 10.00 | Kg |  | 500.00 | 5000.00 | 535.00 | 5350.00 | 525.00 | 5250.00 | 520.00 | 5200.00 | 5000.00 | Mansih Kapoor
20.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / panelling, C.P. brass/ stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, panelling and dash fasteners to be paid for separately) : a) For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately). i) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 244.00 | Kg |  | 525.00 | 128100.00 | 605.00 | 147620.00 | 600.00 | 146400.00 | 620.00 | 151280.00 | 128100.00 | Mansih Kapoor
21.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 77.00 | Kg |  | 120.00 | 9240.00 | 135.00 | 10395.00 | 120.00 | 9240.00 | 119.00 | 9163.00 | 9163.00 | HEM RAJ
22.00 | Providing and fixing pressed steel door frames conforming to IS: 4351, manufactured from commercial mild steel sheet of 1.60 mm thickness, including hinges, jamb, lock jamb, bead and if required angle threshold of mild steel angle of section 50x25 mm, or base ties of 1.60 mm, pressed mild steel welded or rigidly fixed together by mechanical means, including M.S. pressed butt hinges 2.5 mm thick with mortar guards, lock strike-plate and shock absorbers as specified and applying a coat of approved steel primer after pre-treatment of the surface as directed by Engineer-in-charge: a) Profile B i) Fixing with adjustable lugs with split end tail to each jamb | 6.00 | Metre |  | 1500.00 | 9000.00 | 590.00 | 3540.00 | 550.00 | 3300.00 | 580.00 | 3480.00 | 3300.00 | M/S Reetika Associates & Construction
23.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. a) Hot finished welded type tubes. | 12500.00 | Kg |  | 139.00 | 1737500.00 | 154.00 | 1925000.00 | 145.00 | 1812500.00 | 163.00 | 2037500.00 | 1737500.00 | Mansih Kapoor
24.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. a) In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works. | 603.00 | Kg |  | 125.00 | 75375.00 | 135.00 | 81405.00 | 145.00 | 87435.00 | 133.00 | 80199.00 | 75375.00 | Mansih Kapoor
25.00 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-in-charge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 806.00 | Kg |  | 650.00 | 523900.00 | 700.00 | 564200.00 | 647.92 | 522223.52 | 530.00 | 427180.00 | 427180.00 | HEM RAJ
26.00 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm(thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement :4 Coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | 3.00 | Sqm |  | 1000.00 | 3000.00 | 1200.00 | 3600.00 | 1000.00 | 3000.00 | 1090.00 | 3270.00 | 3000.00 | Mansih Kapoor, M/S Reetika Associates & Construction
27.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes a) 75 mm diameter. | 12.00 | Metre |  | 200.00 | 2400.00 | 250.00 | 3000.00 | 220.00 | 2640.00 | 245.00 | 2940.00 | 2400.00 | Mansih Kapoor
28.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes a) 110 mm diameter. | 6.00 | Metre |  | 250.00 | 1500.00 | 380.00 | 2280.00 | 350.00 | 2100.00 | 350.00 | 2100.00 | 1500.00 | Mansih Kapoor
29.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/accessories for unplasticised Rigid PVC rain water pipes conforming to IS 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. a) Coupler i) 75mm | 6.00 | Nos |  | 100.00 | 600.00 | 90.00 | 540.00 | 90.00 | 540.00 | 90.00 | 540.00 | 540.00 | Kartike Guleria, HEM RAJ, M/S Reetika Associates & Construction
30.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/accessories for unplasticised Rigid PVC rain water pipes conforming to IS 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. a) Single tee without door i)75x75x75 mm. | 6.00 | Nos |  | 100.00 | 600.00 | 150.00 | 900.00 | 140.00 | 840.00 | 140.00 | 840.00 | 600.00 | Mansih Kapoor
31.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/accessories for unplasticised Rigid PVC rain water pipes conforming to IS 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. a) Single tee without door i) 110x110x110 mm. | 1.00 | No |  | 140.00 | 140.00 | 220.00 | 220.00 | 210.00 | 210.00 | 210.00 | 210.00 | 140.00 | Mansih Kapoor
32.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/accessories for unplasticised Rigid PVC rain water pipes conforming to IS 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. a) Bend 87.5° i)75 mm bend. | 12.00 | Nos |  | 100.00 | 1200.00 | 105.00 | 1260.00 | 100.00 | 1200.00 | 100.00 | 1200.00 | 1200.00 | Mansih Kapoor, HEM RAJ, M/S Reetika Associates & Construction
33.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/accessories for unplasticised Rigid PVC rain water pipes conforming to IS 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. a) Bend 87.5° i) 110 mm bend. | 2.00 | Nos |  | 140.00 | 280.00 | 145.00 | 290.00 | 150.00 | 300.00 | 150.00 | 300.00 | 280.00 | Mansih Kapoor
34.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-Charge) of total coated thickness 0.50 mm (base metal of minimum 0.45 mm thickness with total coating thickness of 0.05mm) with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineer-in-charge. The sheet shall be fixed using self drilling /seIf tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 490.00 | Sqm |  | 880.00 | 431200.00 | 740.00 | 362600.00 | 700.00 | 343000.00 | 700.00 | 343000.00 | 343000.00 | HEM RAJ, M/S Reetika Associates & Construction
35.00 | Providing and fixing precoated galvanised steel sheet roofing accessories of total coated thickness 0.50 mm (base metal of minimum 0.45 mm thickness with total coating thickness of 0.05 mm) with Zinc coating 120 gram per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete : a) Ridges plain (500 - 600mm). | 43.00 | Metre |  | 600.00 | 25800.00 | 500.00 | 21500.00 | 500.00 | 21500.00 | 532.35 | 22891.05 | 21500.00 | Kartike Guleria, M/S Reetika Associates & Construction
36.00 | Providing and fixing precoated galvanised steel sheet roofing accessories of total coated thickness 0.50 mm (base metal of minimum 0.45 mm thickness with total coating thickness of 0.05 mm) with Zinc coating 120 gram per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete : a)Flashings/ Aprons.( Upto 600 mm). | 32.00 | Metre |  | 450.00 | 14400.00 | 480.00 | 15360.00 | 450.00 | 14400.00 | 485.60 | 15539.20 | 14400.00 | Mansih Kapoor, M/S Reetika Associates & Construction
37.00 | Providing and fixing precoated galvanised steel sheet roofing accessories of total coated thickness 0.50 mm (base metal of minimum 0.45 mm thickness with total coating thickness of 0.05 mm) with Zinc coating 120 gram per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete : a) Gutter (600 mm over all girth). | 30.00 | Metre |  | 750.00 | 22500.00 | 850.00 | 25500.00 | 1300.00 | 39000.00 | 510.00 | 15300.00 | 15300.00 | HEM RAJ
38.00 | 12 mm cement plaster of mix : a) 1:4 (1 cement: 4 coarse sand). | 464.00 | Sqm |  | 250.00 | 116000.00 | 350.00 | 162400.00 | 350.00 | 162400.00 | 460.00 | 213440.00 | 116000.00 | Mansih Kapoor
39.00 | Extra for providing and mixing water proofing material in cement plaster work in proportion recommended by the manufacturers. | 45.00 | Per 50 kg bag of cement used in the mix |  | 200.00 | 9000.00 | 23.00 | 1035.00 | 20.00 | 900.00 | 20.00 | 900.00 | 900.00 | HEM RAJ, M/S Reetika Associates & Construction
40.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : a) New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm). | 413.00 | Sqm |  | 160.00 | 66080.00 | 140.00 | 57820.00 | 150.00 | 61950.00 | 150.00 | 61950.00 | 57820.00 | Kartike Guleria
41.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : a) Two or more coats on new work. | 394.00 | Sqm |  | 150.00 | 59100.00 | 145.00 | 57130.00 | 150.00 | 59100.00 | 150.00 | 59100.00 | 57130.00 | Kartike Guleria
42.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 464.00 | Sqm |  | 100.00 | 46400.00 | 112.00 | 51968.00 | 150.00 | 69600.00 | 150.00 | 69600.00 | 46400.00 | Mansih Kapoor
43.00 | Wall painting with acrylic emulsion paint, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour. a) One coat. | 464.00 | Sqm |  | 110.00 | 51040.00 | 90.00 | 41760.00 | 90.00 | 41760.00 | 92.00 | 42688.00 | 41760.00 | Kartike Guleria, M/S Reetika Associates & Construction
44.00 | Finishing walls with textured exterior paint of required shade : a) Old work (Two or more coats on existing cement paint surface applied @ 3.28 ltr/10 sqm. | 1317.00 | Sqm |  | 180.00 | 237060.00 | 150.00 | 197550.00 | 160.00 | 210720.00 | 135.00 | 177795.00 | 177795.00 | HEM RAJ
45.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings andfixtures complete, including cutting and making good the walls and floors wherever required : a) W.C. pan with ISI marked white solid plastic seat and lid. | 4.00 | Nos. |  | 7500.00 | 30000.00 | 6100.00 | 24400.00 | 6200.00 | 24800.00 | 6400.00 | 25600.00 | 24400.00 | Kartike Guleria
46.00 | Providing and fixing white vitreous china pedestal type water closet (European type) with seat and lid, 10 litre low level white vitreous china flushing cistern & C.P. flush bend with fittings & C.I. brackets, 40 mm flush bend, overflow arrangement with specials of standard make and mosquito proof coupling of approved municipal design complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required : a) W.C. pan with ISI marked white solid plastic seat and lid. | 4.00 | Nos. |  | 9500.00 | 38000.00 | 7000.00 | 28000.00 | 7800.00 | 31200.00 | 7900.00 | 31600.00 | 28000.00 | Kartike Guleria
47.00 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350 mm and 340x410x265 mm sizes respectively with automatic flushing cistern with standard flush pipe and C.P. brass spreaders with brass unions and G.I clamps complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required : a) One urinal basin with 5 litre white P.V.C. automatic flushing cistern. | 3.00 | Nos. |  | 13500.00 | 40500.00 | 6000.00 | 18000.00 | 6000.00 | 18000.00 | 6100.00 | 18300.00 | 18000.00 | Kartike Guleria, M/S Reetika Associates & Construction
48.00 | Providing and fixing 8 mm dia C.P. / S.S. Jet with flexible tube upto 1 metre long with S.S. triangular plate to Eureopean type W.C. of quality and make as approved by Engineer - in - charge. | 8.00 | Nos. |  | 900.00 | 7200.00 | 350.00 | 2800.00 | 340.00 | 2720.00 | 310.00 | 2480.00 | 2480.00 | HEM RAJ
49.00 | Providing and fixing P.V.C. low level flushing cistern with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete. a) 10 litre capacity – White. | 2.00 | Nos. |  | 1650.00 | 3300.00 | 1180.00 | 2360.00 | 1100.00 | 2200.00 | 1150.00 | 2300.00 | 2200.00 | M/S Reetika Associates & Construction
50.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. a) Semi rigid pipe i) 32 mm dia. | 5.00 | Nos. |  | 200.00 | 1000.00 | 105.00 | 525.00 | 100.00 | 500.00 | 100.00 | 500.00 | 500.00 | HEM RAJ, M/S Reetika Associates & Construction
51.00 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 2.00 | Nos. |  | 1200.00 | 2400.00 | 1550.00 | 3100.00 | 1500.00 | 3000.00 | 1500.00 | 3000.00 | 2400.00 | Mansih Kapoor
52.00 | Providing and fixing toilet paper holder : a) C.P. brass. | 15.00 | Nos. |  | 1450.00 | 21750.00 | 800.00 | 12000.00 | 800.00 | 12000.00 | 790.00 | 11850.00 | 11850.00 | HEM RAJ
53.00 | Providing and fixing PTMT Waste Coupling for wash basin and sink, of approved quality and colour. a) Waste coupling 31 mm dia of 79 mm length and 62 mm breadth weighing not less than 45 gms. | 5.00 | Nos. |  | 350.00 | 1750.00 | 110.00 | 550.00 | 100.00 | 500.00 | 110.00 | 550.00 | 500.00 | M/S Reetika Associates & Construction
54.00 | Providing and fixing PTMT 15 mm Urinal spreader size 95x69x100 mm with 1/2" BSP thread and shapes, weighing not less than 60 gms. | 3.00 | Nos. |  | 1200.00 | 3600.00 | 110.00 | 330.00 | 100.00 | 300.00 | 100.00 | 300.00 | 300.00 | HEM RAJ, M/S Reetika Associates & Construction
55.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. : Internal work - Exposed on wall a) 20 mm nominal outer dia. Pipes. | 20.00 | Metre |  | 150.00 | 3000.00 | 310.00 | 6200.00 | 300.00 | 6000.00 | 330.00 | 6600.00 | 3000.00 | Mansih Kapoor
56.00 | Providing and fixing brass bib cock of approved quality : a) 15 mm nominal bore. | 5.00 | Nos. |  | 1000.00 | 5000.00 | 350.00 | 1750.00 | 350.00 | 1750.00 | 350.00 | 1750.00 | 1750.00 | Kartike Guleria, HEM RAJ, M/S Reetika Associates & Construction
57.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 : a) 15mm nominal bore. | 21.00 | Nos. |  | 950.00 | 19950.00 | 560.00 | 11760.00 | 560.00 | 11760.00 | 570.00 | 11970.00 | 11760.00 | Kartike Guleria, M/S Reetika Associates & Construction
58.00 | Providing and fixing PTMT pillar cock of approved quality and colour. a) 15mm nominal bore, 107 mm long. Weighing not less than 110 gms. | 2.00 | Nos. |  | 3500.00 | 7000.00 | 210.00 | 420.00 | 200.00 | 400.00 | 205.00 | 410.00 | 400.00 | M/S Reetika Associates & Construction
59.00 | Providing and fixing unplasticised P.V.C. connection pipe with PTMT Nuts, collar and bush of approved quality and colour. a) 15 mm nominal bore with 45 cm length. | 20.00 | Nos. |  | 150.00 | 3000.00 | 125.00 | 2500.00 | 115.00 | 2300.00 | 130.00 | 2600.00 | 2300.00 | M/S Reetika Associates & Construction
60.00 | Wall painting with premium acrylic emulsion plastic paint / washable paint of interior/exterior grade, having VOC (Volatile Organic Compound) content less than 50 grams/ litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour. Two coats. | 116.00 | Sqm |  | 250.00 | 29000.00 | 145.00 | 16820.00 | 150.00 | 17400.00 | 150.00 | 17400.00 | 16820.00 | Kartike Guleria
61.00 | Providing and fixing of unplasticised Rigid PVC rainwater pipes Pressure 04 Kg/cm2 conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, for the internal and external work as per the site requirements including the clamps scaffolding if required on side as per the direction and entire satisfaction of the Engineer in charge .(i) Single socketed pipes. Dia: 160 mm. | 12.00 | Mtr. |  | 650.00 | 7800.00 | 690.00 | 8280.00 | 650.00 | 7800.00 | 700.00 | 8400.00 | 7800.00 | Mansih Kapoor, M/S Reetika Associates & Construction
62.00 | Providing and fixing of Tee, Bend, Reduser or coupler on unplasticised - PVC moulded fittings/ accessories for unplasticised of 4 kg/cm2 Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Dia: 160 mm. | 2.00 | Nos. |  | 350.00 | 700.00 | 710.00 | 1420.00 | 700.00 | 1400.00 | 650.00 | 1300.00 | 700.00 | Mansih Kapoor
63.00 | Providing and fixing CP brass head health facuit of the approved brands for the WC including the flexible hose of 1 m complete fixing as per the direction of the Engineer in Charge. | 10.00 | Nos. |  | 1250.00 | 12500.00 | 1100.00 | 11000.00 | 1050.00 | 10500.00 | 1000.00 | 10000.00 | 10000.00 | HEM RAJ
64.00 | Providing and fixing special quality Mortice lock for the main door with or without deadbolt including liver handles 100mm 6 lever lock of approved quality including necessary screws etc. complete as per the direction and entire satisfaction of the Engineer in Charge. | 3.00 | Nos. |  | 3200.00 | 9600.00 | 2700.00 | 8100.00 | 2600.00 | 7800.00 | 2600.00 | 7800.00 | 7800.00 | HEM RAJ, M/S Reetika Associates & Construction
65.00 | Providing and fixing Stainless Steel sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : Size;300x16 mm. | 5.00 | Nos. |  | 400.00 | 2000.00 | 550.00 | 2750.00 | 500.00 | 2500.00 | 500.00 | 2500.00 | 2000.00 | Mansih Kapoor
66.00 | Providing and fixing white vitreous china urinal partition plate/divider complete with C.P. brass screws, rubber buffers and fixing arrangement as required. | 3.00 | Nos. |  | 7000.00 | 21000.00 | 3600.00 | 10800.00 | 3200.00 | 9600.00 | 3500.00 | 10500.00 | 9600.00 | M/S Reetika Associates & Construction
67.00 | Providing and fixing hydraulic wc seat cover for European type water closets including removal of existing seat cover etc complete (materials shall be procured by the contractor) white / Black. | 4.00 | Nos. |  | 3500.00 | 14000.00 | 4500.00 | 18000.00 | 4200.00 | 16800.00 | 4200.00 | 16800.00 | 14000.00 | Mansih Kapoor
68.00 | Providing & fixing in position AC3 High gloss/ non gloss (as on site selection) Grade Wooden Flooring & Skirting of Green ply, Armstrong, Action Tesa, brands with planks of thickness 12 mm thick as per manufacturer specification, is approved color, texture, and finish, The flooring shall be fixed with tongue and groove interlocking system, with an underlayment of 4 mm thick expanded polyethylene foam sheets having a density 40kg/cum, over prepared surface with necessary door reducer wherever required. The shade of the flooring should be approved by the contractor before commencement of the work. The work should be completed as per the direction and entire satisfaction of the Engineer in Charge. | 120.00 | Sqm |  | 2850.00 | 342000.00 | 1600.00 | 192000.00 | 1900.00 | 228000.00 | 1650.00 | 198000.00 | 192000.00 | Kartike Guleria
69.00 | Providing and fixing under counter oval shape wash basin of any size with C.P. brass sink mixture tap, 32 mm C.P. brass waste and coupling of standard pattern, including fitting on slab, cutting and making good the walls wherever require: | 2.00 | Nos. |  | 9500.00 | 19000.00 | 9100.00 | 18200.00 | 9000.00 | 18000.00 | 9200.00 | 18400.00 | 18000.00 | M/S Reetika Associates & Construction
70.00 | Providing, mixing and laying of waterproofing treatment by base preparation of cleaning, brushing and removal of any loose/flacky materials, in case of pot holes/cracks, the same shall be repaired with Polymer modified cement mortar using Latex. Grinding of tiles/Kota is a necessary to make the surface more abrasive and good for adhesion. Providing and applying smart care Ultron liquid applied hybrid Polyurethane polyuurea based, two component, llow VOC, elastomeric , seamless, waterproof coating bearing the following properties: a) Mixing ratio by weight 11 Kg :9 Kg [Base: Hardener] Elongation at break at 1.2 mm in 500 ± 50% ASTM D 2370 Tensile Strength at 1.2 mm Min 9 MPa ASTM D 2370 Puncture resistance at 1.2 mm250±20 N ASTM E 154 Hardness (Shore D scale) Min 35 units ASTM D 2240 Pull Of Adhesion (Concrete surface failure) Min 1.5 MPa ASTM D 4541 Pot Life at 25 Deg C and 50% Relative Humidity 30 minutes Solid content>85% ASTM D 1644 Water impermeability on coated concrete at10 bar for 72 hours No Leakage BS EN 12390-8 (Resistance to Hydrostatic head > 100m) Application Temperature 10 - 40 deg C Over coating interval time 12-16 Hrs Light Pedestrian traffic time 24 Hrs, however final curing time conditions 30 deg C, 55% RH 14 days Crack bridging Min 4 mm ASNZ 4548.(iii) Applying a 5 to 10 mm coat of micro-concrete on the Ultron surface so that it can be prevented from high load damage including carriage of material in all leads and lift. | 40.00 | Sqm |  | 1500.00 | 60000.00 | 750.00 | 30000.00 | 1200.00 | 48000.00 | 1200.00 | 48000.00 | 30000.00 | Kartike Guleria
71.00 | Supply and installation of 2.5 mm thick PVC vinyl of approved make and shade, including surface preparation, application of recommended adhesive, cutting, fitting, and finishing complete as per manufacturer's specifications and engineer's approval. | 54.00 | Sqm |  | 200.00 | 10800.00 | 990.00 | 53460.00 | 1000.00 | 54000.00 | 999.00 | 53946.00 | 10800.00 | Mansih Kapoor
72.00 | Electrical items: Group C Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS/HFFR PVC insulated copper conductor single core cable in surface/ recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS/HFFR PVC insulated copper conductor single core cable etc. as required. | 16.00 | Each |  | 1000.00 | 16000.00 | 2100.00 | 33600.00 | 2100.00 | 33600.00 | 1200.00 | 19200.00 | 16000.00 | Mansih Kapoor
73.00 | Wiring for circuit/ sub main wiring along with earth wire with the 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit / PVC casing Caping as required as per entire satisfaction and direction of Engineer-in-charge including carriage of material in all leads and lifts. | 40.00 | Meter |  | 200.00 | 8000.00 | 265.00 | 10600.00 | 260.00 | 10400.00 | 170.00 | 6800.00 | 6800.00 | HEM RAJ
74.00 | Wiring for circuit/ submain wiring along with earth wire with the 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit / PVC casing Caping as required as per entire satisfaction and direction of Engineer-in-charge including carriage of material in all leads and lifts. | 445.00 | Meter |  | 250.00 | 111250.00 | 265.00 | 117925.00 | 300.00 | 133500.00 | 270.00 | 120150.00 | 111250.00 | Mansih Kapoor
75.00 | Wiring for circuit/ submain wiring along with earth wire with the 2 x 4.0 Sq. mm. + 1 x 4.0 Sq. mm of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit / PVC casing Caping as required as per entire satisfaction and direction of Engineer-in-charge including carriage of material in all leads and lifts. | 124.00 | Meter |  | 310.00 | 38440.00 | 360.00 | 44640.00 | 350.00 | 43400.00 | 379.00 | 46996.00 | 38440.00 | Mansih Kapoor
76.00 | Supplying and drawing 3 X 6 sq. mm of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required.as per entire satisfaction and direction of Engineer-in-charge including carriage of material in all leads and lifts. | 72.00 | Meter |  | 450.00 | 32400.00 | 315.00 | 22680.00 | 320.00 | 23040.00 | 537.00 | 38664.00 | 22680.00 | Kartike Guleria
77.00 | Supplying and fixing of 25 mm of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. as per entire satisfaction and direction of Engineer-in-charge including carriage of material in all leads and lifts. | 200.00 | Meter |  | 35.00 | 7000.00 | 165.00 | 33000.00 | 160.00 | 32000.00 | 50.00 | 10000.00 | 7000.00 | Mansih Kapoor
78.00 | Supplying and fixing suitable size GI/PVC box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. | 82.00 | Each |  | 500.00 | 41000.00 | 540.00 | 44280.00 | 540.00 | 44280.00 | 300.00 | 24600.00 | 24600.00 | HEM RAJ
79.00 | Supplying and fixing suitable size Gl/ PVC box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 15/16 A modular socket outletand 15/16 A modular switch, connections etc. as required as per entire satisfaction and direction of Engineer-in-charge including carriage of material in all leads and lifts. | 24.00 | Each |  | 600.00 | 14400.00 | 650.00 | 15600.00 | 650.00 | 15600.00 | 600.00 | 14400.00 | 14400.00 | Mansih Kapoor, HEM RAJ
80.00 | Supplying and fixing 5A to 32A Rating, 240/415 V, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of Single pole in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 46.00 | Each |  | 250.00 | 11500.00 | 280.00 | 12880.00 | 280.00 | 12880.00 | 350.00 | 16100.00 | 11500.00 | Mansih Kapoor
81.00 | Supplying and fixing 40 A rating, double pole, 240 V, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required as per entire satisfaction and direction of Engineer-in-charge including carriage of material in all leads and lifts. | 2.00 | Each |  | 800.00 | 1600.00 | 465.00 | 930.00 | 450.00 | 900.00 | 800.00 | 1600.00 | 900.00 | M/S Reetika Associates & Construction
82.00 | Supplying and fixing 63 A rating, four pole, 415 V, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required. as per entire satisfaction and direction of Engineer-in-charge including carriage of material in all leads and lifts. | 2.00 | Each |  | 1800.00 | 3600.00 | 1110.00 | 2220.00 | 1100.00 | 2200.00 | 1200.00 | 2400.00 | 2200.00 | M/S Reetika Associates & Construction
83.00 | Supplying and fixing 6 way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | 2.00 | Each |  | 4000.00 | 8000.00 | 2350.00 | 4700.00 | 2350.00 | 4700.00 | 1600.00 | 3200.00 | 3200.00 | HEM RAJ
84.00 | Supplying and fixing 6 way (4 + 18), Double door way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required as per entire satisfaction and direction of Engineer-in-charge including carriage of material in all leads and lifts. (But without MCB/RCCB/ Isolator) | 2.00 | Each |  | 16000.00 | 32000.00 | 5100.00 | 10200.00 | 5250.00 | 10500.00 | 2800.00 | 5600.00 | 5600.00 | HEM RAJ
85.00 | Supplying and fixing of 4 way (4 + 12), Double door surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer ) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) | 1.00 | Each |  | 18000.00 | 18000.00 | 8000.00 | 8000.00 | 7895.48 | 7895.48 | 11000.00 | 11000.00 | 7895.48 | M/S Reetika Associates & Construction
86.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required | 70.00 | Meter |  | 80.00 | 5600.00 | 50.00 | 3500.00 | 45.00 | 3150.00 | 70.00 | 4900.00 | 3150.00 | M/S Reetika Associates & Construction
87.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of 16 sq mm size on wall surface as required as per entire satisfaction and direction of Engineer-in-charge including carriage of material in all leads and lifts. | 255.00 | Meter |  | 60.00 | 15300.00 | 75.00 | 19125.00 | 60.00 | 15300.00 | 60.00 | 15300.00 | 15300.00 | Mansih Kapoor, HEM RAJ, M/S Reetika Associates & Construction
88.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of 10 sq mm size on cable tray as required. | 60.00 | Meter |  | 50.00 | 3000.00 | 60.00 | 3600.00 | 50.00 | 3000.00 | 55.00 | 3300.00 | 3000.00 | Mansih Kapoor, M/S Reetika Associates & Construction
89.00 | Supplying and making end termination with brass compression gland and aluminium lugs for 4 x 16 sq mm size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required as per entire satisfaction and direction of Engineer-in-charge including carriage of material in all leads and lifts. | 2.00 | Set |  | 350.00 | 700.00 | 330.00 | 660.00 | 320.00 | 640.00 | 300.00 | 600.00 | 600.00 | HEM RAJ
90.00 | Supplying and laying of 63 mm dia. (OD-63 mm & ID-51 mm nominal) size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. direct in ground (75 cm below ground level) including excavation and refilling the trench (Paver stone) but excluding sand cushioning and protective covering etc., complete as required. | 80.00 | Meter |  | 200.00 | 16000.00 | 285.00 | 22800.00 | 280.00 | 22400.00 | 80.00 | 6400.00 | 6400.00 | HEM RAJ
91.00 | Supplying of 4 Core x 16 Sq. mm of 1.1 KV Aluminium conductor XLPE Insulated, PVC extruded inner-sheathed arrmoured, Extruded PVC Type ST2 Outer Sheathed, 650 V/1100 V Grade as per IS 7098 (Part 1) 1988 with upto Date Amendments.) with latest amendments as required as per entire satisfaction and direction of Engineer-in-charge including carriage of material in all leads and lifts. | 220.00 | Meter |  | 270.00 | 59400.00 | 400.00 | 88000.00 | 400.00 | 88000.00 | 225.00 | 49500.00 | 49500.00 | HEM RAJ
92.00 | Supplying of 4 Core x 10 Sq. mm of 1.1 KV Aluminium conductor XLPE Insulated, PVC extruded inner-sheathed unarrmoured, Extruded PVC Type ST2 Outer Sheathed, 650 V/1100 V Grade as per IS 7098 (Part 1) 1988 with upto Date Amendments.) with latest amendments as required as per entire satisfaction and direction of Engineer-in-charge including carriage of material in all leads and lifts. | 165.00 | Meter |  | 250.00 | 41250.00 | 235.00 | 38775.00 | 230.00 | 37950.00 | 210.00 | 34650.00 | 34650.00 | HEM RAJ
93.00 | SITC of matte Black aluminum dome pendant light fixture with Glass suitable for office false ceiling application, direct lighting distribution, complete with 22 watt E27 white lamp, heavy-duty mounting hardware, safety suspension wire, and matching E27 LED lamp, all as per entire satisfaction and direction of Engineer-in-charge including carriage of material in all leads and lifts. | 16.00 | Each |  | 3400.00 | 54400.00 | 3000.00 | 48000.00 | 3150.00 | 50400.00 | 3200.00 | 51200.00 | 48000.00 | Kartike Guleria
94.00 | Supplying and fixing 63 A rating, TRIPLE POLE, 415 V, MCB in the existing MCB DB complete with connections, testing and commissioning etc. as required as per entire satisfaction and direction of Engineer-in-charge including carriage of material in all leads and lifts as per entire satisfaction and direction of Engineer-in-charge including carriage of material in all leads and lifts. | 1.00 | Each |  | 1800.00 | 1800.00 | 2300.00 | 2300.00 | 2300.00 | 2300.00 | 2400.00 | 2400.00 | 1800.00 | Mansih Kapoor
95.00 | Supplying and fixing 40 A rating, TRIPLE POLE, 415 V, MCB in the existing MCB DB complete with connections, testing and commissioning etc. as required as per entire satisfaction and direction of Engineer-in-charge including carriage of material in all leads and lifts as per entire satisfaction and direction of Engineer-in-charge including carriage of material in all leads and lifts. | 1.00 | Each |  | 1500.00 | 1500.00 | 2200.00 | 2200.00 | 2200.00 | 2200.00 | 2200.00 | 2200.00 | 1500.00 | Mansih Kapoor
96.00 | Supplying and fixing 63 A rating, FP, 415 V, MCCB in the existing MCB DB complete with connections, testing and commissioning etc. as required as per entire satisfaction and direction of Engineer-in-charge including carriage of material in all leads and lifts as per entire satisfaction and direction of Engineer-in-charge including carriage of material in all leads and lifts. | 1.00 | Each |  | 3000.00 | 3000.00 | 10000.00 | 10000.00 | 10000.00 | 10000.00 | 6600.00 | 6600.00 | 3000.00 | Mansih Kapoor
97.00 | Supplying and fixing of 32 x 12 mm size of medium class PVC Casing-Capping along with accessories in surface as per entire satisfaction and direction of Engineer-in-charge including carriage of material in all leads and lifts. | 420.00 | Each |  | 59.00 | 24780.00 | 110.00 | 46200.00 | 110.00 | 46200.00 | 65.00 | 27300.00 | 24780.00 | Mansih Kapoor
| Total in Figures |  |  |  |  | 5569675.00 |  | 5503209.00 |  | 5444444.00 |  | 5370877.25
Lowest Amount Quoted BY: HEM RAJ(5370877.25)

## BOQ Summary
BOQ Summary Details Tender Title: Comprehensive maintenance of Infrastructure for Campus School (Phase-II) at North Campus of IIT Mandi Tender ID: 2026_IITMD_927577_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | HEM RAJ (BID ID -3491514) | 5370877.25 | L1
| 2 | M/S Reetika Associates & Construction (BID ID -3492231) | 5444444.00 | L2
| 3 | Kartike Guleria (BID ID -3489662) | 5503209.00 | L3
| 4 | Mansih Kapoor (BID ID -3491103) | 5569675.00 | L4