## BoQ1
eProcurement System Government of India Created By: Gyanendra Singh Singh Vats Created Date/Time: 12-Oct-2026 11:53 AM Tender Title: Shifting and Reinstallation of LT Panels from Low-Lying Areas Including Rerouting of LT Cables in the Academic Area at IIT Delhi. Tender ID: 2026_IIT_926562_1
Tender Inviting Authority: INDIAN INSTITUTE OF TECHNOLOGY DELHI HAUZ KHAS, NEW DELHI – 110016
Name of Work: Shifting and Reinstallation of LT Panels from Low-Lying Areas Including Rerouting of LT Cables in the Academic Area at IIT Delhi.
Contract No: IITD/WORKS (SP- 5402)/2026
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SUPER MOTOR WINDING & REFRIGERATION WORK (GSTN-07ABHPK0686N1Z7) BID ID -3482219 |  | BUDHIRAJA ENTERPRISES (GSTN-NA) BID ID -3485758
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling, shifting, fixing, and reinstallation of existing LT panels of the following sizes from the basement to the ground floor, including loading, unloading, transportation, positioning, alignment, fixing with suitable fasteners, grouting with cement concrete at the new location, reconnection of all incoming and outgoing cables, earthing connections, testing, commissioning, and all other allied works required for satisfactory completion of the work as per direction of Engineer in charge.
2.00 | Panel Size:- Height:69 inch ,Width: 38 inch, Depth: 17 inch; having one number Outgoing of 3.5 Core X 70 sqmm, one number Outgoing of 3.5 Core X 95 sqmm, one number Outgoing of 3.5 Core X 35 sqmm, four number Outgoing of 3.5 Core X 50 sqmm, one number incoming cable: 3.5 Core X 240 sqmm | 1.00 | Each | 369.00 | 6000.00 | 6000.00 | 10800.00 | 10800.00 | 6000.00 | SUPER MOTOR WINDING & REFRIGERATION WORK
3.00 | Panel Size:- Height:69 inch ,Width: 39 inch, Depth: 17 inch; having four number Outgoing of 3.5 Core X 35 sqmm, one number incoming cable: 3.5 Core X 95 sqmm | 1.00 | Each | 369.00 | 6000.00 | 6000.00 | 10800.00 | 10800.00 | 6000.00 | SUPER MOTOR WINDING & REFRIGERATION WORK
4.00 | Panel Size:- Height:85 inch ,Width: 39 inch, Depth: 17 inch; having three number Outgoing of 3.5 Core X 185 sqmm, one number outgoing of 3.5 Core X 240 sqmm, two number outgoing of 3.5 Core X 95sqmm, one number outgoing of 3.5 Core X 150 sqmm, two number incoming cable: 3.5 Core X 400 sqmm | 1.00 | Each | 428.00 | 6000.00 | 6000.00 | 14500.00 | 14500.00 | 6000.00 | SUPER MOTOR WINDING & REFRIGERATION WORK
5.00 | Panel Size:- Height:65.5 inch ,Width: 52.5 inch, Depth: 17.5 inch; having three number Outgoing of 3.5 Core X 35sqmm, two number incoming of 3.5 Core X 185 sqmm, four number incoming of 95 sqmm number, outgoing of 3.5 Core X 95sqmm, having one number Outgoing of 3.5 Core X 50 sqmm | 1.00 | Each | 677.00 | 6000.00 | 6000.00 | 10800.00 | 10800.00 | 6000.00 | SUPER MOTOR WINDING & REFRIGERATION WORK
6.00 | Panel Size:- Height:72 inch ,Width: 39.5 inch, Depth: 14 inch; having two number Outgoing of 3.5 Core X 50 sqmm, two number outgoing of 3.5 Core X 95 sqmm, one number outgoing of 3.5 Core X 35 sqmm, one number outgoing of 4 Core X 25 sqmm, one number outgoing of 4 Core X 16 sqmm,one number incoming of 3.5 Core X 120 sqmm | 1.00 | Each | 560.00 | 7000.00 | 7000.00 | 12900.00 | 12900.00 | 7000.00 | SUPER MOTOR WINDING & REFRIGERATION WORK
7.00 | Dismantling, shifting, fixing, and reinstallation of existing LT panels of the{size:Height:63inch ,Width: 59 inch, Depth: 24 inch}; having four number Outgoing of 3.5 Core X 50 sqmm, incoming cable: 3.5 Core X 185 sqmm height extension, including loading, unloading, transportation, positioning, alignment, fixing with suitable fasteners, grouting with cement concrete at the new location, reconnection of all incoming and outgoing cables, earthing connections, testing, commissioning, and all other allied works required for satisfactory completion of the work as per direction of Engineer in charge. | 1.00 | Each | 589.00 | 6000.00 | 6000.00 | 5500.00 | 5500.00 | 5500.00 | BUDHIRAJA ENTERPRISES
8.00 | Dismantling, shifting, fixing, and reinstallation of existing 12 way Vertical DB, including positioning, alignment, fixing with suitable fasteners at the new location, reconnection of all incoming cables & outgoing wires, connectors required for extension joint of wires, earthing connections, testing, commissioning, and all other allied works required for satisfactory completion of the work as per direction of Engineer in charge. | 1.00 | Each | 710.00 | 850.00 | 850.00 | 3500.00 | 3500.00 | 850.00 | SUPER MOTOR WINDING & REFRIGERATION WORK
9.00 | Dismantling of existing cables of various sizes (3.5 Core X 50/70/95/120/150/185/225/240/300/ 400) sqmm, rearranging / rerouting them as required, and reconnecting the cables in accordance with the shifting of the LT panels to the new location, including all necessary dressing and commissioning for proper operation. | 75.00 | Mtr. | 924.00 | 90.00 | 6750.00 | 170.00 | 12750.00 | 6750.00 | SUPER MOTOR WINDING & REFRIGERATION WORK
10.00 | Dismantling, shifting, fixing, and reinstallation of existing Havells ATS 400A from the basement to the ground floor, including opening nut bolts of cables, glands ,GI, loading, unloading, transportation, positioning, alignment, fixing with suitable fasteners, grouting with cement concrete at the new location, reconnection of all incoming and outgoing cables, earthing connections, testing, commissioning, and all other allied works required for satisfactory completion of the work as per direction of Engineer in charge. | 1.00 | Each | 128.00 | 2000.00 | 2000.00 | 5000.00 | 5000.00 | 2000.00 | SUPER MOTOR WINDING & REFRIGERATION WORK
11.00 | Dismantling, shifting, fixing, and reinstallation of existing FN switch 250A from existing location to new location alignment, fixing with suitable fasteners, reconnection of all incoming and outgoing cables, earthing connections, testing, commissioning, and all other allied works required for satisfactory completion of the work as per direction of Engineer in charge. | 1.00 | Each | 145.00 | 1500.00 | 1500.00 | 3000.00 | 3000.00 | 1500.00 | SUPER MOTOR WINDING & REFRIGERATION WORK
12.00 | Dismantling, shifting, fixing, and reinstallation of existing 125A MCCB in Enclosure from existing location to new location alignment, fixing with suitable fasteners, reconnection of all incoming and outgoing cables, earthing connections, testing, commissioning, and all other allied works required for satisfactory completion of the work as per direction of Engineer in charge. | 1.00 | Each | 184.00 | 1400.00 | 1400.00 | 1800.00 | 1800.00 | 1400.00 | SUPER MOTOR WINDING & REFRIGERATION WORK
13.00 | Excavation for cable trenches in soft soil, depth upto 1.2 m including dressing of sides lift upto 1.5 m, including getting out the excavated soil, refilling with sand and or good soil after laying/extraction of cable/ pipe etc in layers of 20 cm, ramming, watering and disposal of surplus excavated soil as directed, within a lead of 50 metres. | 19.00 | Cum | 1621.00 | 800.00 | 15200.00 | 400.00 | 7600.00 | 7600.00 | BUDHIRAJA ENTERPRISES
14.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer -in -Incharge.
15.00 | Nominal Concrete 1:3:6 or richer mix | 1.00 | Cum | 298.00 | 2500.00 | 2500.00 | 1300.00 | 1300.00 | 1300.00 | BUDHIRAJA ENTERPRISES
16.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
17.00 | 4X16 sq.mm | 1.00 | Each | 103.00 | 2100.00 | 2100.00 | 2400.00 | 2400.00 | 2100.00 | SUPER MOTOR WINDING & REFRIGERATION WORK
18.00 | 4X25 sq.mm | 1.00 | Each | 156.00 | 2400.00 | 2400.00 | 2700.00 | 2700.00 | 2400.00 | SUPER MOTOR WINDING & REFRIGERATION WORK
19.00 | 3.5X 35 sq.mm | 2.00 | Each | 122.00 | 2400.00 | 4800.00 | 2700.00 | 5400.00 | 4800.00 | SUPER MOTOR WINDING & REFRIGERATION WORK
20.00 | 3.5X 50 sq.mm | 8.00 | Each | 197.00 | 2400.00 | 19200.00 | 2800.00 | 22400.00 | 19200.00 | SUPER MOTOR WINDING & REFRIGERATION WORK
21.00 | 3.5X 70 sq.mm | 2.00 | Each | 586.00 | 3150.00 | 6300.00 | 3500.00 | 7000.00 | 6300.00 | SUPER MOTOR WINDING & REFRIGERATION WORK
22.00 | 3.5X 95 sq.mm | 3.00 | Each | 2573.00 | 3250.00 | 9750.00 | 3500.00 | 10500.00 | 9750.00 | SUPER MOTOR WINDING & REFRIGERATION WORK
23.00 | 3.5X 150 sq.mm | 1.00 | Each | 4091.00 | 3500.00 | 3500.00 | 4000.00 | 4000.00 | 3500.00 | SUPER MOTOR WINDING & REFRIGERATION WORK
24.00 | 3.5X 185 sq.mm | 2.00 | Each | 5967.00 | 4300.00 | 8600.00 | 5300.00 | 10600.00 | 8600.00 | SUPER MOTOR WINDING & REFRIGERATION WORK
25.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
26.00 | 4X16 sq.mm (28mm) | 1.00 | Each | 4091.00 | 210.00 | 210.00 | 375.00 | 375.00 | 210.00 | SUPER MOTOR WINDING & REFRIGERATION WORK
27.00 | 4X25 sq.mm (28mm) | 2.00 | Each | 4091.00 | 250.00 | 500.00 | 390.00 | 780.00 | 500.00 | SUPER MOTOR WINDING & REFRIGERATION WORK
28.00 | 3.5X 35 sq.mm (32mm) | 9.00 | Each | 716.00 | 300.00 | 2700.00 | 430.00 | 3870.00 | 2700.00 | SUPER MOTOR WINDING & REFRIGERATION WORK
29.00 | 3.5X 50 sq.mm (35mm) | 14.00 | Each | 315.00 | 330.00 | 4620.00 | 485.00 | 6790.00 | 4620.00 | SUPER MOTOR WINDING & REFRIGERATION WORK
30.00 | 3.5X 70 sq.mm (38mm) | 4.00 | Each | 369.00 | 440.00 | 1760.00 | 540.00 | 2160.00 | 1760.00 | SUPER MOTOR WINDING & REFRIGERATION WORK
31.00 | 3.5X 95 sq.mm (45mm) | 9.00 | Each | 413.00 | 510.00 | 4590.00 | 640.00 | 5760.00 | 4590.00 | SUPER MOTOR WINDING & REFRIGERATION WORK
32.00 | 3.5X 120 sq.mm (45mm) | 4.00 | Each | 588.00 | 580.00 | 2320.00 | 675.00 | 2700.00 | 2320.00 | SUPER MOTOR WINDING & REFRIGERATION WORK
33.00 | 3.5X 150 sq.mm (50mm) | 4.00 | Each | 1195.00 | 630.00 | 2520.00 | 775.00 | 3100.00 | 2520.00 | SUPER MOTOR WINDING & REFRIGERATION WORK
34.00 | 3.5X 185 sq.mm (57mm) | 9.00 | Each | 1195.00 | 810.00 | 7290.00 | 1025.00 | 9225.00 | 7290.00 | SUPER MOTOR WINDING & REFRIGERATION WORK
35.00 | 3.5X 240 sq.mm (62mm) | 2.00 | Each | 1195.00 | 850.00 | 1700.00 | 1150.00 | 2300.00 | 1700.00 | SUPER MOTOR WINDING & REFRIGERATION WORK
36.00 | 3.5X 400 sq.mm (82mm) | 2.00 | Each | 1195.00 | 1200.00 | 2400.00 | 1775.00 | 3550.00 | 2400.00 | SUPER MOTOR WINDING & REFRIGERATION WORK
37.00 | Supplying & Installation following size of perforated Hot Dipped Galvanised Iron cable tray (Galvanisation thickness not less than 50 microns) with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with G.I suspenders including G.I bolts & nuts etc as required.
38.00 | 450 mm width X 62.5 mm depth X 2.0 mm thickness | 32.00 | Mtr. | 315.00 | 1530.00 | 48960.00 | 1655.00 | 52960.00 | 48960.00 | SUPER MOTOR WINDING & REFRIGERATION WORK
39.00 | 300mm width X 50mm depth X 1.6mm thickness | 27.00 | Mtr. | 315.00 | 900.00 | 24300.00 | 1100.00 | 29700.00 | 24300.00 | SUPER MOTOR WINDING & REFRIGERATION WORK
40.00 | Supplying, laying and fixing of following size PVC insulated and PVC sheathed XLPE aluminium conductor armoured power cable of 1.1 KV grade on wall surface clamped with saddle conforming to I.S-1554/1/8 as required.
41.00 | 3.5 Core X 50 sqmm | 53.00 | Mtr. | 315.00 | 600.00 | 31800.00 | 520.00 | 27560.00 | 27560.00 | BUDHIRAJA ENTERPRISES
42.00 | 3.5 Core X 150 sqmm | 12.00 | Mtr. | 315.00 | 1320.00 | 15840.00 | 1210.00 | 14520.00 | 14520.00 | BUDHIRAJA ENTERPRISES
43.00 | 3.5 Core X 70 sqmm | 63.00 | Mtr. | 315.00 | 830.00 | 52290.00 | 690.00 | 43470.00 | 43470.00 | BUDHIRAJA ENTERPRISES
44.00 | 3.5 Core X 95 sqmm | 51.00 | Mtr. | 315.00 | 970.00 | 49470.00 | 855.00 | 43605.00 | 43605.00 | BUDHIRAJA ENTERPRISES
45.00 | 3.5 Core X 35 sqmm | 32.00 | Mtr. | 315.00 | 488.00 | 15616.00 | 410.00 | 13120.00 | 13120.00 | BUDHIRAJA ENTERPRISES
46.00 | 4 Core X 25 sqmm | 12.00 | Mtr. | 315.00 | 440.00 | 5280.00 | 355.00 | 4260.00 | 4260.00 | BUDHIRAJA ENTERPRISES
47.00 | Supplying and Laying and fixing of one number PVC insulated and PVC sheathed / XLPE Aluminium armoured power cable of 1.1 KV grade of following size direct on cable tray as required.
48.00 | 3.5 Core X 240 sqmm | 34.00 | Mtr. | 315.00 | 2300.00 | 78200.00 | 1935.00 | 65790.00 | 65790.00 | BUDHIRAJA ENTERPRISES
49.00 | 3.5 Core X 185 sqmm | 145.00 | Mtr. | 315.00 | 1880.00 | 272600.00 | 1500.00 | 217500.00 | 217500.00 | BUDHIRAJA ENTERPRISES
50.00 | Supplying, Installation, Testing and Commissioning of stand made by MS L shaped heavy Angle frame of 50mm X 50mm X 6mm thick of weight 4.5 kg per meter , stand of dimensions 1490mm Length X 430mm Width and height 700mm with support and fixing LT panels of the{size:Height:63inch ,Width: 59 inch, Depth: 24 inch}; having four number Outgoing of 3.5 Core X 50 sqmm, incoming cable: 3.5 Core X 185 sqmm, including loading, unloading, transportation, positioning, alignment, fixing with suitable fasteners, grouting with cement concrete at the new location, reconnection of all incoming and outgoing cables, earthing connections, testing, commissioning, and all other allied works required for satisfactory completion of the work as per direction of Engineer in charge. | 1.00 | Each | 315.00 | 8500.00 | 8500.00 | 10700.00 | 10700.00 | 8500.00 | SUPER MOTOR WINDING & REFRIGERATION WORK
51.00 | Demolising RCC work manually / by mechanical means including stacking of steel bars and disposal of unserviceable material within 50metres lead as per direction of Engineer in Charge. | 1.50 | Cum | 13838.00 | 3500.00 | 5250.00 | 1000.00 | 1500.00 | 1500.00 | BUDHIRAJA ENTERPRISES
52.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 4.00 | Each | 1551.00 | 7500.00 | 30000.00 | 6900.00 | 27600.00 | 27600.00 | BUDHIRAJA ENTERPRISES
53.00 | Supplying and laying 25 mm X 5 mm G.I strip at 0.50 metre below ground as strip earth electrode, including connection/ terminating with G.I. nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of G.I. nut bolt & spring washer spaced at 50mm) | 34.00 | Mtr. | 1162.00 | 172.00 | 5848.00 | 220.00 | 7480.00 | 5848.00 | SUPER MOTOR WINDING & REFRIGERATION WORK
54.00 | Supplying and laying 6 SWG G.I. wire at 0.50 metre below ground level for conductor earth electrode, including connection/ termination with GI thimble etc. as required. | 804.00 | Mtr. | 959.00 | 40.00 | 32160.00 | 22.00 | 17688.00 | 17688.00 | BUDHIRAJA ENTERPRISES
55.00 | Supplying, installing, testing and commissioning (SITC) of sheet steel enclosure of 2.0 mm thickness, dimensions : 400mm width,900 mm height,121 mm depth suitable for accommodating one 400 A, four-pole MCCB, including drilling/cutting of panel, fixing the enclosure with suitable fastners, gland plate modifications, ferrules, lugs, nuts, bolts, washers, earthing connections, and all other accessories required for complete installation, testing and commissioning, as required at site. | 2.00 | Each | 588.00 | 8500.00 | 17000.00 | 10500.00 | 21000.00 | 17000.00 | SUPER MOTOR WINDING & REFRIGERATION WORK
56.00 | Installing, testing and commissioning of existing 125 A TP MCCB in existing cubicle panel board including drilling/cutting of panel, fixing modifications, ferrules, lugs, nuts, bolts, washers, earthing connections, and all other accessories as required at site. | 2.00 | Each | 588.00 | 800.00 | 1600.00 | 1500.00 | 3000.00 | 1600.00 | SUPER MOTOR WINDING & REFRIGERATION WORK
57.00 | Supplying, Installation, Testing & Commissioning of following rating and breaking capacity and pole MCCB with thermomagnetic release and terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, Ics=100% Icu and Operational Voltage 690V etc. as required.
58.00 | 400 A,50KA,FPMCCB | 1.00 | Each | 1386.00 | 43500.00 | 43500.00 | 36500.00 | 36500.00 | 36500.00 | BUDHIRAJA ENTERPRISES
59.00 | 250 A,50KA,FPMCCB | 1.00 | Each | 2062.00 | 32500.00 | 32500.00 | 34000.00 | 34000.00 | 32500.00 | SUPER MOTOR WINDING & REFRIGERATION WORK
60.00 | 125 A,36KA,FPMCCB | 2.00 | Each | 20743.00 | 17900.00 | 35800.00 | 15000.00 | 30000.00 | 30000.00 | BUDHIRAJA ENTERPRISES
| Total in Figures |  |  |  |  | 960974.00 |  | 907813.00
Lowest Amount Quoted BY: BUDHIRAJA ENTERPRISES(907813.00)

## BOQ Summary
BOQ Summary Details Tender Title: Shifting and Reinstallation of LT Panels from Low-Lying Areas Including Rerouting of LT Cables in the Academic Area at IIT Delhi. Tender ID: 2026_IIT_926562_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | BUDHIRAJA ENTERPRISES (BID ID -3485758) | 907813.00 | L1
| 2 | SUPER MOTOR WINDING & REFRIGERATION WORK (BID ID -3482219) | 960974.00 | L2