## BoQ1
eProcurement System Government of India Created By: Ishani Priyadarshini Created Date/Time: 15-Oct-2026 04:47 PM Tender Title: Repairing and replacement of defective parts of Cooling towers of DMS building and Bharti building at IIT Delhi Campus Tender ID: 2026_IIT_928128_1
Tender Inviting Authority: IIT DELHI
Name of Work: Repairing and replacement of defective parts of Cooling towers of DMS building and Bharti building at IT Delhi Campus.
Contract No: IITD/WORKS(SP-5417)2026
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Item Code | SONA COOLING TOWERS (GSTN-07ADYFS7277C1ZD) BID ID -3487517 |  | Flowtech Cooling System (GSTN-NA) BID ID -3488097
[5 empty] | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | L1 Rate Without Tax | L1 Bidder Without Tax | L1 Rate With Tax | L1 Bidder With Tax
1.00 | Repairing and servicing of cooling towers: capacity 5 x 40 TR 'DMS Building', including dismantling and removal of existing defective damaged choked items, cleaning of cooling tower sump thoroughly and replacement of new spares parts as per following: (old replaced fills need to be removed out of the campus for disposed)
1.10 | PVC fill size 600 x 300 x 150 mm (make - sona/ PA Harpur/ flow tech/ Mihir) | 100.00 | Each | item1 | 59000.00 | 59000.00 | 58100.00 | 58100.00 | 58100.00 | Flowtech Cooling System | 58100.00 | Flowtech Cooling System
1.20 | PVC fill size 600 x 1800 mm (make - sona/ PA Harpur/ flow tech/ Mihir) | 300.00 | Each | item2 | 247500.00 | 247500.00 | 242400.00 | 242400.00 | 242400.00 | Flowtech Cooling System | 242400.00 | Flowtech Cooling System
2.00 | Providing, laying, testing & commissioning of 'C' class heavy duty MS pipe conforming to IS 1239/Class -II of IS: 3589 including Welding, fittings like elbows, tees, flanges, tapers, nuts bolts, gaskets etc. and fixing the pipe on the wall/ceiling with suitable clamp/support frame and painting with two or more coats of synthetic enamel paint of required shade complete as required :
2.10 | M.S. Pipe 50 mm dia | 24.00 | Metre | item3 | 37080.00 | 37080.00 | 36240.00 | 36240.00 | 36240.00 | Flowtech Cooling System | 36240.00 | Flowtech Cooling System
2.20 | M.S. Pipe 40 mm dia | 18.00 | Metre | item4 | 22410.00 | 22410.00 | 21960.00 | 21960.00 | 21960.00 | Flowtech Cooling System | 21960.00 | Flowtech Cooling System
2.30 | M.S. Pipe 125 mm dia | 9.00 | Metre | item5 | 31905.00 | 31905.00 | 33903.00 | 33903.00 | 31905.00 | SONA COOLING TOWERS | 31905.00 | SONA COOLING TOWERS
2.40 | M.S. Pipe 150 mm dia | 2.00 | Metre | item6 | 8500.00 | 8500.00 | 8340.00 | 8340.00 | 8340.00 | Flowtech Cooling System | 8340.00 | Flowtech Cooling System
3.00 | BUTTERFLY VALVE (MANUAL) with C I body SS disc nitrile sheet & O - ring & PN 16 pressure rating as specified.
3.10 | 150 mm dia | 9.00 | Each | item7 | 68157.00 | 68157.00 | 66780.00 | 66780.00 | 66780.00 | Flowtech Cooling System | 66780.00 | Flowtech Cooling System
3.20 | 50 mm dia | 6.00 | Each | item8 | 21990.00 | 21990.00 | 21528.00 | 21528.00 | 21528.00 | Flowtech Cooling System | 21528.00 | Flowtech Cooling System
4.00 | BALANCING VALVE WITH BUILT IN MEASURING FACILITY with C I body flanged construction with EPDM coated disc with long pitch with protected out pipe insulation & PN 16 pressure rating for chilled / hot water circulation as specified.
4.10 | 100 mm dia (4") | 2.00 | Each | item9 | 42020.00 | 42020.00 | 41176.00 | 41176.00 | 41176.00 | Flowtech Cooling System | 41176.00 | Flowtech Cooling System
5.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank.(Two tank Each 2000 Ltr.) | 4000.00 | Ltr. | item10 | 40000.00 | 40000.00 | 40000.00 | 40000.00 | 40000.00 | SONA COOLING TOWERS, Flowtech Cooling System | 40000.00 | SONA COOLING TOWERS, Flowtech Cooling System
6.00 | Providing and finishing with Epoxy paint (two or more coats) at all locations prepared and applied as per manufacturer's specifications including appropriate priming coat, prepration of surface etc. complete on MS pipe, structures and other surfaces. | 65.00 | Sqm | item11 | 13910.00 | 13910.00 | 13650.00 | 13650.00 | 13650.00 | Flowtech Cooling System | 13650.00 | Flowtech Cooling System
7.00 | FRP suction Plate | 3.00 | Each | item12 | 21150.00 | 21150.00 | 20730.00 | 20730.00 | 20730.00 | Flowtech Cooling System | 20730.00 | Flowtech Cooling System
8.00 | Supplying and fixing following size Gate Valve complete with all necessary fittings, jointing materials and accessories, as required.
8.10 | 65 mm (2½") dia | 1.00 | Each | item13 | 10700.00 | 10700.00 | 10500.00 | 10500.00 | 10500.00 | Flowtech Cooling System | 10500.00 | Flowtech Cooling System
8.20 | 50 mm (2") dia | 2.00 | Each | item14 | 17284.00 | 17284.00 | 16930.00 | 16930.00 | 16930.00 | Flowtech Cooling System | 16930.00 | Flowtech Cooling System
8.30 | 40 mm (1½") dia | 5.00 | Each | item15 | 30755.00 | 30755.00 | 30125.00 | 30125.00 | 30125.00 | Flowtech Cooling System | 30125.00 | Flowtech Cooling System
9.00 | Supplying and fixing 25 mm (1") socket with Gate Valve assembly complete with all necessary fittings and accessories, as required. | 2.00 | Each | item16 | 4720.00 | 4720.00 | 4630.00 | 4630.00 | 4630.00 | Flowtech Cooling System | 4630.00 | Flowtech Cooling System
10.00 | Supplying and fixing following size GI nipple complete with all necessary jointing materials, as required.
10.10 | 50 mm × 300 mm (2" × 12") | 2.00 | Each | item17 | 2174.00 | 2174.00 | 2130.00 | 2130.00 | 2130.00 | Flowtech Cooling System | 2130.00 | Flowtech Cooling System
10.20 | 40 mm × 300 mm (1½" × 12") | 2.00 | Each | item18 | 1940.00 | 1940.00 | 1900.00 | 1900.00 | 1900.00 | Flowtech Cooling System | 1900.00 | Flowtech Cooling System
11.00 | Supplying and fixing following size MS Elbow complete with all necessary jointing materials and accessories, as required.
11.10 | 50 mm (2") | 4.00 | Each | item19 | 1600.00 | 1600.00 | 1560.00 | 1560.00 | 1560.00 | Flowtech Cooling System | 1560.00 | Flowtech Cooling System
11.20 | 40 mm (1½") | 4.00 | Each | item20 | 1360.00 | 1360.00 | 1348.00 | 1348.00 | 1348.00 | Flowtech Cooling System | 1348.00 | Flowtech Cooling System
12.00 | Supplying and fixing 150 mm MS I-Section by welding, including cutting, alignment, welding, grinding of weld joints and all necessary consumables and incidental works complete, as required. | 12.00 | Metre | item21 | 35760.00 | 35760.00 | 35100.00 | 35100.00 | 35100.00 | Flowtech Cooling System | 35100.00 | Flowtech Cooling System
13.00 | Overhauling , Servicing and repairing of cooling tower (Paharpur make) gearbox and changing of bearing, oilseal, alignment balancing of fan set after that fixing in same position. | 3.00 | Job | item22 | 35400.00 | 35400.00 | 34920.00 | 34920.00 | 34920.00 | Flowtech Cooling System | 34920.00 | Flowtech Cooling System
| Total in Figures |  |  |  | 755315.00 | 755315.00 | 743950.00 | 743950.00

## BOQ Summary
BOQ Summary Details Tender Title: Repairing and replacement of defective parts of Cooling towers of DMS building and Bharti building at IIT Delhi Campus Tender ID: 2026_IIT_928128_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Flowtech Cooling System (BID ID -3488097) | 743950.00 | L1
| 2 | SONA COOLING TOWERS (BID ID -3487517) | 755315.00 | L2