## BoQ1
eProcurement System Government of India Created By: Priyadarsini Gaddam Created Date/Time: 23-Oct-2026 11:53 AM Tender Title: Civil Works for Supply and Installation of Wire Mesh Fencing including Emergency Exit around SSST Lab at IPR Campus, Bhat, Gandhinagar-382428 Tender ID: 2026_IPR_926799_1
Tender Inviting Authority: Dean (Admin)
Name of Work: Civil Works for Supply and Installation of Wire Mesh Fencing including Emergency Exit around SSST Lab at IPR Campus, Bhat, Gandhinagar-382428
Contract No: IPR/TN/CIVIL/07/2026
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED (GSTN-NA) BID ID -3494064 |  | N J Corporation (GSTN-NA) BID ID -3494447
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : NOTE: All fitting works shall be carried out as per I.S specifications including necessary rivets, screws, lugs, scaffolding, etc., complete all generally as per drawings. The sizes of the components should confirm as per details in drawings. The cost also included for sliding arrrangements including locking arrangements of sliding window. For fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 520.00 | Kg. | 0.00 | 960.00 | 499200.00 | 915.00 | 475800.00 | 475800.00 | N J Corporation
2.00 | Providing and fixing of frame work (Styles and rails) for Doors shuters / window shutters with required sections including providing all items and hinged / pivoted arrangements for operation of shutters and cost for fixing of sliding arrangements etc., complete. (Aluminium beadings and glazing clips measured under this item only). For the detail specifican, you will cansider the spefication of item number 1. | 50.00 | Kg. | 0.00 | 800.00 | 40000.00 | 1000.00 | 50000.00 | 40000.00 | RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED
3.00 | Providing and fixing hinges of Stainless steel of size 100mm*58mm*1.9mm including bolt, SS screw and other necessary connections and as directed by EIC. | 18.00 | No.s | 0.00 | 600.00 | 10800.00 | 350.00 | 6300.00 | 6300.00 | N J Corporation
4.00 | Providing and fixing aluminium handles of 200 mm size, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | 10.00 | No.s | 0.00 | 425.00 | 4250.00 | 750.00 | 7500.00 | 4250.00 | RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED
5.00 | Supplying and fixing Chromium plated Brass lock 6 levers 100mm of approved quality aluminum door lock with two keys, suitable either to single or double leaf shutters including removing of existing old door lock from existing door frames, making necessary recess in existing aluminum frame and fixing the new door lock with CP. Brass steel screws, etc.; complete as directed by Engineer-in-charge. | 1.00 | No.s | 0.00 | 1100.00 | 1100.00 | 900.00 | 900.00 | 900.00 | N J Corporation
6.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 300x10 mm | 3.00 | No.s | 0.00 | 600.00 | 1800.00 | 450.00 | 1350.00 | 1350.00 | N J Corporation
7.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 2.00 | No.s | 0.00 | 4800.00 | 9600.00 | 4000.00 | 8000.00 | 8000.00 | N J Corporation
8.00 | Providing and filling silicon sealant at the joint of aluminum and plaster of size 5 mm x 5 mm in triangle shape to make the surface water leakage proof at periphery of window and others from inside and outside both etc., as directed by EIC. NOTE: Including scaffolding, curing etc. | 350.00 | Rmt | 0.00 | 300.00 | 105000.00 | 70.00 | 24500.00 | 24500.00 | N J Corporation
9.00 | Providing and fixing of full threaded Anchor fastner rod- M10 x 115 (Material-Carbon steel of grade C 4.8 or above and Zinc plated ) with Epoxy resin anchor grout chemical (for RCC-High loading capacity, Non corrosive for rebar element, Approved by European technical assessment, Fire resistance) and for Brick Masonary- (Fire resistance and high corrosion resistance) - HIT-RE-500 Epoxy chemical or equivalent including drilling in R.C.C. etc., for all height and levels etc., The installation and the setting instructions of anchor fastner and chemical should be strictly followed as per the manufacturer’s recommendations. Complete all as instructed and directed by Engineer-in-charge. The Payment shall be made on the actual quantity of bolts fixed at the site. | 90.00 | Each | 0.00 | 400.00 | 36000.00 | 450.00 | 40500.00 | 36000.00 | RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED
10.00 | Providing, fabricating, assembling, hosting / erecting and fixing in position at all heights / all levels / all floors / all shapes and sizes with all leads and lifts structural steel works made from tubular sections as per IS 1161(round hollow sections) or box sections (square, rectangular hollow sections as per IS 4923), as per detailed drawing and design including cutting, wastage, welding, bending (shop at site), hoisting, drilling, fixing in position, bolting wherever necessary, in position welding of required lengths, griding, finishing edges, filling the welded spots with paint, grouting in the RCC members including priming all the sections with one coat of zinc based yellow primer including preparing the surface, Scaffolding, Required size of anchor etc., complete at any heights/levels all as per instructions, specifications and as directed by Engineer – in – Charge (only standard measurements will be paid) Note:  The fabrication work shall be confirm IS standard  The quoted rates should be inclusive of the all materials, labours, one coat of primer, welding rods for all structural sections, bolts, washers, Scaffolding (Wherever necessary) as per suit and site conditions with taken care of safety measures, Payment shall be made only for actual material fixed at site as per standard measurement (weights) only. Rolling margin and wastage shall not be paid. | 1400.00 | Kg. | 0.00 | 150.00 | 210000.00 | 149.00 | 208600.00 | 208600.00 | N J Corporation
11.00 | Structural steel work for base plates, gussets plates, stiffeners, connecting plates etc including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 180.00 | Kg. | 0.00 | 175.00 | 31500.00 | 149.00 | 26820.00 | 26820.00 | N J Corporation
12.00 | Structural steel work for Chequered etc including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete | 160.00 | Kg. | 0.00 | 160.00 | 25600.00 | 149.00 | 23840.00 | 23840.00 | N J Corporation
13.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 60.00 | Sqm | 0.00 | 550.00 | 33000.00 | 225.00 | 13500.00 | 13500.00 | N J Corporation
14.00 | Providing and fixing anodised aluminium grill (anodised transparent or dyed to required shade according to IS: 1868 with minimum anodic coating of grade AC 15) of approved design/ pattern, with approved standard section and fixed to the existing frame with C.P. brass/ stainless steel screws @ 200 mm centre to centre, including cutting the grill to proper opening size for fixing and operation, joints mitered and corners grinded with joints, fixing with “F” / “H” aluminum section inside frame work all as per details shown in drawings and specification with all the section of handles and fixing approved anodised aluminium standard section around the opening, all complete as per requirement and direction of Engineer-incharge. (Only weight of grill to be measured for payment). | 300.00 | Sqm | 0.00 | 1300.00 | 390000.00 | 2200.00 | 660000.00 | 390000.00 | RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED
| Total in Figures |  |  |  |  | 1397850.00 |  | 1547610.00
Lowest Amount Quoted BY: RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED(1397850.00)

## BOQ Summary
BOQ Summary Details Tender Title: Civil Works for Supply and Installation of Wire Mesh Fencing including Emergency Exit around SSST Lab at IPR Campus, Bhat, Gandhinagar-382428 Tender ID: 2026_IPR_926799_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | RUDRAVEER ELECTROMECH PROJECTS PRIVATE LIMITED (BID ID -3494064) | 1397850.00 | L1
| 2 | N J Corporation (BID ID -3494447) | 1547610.00 | L2