## BoQ1
eProcurement System Government of India Created By: Ajay Shukla Created Date/Time: 12-Oct-2026 03:21 PM Tender Title: Development of Pedatric deptt at MCH Building at MGIMS/KHS, Sevagram. Tender ID: 2026_MGIMS_922014_1
Tender Inviting Authority:Secretary, KHS Sevagram.
Name of Work: Development of Pedatric deptt at MCH Building at MGIMS/KHS, Sevagram.
Contract No:eTender/2026-27/EMD/02
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Item Code | Kisanlal Panchamlal Bardhiya (GSTN-27ACGPB9682H1ZC) BID ID -3468093 |  | J M ASSOCIATES (GSTN-NA) BID ID -3467510 |  | SM ENGINEERING (GSTN-NA) BID ID -3478498
[5 empty] | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | L1 Rate Without Tax | L1 Bidder Without Tax | L1 Rate With Tax | L1 Bidder With Tax
1.00 | Part A- Dismentling
1.01 | Dismantling brick masonry in lime or cement mortar and stacking the materils as directed with all leads, lifts etc. | .96 | Cu.m | item1 | 768.00 | 906.24 | 1920.00 | 2265.60 | 806.40 | 951.55 | 768.00 | Kisanlal Panchamlal Bardhiya | 906.24 | Kisanlal Panchamlal Bardhiya
1.02 | Removing doors and windows with frames/ without frame and stacking the materials as directed with all leads, lifts etc. complete. | 4.32 | Sq.m | item2 | 1555.20 | 1835.14 | 6480.00 | 7646.40 | 820.80 | 968.54 | 820.80 | SM ENGINEERING | 968.54 | SM ENGINEERING
1.03 | Removing Grill and stacking materials as directed with all leads, lifts etc. complete. | 4.32 | Sq.m | item3 | 1684.80 | 1988.06 | 8640.00 | 10195.20 | 928.80 | 1095.98 | 928.80 | SM ENGINEERING | 1095.98 | SM ENGINEERING
2.00 | Part B- Renovation
2.01 | Providing Second class fly ash brick masonry with conventional / I.S. type bricks in cement mortar 1:4 in half brick thick wall including mild steel longitudinal reinforcement of two bars of 6 mm diameter / two hoop iron strips 25 mm x 1.60 mm at every third course, properly bent and bounded at ends scaffolding raking out joints and watering etc. complete. | 435.94 | Sqmt | item8 | 396705.40 | 468112.37 | 653910.00 | 771613.80 | 285540.70 | 336938.03 | 285540.70 | SM ENGINEERING | 336938.03 | SM ENGINEERING
2.02 | Providing fly ash Brick masonry with conventional/ I.S. type bricks in cement mortar 1:6 in superstructure including striking joints, raking out joints, watering and scaffolding etc. Complete | 36.69 | Cum | item9 | 306361.50 | 361506.57 | 49531.50 | 58447.17 | 204179.85 | 240932.22 | 49531.50 | J M ASSOCIATES | 58447.17 | J M ASSOCIATES
2.03 | Providing and laying Cast in situ/Ready Mix cement concrete in M-20 of trap/ granite/ quartzite/ gneiss metal for R.C.C. beams and lintels as per detailed designs and drawings or as directed including steel centering, formwork, cover blocks, laying/pumping, compaction and roughening the surface if special finish is to be provided and curing etc. complete. (Excluding reinforcement and structural steel).with fully automatic micro processor based PLC with SCADA enabled reversible Drum Type mixer/ concrete Batch mix plant (Pan mixer) etc.complete. With fine aggregate (Crushed sand VSI Grade) | 1.28 | Cu.m | item10 | 17920.00 | 21145.60 | 17280.00 | 20390.40 | 10278.40 | 12128.51 | 10278.40 | SM ENGINEERING | 12128.51 | SM ENGINEERING
2.04 | Providing and laying Cast in situ/Ready Mix cement concrete M-15 of trap/ granite/quartzite/gneiss metal for coping to plinth or parapet, moulded or chamfered as per drawing or as directed including steel centering, plywood/ steel formwork compacting, roughening them if special finish is to be provided, finishing uneven and honeycombed surface and curing etc. complete. The Cement Mortar 1:3 plaster is considered for rendering uneven and honeycombed surface only. Newly laid concrete shall be covered by gunny bag, plastic, tarpaulin etc. (Wooden centering will not be allowed.) With fine aggregate (Crushed sand VSI Grade) Bd | 1.21 | Cu.m | item11 | 11495.00 | 13564.10 | 17545.00 | 20703.10 | 9056.85 | 10687.08 | 9056.85 | SM ENGINEERING | 10687.08 | SM ENGINEERING
2.05 | Providing and fixing in position TMT-FE-500 bar reinforcement of various diameters for R.C.C. pilecaps, footings, foundations, slabs, beams columns, canopies, staircase, newels, chajjas, lintels pardis, copings, fins, arches etc. as per detailed designs, drawings and schedules .including cutting, bending, hooking the bars, binding with wires or tack welding and supporting as required complete. | .25 | M.T | item12 | 20250.00 | 23895.00 | 23750.00 | 28025.00 | 16882.50 | 19921.35 | 16882.50 | SM ENGINEERING | 19921.35 | SM ENGINEERING
2.06 | Providing internal cement plaster 12mm thick in Single coats in cement mortar 1:3 without neeru finish, to concrete, brick surface, in all positions including scaffolding and curing etc.complete. | 830.90 | Sq.mt | item13 | 506849.00 | 598081.82 | 307433.00 | 362770.94 | 195261.50 | 230408.57 | 195261.50 | SM ENGINEERING | 230408.57 | SM ENGINEERING
2.07 | Providing and fixing mild steel grill work for windows, ventilators etc. 20 Kilogram/Square In Rs.Metre as per drawing including fixtures, necessary welding and painting with one coats of anticorrosive paint and two coats of oil painting complete. | .90 | Sq.mt | item14 | 2790.00 | 3292.20 | 2241.00 | 2644.38 | 1683.00 | 1985.94 | 1683.00 | SM ENGINEERING | 1985.94 | SM ENGINEERING
2.08 | Providing sills of required material 20mm to 25mm thick, on a bed of cement mortar 1:4 including cement float, filling joints with neat cement slurry, curing, moulding edges, polishing,cleaning complete. b) Granite | 5.64 | Sqmt | item15 | 22334.40 | 26354.59 | 29480.28 | 34786.73 | 7726.80 | 9117.62 | 7726.80 | SM ENGINEERING | 9117.62 | SM ENGINEERING
2.09 | Providing and laying ceramic tiles having size 30cm.x 60cm. confirming to corresponding I.S. for dado and skirting (use only Kajariya/Simpolo) in required position with ready made adhesive mortar of approved quality on plaster of 1:2 cement mortar including joint filling with white/ colour epoxy cleaning curing etc. complete. (Tiles should be pasted using chemical Adhesive only and a spacer of 3mm around all four corners of the tiles should be provided.) | 198.88 | Sqmt | item16 | 202857.60 | 239371.97 | 532004.00 | 627764.72 | 190924.80 | 225291.26 | 190924.80 | SM ENGINEERING | 225291.26 | SM ENGINEERING
2.10 | Providing and laying matt finish ceramic tiles of having size 30 cm x 30 cm confirming to I.S.15622/2006 (group D II-A) and 7 to 8 mm thick for flooring in required position laid on a bed of 1:4 cement mortar including cement float, filling joint with white/colour cement slurry cleaning curing etc. complete.(Kajaria/Simpolo) | 9.56 | Sqmt | item17 | 9560.00 | 11280.80 | 15296.00 | 18049.28 | 6261.80 | 7388.92 | 6261.80 | SM ENGINEERING | 7388.92 | SM ENGINEERING
2.11 | Providing and laying vitrified matt finish full body tiles having size 590 mm to 605mm to 605mm of 8to10mm thickness and confirming IS.15622-2006 (GroupBla) of approved make (Kajariya/Simpolo), shade and pattern for flooring in required position laid on a bed of 1:4 cement mortar including neat cement float, filling joints, curing and cleaning etc. complete.(Tiles should be pasted using chemical Adhesive only and a spacer of 3mm around all four corners of the tiles should be provided with epoxy) | 317.12 | Sqmt | item18 | 399571.20 | 471494.02 | 665952.00 | 785823.36 | 361516.80 | 426589.82 | 361516.80 | SM ENGINEERING | 426589.82 | SM ENGINEERING
2.12 | Providing and fixing in position Gypsum board false ceiling with 12.5 mm thick Gypsum boards, screwed/fixed to the under structure of suspended G.I. Grid constructed and suspended from the main ceiling consisting of ceiling sections of size 25 x 50 mm maximum center to center distance of 600 milimetre perimeter channel and intermediate channels at maximum center to center distance 1200 milimetre galvanized grid should be fixed to reinforced cement concrete slab. The gypsum board should be fixed to galvanized iron grid with necessary screws. The boards should be taped and filled from underside to give smooth, seamless ceiling. The rate should include necessary additional ceiling sections and intermediate channels. Additional intermediate channels should be fixed to strap hangers for additional support to prevent strapping at every 1200 milimetre item to be completed in all respect including necessary sleeves for ducts finishing of joints cut outs, painting including labour, material, lifts etc. all complete. (Make- Gyproc) | 317.12 | Sqmt | item19 | 250524.80 | 295619.26 | 700518.08 | 826611.33 | 448724.80 | 529495.26 | 250524.80 | Kisanlal Panchamlal Bardhiya | 295619.26 | Kisanlal Panchamlal Bardhiya
2.13 | Providing and fixing in position (as per1868/1982) Aluminium sliding window of three tracks with rectangular pipe 95 x 38.10 x 0.90 mm at weight 0.637 Kilogram /Running metre. with window frame bottom track section 92 x 31.75 x 1.30 mm at weight 1.070 Kilogram/Running metre.Top and side track section 92 x 31.75 x 1.30 mm at weight 0.933 Kilogram/Running metre.The shutter should be of bearing bottom 40 x 18 x 1.25 mm at weight 0.417 Kilogram / Running metre. Inter locking section 40 x 18 x 1.10mm at weight 0.469 Kilogram / Running metre. and handle and top section 40 x 18 x 1.25 mm at weight 0.417 Kilogram / Running metre. As per detailed drawings and as directed by Engineer incharge with all necessary Aluminium sections fixtures and fastenings such as roller bearing in nylon casting and selflocking catch fitted in vertical section of shutter including 5 mm thick plain glass and aluminium mosquito net shutter with stainless steel jail with all required screws and nuts etc, complete. With colour Anodising without box | 12.96 | Sqmt | item20 | 64800.00 | 76464.00 | 77760.00 | 91756.80 | 42573.60 | 50236.85 | 42573.60 | SM ENGINEERING | 50236.85 | SM ENGINEERING
2.14 | Providing and applying impression 24 carrat Luxury paint of approved make & approved brand Emulsion paint to interior walls and ceilings of approved quality,colour and shade to newsurface in two coats, including sub surface prparation by Acrylic putty and Acrylic primer coats including scaffolding, preparing the surface. etc. complete (Low VOC). (Makes Asian/ Berger) (Ceiling Colour also included) | 1498.15 | Sqmt | item21 | 329593.00 | 388919.74 | 569297.00 | 671770.46 | 194759.50 | 229816.21 | 194759.50 | SM ENGINEERING | 229816.21 | SM ENGINEERING
2.15 | Providing and applying two coats of synthetic enamel paint of approved colour to new/old structural steel work and wood work in buildings, including scaffolding if necessary, cleaning and preparing the surface (including primer coat) etc. complete. (Make Asian/Berger) | 36.72 | Sqmt | item22 | 8445.60 | 9965.81 | 13770.00 | 16248.60 | 3304.80 | 3899.66 | 3304.80 | SM ENGINEERING | 3899.66 | SM ENGINEERING
2.16 | Providing and fixing European type wall-hung white water closet of approved make with push valve concealed type with cover plate 32mm size of approved make including soil pipe, vent pipe up to outside face of wall ,100mm dia. G.I. plug bend inlet pipe all fittings, cuttingand making good walls, floors etc. complete. (Make Kolher/Roca) | 2.00 | Nos | item23 | 30000.00 | 35400.00 | 44200.00 | 52156.00 | 69350.00 | 81833.00 | 30000.00 | Kisanlal Panchamlal Bardhiya | 35400.00 | Kisanlal Panchamlal Bardhiya
2.17 | Providing and fixing White glazed with bottle trap earthenware Wash Hand Basin of 55x40 cm size including cold water piller taps, brackets, rubber plugs and brass chain, stop tap, chromium plate bottle trap and necessary pipe connections including UPAC waste pipe and trap upto the outside face of the wall, making good the damaged surface, testing etc. complete. (Make Kolher/Roca) | 5.00 | Nos | item24 | 25500.00 | 30090.00 | 32500.00 | 38350.00 | 47900.00 | 56522.00 | 25500.00 | Kisanlal Panchamlal Bardhiya | 30090.00 | Kisanlal Panchamlal Bardhiya
2.18 | Providing & fixing 15 cm rigid PVC Nahani trap including PVC gratiny bend etc. (Make Supreme/Astral) | 5.00 | Nos | item25 | 4750.00 | 5605.00 | 10000.00 | 11800.00 | 1925.00 | 2271.50 | 1925.00 | SM ENGINEERING | 2271.50 | SM ENGINEERING
2.19 | Providing & laying in trenches 20 mm dice CPVC pipe including necessary excavation, Fittings retilling trenches etc. (Make Supreme/Astral) | 110.00 | RMT | item26 | 41800.00 | 49324.00 | 22000.00 | 25960.00 | 31350.00 | 36993.00 | 22000.00 | J M ASSOCIATES | 25960.00 | J M ASSOCIATES
2.20 | Providing & fixing 75 mm dia stablishes pipe/PVC soil vent / waste pipe & with necessary fixtures & fitting etc. (Make Supreme/Astral) | 110.00 | RMT | item27 | 53900.00 | 63602.00 | 27500.00 | 32450.00 | 46200.00 | 54516.00 | 27500.00 | J M ASSOCIATES | 32450.00 | J M ASSOCIATES
2.21 | Providing & fixing 100 mm dia stablishes pipe/PVC soil vent / waste pipe & with necessary fixtures & fitting etc. (Make Supreme/Astral) | 110.00 | RMT | item28 | 64350.00 | 75933.00 | 27500.00 | 32450.00 | 63250.00 | 74635.00 | 27500.00 | J M ASSOCIATES | 32450.00 | J M ASSOCIATES
2.22 | Providing & fixing stainless steel sink size 460 x 460 x 230 mm 1mm Thick etc. (Make Nirali) | 1.00 | Nos | item29 | 7900.00 | 9322.00 | 20000.00 | 23600.00 | 3470.00 | 4094.60 | 3470.00 | SM ENGINEERING | 4094.60 | SM ENGINEERING
2.23 | Providing & fixing CP two way bib were of approved make continental including necessary socket/union etc (Make Kolher/Roca) | 4.00 | Nos | item30 | 12000.00 | 14160.00 | 18000.00 | 21240.00 | 5120.00 | 6041.60 | 5120.00 | SM ENGINEERING | 6041.60 | SM ENGINEERING
2.24 | Providing & fixing hand shower ( health funcet ) with 8mm dia 1 mm flong flexible tube etc. (Make Kolher/Roca) | 2.00 | Nos | item31 | 5800.00 | 6844.00 | 6000.00 | 7080.00 | 1730.00 | 2041.40 | 1730.00 | SM ENGINEERING | 2041.40 | SM ENGINEERING
2.25 | Providing & fixing 450 mm x 550 mm size supersils type Belgium mirror with 16 mm dia Nickel plate towel rod etc…(Make Saint Gobian/ Modi Guard) | 2.00 | Nos | item32 | 5600.00 | 6608.00 | 9000.00 | 10620.00 | 4020.00 | 4743.60 | 4020.00 | SM ENGINEERING | 4743.60 | SM ENGINEERING
2.26 | Providing and fixing factory made door / Window frames of required colour made with wood Polymercomposite (WPC) extuded internal ribbed sections conforming to American Society for testing and materials (ASTM) inregard with density, tensile strength, flexural strength, Izod impact,water absorption and screw with drawal strength with wall thickness of 5mm (+/1mm) and with frame shaving mitred joints at each corner, joined together by two nos.of 10x8 mm & 40 mm long PVC dove tail keys including hard wood piece support along the full vertical and horizontal length in rebate portion hole for fixing hinges and fixtures and the frames fixed to Walls/columns with 15 mm long dash fasteners/holdfasts (dash fasteners/holdfasts to be paid separately) etc. complete as per the direction of Engineer in charge,with prior approval of concerned Superitending Engineer 1.1. For Profile size of 100 x 50 mm with 32 x 12 mm rebate | 5.70 | RMT | item33 | 5814.00 | 6860.52 | 28500.00 | 33630.00 | 10402.50 | 12274.95 | 5814.00 | Kisanlal Panchamlal Bardhiya | 6860.52 | Kisanlal Panchamlal Bardhiya
2.27 | Providing and fixing frame with / without ventilator of size as specified with Country cut teak wood for doors and windows including chamfering, rounding, rebating, iron hold fast of size 300 mm x 40 mm x 5 mm with oil painting, etc. complete | .89 | Cum | item34 | 134390.00 | 158580.20 | 2225.00 | 2625.50 | 90962.45 | 107335.69 | 2225.00 | J M ASSOCIATES | 2625.50 | J M ASSOCIATES
2.28 | Providing and fixing pine wood door shutter in single leaf 32 mm thick decorative type of exterior grade as per detailed drawings approved Laminate 1 mm thick on both face so as directed, all necessary beads, mouldings and lipping, rought iron hold fasts, chromium plated fixtures and fastenings, with S.S Hinges, Tower bolt, latches, Aldrop, handle and door stopper, chromium plated handles on both sides, and finishing etc. complete. (with both side Laminated) | 34.65 | Sqmt | item35 | 145530.00 | 171725.40 | 173250.00 | 204435.00 | 58558.50 | 69099.03 | 58558.50 | SM ENGINEERING | 69099.03 | SM ENGINEERING
2.29 | Providing and fixing factory-made solid Waterproof Wood Plastic Composite (WPC) Door Shutter of approved make for bathrooms/toilets, 25 mm thick and of approved size (generally 750 mm × 2100 mm or as per site requirement), manufactured from high-density WPC material, 100% waterproof, termite proof, borer proof, fungus resistant, moisture resistant, corrosion resistant, warp-free and suitable for wet areas, with smooth factory-finished surface of approved colour and texture, fixed to the existing/new frame with 3 Nos. stainless steel (SS-304) ball bearing hinges (100 mm), SS-304 tower bolt (150 mm), SS-304 D-type handles (150 mm pair), door stopper, all necessary stainless steel screws, fasteners and fixtures, including cutting, trimming, fitting, making necessary adjustments for proper alignment and smooth operation, complete in all respects as directed by the Engineer-in-Charge. (Front side PU Paint) | 3.15 | Sqmt | item36 | 11970.00 | 14124.60 | 15750.00 | 18585.00 | 7764.75 | 9162.41 | 7764.75 | SM ENGINEERING | 9162.41 | SM ENGINEERING
2.30 | Providng and fixing in position anodised extruded aluminum partitions, partly glazed and partly laminated having frame made out of extruded tubular section of size 40 mm x 60 mm with 12 mm thick three layered flat pressed teak wood particle board bonded with BWP type exterior grade phenol formaldehyde synthetic resin conforming to IS 128231990, laminated on both sides,Novateakor equivalent and 5 mm thick selected quality plain/ float glass panels fixed with aluminum glass clips 12 mm x 12 mm and rubber cushioning beading to glass partitions as per approved drawing etc. compete | 64.26 | Sqmt | item37 | 244188.00 | 288141.84 | 353430.00 | 417047.40 | 293346.90 | 346149.34 | 244188.00 | Kisanlal Panchamlal Bardhiya | 288141.84 | Kisanlal Panchamlal Bardhiya
2.31 | Providing and fixing in position, Single shuttered aluminium extruded Anodised openable door of specified size with aluminium door frame of anodised section 101.60 x 44.75mm , 3.18 mm thick and shutter comprising of anodised section having bottom and lock rail of size 150 mm x 44.5 mm x 3.00 mm thick top rails 47.62 x 44.45 mm x 3.00 mm thick , vertical style 47.62 x 44.45 mm, 3.00 mm thick and for shutter plain glass panes 5 mm thick for top panels and 12mm thick both side laminated phenol bonded particle board panels for bottom panels etc. , I.S.I. mark , heavy duty, Hydraulic floor spring of 150Kilogram capacity , having heavy duty concealed lock, necessary beading, glazing clips, PVC gaskets, 250mm length aluminium tower bolts, 150mm dia. pad handle, etc. as per detailed design and drawing or as directed by engineer in charge including all materials , labours, and equipment etc.complete. | 11.34 | Sqmt | item38 | 66906.00 | 78949.08 | 62370.00 | 73596.60 | 74503.80 | 87914.48 | 62370.00 | J M ASSOCIATES | 73596.60 | J M ASSOCIATES
| Total in Figures |  |  |  | 3414463.50 | 4029066.93 | 4545032.86 | 5363138.77 | 2791085.60 | 3293480.97

## BOQ Summary
BOQ Summary Details Tender Title: Development of Pedatric deptt at MCH Building at MGIMS/KHS, Sevagram. Tender ID: 2026_MGIMS_922014_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SM ENGINEERING (BID ID -3478498) | 3293480.97 | L1
| 2 | Kisanlal Panchamlal Bardhiya (BID ID -3468093) | 4029066.93 | L2
| 3 | J M ASSOCIATES (BID ID -3467510) | 5363138.77 | L3