## Financial
Supply, Installation, Testing, Commissioning, Operation & Maintenance of Centralized Control & Monitoring System (CCMS) for Street Lighting on National Highways under PIU, Bongaigaon on Five (05) Year Contract Basis.
NATIONAL HIGHWAY AUTHORITY OF INDIA, RO-GUWAHATI
Name of the Contractor
Sr. | Name of Item | Unit | Quantity | Quoted Rate (₹) | Total (₹)
1 | Supply, Installation, Testing & Commissioning of Centralized Control & Monitoring System (CCMS) conforming to the Technical Specifications of the RFP under Section-IV (Technical Bid), including but not limited to: a) CCMS Feeder Panel (3-Phase) with enclosure, pole-mounted or ground/stand-mounted, and accessories etc. b) CCMS Controller / RTU / Gateway with GPRS/GSM communication c) 3-Phase DLMS compliant Energy Meter d) Protection devices (MCCB/MCB/ELCB/SPD, relays, contactors, etc.) e) Antenna, wiring, earthing, and all hardware accessories f) Web-based Central Control & Monitoring Software | Per CCMS | 0 | 0 | 0
2 | Operation & Maintenance (O&M) of CCMS, including software support, server/cloud hosting, SIM/data connectivity, batteries, consumables, spares, preventive & breakdown maintenance, fault rectification, and reporting, complete in all respects, shall be payable at the rate of 12.5 % of the accepted CCMS supply and installation cost per feeder panel per year, applicable after completion of the first year, for the remaining period of the five-year contract. |  | 0 | 0 | 0
| Total Cost (excluding GST) |  |  |  | 0

## BOQ
BOQ Preferable wattage consumption -10-25 kW for active power, LED light 180 Watts, 63/25 kVA Transformers as per actual site condition, Ingress Protection- IP-65/66
Sl. No. | Project Name | No. of LED light (including High Mast Light) | Total CCMS (Tentative) Nos. | Total required CCMS to be assessed by Bidder | Rate (Rs.) | Amount (Rs.) (5x6)
1 | 2 | 3 | 4 | 5 | 6 | 7
1 | Routine Maintenance work of National Highways in stretch from Km. 0.00 to Km. 30.000 (Assam West Bengal Border to Kachugaon NH Section, AS-12, NH-27 in the State of Assam. | 93 | 33 |  |  | 0
2 | Tolling, operation, maintenance, and management of stretches from Kachugaon – Rakhaldubi Bus Junction from existing Km 30.000 to Km 92.671 (AS-11 and AS-10) of NH-27 in the state of Assam. | 1341 | 42 |  |  | 0
3 | Tolling, operation, maintenance, and management of stretches from Rakhaldubi Bus Junction – Kaljhar from Km 961.500 to Km 1013.000 (AS-09 and AS-08) of NH-27 in the state of Assam. | 1511 | 60 |  |  | 0
4 | Tolling, operation, maintenance, and management of stretches from Kaljhar-Patacharkuchi Section from Km 1013.000 to Km 1040.300 (AS-07) of NH-27 in the state of Assam. | 2847 | 78 |  |  | 0
5 | Strengthening and Major maintenance work of stretch of Patacharkuchi to Baihata from Km 1040.300 to Km. 1097.150 (Package no. AS-06, AS-05 &amp; AS-04 balance) of NH 31 in the State of Assam on PBMC Mode (Length = 56.850 Km) | 113 | 113 |  |  | 0
| Total |  | 326*** | 0 |  | 0
*** No. of CCMS Panels is tentative, which will be executed as per actual site requirement which depends on Power Consumption, No. of Transformer & No. of lights/attached Panel.