## Financial
NATIONAL HIGHWAYS AUTHORITY OF INDIA : PIU Chandigarh Under RO-Chandigarh
Subject:- Supply, Installation, Testing, Commissioning, Operation & Maintenance of Centralized Control & Monitoring System (CCMS) for Street Lighting on highways under PIU-Chandigarh in the State of Haryana & Punjab on Five (05) Year Contract Basis.
Name of the Contractor
Bill of Quantities
Sl. No. | Name of Item | Unit | Quantity | Quoted Rate (₹)
1 | Supply, Installation, Testing & Commissioning of Centralized Control & Monitoring System (CCMS) conforming to the Technical Specifications of the RFP under Section-IV (Technical Bid), including but not limited to: | Per CCMS | 249
a) CCMS Feeder Panel (3-Phase) with enclosure Size 850*750*250, pole-mounted or ground/stand-mounted, and accessories etc.
b) CCMS Controller / RTU / Gateway with GPRS/GSM communication
c) 3-Phase DLMS/ Modbus compliant Energy Meter
d) Protection devices (MCCB/MCB/ELCB/SPD, relays, contactors, etc.)
e) Antenna, wiring, earthing, and all hardware accessories
f) Web-based Central Control & Monitoring Software
| Total Cost (excluding GST) |  |  | 0
Total Cost Excluding GST (In Words)
*Note:- 1.Operation & Maintenance (O&M) of CCMS, including software support, server/cloud hosting, SIM/data connectivity, batteries, consumables, spares, preventive & breakdown maintenance, fault rectification, and reporting, complete in all respects, shall be payable at the rate of 12.5 % of the accepted CCMS supply and installation cost per feeder panel per year, applicable after completion of the first year, for the remaining period of the five-year contract.

## Kharar to Ludhiana Section
NATIONAL HIGHWAYS AUTHORITY OF INDIA : PIU Chandigarh
Supply, Installation, Testing, Commissioning, Operation & Maintenance of Centralized Control & Monitoring System (CCMS) for Street Lighting on highways under PIU-Chandigarh in the State of Haryana & Punjab on Five (05) Year Contract Basis.
S. No. | Road Name / Stretch | Total No. of Poles | Total No. of Lights | Wattage of Each Light (W) | Total Connected Load (kW) | No. of Feeder Pillars / Panels ON/OFF Point Location Details | Remarks (if any)
1 | 4/6 Laning of Kharar to Ludhiana Section of NH-95(New NH-05)From Kharar KM 10+185 (design chainage) To Samrala Chowk, Ludhiana KM 86+199 (design chainage) in the State of Punjab on Hybrid Annuity Mode. | 92 | 175 | 250 | 43.75 | 2 | Ch-10.185 to 12.070
2 |  | 31 | 62 | 250 | 15.5 | 1 | Ch-12.800 to 14.300
3 |  | 5 | 5 | 240 | 1.2 |  | Rurkee Pukta LHS Side Ch-13.060 to 13.400
4 |  | 37 | 74 | 220 | 16.28 | 1 | Ch-13.390 to 15.500
5 |  | 12 | 12 | 80 | 0.96 |  | Chandigarh University VUP Re Wall Light Ch-15.063
6 |  | 35 | 35 | 220 | 7.7 | 1 | Chandigarh University SR Ch-15.500 to 16.880
7 |  | 8 | 8 | 180 | 1.44 | 1 | 4 Pole MCB with IP66 Junction box Ch-15.700 to 15.800
8 |  | 14 | 28 | 250 | 7 | 1 | Median Ch-16.800 to 17.900
9 |  | 16 | 16 | 80 | 1.28 |  | RE Wall VUP Ch-17.500 to 17.900
10 |  | 18 | 36 | 220 | 7.92 |  | LHS & RHS Side Ch-17.500 to 17.900
11 |  | 8 | 8 | 180 | 1.44 | 1 | 4 Pole MCB with IP66 Junction box Ch-18.525
12 |  | 26 | 52 | 250 | 13 | 1 | Morinda Fly Over Ch-20.050 to 21.325
13 |  | 17 | 17 | 220 | 3.74 |  | Morinda Fly Over Re Wall Light Ch-20.050 to 21.325
14 |  | 4 | 4 | 180 | 0.72 | 1 | 4 Pole MCB with IP66 Junction box Ch-21.300
15 |  | 26 | 50 | 250 | 12.5 | 1 | ROB 1 Ch-21.325 to 22.260
16 |  | 8 | 8 | 180 | 1.44 | 1 | 4 Pole MCB with IP66 Junction box Ch-23.200
17 |  | 25 | 25 | 220 | 5.5 | 1 | Ch-23.780 to 24.560
18 |  | 24 | 48 | 220 | 10.56 | 1 | ROB 2 Ch-24.640 to 25.000
19 |  | 18 | 34 | 250 | 8.5 | 1 | Ch-25.000 to 26.000
20 |  | 16 | 16 | 180 | 2.88 | 2 | 4 Pole MCB with IP66 Junction box Ch-26.050 to 28.150
21 |  | 10 | 20 | 250 | 5 | 1 | Ch-28.350 to 29.900
22 |  | 25 | 25 | 220 | 5.5 |  | Ch-28.350 to 29.900
23 |  | 17 | 34 | 250 | 8.5 |  | Ch-28.350 to 29.900
24 |  | 21 | 42 | 250 | 10.5 | 1 | Ch-29.950 to 30.500
25 |  | 8 | 8 | 180 | 1.44 | 1 | 4 Pole MCB with IP66 Junction box Ch-32.100 to 32.500
26 |  | 14 | 28 | 250 | 7 | 1 | Ch-33.100 to 33.950
27 |  | 16 | 16 | 80 | 1.28 | 1 | Ch-33.608 VUP Re Wall Light
28 |  | 8 | 8 | 180 | 1.44 | 1 | 4 Pole MCB with IP66 Junction box Ch-34.750 to 34.800
29 |  | 4 | 4 | 180 | 0.72 | 1 | 4 Pole MCB with IP66 Junction box Ch-36.500
30 |  | 4 | 4 | 180 | 0.72 | 1 | 4 Pole MCB with IP66 Junction box Ch-37.450
31 |  | 27 | 54 | 220 | 11.88 | 1 | Ch-38.050 to 38.600
32 |  | 18 | 36 | 250 | 9 |  | Ch-38.600 to Ch-39.670
33 |  | 42 | 42 | 220 | 9.24 |  | On Khamano elecvated Flyover on Pier Cap Lights Installed Ch-38.600 to Ch-39.670
34 |  | 75 | 150 | 250 | 37.5 | 1 | Ch-39.670 to 41.700
35 |  | 120 | 120 | 220 | 26.4 |  | On Khamano elecvated Flyover on Pier Cap Lights Installed Ch-Ch-39.670 to 40.800
36 |  | 8 | 8 | 180 | 1.44 | 1 | 4 Pole MCB with IP66 Junction box Ch-43.800 to 43.850
37 |  | 6 | 12 | 250 | 3 | 1 | Under Construction Ch-44.600 to 45.000
38 |  | 28 | 56 | 250 | 14 | 1 | VUP Ch-46.800 to 47.850
39 |  | 35 | 35 | 80 | 2.8 |  | Ch-47.180 VUP Re Wall Light
40 |  | 8 | 8 | 180 | 1.44 | 1 | 4 Pole MCB with IP66 Junction box Ch-47.900 to 48.100
41 |  | 21 | 40 | 250 | 10 | 1 | Ch-50.300 to 51.200
42 |  | 8 | 8 | 180 | 1.44 | 1 | 4 Pole MCB with IP66 Junction box Ch-51.100 to 52.800
43 |  | 31 | 31 | 220 | 6.82 | 1 | Ch-54.540 to Ch-55.500
44 |  | 16 | 16 | 180 | 2.88 | 1 | 4 Pole MCB with IP66 Junction box Ch-55.880 to 56.900
45 |  | 22 | 44 | 220 | 9.68 | 1 | Ch-57.100 to 57.700
46 |  | 4 | 4 | 180 | 0.72 | 1 | 4 Pole MCB with IP66 Junction box Ch-58.100
47 |  | 47 | 94 | 220 | 20.68 | 1 | Ch-58.100 to 59.500
48 |  | 12 | 12 | 180 | 2.16 | 2 | 4 Pole MCB with IP66 Junction box Ch-59.700 to 60.900
49 |  | 45 | 90 | 250 | 22.5 | 1 | Ch-62.160 to 63.700
50 |  | 22 | 22 | 80 | 1.76 |  | Ch-62.500 to 62.900
51 |  | 4 | 4 | 180 | 0.72 |  | 4 Pole MCB with IP66 Junction box Ch-62.950
52 |  | 41 | 81 | 250 | 20.25 | 1 | Ch-63.700 to 66.400
53 |  | 27 | 54 | 250 | 13.5 | 1 | Ch-66.400 to 67.900
54 |  | 20 | 40 | 250 | 10 | 1 | Ch-67.900 to Ch-69.100
55 |  | 16 | 32 | 250 | 8 | 1 | Ch-69.100 to 71.050
56 |  | 17 | 34 | 250 | 8.5 | 1 | Ch-71.050 to 72.900
57 |  | 25 | 50 | 250 | 12.5 | 1 | Ch-72.900 to 74.300
58 |  | 25 | 50 | 250 | 12.5 | 1 | Ch-74.300 to 75.880
59 |  | 18 | 36 | 250 | 9 | 1 | Ch-75.880 to 76.900
60 |  | 21 | 42 | 250 | 10.5 | 1 | Ch-76.900 to 78.100
61 |  | 18 | 36 | 250 | 9 | 1 | Ch-78.100 to 78.780
62 |  | 26 | 52 | 250 | 13 | 1 | Ch-78.780 to 79.500
63 |  | 28 | 56 | 250 | 14 | 1 | Ch-79.500 to 80.500
64 |  | 25 | 50 | 250 | 12.5 | 1 | Ch-80.500 to 81.300
65 |  | 20 | 40 | 250 | 10 | 1 | Ch-81.300 to 81.980
66 |  | 36 | 71 | 250 | 17.75 | 1 | Ch-81.980 to 83.100
67 |  | 27 | 54 | 250 | 13.5 | 1 | Ch-83.100 to 83.950
68 |  | 30 | 60 | 250 | 15 | 1 | Ch-83.950 to 84.900
69 |  | 18 | 36 | 250 | 9 | 1 | Ch-84.900 to 85.400
70 |  | 22 | 44 | 250 | 11 | 1 | Ch-85.400 to 86.199
|  | 1626 | 2706 |  |  | 60
*** No. of CCMS Panels is tentative, which will be executed as per actual site requirement which depends on Power Consumption, No. of Transformer & No. of lights/attached Panel.

## Memmadpur(Ambala)-Banur(IT CITY
NATIONAL HIGHWAYS AUTHORITY OF INDIA : PIU Chandigarh
Supply, Installation, Testing, Commissioning, Operation & Maintenance of Centralized Control & Monitoring System (CCMS) for Street Lighting on highways under PIU-Chandigarh in the State of Haryana & Punjab on Five (05) Year Contract Basis.
S. No. | Road Name / Stretch | Total No. of Poles | Total No. of Lights | Wattage of Each Light (W) | Total Connected Load (kW) | No. of Feeder Pillars / Panels ON/OFF Point Location Details | Remarks (if any)
1 | Development of Memmadpur(Ambala)-Banur(IT CITY CHOWK)-Kharar (Chandigarh) corridor under Bharatmala Pariyojana- Package II-6 Lanning of IT City Chowk to Kurali Chandigarh Road . | 165 | 153 | 250 | 38.25 | 2 | 0+200,700, -100,250
2 |  |  | 105 | 350 | 36.75 | 2
3 |  | 10 | 16 | 250 | 4 | 1 | 2+500
4 |  | 10 | 18 | 250 | 4.5 | 1 | 3+600
5 |  | 10 | 16 | 250 | 4 | 1 | 6+500
6 |  | 10 | 14 | 250 | 3.5 | 1 | 9+500
7 |  | 10 | 16 | 250 | 4 | 1 | 11+200
8 |  | 4 | 8 | 250 | 2 | 1 | 11+500
9 |  | 74 | 148 | 250 | 37 | 1 | 12
10 |  | 10 | 16 | 250 | 4 | 1 | 14+500
11 |  | 10 | 16 | 250 | 4 | 1 | 15+500
12 |  | 10 | 20 | 250 | 5 | 1 | 17+100
13 |  | 10 | 16 | 250 | 4 | 1 | 17+500
14 |  | 10 | 16 | 250 | 4 | 1 | 18+840
15 |  | 15 | 30 | 350 | 10.5 | 1 | Toll
16 |  | 10 | 12 | 250 | 3 | 1 | 20+450
17 |  | 10 | 16 | 250 | 4 | 0 | 20+860
18 |  | 29 | 38 | 250 | 9.5 | 1 | 21+500
19 |  | 60 | 120 | 250 | 30 | 1 | 22+080
20 |  | 25 | 25 | 250 | 6.25 | 3 | 23+00
21 |  | 10 | 16 | 250 | 4 | 1 | 23+600
22 |  | 10 | 20 | 250 | 5 | 1 | 25+500
23 |  | 151 | 200 | 250 | 50 | 2 | 27+00
24 |  |  | 56 | 350 | 19.6 | 1
25 |  | 10 | 20 | 250 | 5 | 1 | 28+500
26 |  | 50 | 20 | 250 | 5 | 1 | 31+230
27 |  |  | 50 | 350 | 17.5 | 30
*** No. of CCMS Panels is tentative, which will be executed as per actual site requirement which depends on Power Consumption, No. of Transformer & No. of lights/attached Panel.

## Ambala-Chandigarh
NATIONAL HIGHWAYS AUTHORITY OF INDIA : PIU Chandigarh
Supply, Installation, Testing, Commissioning, Operation & Maintenance of Centralized Control & Monitoring System (CCMS) for Street Lighting on highways under PIU-Chandigarh in the State of Haryana & Punjab on Five (05) Year Contract Basis.
S. No. | Road Name / Stretch | Location | Sub location | Total No. of Poles | Total No. of Lights | Wattage of Each Light (W) | Total Connected Load (kW) | No. of Feeder Pillars / Panels ON/OFF Point Location Details | Remarks (if any)
1 |  | Baldevnagar Haryana | Installed in median of Baldevnagar fly over | 83 | 166 | ( 78 nos 180 W + 84 nos 150 W) | 55 | 1
2 |  |  | L/S Service road (Mounted on poles) | 8 | 8 | 100 W
3 |  |  | R/S Service road (Mounted on poles) | 8 | 8 | 100 W
4 |  |  | Underpass Hissar Junction |  | 2 | 300 W |  |  | 2 nos Mounted on piers
5 |  |  | L/S (Mounted on sides of BFO crash barrier) |  | 22 | 100 W |  |  | Mounted on crash barrier
6 |  |  | R/S (Mounted on sides of BFO crash barrier) |  | 21 | 100 W |  |  | Mounted on crash barrier
7 |  |  | Underpass Narayangarh Junction |  | 2 | 300 W |  |  | 2 nos Mounted on piers
8 |  |  | L/S Service road (Mounted on poles) | 8 | 8 | 100 W
9 |  |  | R/S Service road (Mounted on poles) | 7 | 7 | 100 W
10 |  | Haryana Barrier | High Mast | 2 | 12 | 300 W | 5 | 1
11 |  | Punjab Barrier | High Mast | 2 | 12 | 300 W | 7.57 | 1
12 |  |  | Bus-Shelter sales tax barrier (PB) | 8 | 8 | 100 W
14 |  | Bus Shelter Sarsini |  | 8 | 8 | 100 W | 1.25 | 1
15 |  | Lalru | Installed in median Larlu | 65 | 130 | 180 W | 54 | 1
16 |  |  | Bus-Shelter Larlu | 8 | 8 | 100 W
18 |  |  | L/S Bus-Shelter Larlu (Chd end) | 6 | 6 | 100 W
19 |  | Dappar | Installed in median of Dappar underpass | 26 | 52 | 180 W | 23 | 1
20 |  | 24+450 | Installed in median | 5 | 10 | 180 W | 3 | 1
21 |  | Ghulumajra | Bus Shelter | 8 | 8 | 100 W | 1.26 | 1
22 |  | Jawaharpur | Bus Shelter | 8 | 8 | 100 W | 1.26 | 1
23 |  | Derabassi | Installed in median of Derabassi | 18 | 36 | 180 W | 29 | 1
24 |  |  | Bus shelter | 8 | 8 | 100 W
25 |  | Derabassi | ROB | 65 | 130 | 100 W | 39 | 1
26 |  | Zirakpur | Installed in median of Zirakpur flyover | 65 | 182 | 150 W | 100 | 3
27 |  |  | L/S Service road (Mounted on poles) | 91 | 6 | 100 W
28 |  |  | R/S Service road (Mounted on poles) | 1 | 11 | 100 W
29 |  |  | L/S Service road (Mounted on poles) | 11 | 9 | 100 W
30 |  |  | R/S Service road (Mounted on poles) | 9 | 9 | 100 W
31 |  |  | L/S (Mounted on sides of ZFO crash barrier) | 9 | 68 | 100 W
32 |  |  | R/S (Mounted on sides of ZFO crash barrier) |  | 64 | 100 W
33 |  |  | R/S (Mounted on sides of ZFO crash barrier) |  | 5 | 100 W
34 |  |  | NH-22 (Mounted on sides of crash barrier) |  | 10 | 100 W
35 |  |  | NH-22 Service road | 10 | 16 | 150 W
36 |  |  | Underpass Third obligatory VIP road | 8 | 2 | 300 W
37 |  |  | Underpass Patiala Junction |  | 2 | 300 W
38 |  |  | Underpass Kalka Junction |  | 2 | 300 W
14
*** No. of CCMS Panels is tentative, which will be executed as per actual site requirement which depends on Power Consumption, No. of Transformer & No. of lights/attached Panel.

## Ambala Kalaamb
NATIONAL HIGHWAYS AUTHORITY OF INDIA : PIU Chandigarh
Supply, Installation, Testing, Commissioning, Operation & Maintenance of Centralized Control & Monitoring System (CCMS) for Street Lighting on highways under PIU-Chandigarh in the State of Haryana & Punjab on Five (05) Year Contract Basis.
S. No. | Road Name / Stretch | Total No. of Poles | Total No. of High Mast Poles ( 20 Mtr.) | Total No. of High Mast Poles (30 Mtr.) | Total No. of Lights 120(W) | Total No. of lights 150(W) | Total No. of lights 200(W) | Total No. of High Mast Flood Lights 400 (W) | Total No. of High Mast Flood Lights 250(W) | Total No. of Flood Lights 35(W) | All in one Solar Lights | Total Connected Load (kW) | No. of Feeder Pillars / Panels ON/OFF Point Location Details | High Mast Feeder Pillar Panel | MAIN AMF and SUB LT PANEL | Remarks (if any)
1 |  |  |  | 3 |  |  |  | 20 | 50 |  | 200 |  |  |  | 4 | Toll plaza at Km. 17.500 400 W 3 no. KM. 24+700 & 33.015 2no.250 W
2 |  | 85 |  |  | 140 | 30 | 4 |  |  | 30 |  | 10.472 | 1 |  |  | (Ch. 0+000 to Ch. 2+001)
3 |  | 58 |  |  | 116 | [6 empty] | 6.55 | 1 |  |  | (Ch. 2+001 to Ch. 3+626)
4 |  | 56 |  |  | 112 |  |  |  |  | 15 |  | 14 | 1 |  |  | (Ch. 3+626 to Ch 04+190)
5 |  | 74 |  |  | 148 |  |  |  |  | 15 |  | 18.53 | 1 |  |  | (Ch. 4+950 to Ch 5+700)
6 |  | 98 |  |  | 196 |  |  |  |  | 15 |  | 31.3 | 1 |  |  | (Ch. 06+600 to Ch. 7+580) | 14.9524
7 |  | 122 |  |  | 244 |  |  |  |  | 15 |  | 30 | 1 |  |  | (Ch. 8+420 to Ch. 9+655)
8 |  | 104 |  |  | 208 |  |  |  |  | 15 |  | 26 | 1 |  |  | (Ch. 9+655 to Ch. 10+690)
9 |  | 64 |  |  |  | 112 | 8 |  |  |  |  | 18 | 1 |  |  | (Ch. 10+690 to Ch. 11+800)
10 |  | 172 |  |  | 172 | 172 |  |  |  | 40 |  | 44 | 1 |  |  | (Ch. 11+800 to Ch. 13+520)
11 |  | 48 |  |  |  | 96 |  |  |  | 15 |  | 12 | 1 |  |  | (Ch. 13+520 to Ch.14+200)
12 |  | 154 |  |  | 308 |  |  |  |  | 30 |  | 46 | 1 |  |  | (Ch. 14+200 to Ch.15+740)
13 |  | 56 |  |  | 112 | [6 empty] | 14 | 1 |  |  | (Ch. 16+080 to Ch.16+640)
14 |  | 27 |  |  |  | 30 | 12 |  |  | 15 |  | 8 | 1 |  |  | (Ch. 16+640 to Ch. 16+975)
15 |  | 32 |  |  |  | 64 | [5 empty] | 24 | 1 |  |  | (Ch. 16+975 to Ch. 17+550)
|  | 54 |  | 3 |  | 108 |  |  | 50 |  |  | 23 | 1 | 3 |  | (CH. 17+550 to Ch 18+ 283)
14 |  | 100 |  |  | 200 |  |  |  |  | 15 |  | 26 | 1 |  |  | (Ch. 19+300 to Ch. 20+290)
15 |  | 158 |  |  | 316 |  |  |  |  | 44 |  | 40 | 1 |  |  | (Ch. 20+900 to ch. 22+490)
16 |  | 38 |  |  | 76 | [6 empty] | 12 | 1 |  |  | (Ch. 22+490 to Ch. 22+947)
17 |  | 102 |  |  | 204 |  |  |  |  | 15 |  | 27 | 1 |  |  | (Ch. 22+947 to Ch. 23+960)
18 |  | 37 |  |  |  | 74 | [5 empty] | 20 | 1 |  |  | (Ch. 23+960 to Ch. 24+400)
19 |  | 128 |  |  | 256 |  |  |  |  | 15 |  | 24 | 1 |  |  | (Ch. 24+400 to Ch. 25+650)
|  | 77 | 1 |  | 100 | 54 |  | 10 |  | 20 |  | 24 | 1 | 1 |  | (Ch. 25+650 to Ch 26+950)
20 |  | 24 |  |  | 18 | 10 | 10 |  |  |  |  | 8 | 1 |  |  | (Ch. 26+950 to Ch. 27+330)
21 |  | 32 |  |  | 64 | [6 empty] | 8 | 1 |  |  | (Ch. 29+100 to Ch. 29+500)
22 |  | 94 |  |  | 106 | 18 | [5 empty] | 12 | 1 |  |  | (Ch. 30+750 to Ch. 31+900)
|  | 14 |  |  | 22 | 6 | [5 empty] | 10 | 1 |  |  | (Ch 31+900 to ch 32+156)
|  | 45 | 1 |  | 76 | 14 |  | 10 |  |  |  | 13 | 1 | 1 |  | (Ch. 32+156 to Ch 33+015)
23 | [11 empty] | 549.852 | 27
*** No. of CCMS Panels is tentative, which will be executed as per actual site requirement which depends on Power Consumption, No. of Transformer & No. of lights/attached Panel.

## Chandigarh-Kharar &Kharar-Kural
NATIONAL HIGHWAYS AUTHORITY OF INDIA : PIU Chandigarh
Supply, Installation, Testing, Commissioning, Operation & Maintenance of Centralized Control & Monitoring System (CCMS) for Street Lighting on highways under PIU-Chandigarh in the State of Haryana & Punjab on Five (05) Year Contract Basis.
S. No. | Road Name / Stretch | Total No. of Poles | Total No. of Lights | Wattage of Each Light (W) | Total Connected Load (kW) | No. of Feeder Pillars / Panels ON/OFF Point Location Details |  | Remarks (if any)
1 | Chandigarh-Kharar (0+000 to 10+185) | 61 | 150 | 150 (8 nos), 210(48nos), 250(35 nos), 400(59 nos) | 50.75 | 1 | 3+050 (Median) | 3005897686, M/S NHAI, NHAI PIU CHANDIGARH, MOHALI
2 |  | 41 | 100 | 150 (8 nos), 250(40 nos), 400(52 nos) | 50.75 | 1 | 4+480 (Median) | 3005897590, M/S NHAI, NHAI NEAR TDI, MOHALI
3 |  | 44 | 156 | 150 (16 nos), 250(40 nos), 400(100 nos) | 50.75 | 1 | 5+200 (Median) | 3005897694, M/S NHAI NAHI NEAR DESU MAJRA
4 |  | 49 | 352 | 150 (256 nos), 250(21 nos), 400(75 nos) | 86.1 | 1 | 6+415 (Median) | 3005874610, Mr. National Highway Authority of India,, kharar
5 |  | 29 | 322 | 150 (256 nos), 400(66 nos) | 86.75 | 1 | 7+165 (Median) | 3005874597, Mr. National Highway Authority of India, file no-2, kharar
6 |  | 27 | 310 | 150 (256 nos), 400(54 nos) | 86.75 | 1 | 7+915 (Median) | 3005874594, Mr. National Highway Authority of India, file no-1, kharar
7 |  | 46 | 344 | 150 (256 nos), 250(9 nos), 400(79 nos) | 86.1 | 1 | 8+715 (Median) | 3005874608,Mr. National Highway Authority of India, file no-4 kharar
8 |  | 96 | 138 | 250(13 nos), 400(125 nos) | 50 | 1 | 9+800 (Island) | 3005874608, MR. MANAGER KHARAR
9 | Kharar-Kurali (16+200 to 29+900) | 2 | 24 | 250 | 12 | 1 | M/S NHAI, DAUMAJRA, KHARAR
10 |  | 43 | 70 | 250 | 45.75 | 1 | M/S NHAI, SAHORA, KHARAR
11 |  | 45 | 92 | 250 | 63 | 1 | M/S NHAI,PADIALA, KURALI, M/S NHAI, PADIALA, KURALI
12 |  | 99 | 155 | 250 | 19.12 | 1 | M/S NHAI, KALEWAL, KURALI
13 |  | 9 | 28 | 250 | 20.25 | 1 | M/S NHAI, BANMAJRA, KURALI
13
*** No. of CCMS Panels is tentative, which will be executed as per actual site requirement which depends on Power Consumption, No. of Transformer & No. of lights/attached Panel.

## Saha -Sahabad NH444A
NATIONAL HIGHWAYS AUTHORITY OF INDIA : PIU Chandigarh
Supply, Installation, Testing, Commissioning, Operation & Maintenance of Centralized Control & Monitoring System (CCMS) for Street Lighting on highways under PIU-Chandigarh in the State of Haryana & Punjab on Five (05) Year Contract Basis.
S. No. | Road Name / Stretch | Total No. of Poles | Total No. of Lights | Wattage of Each Light (W) | Total Connected Load (kW) | Location | No. of Feeder Pillars / Panels ON/OFF Point Location Details | Remarks (if any)
1 | Saha -Sahabad NH444A (14.840 to 31.760) | 25 | 54 | 500 | 10 | -20.38 | 1 | Saha (14.840 to 15800)
2 |  | 27 | 52 | 500 | 15 | (14.840 , 15.650) | 2 | Nagla jattan ROB(19.900 to 20.900)
3 |  | 0 | 0 | 0 | 10 |  | 0 | Sahabad Near Ramnagar vill. Sardar Ji Daba
3
*** No. of CCMS Panels is tentative, which will be executed as per actual site requirement which depends on Power Consumption, No. of Transformer & No. of lights/attached Panel.

## Yamunanagar- Panchkula Section
NATIONAL HIGHWAYS AUTHORITY OF INDIA : PIU Chandigarh
Supply, Installation, Testing, Commissioning, Operation & Maintenance of Centralized Control & Monitoring System (CCMS) for Street Lighting on highways under PIU-Chandigarh in the State of Haryana & Punjab on Five (05) Year Contract Basis.
S. No. | Road Name / Stretch | Total No. of Poles | Total No. of Lights | Wattage of Each Light (W) | Total Connected Load (kW) | No. of Feeder Pillars / Panels ON/OFF Point Location Details | Chainage | Remarks
1 | Yamunanagar- Panchkula Section NH-344 (Km. 71.400 to Km. 176.400) | 131 | 262 | 250 | 16 | 4 | Zirakpur ( ch.00.00 to ch. 2.00)
2 |  | 18 | 18 | 200 | 6.5 | 1 | 73+500 | Bus bay
3 |  | 18 | 18 | 200 | 6.5 | 1 | 77+050 | Bus bay
4 |  | 25 | 39 | 200 | 6.5 | 1 | 82+000 | Rest area
5 |  | 32 | 64 | 200 | 19 | 1 | 83+200 to 83+980 | Flyover
6 |  | 15 | 15 | 200 | 6.5 | 1 | 84+400 | Bus bay
7 |  | 20 | 20 | 200 | 6.5 | 1 | 87+100 | Harnaul Bus bay
8 |  | 42 | 84 | 200 | 31 | 1 | 88+140 to 89+260 | ROB
9 |  | 18 | 18 | 200 | 6.5 | 1 | 93+275 | Bus bay
10 |  | 18 | 18 | 200 | 5 | 1 | 96+150 | Bus bay
11 |  | 26 | 104 | 150 | 65 | 2 | 98+270 to 98+470 | TOLL PLAZA, High mast
12 |  | 58 | 72 | 200 | 15 | 1 | 101+100 to 101+700 | Thanacahppar Service Road, MCW
13 |  | 20 | 20 | 200 | 5 | 1 | 104+500 | Bus bay
14 |  | 63 | 89 | 150 | 18 | 1 | 108+000 to 108+750 | Dheen
15 |  | 180 | 252 | 200 | 94 | 4 | 110+272 to 112+250 | Dosarka
16 |  | 19 | 19 | 200 | 6.5 | 1 | 113+150 | Mullana anaj mandi Bus bay
17 |  | 117 | 202 | 200 | 66 | 2 | 113+900 to 115+242 | Mullana MCW , S.ROAD
18 |  | 20 | 20 | 200 | 6.5 | 1 | 115+510 | Mullana bus stand
19 |  | 20 | 20 | 200 | 5 | 1 | 118+300 | Hamidpur Bus stand
20 |  | 65 | 130 | 200 | 15 | 2 | 118+700 to 119+660 | Saha flyover
21 |  | 25 | 48 | 200 | 19 | 1 | 120+000 to 120+650 | Kalpi Flyover
22 |  | 27 | 43 | 200 | 15 | 1 | 121+189 | RestArea
23 |  | 37 | 72 | 200 | 23 | 1 | 122+100 to 122+980 | Nahoni VUP/CUP
24 |  | 20 | 20 | 200 | 7 | 1 | 123+500 | BusBay
25 |  | 20 | 20 | 200 | 7 | 1 | 123+540 | Saha bus stand
26 |  | 20 | 20 | 150 | 7 | 1 | 124+900 | Laha Majri BusBay
27 |  | 20 | 20 | 150 | 7 | 1 | 126+440 | Mahmoodpur BusBay
28 |  | 20 | 20 | 150 | 7 | 1 | 129+310 | Rajpura BusBay
29 |  | 57 | 74 | 150 | 15 | 1 | 129+700 to 130+200 | Magarpura MCW, ServiceRoad
30 |  | 77 | 104 | 200 | 40 | 2 | 131+200 to 132+070 | Kadasan ServiceRoad
31 |  | 20 | 20 | 150 | 5 | 1 | 133+230 | Dhamouli BusBay
32 |  | 30 | 58 | 150 | 15 | 1 | 133+300 to 134+000 | Dhamouli Mcw
33 |  | 65 | 86 | 150 | 15 | 1 | 135+350 to 136+000 | Pathredi VUP/CUP
34 |  | 20 | 20 | 150 | 5 | 1 | 136+120 | Pathredi BusBay
35 |  | 32 | 68 | 200 | 25 | 1 | 138+900 to 139+292 | Shahzadpur Flyover
36 |  | 20 | 20 | 150 | 5 | 1 | 140+550 | Shahzadpur BusBay
37 |  | 20 | 20 | 150 | 5 | 2 | 141+540 | Bhapauli BusBay
38 |  | 63 | 85 | 200 | 5 | 1 | 143+000 to 143+600 | Kakad majra MCW , Service Road
39 |  | 20 | 20 | 150 | 1.5 | 1 | 143+940 | Kakad majra BusBay
40 |  | 60 | 80 | 200 |  | 1 | 146+100 to 146+700 | Bhagwali VUP/CUP
41 |  | 42 | 66 | 150 | 10 | 2 | 149+800 to 150+400 | Mouli Bus stand MCW
42 |  | 28 | 56 | 200 | 17 | 1 | 151+250 to 152+100 | Mouli Police station VUP/CUP
43 |  | 20 | 20 | 200 | 7 | 2 | 154+560 | Rihod Bus Bay
44 |  | 2 | 2 | 250 | 1 | 1 | 157+760 | Bus Stop (RHS)
45 |  | 2 | 2 | 250 | 1 | 1 | 157+860 | Bus Stop (LHS)
46 |  | 25 | 122 | 250 | 65 | 1 | 158+500 | Jaloli Toll Plaza , High mast , street light
|  | 36 | 72 | 250 | 15 | 1 | 159+370 | Naggal village
|  | 45 | 90 | 250 | 19 | 1 | 162+100 | Ecocity, Alipur
|  | 42 | 84 | 250 | 36 | 1 | 162+400 | Mattawali RHS
|  | 2 | 2 | 250 | 1 | 1 | 162+320 | Bus Stop (RHS)
|  | 88 | 155 | 250 | 36 | 1 | 162+400 | Mattawali LHS
|  | 2 | 2 | 250 | 1 | 1 | 162+630 | Bus Stop (LHS)
|  | 69 | 138 | 250 | 30 | 1 | 164+200 | Sharma Dhbha Billa
|  | 62 | 124 | 250 | 30 | 1 | 165+300 | Bhanu village LHS
|  | 62 | 124 | 250 | 30 | 1 | 167+100 | Mankya village LHS
|  | 32 | 64 | 250 | 36 | 1 | 167+150 | TBRL LHS
|  | 2 | 2 | 250 | 1 | 1 | 167+260 | Bus Stop (LHS)
|  | 32 | 64 | 250 | 36 | 1 | 167+300 | TBRL RHS
|  | 2 | 2 | 250 | 1 | 1 | 167+460 | Bus Stop (RHS)
|  | 76 | 152 | 250 | 19 | 2 | 169+154 | Ramgarh Flyover (BHS)
|  | 60 | 120 | 250 | 19 | 2 | 171+337 VUP (BHS) | Madanpura VUP (BHS)
|  | 66 | 96 | 250 | 17 | 1 | 172+200 | Moginanad MCW, S/R
|  | 66 | 101 | 250 | 19 | 1 | 173+300 | Dumping ground RHS
|  | 54 | 84 | 250 | 25 | 1 | 174+100 | Morni T point
|  | 82 | 164 | 250 | 19 | 2 | 174+516 & 175+015 | Nada Saahib PUP (BHS)
|  | 56 | 94 | 250 | 19 | 1 | 175+600 | High mast
[7 empty] | 175+650 | Near IT Park (Median)
82
*** No. of CCMS Panels is tentative, which will be executed as per actual site requirement which depends on Power Consumption, No. of Transformer & No. of lights/attached Panel.

## Zirakpur Parwanoo
NATIONAL HIGHWAYS AUTHORITY OF INDIA : PIU Chandigarh
Supply, Installation, Testing, Commissioning, Operation & Maintenance of Centralized Control & Monitoring System (CCMS) for Street Lighting on highways under PIU-Chandigarh in the State of Haryana & Punjab on Five (05) Year Contract Basis.
S. No. | Road Name / Stretch | Total No. of Poles | Total No. of Lights | Wattage of Each Light (W) | Total Connected Load (kW) | No. of Feeder Pillars / Panels ON/OFF Point Location Details | Location Details | Remarks (if any)
1 | Zirakpur -Parwanoo Section NH-05 | 20 | 40 | 250 | 17.68 | 1 | Baltana
2 | Zirakpur -Parwanoo Section NH-05 | 21 | 42 | 250 | 19.62 | 1 | Dhakoli
3 | Zirakpur -Parwanoo Section NH-05 | 33 | 78 | 250 | 35 | 1 | Maheshpur
4 | Zirakpur -Parwanoo Section NH-05 | 45 | 90 | 250 | 32 | 1 | Majri Chowk
5 | Zirakpur -Parwanoo Section NH-05 | 27 | 65 | 250 | 24 | 1 | Old PKL
6 | Zirakpur -Parwanoo Section NH-05 | 12 | 128 | 250 | 49.6 | 1 | Old PKL.Railway Station
7 | Zirakpur -Parwanoo Section NH-05 | 28 | 215 | 250 | 49 | 1 | Saket
8 | Zirakpur -Parwanoo Section NH-05 | 25 | 125 | 250 | 183 | 1 | Toll Plaza
9 | Zirakpur -Parwanoo Section NH-05 | 8 | 16 | 250 | 4.8 | 1 | Mallah moad
10 | Zirakpur -Parwanoo Section NH-05 | 7 | 14 | 250 | 10 | 1 | Parwanoo
11 | Zirakpur -Parwanoo Section NH-05 | 12 | 24 | 150 | _ | 0 | Toll Plaza
12 | Zirakpur -Parwanoo Section NH-06 | 34 | 68 | 150 | 5.7 | 1 | Chandimandir
13 | Zirakpur -Parwanoo Section NH-07 | 28 | 28 | 150 | 5.8 | 1 | Amaravati
14 | Zirakpur -Parwanoo Section NH-08 | 22 | 44 | 150 | 5 | 1 | Surajpur
15 | Zirakpur -Parwanoo Section NH-09 | 71 | 142 | 150 | 7.5, 6 | 2 | Rampur Suiri ,HMT Gate
16 | Zirakpur -Parwanoo Section NH-10 | 41 | 82 | 150 | 6.9 | 1 | mallah moad
17 | Zirakpur -Parwanoo Section NH-11 | 91 | 182 | 150 | 15,15 | 2 | Tipra
18 | Zirakpur -Parwanoo Section NH-12 | 15 | 15 | 150 | 3 | 1 | Tipra SR
19 | Zirakpur -Parwanoo Section NH-13 | 15 | 15 | 150 | 3 | 1 | Tipra SR
20
*** No. of CCMS Panels is tentative, which will be executed as per actual site requirement which depends on Power Consumption, No. of Transformer & No. of lights/attached Panel.