## Financial
Supply, Installation, Testing, Commissioning, Operation & Maintenance of Centralized Control & Monitoring System (CCMS) for Street Lighting on National Highways under RO - Patna on Five Year Six Months Contract Basis. NIT No. 330/RO-PATNA/NHAI/2026- 27
NATIONAL HIGHWAY AUTHORITY OF INDIA, RO-Patna
Name of the Contractor
Sr. | Name of Item | Unit | Quantity | Rate (₹) | Total Amount
1 | Supply, Installation, Testing & Commissioning of Centralized Control & Monitoring System (CCMS) conforming to the Technical Specifications of the RFP under Section-IV (Technical Bid), including but not limited to: a) CCMS Feeder Panel (3-Phase) with enclosure, pole-mounted or ground/stand-mounted, and accessories etc. b) CCMS Controller / RTU / Gateway with GPRS/GSM communication c) 3-Phase DLMS compliant Energy Meter d) Protection devices (MCCB/MCB/ELCB/SPD, relays, contactors, etc.) e) Antenna, wiring, earthing, and all hardware accessories f) Web-based Central Control & Monitoring Software | Per CCMS | 1065 |  | 0
| Total Cost (excluding GST) |  |  |  | 0
Amount in word

## Sheet1
Supply, Installation, Testing, Commissioning, Operation & Maintenance of Centralized Control & Monitoring System (CCMS) for Street Lighting on National Highways under RO - Patna on Five Year Six Months Contract Basis. NIT No. 330/RO-PATNA/NHAI/2026- 27
Sl. No. | Project Name | No. of LED light | Total required CCMS (Tentative)
1 | Chhapra-Siwan-Gopalganj section of NH-531 (Old NH-85) | 647 | 43
2 | Chhapra-Rewaghat-Muzaffarpur section of NH-722 (Old NH-102) | 270 | 7
3 | Chhapra-Hajipur section of NH-19 | 1000 | 50
4 | Six laning of Aurangabad-Bihar/Jharkhand Border (Chordaha) section of NH-02 | 1710 | 20
5 | Kotwa (Motihari) – Mehsi - Muzaffarpur from km. 440.000 to km. 520.000 of NH-27 (Old NH-28) under TOT Bundle-3 | 280 | 3
6 | 4L of Haiipur-_Muzaffarpur Section of the existing NH 77 from Km 0+000 (Ramashish Chowk) to Km. 46+300 and new bypass starting at Km 46+300 and connecting NH_28 of E-W Corridor at Km | 1282 | 16
515+045
7 | Muzaffarpur- Sonbarsa Section of NH-77 from km 2.800 to km 89.000 | 23 | 2
8 | Muzaffarpur - Barauni Section of NH- 122 (Old NH-28)(from km 519.600 to 627.000 (Total Length = 107.400 Km) of NH in the State of Bihar on DBFOT Toll Basis | 120 | 6
9 | 4-lane bridge across River Kosi and including its Approaches & Guide Bund & Afflux Bund from Km 148.550 to km 159.185 in the state of Bihar on Annuity basis | 218 | 2
10 | Strengthening and Major Maintenance of Muzaffarpur-Darbhanga-Purnea section of NH 27 from' from km 0.000 to km 145.646 in the state of Bihar | 166 | 4
11 | Development of newly declared NH- 527C from Majhauli to Charout Section from km. 0.000 km. 63.655 in the State of Bihar EPC Mode | 453 | 59
12 | Construction of approaches to Rail cum Road bridge across river Ganga near Munger ghat from Km. 0.00(Km. 74.7 of NH-80) to Km. 9.394 | 338 | 11
13 | Four laning of Munger-Mirzachauki of NH-80 from 69+520 to 95+580 (Pkg-I) | 724 | 24
14 | Four laning of Munger-Mirzachauki of NH-80 (Pkg-II) | 520 | 26
15 | Four laning of Munger-Mirzachauki of NH-80 (Pkg-III) | 1674 | 56
16 | Four laning of Munger-Mirzachauki of NH-80 (Pkg-IV) | 263 | 13
17 | 4-lane Project of Rajauli-Bakhtiyarpur from 54+405 to 101.630 (Pkg-II) | 867 | 30
18 | 2L with PS Biharsharif – Barbigha –Mokama NH-82 | 12 | 1
19 | Patna-Gaya Dobhi of NH-83 from 0.00 to 39.00 (pkg-I) | 254 | 6
20 | Patna-Gaya Dobhi of NH-83 from 39.00 to 83.00 (pkg-II) | 252 | 4
21 | Patna-Gaya Dobhi of NH-83 from 83.00 to 127.00 (pkg-III) | 147 | 2
22 | 4L Gopalganj-Kotwa section from Km 360.915 to Km 440.000 | 487 | 20
23 | 2L with PS Piprakothi-Motihari-Raxaul NH-28A EPC | 527 | 25
24 | 2L PS Chorma - Bairgania Section of National Highway No 227F | 296 | 13
25 | Kanhauli – Ramnagar of Patna Ring Road- | 1750 | 46
pkg-I
26 | Koilwar Bhojpur from km. 137.375 of NH- 30 to km. 27.37 of NH-84 | 1106 | 35
27 | Bhojpur Buxar section of NH-84 from km.27.37 to km. 75.00 | 761 | 26
28 | Bakhtiyarpur-Mokama of NH-31 | 437 | 26
29 | Patna-Aurangabad section of NH-2 | 6452 | 115
30 | Arrah-Mohania section of NH-319 (Pkg-I) | 2106 | 48
31 | Arrah-Mohania section of NH-319 (Pkg-II) | 1897 | 52
32 | Umagaon-Saharsa-Pkg-V | 737 | 15
33 | 4L of Forbesganj to Jogbani Section from Km. 0.000 to Km. 9.260 (IPC at Jogbani) of NH-57A | 274 | 10
34 | 4 Laning of Existing 2- Lane Galgalia-Bahadurganj Section from design Ch. 0+000 to design Ch. 49+000 at NH 327-E on Hybrid Mode in the State of Bihar | 1615 | 37
35 | 4 Laning of Existing 2- Lane Bahadurganj- Araria Section from design Ch. 49+000 to design Ch. 93+983 at NH 327-E on Hybrid Mode in the State of Bihar. | 987 | 45
36 | 4L from km. 34.600 to km. 79.970 & 2LPS from km. 79.970 to km. 82.000 of Narenpur - Purnea Section of NH-131A. | 3142 | 75
37 | Four laning of Simaria-Khagaria section of NH-31 | 1024 | 48
38 | Four/Six laning of Aunta-Simaria section of NH-31 | 362 | 12
39 | 4-lane Elevated section and at-grade improvement of Begusarai Town section of NH-31 | 896 | 30
40 | Two laning of Khagaria-Purnia Section of NH-31 from km 270.00 to 410.00 | 29 | 2
Total |  | 36105 | 1065