## BoQ1
eProcurement System Government of India Created By: Dilip Jha Created Date/Time: 06-Oct-2026 12:39 PM Tender Title: NISER/IWD-ELECT/IW/26-27/05 Tender ID: 2026_NISER_927062_1
Tender Inviting Authority: DIRECTOR, NISER
Name of Work: - “Repairing with Installation, wiring and commissioning of 2nos. of Star Delta, Wall mounted, IP66 (Ingress protection) cubicle Panel.”
Notice Inviting E-Tender No. - NISER/IWD-ELECT/IW/26-27/05 Dated: 18.09.2026
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Item Code | M/S TATHAGATA ENGINEERING (GSTN-21AQMPS5522R1Z8) BID ID -3485224 |  | KUMAR ELECTRICAL & ELECTRONICS (GSTN-NA) BID ID -3485234
[5 empty] | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | L1 Rate Without Tax | L1 Bidder Without Tax | L1 Rate With Tax | L1 Bidder With Tax
1.00 | Dismantling and Disconnection of Existing Starter(2nos.) Panel | 1.00 | Job | Item1 | 4000.00 | 4000.00 | 5000.00 | 5000.00 | 4000.00 | M/S TATHAGATA ENGINEERING | 4000.00 | M/S TATHAGATA ENGINEERING
2.00 | Supply and fixing of door and Panel board Enclosure | 1.00 | Job | Item2 | 20000.00 | 20000.00 | 18000.00 | 18000.00 | 18000.00 | KUMAR ELECTRICAL & ELECTRONICS | 18000.00 | KUMAR ELECTRICAL & ELECTRONICS
3.00 | 63 A, 36 kA, FP MCCB – re-fixing and re-wiring of existing MCCB | 1.00 | Job | Item3 | 6500.00 | 6500.00 | 6000.00 | 6000.00 | 6000.00 | KUMAR ELECTRICAL & ELECTRONICS | 6000.00 | KUMAR ELECTRICAL & ELECTRONICS
4.00 | S/F of Spreader Link | 1.00 | Set | Item4 | 1300.00 | 1300.00 | 1500.00 | 1500.00 | 1300.00 | M/S TATHAGATA ENGINEERING | 1300.00 | M/S TATHAGATA ENGINEERING
5.00 | S/F of Rotary Handle | 1.00 | Set | Item5 | 2800.00 | 2800.00 | 3200.00 | 3200.00 | 2800.00 | M/S TATHAGATA ENGINEERING | 2800.00 | M/S TATHAGATA ENGINEERING
6.00 | S/F of MPCB (30–40 A), GV3P control with rotary knob, 5.5–30 kW/400 V, with link terminals (GV3P32–Schneider or equivalent) – new fixing with wiring | 2.00 | Nos. | Item6 | 47000.00 | 47000.00 | 52000.00 | 52000.00 | 47000.00 | M/S TATHAGATA ENGINEERING | 47000.00 | M/S TATHAGATA ENGINEERING
7.00 | Power contactors (25–40 A) – re-wiring | 8.00 | Nos. | Item7 | 20000.00 | 20000.00 | 24000.00 | 24000.00 | 20000.00 | M/S TATHAGATA ENGINEERING | 20000.00 | M/S TATHAGATA ENGINEERING
8.00 | Auxiliary contactors (2NO+2NC) – re-wiring | 6.00 | Nos. | Item8 | 9000.00 | 9000.00 | 12000.00 | 12000.00 | 9000.00 | M/S TATHAGATA ENGINEERING | 9000.00 | M/S TATHAGATA ENGINEERING
9.00 | Thermal overload relay – re-wiring | 2.00 | Nos. | Item9 | 3000.00 | 3000.00 | 4000.00 | 4000.00 | 3000.00 | M/S TATHAGATA ENGINEERING | 3000.00 | M/S TATHAGATA ENGINEERING
10.00 | Time relay/Timer for star-delta – re-wiring | 2.00 | Nos. | Item10 | 3000.00 | 3000.00 | 4000.00 | 4000.00 | 3000.00 | M/S TATHAGATA ENGINEERING | 3000.00 | M/S TATHAGATA ENGINEERING
11.00 | DC control relay – re-wiring | 2.00 | Nos. | Item11 | 3000.00 | 3000.00 | 4000.00 | 4000.00 | 3000.00 | M/S TATHAGATA ENGINEERING | 3000.00 | M/S TATHAGATA ENGINEERING
12.00 | Class 1.0 C.T. – re-wiring | 9.00 | Nos. | Item12 | 9000.00 | 9000.00 | 18000.00 | 18000.00 | 9000.00 | M/S TATHAGATA ENGINEERING | 9000.00 | M/S TATHAGATA ENGINEERING
13.00 | MCB 16 A – re-wiring | 2.00 | Nos. | Item13 | 1000.00 | 1000.00 | 1000.00 | 1000.00 | 1000.00 | M/S TATHAGATA ENGINEERING, KUMAR ELECTRICAL & ELECTRONICS | 1000.00 | M/S TATHAGATA ENGINEERING, KUMAR ELECTRICAL & ELECTRONICS
14.00 | S/F of Push button (Green/Red) – new fixing and re-wiring | 4.00 | Nos. | Item14 | 2600.00 | 2600.00 | 2000.00 | 2000.00 | 2000.00 | KUMAR ELECTRICAL & ELECTRONICS | 2000.00 | KUMAR ELECTRICAL & ELECTRONICS
15.00 | S/F of 3-phase multifunction meter, Model B, 5 A, Class 1 – new fixing and re-wiring | 3.00 | Nos. | Item15 | 18000.00 | 18000.00 | 16500.00 | 16500.00 | 16500.00 | KUMAR ELECTRICAL & ELECTRONICS | 16500.00 | KUMAR ELECTRICAL & ELECTRONICS
16.00 | S/F of L&T indicator LED lamp – Yellow, Red, Green, Amber (each) – new fixing with wiring | 9.00 | Nos. | Item16 | 2250.00 | 2250.00 | 1800.00 | 1800.00 | 1800.00 | KUMAR ELECTRICAL & ELECTRONICS | 1800.00 | KUMAR ELECTRICAL & ELECTRONICS
17.00 | S/F of Blue LED indicator – new fixing with wiring | 3.00 | Nos. | Item17 | 750.00 | 750.00 | 1050.00 | 1050.00 | 750.00 | M/S TATHAGATA ENGINEERING | 750.00 | M/S TATHAGATA ENGINEERING
18.00 | Time relay 100 A, built-in CBCT – re-wiring | 2.00 | Nos. | Item18 | 9000.00 | 9000.00 | 8000.00 | 8000.00 | 8000.00 | KUMAR ELECTRICAL & ELECTRONICS | 8000.00 | KUMAR ELECTRICAL & ELECTRONICS
19.00 | S/F of Auto-manual selector switch (DF 20%) | 2.00 | Nos. | Item19 | 2000.00 | 2000.00 | 3000.00 | 3000.00 | 2000.00 | M/S TATHAGATA ENGINEERING | 2000.00 | M/S TATHAGATA ENGINEERING
20.00 | Installation, Testing and Commissioning of Starter(2nos.) Panel | 1.00 | job | Item20 | 12000.00 | 12000.00 | 10000.00 | 10000.00 | 10000.00 | KUMAR ELECTRICAL & ELECTRONICS | 10000.00 | KUMAR ELECTRICAL & ELECTRONICS
| Total in Figures |  |  |  | 176200.00 | 176200.00 | 195050.00 | 195050.00

## BOQ Summary
BOQ Summary Details Tender Title: NISER/IWD-ELECT/IW/26-27/05 Tender ID: 2026_NISER_927062_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S TATHAGATA ENGINEERING (BID ID -3485224) | 176200.00 | L1
| 2 | KUMAR ELECTRICAL & ELECTRONICS (BID ID -3485234) | 195050.00 | L2