## BoQ1
Government eProcurement System Created By: RAJESHKUMAR G Pillai Created Date/Time: 24-Apr-2026 10:00 AM Tender Title: Development of Cricket ground with Seating Gallery facilities and other infrastructure works in Anuvijay Township at Chettikulam Village Tender ID: 2026_NPCIL_261935_1
Tender Inviting Authority: Dr.Rajeshkumar G Pillai, Senior Manager(CMM-Works Group)
Name of Work: Development of Cricket ground with Seating Gallery facilities and other infrastructure works in Anuvijay Township at Chettikulam Village
Tender No: NPCIL/KKNPP/CONST/CIVIL-INFRA/PT/2025/158
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | A.SARATHA (GSTN-NA) BID ID -966012 |  | Thiraviam Suresh (GSTN-NA) BID ID -966538 |  | M/S.J D PHILOMIN PALASTER DHAS (GSTN-NA) BID ID -963268 |  | S.A.V.Constructions (GSTN-NA) BID ID -962625
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work excavation by mechanical means(hydraulic excavator)/manual means in over areas for levelling the surface/ area grading works etc in all types of soils and refilling the excavated earth in the low lying areas areas as directed (filling/compacting in layers of not more than 150 mm thick compacted layer, each layer well rammed using Power Roller, watered and consolidated) etc complete all as per drawings and specifications. | 30200.00 | Cu. Meter |  | 72.30 | 2183460.00 | 70.00 | 2114000.00 | 40.00 | 1208000.00 | 50.00 | 1510000.00 | 1208000.00 | M/S.J D PHILOMIN PALASTER DHAS
2.00 | Earth work excavation by mechanical means(hydraulic excavator)/manual means in over areas, rafts, foundation, trenches, roads etc in all types of soils below ground level of all depths including shoring, strutting, bailing / pumping of water, leveling, ramming the bottom of excavation, refilling with selected excavated materials in the sides of the foundation in layers and refilling the areas as directed with the balance available excavated earth (filling/compacting in layers of not more than 150 mm thick compacted layer, each layer well rammed, watered and consolidated) etc complete all as per drawings and specifications. This item covers Excavation and Re-filling the entire Excavated Soil as per the areas directed by NPCIL. | 2618.00 | Cu. Meter |  | 216.90 | 567844.20 | 125.00 | 327250.00 | 223.00 | 583814.00 | 200.00 | 523600.00 | 327250.00 | Thiraviam Suresh
3.00 | Providing, laying, spreading and compacting graded stone aggregate (size range53 mm to 0.075 mm) to wet mix macadam (WMM) specification including premixing the material with water at OMC in mechanical mix plant, carriage of mixed material by tipper to site, for all leads & lifts, laying in uniform layers with mechanical paver finisher/manual means in sub- base / base course on well prepared surface and compacting with vibratory roller of 8 to 10 tonne capacity to achieve the desired density for base course preparations, complete as per specifications with required labour etc and directions of Engineer-in-Charge, as per clause 406 of MORT & H specifications complete in all respects. | 493.00 | Cu. Meter |  | 1084.50 | 534658.50 | 1000.00 | 493000.00 | 1710.00 | 843030.00 | 1100.00 | 542300.00 | 493000.00 | Thiraviam Suresh
4.00 | Providing and filling with Manufactured/Crushed sand from approved sources and filling using required manpower/machineries, tools etc. The M.Sand/ Crushed sand shall be of coursed granulars with more angular grains in nature and to be suppied due approval from NPCIL. (Fine/dusty sands are not permitted) | 1024.00 | Cu. Meter |  | 1156.80 | 1184563.20 | 1200.00 | 1228800.00 | 1400.00 | 1433600.00 | 1200.00 | 1228800.00 | 1184563.20 | A.SARATHA
5.00 | Providing and filling with Approved Quality Country bricks for Cricket Pitch as per drawings and specifications including required manpower, tools etc. | 50.00 | Cu. Meter |  | 3615.00 | 180750.00 | 4500.00 | 225000.00 | 6740.00 | 337000.00 | 5000.00 | 250000.00 | 180750.00 | A.SARATHA
6.00 | Supply and placing in position Country Bricks edging on outer sides of the Ground by placing the bricks in 9" as vertical as per design, refilling/leveling the side of the bricks with required soil etc complete as directed | 1000.00 | Meter |  | 72.30 | 72300.00 | 90.00 | 90000.00 | 81.00 | 81000.00 | 100.00 | 100000.00 | 72300.00 | A.SARATHA
7.00 | Providing and constructing Random Rubble masonry in CM 1:6 using hard granite stones for foundation works including hammer dressing the stones, providing bond stones as per specifications ,raking out the joints, scaffolding, curing etc., complete as per specifications. | 68.00 | Cu. Meter |  | 3253.50 | 221238.00 | 3500.00 | 238000.00 | 4320.00 | 293760.00 | 4300.00 | 292400.00 | 221238.00 | A.SARATHA
8.00 | Providing and laying plain cement concrete 1:4:8 using 40 mm and down graded stone aggregate at all height including mechanical mixing, leveling, compaction, vibrating, finishing smooth the exposed surfaces of concrete, curing etc complete as per drawings and standard specifications. | 309.00 | Cu. Meter |  | 3615.00 | 1117035.00 | 2900.00 | 896100.00 | 5490.00 | 1696410.00 | 4900.00 | 1514100.00 | 896100.00 | Thiraviam Suresh
9.00 | Providing and laying plain cement concrete 1:2:4, using 20 mm and down graded stone aggregate at all height including mechanical mixing, leveling, compaction, vibrating, finishing smooth the exposed surfaces of concrete, curing etc complete as per drawings and standard specifications. | 56.00 | Cu. Meter |  | 4699.50 | 263172.00 | 3300.00 | 184800.00 | 6300.00 | 352800.00 | 4900.00 | 274400.00 | 184800.00 | Thiraviam Suresh
10.00 | Providing and constructing cement concrete block masonry of minimum M5 grade conforming to IS-2185 of latest version , using solid blocks of specified size in cement mortar 1:4 by volume, for walls in ground works including racking out joints, curing etc complete as per specification | 491.00 | Cu. Meter |  | 3615.00 | 1774965.00 | 5000.00 | 2455000.00 | 4800.00 | 2356800.00 | 4900.00 | 2405900.00 | 1774965.00 | A.SARATHA
11.00 | Plastering of external faces (using Crushed Sand/M.Sand) of brick work/concrete for ground wall area works in cement mortar 1:4, 20 mm thick, including scaffolding, curing, forming grooves, plaster bands, border, keystone etc wherever required all as per drawings and specifications | 3060.00 | Sq. Meter |  | 397.65 | 1216809.00 | 275.00 | 841500.00 | 450.00 | 1377000.00 | 450.00 | 1377000.00 | 841500.00 | Thiraviam Suresh
12.00 | Providing and laying M20/M25 Design mix concrete with cement content up to 350kg/Cum using 20mm and down graded stone aggregates including Mixing ,Ramming, Compaction, leveling, curing, placing at all lifts, including scaffolding and Finishing smooth all exposed faces complete as per specification. | 65.00 | Cu. Meter |  | 5784.00 | 375960.00 | 5400.00 | 351000.00 | 7200.00 | 468000.00 | 7000.00 | 455000.00 | 351000.00 | Thiraviam Suresh
13.00 | Providing ,placing in position and removing Form work for all insitu concrete works including scaffolding etc., complete at all elevations as per drawing and specification (measurement for form work shall be the area of forms in contact with concrete surfaces) | 500.00 | Sq. Meter |  | 506.10 | 253050.00 | 300.00 | 150000.00 | 540.00 | 270000.00 | 550.00 | 275000.00 | 150000.00 | Thiraviam Suresh
14.00 | Providing cutting ,bending placing and tying mild steel, high yield steel reinforcement in RCC works including providing spacer blocks in CM 1:2, binding wires etc.complete at all elevations as per drawings and specifications including dewatering wherever necessary etc complete as per drawings and specifications | 12.00 | MT |  | 72300.00 | 867600.00 | 76000.00 | 912000.00 | 100000.00 | 1200000.00 | 100000.00 | 1200000.00 | 867600.00 | A.SARATHA
15.00 | Providing, fabricating and erection of Structural steel members made out of M.S. angles, flats, plates, pipes, channels, tubes, rods etc conforming to relevant IS etc., including cost of welding, welding rods, drilling holes, bolts/nuts wherever required and providing and applying two or more coats of approved quality synthetic enamel paint over a coat of zinc chromate yellow primer etc., as per drawings and specifications | 18.00 | Mt |  | 86760.00 | 1561680.00 | 115000.00 | 2070000.00 | 150000.00 | 2700000.00 | 105000.00 | 1890000.00 | 1561680.00 | A.SARATHA
16.00 | Supply and Fixing in position approved quality Stainless Steel of Grade-312 for handrails/other areas as directed using SS pipes/tubes/balls etc including chasing the walls/floor for Fixing in position and filling the area by cement concrete 1:2:4, finishing with cement plaster in CM 1:4 etc complete as per drawings and specifications | 1600.00 | Kg |  | 506.10 | 809760.00 | 650.00 | 1040000.00 | 570.00 | 912000.00 | 400.00 | 640000.00 | 640000.00 | S.A.V.Constructions
17.00 | P roviding and Fixing roofing at all elevations using Zinc-A luminium alloy coated profile sheet of 0.45 mm thickness of TATA "Durashine"/JSW / Hindalco /Geo roof make of approved colour including all shapes, over laps, side cladding, ridges, eaves board, gutters etc., including supplying and fixing of necessary 6mm dia J or L, G I hooks, bolts, nuts, screws, bitumen washers, sealing of joints etc., complete all as per manufacturer's recommendations including scaffolding as per drawings and specifications. (Note: Payment shall be made only to the superficial area. No over laps, corrugations /profile shall be measured) | 327.00 | Sq. Meter |  | 433.80 | 141852.60 | 540.00 | 176580.00 | 680.00 | 222360.00 | 600.00 | 196200.00 | 141852.60 | A.SARATHA
18.00 | Providing and Fixing roofing using multiwall Polycorbonate sheet roofing of 8mm thickness of Lexan/Everest Composites/Nimisha Impex/Anand Plastics/Shri Balaji Roofing makes of approved colour and shade including all shapes, over laps, side cladding etc. Fixing with required screws, fishers etc including required tools,tackles, labour etc complete | 800.00 | Sq. Meter |  | 433.80 | 347040.00 | 600.00 | 480000.00 | 630.00 | 504000.00 | 1000.00 | 800000.00 | 347040.00 | A.SARATHA
19.00 | Providing and applying two coats of First Quality synthetic enamel paint of Asian paints/ Lewis Berger/ ICI Dulux/NIPPON/NEROLAC make of approved colour over a coat of primer on new wood / steel work, suitably prepared for receiving the paint by surface scraping, rubbing applying filler etc., including cost of filler primer, paint etc all complete as per drawings and specifications | 120.00 | Sq. Meter |  | 216.90 | 26028.00 | 150.00 | 18000.00 | 285.00 | 34200.00 | 250.00 | 30000.00 | 18000.00 | Thiraviam Suresh
20.00 | Providing and applying Exterior Emulsion Paint Apex of Asian paints/Weather cote of Lewis Berger /Weather shield of ICI Dulux/Sumo Xtra of Nippon/Nerolac make & shade in two or more coats to give an even shade as per manufacturer's instructions to the external plastered surfaces including preparation of surfaces, scaffolding etc. at all elevations, complete as per drawings and specifications | 2690.00 | Sq. Meter |  | 180.75 | 486217.50 | 190.00 | 511100.00 | 207.00 | 556830.00 | 225.00 | 605250.00 | 486217.50 | A.SARATHA
21.00 | Providing and Fixing 20mm thick Exterior grade designer tiles of approved colour and design over 20mm thick base cement mortar 1:4 laid and pointed with white cement slurry mixed with pigments to match with the shade of the tile including rubbing, curing, in Staircases (both tread & riser), Walkway areas, Entrances etc., as per drawings and specifications (Note:Minimum price of Tile shall be of Rs.45/Sq.ft-excluding GST) | 2000.00 | Sq. Meter |  | 506.10 | 1012200.00 | 700.00 | 1400000.00 | 900.00 | 1800000.00 | 700.00 | 1400000.00 | 1012200.00 | A.SARATHA
22.00 | Supplying and fixing in position 18mm thick Coloured PVC integral foam sheet on the Structural steel framing for Screen wall purposes. The PVC Integral Foam shall be factory manufactured solid section of light weight sheet with fine & homogeneous closed cell structure with smooth, glossy, hard surface finish on both sides. The sheet shall have density of 500 - 600 Kg/Cum, water absorption less than 1% and tensile strength greater than 11 MPa. PVC integral form sheet shall be of M/s. Jain Irrigation Systems Ltd. (Ex-cel sheet) or M/s Kemron Wood plast Pvt Ltd Or M/s ASIS India Pvt Ltd Integral PVC Form makes , jointing the same with required fixing arrangements with Structural steel members etc., all complete as per specification and as directed by the Engineer-In-Charge. | 240.00 | Sq. Meter |  | 3615.00 | 867600.00 | 4500.00 | 1080000.00 | 3600.00 | 864000.00 | 3500.00 | 840000.00 | 840000.00 | S.A.V.Constructions
23.00 | Ceramic Tiles
24.00 | Providing and Fixing in position ceramic unglazed floor tiles of size 300 x 300 mm as specified below (thickness to be specified by the manufacturer) of premium quality confirming to IS-15622 of JOHNSON/ SOMANY/ REGENCY/NITCO/BELL/ KAJARIA/AGL/ CERA/ SIMPOLA /HSIL/VERMORA/BONZER7/PAVIT make, in all colours and shades laid on 20mm thick Cement Mortar 1:4 (1 Cement : 4 Coarse Sand) with 3mm spacer and fixing with adequate cement slurry/paste, including pointing the joint with filler materials and matching colour pigment etc at all floors complete all as per drawings and specifications (Note: 1. Joint filler item will be paid under relevant item. 2. Minimum price of Tile shall be of Rs.50/Sq.ft -excluding GST) | 40.00 | Sq. Meter |  | 723.00 | 28920.00 | 900.00 | 36000.00 | 1200.00 | 48000.00 | 1200.00 | 48000.00 | 28920.00 | A.SARATHA
25.00 | Providing and Fixing in position ceramic glazed wall tiles of size 300 x 450 mm (thickness to be specified by the manufacturer) of premium quality confirming to IS-15622 of JOHNSON/ SOMANY/ REGENCY/ NITCO/BELL/ KAJARIA/AGL/CERA/SIMPOLA/HSIL/ VERMORA/ BONZER7 make laid on 20mm thick Cement Mortar 1:3(1 Cement : 3 Coarse Sand) and fixing with adequate cement slurry/paste in position on the wall including pointing the joint with white cement mixed with colour pigment of matching shade complete at all floors, all as per drawings and specifications (Note:Minimum price of Tile shall be of Rs.60/Sq.ft -excluding GST) | 63.00 | Sq. Meter |  | 795.30 | 50103.90 | 900.00 | 56700.00 | 1300.00 | 81900.00 | 1250.00 | 78750.00 | 50103.90 | A.SARATHA
26.00 | Providing and applying Exterior Emulsion Paint Apex of Asian paints/Weather cote of Lewis Berger /Weather shield of ICI Dulux/Sumo Xtra of Nippon/Nerolac make & shade in two or more coats to give an even shade as per manufacturer's instructions to the external plastered surfaces including preparation of surfaces, scaffolding etc. at all elevations, complete as per drawings and specifications | 70.00 | Sq. Meter |  | 180.75 | 12652.50 | 200.00 | 14000.00 | 290.00 | 20300.00 | 225.00 | 15750.00 | 12652.50 | A.SARATHA
27.00 | Providing and laying M40 grade 80 mm thick interlocking precast concrete pavers blocks as pr relevant IS of approved shape over a profiled layer to the required line, pattern etc., all as per drawings and specifications (Note:Minimum price of Tile shall be of Rs.44/Sq.ft-excluding GST) | 4000.00 | Sq. Meter |  | 469.95 | 1879800.00 | 725.00 | 2900000.00 | 720.00 | 2880000.00 | 650.00 | 2600000.00 | 1879800.00 | A.SARATHA
28.00 | Providing and laying 20mm thick (+-2mm) polished Natural granite slab of approved colour Jet Black, for platform/flooring/wall cladding and other surfaces as directed with all exposed surfaces buffed,cutting required shapes, making half/full round nosing, making holes for fixing utilities as required, set over a base of cement mortar 1:4, 20 mm thick neatly pointed with white cement and colouring pigments to match the shade of the stone as per the requirement, curing, rubbing, polishing, making pocket holes for fixing kitchen sink/wash basin /gas hose etc complete as per drawings and specifications. The rate inclusive of cutting the Granite for required shapes as per drawings and as directed | 12.00 | Sq. Meter |  | 1807.50 | 21690.00 | 2600.00 | 31200.00 | 4000.00 | 48000.00 | 3800.00 | 45600.00 | 21690.00 | A.SARATHA
29.00 | Providing and laying NP:2 grade RCC hume pipes with collars of 750mm dia of approved make as directed by NPCIL , joined with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing the joints etc complete. | 514.00 | Meter |  | 1446.00 | 743244.00 | 2100.00 | 1079400.00 | 2650.00 | 1362100.00 | 2000.00 | 1028000.00 | 743244.00 | A.SARATHA
30.00 | Providing, casting, finishing, curing, hoisting and placing in position 50mm thick precast slabs in cement concrete 1:2:4 using 20mm down size stone aggregate excluding cost of reinforcement but including formwork all complete as per drawings and specifications (The rate shall be exclusive of reinforcement) | 85.00 | Sq. Meter |  | 361.50 | 30727.50 | 495.00 | 42075.00 | 590.00 | 50150.00 | 700.00 | 59500.00 | 30727.50 | A.SARATHA
31.00 | Providing and planting approved hedges and maintaining the same for minimum twelve months in order to have a healthy growth (the end date of maintenance shall be the date of completion of Defects liability perid) with the following activities: a)Providing best quality/healthy sapling of CLERODENDRUM INERME/ACHALPHYA RED & GREEN/Murraya exoctica & Jetropha/Pendanus/Spider lilly or any other plant approved by ENC required age suitable for plantation. b) Excavation in all type of soil for plantation of sizes 400mm dia & 400 mm deep and planting including preparation of the pit by filling with soil mixed with cowdung/farmyard manure. c) Minimum 3 Nos. of hedges should be provided per RM, d) Watering manually twice a week from the nearby sources with required watering hozes etc and labour, materials, etc., as directed by the Engineer-in-charge. | 1250.00 | Meter |  | 144.60 | 180750.00 | 150.00 | 187500.00 | 180.00 | 225000.00 | 130.00 | 162500.00 | 162500.00 | S.A.V.Constructions
32.00 | Supplying and planting & healthy well grown plants -FOXTAIL PALM,/Rayal palm/Areca Palm -2500 MM Height maintaining the same for minimum twelve months in order to have a healthy growth (the end date of maintenance shall be the date of completion of Defects liability perid) with required labour and watering the same etc complete | 190.00 | No. |  | 1807.50 | 343425.00 | 2500.00 | 475000.00 | 3000.00 | 570000.00 | 1500.00 | 285000.00 | 285000.00 | S.A.V.Constructions
33.00 | Providing lawn involves planting BERMUDA grass by dippling method and maintaining the same for twelve months in order to have a healthy growth (the end date of maintenance shall be the date of completion of Defects liability perid) with the following activities a) providing best quality/ healthy grass suitable for lawn. b) Excavation in all type of soil for a depth of 150mm and filling with soil mixed with cow dung/farmyard manure @ 100kg/100 Sq. Meter for bed preparation . (c) Watering by operating sprinkler system Or manually required watering hoses including cost of labour tools and tackles etc complete. | 17700.00 | Sq. Meter |  | 130.14 | 2303478.00 | 145.00 | 2566500.00 | 140.00 | 2478000.00 | 120.00 | 2124000.00 | 2124000.00 | S.A.V.Constructions
34.00 | Providing and Fixing in position approved vitreous chinaware orissa pattern Water Closet 580 mm x 440 mm "Hindware/Cera/Nycer/Parryware" make with "S" or "P" trap with all jointing materials including excavation, making hole in masonry, reconstructing the same, encasing the pan and trap with brick jelly concrete 1:2:4 and finishing the same etc., complete as per drawings and specifications
35.00 | Supply | 6.00 | No. |  | 1446.00 | 8676.00 | 1850.00 | 11100.00 | 2400.00 | 14400.00 | 3000.00 | 18000.00 | 8676.00 | A.SARATHA
36.00 | Fixing | 6.00 | No. |  | 361.50 | 2169.00 | 700.00 | 4200.00 | 500.00 | 3000.00 | 750.00 | 4500.00 | 2169.00 | A.SARATHA
37.00 | Providing and Fixing in position approved European type water closet of "Hindware/Cera/Nycer/Parryware" make comprising of a) Wash down EWC in white glazed vitreous chinaware with integral "P" of "S" trap with or without vent and jointing the trap with soil pipe in CM 1:1 b) Hindware/Cera/ Nycer/Parryware make PVC 10 liters capacity low level flushing cistern with all syphonic fittings. c) White solid plastic seat cover with CP pillar hinges and rubber buffers etc complete as per drawings and specifications
38.00 | Supply | 6.00 | No. |  | 5784.00 | 34704.00 | 4000.00 | 24000.00 | 7200.00 | 43200.00 | 4700.00 | 28200.00 | 24000.00 | Thiraviam Suresh
39.00 | Fixing | 6.00 | No. |  | 433.80 | 2602.80 | 1000.00 | 6000.00 | 500.00 | 3000.00 | 750.00 | 4500.00 | 2602.80 | A.SARATHA
40.00 | Providing and fixing PVC flushing cistern of 10 litres capacity "Hindware/Cera/ Nycer/Parryware" make with all syphonic fittings, including assembling the cistern components and flush pipe, testing etc., Complete all as per specifications etc complete as per drawings and specifications.
41.00 | Supply | 6.00 | No. |  | 1084.50 | 6507.00 | 1100.00 | 6600.00 | 1200.00 | 7200.00 | 1600.00 | 9600.00 | 6507.00 | A.SARATHA
42.00 | Fixing | 6.00 | No. |  | 253.05 | 1518.30 | 250.00 | 1500.00 | 300.00 | 1800.00 | 250.00 | 1500.00 | 1500.00 | S.A.V.Constructions, Thiraviam Suresh
43.00 | Providing and Fixing in position best quality vitreous chinaware hand wash basin of 550x400mm size white colour of Hindware/Cera/Nycer/Parryware/Prayag/Johnson/Somany make and Fixing with Rug bolt of approved size and make as per drawings and specifications
44.00 | Supply | 4.00 | No. |  | 2169.00 | 8676.00 | 1600.00 | 6400.00 | 2500.00 | 10000.00 | 2600.00 | 10400.00 | 6400.00 | Thiraviam Suresh
45.00 | Fixing | 4.00 | No. |  | 216.90 | 867.60 | 100.00 | 400.00 | 300.00 | 1200.00 | 200.00 | 800.00 | 400.00 | Thiraviam Suresh
46.00 | Providing and fixing PTMT symet waste coupling -32mm dia half threaded for wash basin of Prayag/Polytuf/Wavin Vectus/King pipes/Polo India/Plasto make with rubber plug ball chain with necessary check nut as per drawings and specifications.
47.00 | Supply | 4.00 | No. |  | 122.91 | 491.64 | 100.00 | 400.00 | 120.00 | 480.00 | 100.00 | 400.00 | 400.00 | S.A.V.Constructions, Thiraviam Suresh
48.00 | Fixing | 4.00 | No. |  | 36.15 | 144.60 | 25.00 | 100.00 | 25.00 | 100.00 | 50.00 | 200.00 | 100.00 | M/S.J D PHILOMIN PALASTER DHAS, Thiraviam Suresh
49.00 | Providing and Fixing heavy quality PTMT bottle trap as per IS-9763 of Prayag/Polytuf/Wavin Vectus/King pipes/Polo India/Plasto make of self cleaning design for wash basin. - 32 mm nominal bore
50.00 | Supply | 4.00 | No. |  | 289.20 | 1156.80 | 400.00 | 1600.00 | 450.00 | 1800.00 | 800.00 | 3200.00 | 1156.80 | A.SARATHA
51.00 | Fixing | 4.00 | No. |  | 36.15 | 144.60 | 25.00 | 100.00 | 150.00 | 600.00 | 100.00 | 400.00 | 100.00 | Thiraviam Suresh
52.00 | Providing and Fixing 15 mm size heavy quality CP brass pillar cock easy clean type as per relevant IS for wash basin with capstan head Adson/Cera/Parryware make as per drawings and specifications
53.00 | Supply | 4.00 | No. |  | 867.50 | 3470.00 | 800.00 | 3200.00 | 1200.00 | 4800.00 | 1000.00 | 4000.00 | 3200.00 | Thiraviam Suresh
54.00 | Fixing | 4.00 | No. |  | 79.53 | 318.12 | 50.00 | 200.00 | 100.00 | 400.00 | 75.00 | 300.00 | 200.00 | Thiraviam Suresh
55.00 | Providing and Fixing heavy quality 15mm dia CP brass angle cock as per relevant IS, Adson/Cera/Parryware make as per drawings and specifications
56.00 | Supply | 16.00 | No. |  | 578.40 | 9254.40 | 750.00 | 12000.00 | 600.00 | 9600.00 | 1000.00 | 16000.00 | 9254.40 | A.SARATHA
57.00 | Fixing | 16.00 | No. |  | 79.53 | 1272.48 | 40.00 | 640.00 | 100.00 | 1600.00 | 50.00 | 800.00 | 640.00 | Thiraviam Suresh
58.00 | Providing and Fixing heavy quality 15 mm dia, CP brass screw down long bodied bib tap with CP brass flanges as per relevant IS, Adson/Cera/Parryware make as per drawings and specifications
59.00 | Supply | 12.00 | No. |  | 939.90 | 11278.80 | 1000.00 | 12000.00 | 1200.00 | 14400.00 | 1200.00 | 14400.00 | 11278.80 | A.SARATHA
60.00 | Fixing | 12.00 | No. |  | 79.53 | 954.36 | 40.00 | 480.00 | 100.00 | 1200.00 | 50.00 | 600.00 | 480.00 | Thiraviam Suresh
61.00 | Providing and Fixing C.P. brass three pronged robe hooks of Adson/Cera/Parryware make with C.P. brass flange as per drawings and specifications
62.00 | Supply | 12.00 | No. |  | 108.45 | 1301.40 | 140.00 | 1680.00 | 200.00 | 2400.00 | 175.00 | 2100.00 | 1301.40 | A.SARATHA
63.00 | Fixing | 12.00 | No. |  | 36.15 | 433.80 | 25.00 | 300.00 | 55.00 | 660.00 | 50.00 | 600.00 | 300.00 | Thiraviam Suresh
64.00 | Providing and Fixing in position mirror of size 600 x 450mm, made of Indian glass 6mm thick manufactured by Modi guard/Saint Gobain/Hindustan/Borosil/Asahi India/La Opala RG Ltd make factory silvered with PVC backing 4mm thick etc., complete as per drawings and specifications
65.00 | Supply | 4.00 | No. |  | 578.40 | 2313.60 | 1150.00 | 4600.00 | 1200.00 | 4800.00 | 2000.00 | 8000.00 | 2313.60 | A.SARATHA
66.00 | Fixing | 4.00 | No. |  | 36.15 | 144.60 | 30.00 | 120.00 | 110.00 | 440.00 | 200.00 | 800.00 | 120.00 | Thiraviam Suresh
67.00 | Providing and Fixing 15 mm dia PVC inlet connections to withstand temperature up to 600 C of "Kohinoor/Prayag/ Adson/water tec" make with heavy PVC check nut at both ends of length not exceeding 450 mm as per drawings and specifications
68.00 | Supply | 16.00 | No. |  | 101.22 | 1619.52 | 90.00 | 1440.00 | 180.00 | 2880.00 | 125.00 | 2000.00 | 1440.00 | Thiraviam Suresh
69.00 | Fixing | 16.00 | No. |  | 36.15 | 578.40 | 40.00 | 640.00 | 100.00 | 1600.00 | 100.00 | 1600.00 | 578.40 | A.SARATHA
70.00 | Providing and Fixing isolating composite Brass Ball valve "Akar/Zolato/Leader" make with compression type integral seal end connection suitable for PE-AL-PE composite piping system as per IS-15450, suitable for hot and cold water Supply as per drawings and specifications:Isolating composite Brass Ball valve - 50x50mm (Suitable for 4050 composite pipe)
71.00 | Supply | 2.00 | No. |  | 5061.00 | 10122.00 | 3500.00 | 7000.00 | 8100.00 | 16200.00 | 4000.00 | 8000.00 | 7000.00 | Thiraviam Suresh
72.00 | Fixing | 2.00 | No. |  | 144.60 | 289.20 | 40.00 | 80.00 | 150.00 | 300.00 | 50.00 | 100.00 | 80.00 | Thiraviam Suresh
73.00 | Providing and Fixing in position at all elevations PVC pipes of "Prince/Jain/ Kitec/Finolex/Supreme/Astral/Ashirvad" make of Type-B conforming to IS 13592 of latest version and specials such as bends, junctions with or without doors, cowls, etc., for soil, waste, vent or anti-syphonage pipes & fixing pipes on GI brackets of approved design at minimum 1 m spacing with cost for core cutting, laying under floors etc complete as per drawings and specifications
74.00 | 50mm
75.00 | Supply | 10.00 | Meter |  | 216.90 | 2169.00 | 150.00 | 1500.00 | 250.00 | 2500.00 | 175.00 | 1750.00 | 1500.00 | Thiraviam Suresh
76.00 | Fixing | 10.00 | Meter |  | 72.30 | 723.00 | 100.00 | 1000.00 | 100.00 | 1000.00 | 100.00 | 1000.00 | 723.00 | A.SARATHA
77.00 | 75 mm
78.00 | Supply | 30.00 | Meter |  | 361.50 | 10845.00 | 200.00 | 6000.00 | 400.00 | 12000.00 | 250.00 | 7500.00 | 6000.00 | Thiraviam Suresh
79.00 | Fixing | 30.00 | Meter |  | 108.45 | 3253.50 | 100.00 | 3000.00 | 100.00 | 3000.00 | 100.00 | 3000.00 | 3000.00 | S.A.V.Constructions, M/S.J D PHILOMIN PALASTER DHAS, Thiraviam Suresh
80.00 | 110 mm
81.00 | Supply | 30.00 | Meter |  | 433.80 | 13014.00 | 300.00 | 9000.00 | 600.00 | 18000.00 | 400.00 | 12000.00 | 9000.00 | Thiraviam Suresh
82.00 | Fixing | 30.00 | Meter |  | 108.45 | 3253.50 | 150.00 | 4500.00 | 150.00 | 4500.00 | 150.00 | 4500.00 | 3253.50 | A.SARATHA
83.00 | 160 mm
84.00 | Supply | 30.00 | Meter |  | 723.00 | 21690.00 | 600.00 | 18000.00 | 1000.00 | 30000.00 | 750.00 | 22500.00 | 18000.00 | Thiraviam Suresh
85.00 | Fixing | 30.00 | Meter |  | 216.90 | 6507.00 | 200.00 | 6000.00 | 200.00 | 6000.00 | 250.00 | 7500.00 | 6000.00 | M/S.J D PHILOMIN PALASTER DHAS, Thiraviam Suresh
86.00 | Providing and placing on terrace (at all floor levels) polyethene water Storage Tanks capacity as required of Sintex/Aquatec/Supreme Industrie/Penguin Tank Industries/Vectus Industries make with cover and suitable locking arrangements and making holes for inlet, outlet, scour and overflow pipes as per drawings and specifications | 1500.00 | Litres |  | 7.23 | 10845.00 | 8.00 | 12000.00 | 10.50 | 15750.00 | 15.00 | 22500.00 | 10845.00 | A.SARATHA
87.00 | Providing and Fixing horizontal type high pressure ball cock of 40 mm dia "Prayag" make item code 155 / Or similar model in Polytuf/Wavin Vectus/King pipes/Polo India/Plasto make with required accessories like ball, rod, rubber washer and double check nut, all conforming to relevant IS etc complete as per drawings and specifications | 2.00 | No. |  | 723.00 | 1446.00 | 850.00 | 1700.00 | 1150.00 | 2300.00 | 2000.00 | 4000.00 | 1446.00 | A.SARATHA
88.00 | Providing and Fixing single/multi PVC Nahani trap of self cleaning design with 75 mm dia outlet, Prince/Jain/ Kitec/Finolex/Supreme/ Astral/ Ashirvad make as per relevant IS, Stainless steel Grating and including necessary cement concrete 1:2:4 for embedding and making good the floor, connecting the trap to the waste pipe, forming circular hole up to floor level and rendering smooth etc. Complete as per drawings and specifications | 12.00 | No. |  | 180.75 | 2169.00 | 250.00 | 3000.00 | 300.00 | 3600.00 | 250.00 | 3000.00 | 2169.00 | A.SARATHA
89.00 | Construction of inspection chambers of internal clear dimension 450 x450 up to a maximum depth of 600mm in 230 mm thick fly ash brick masonry in CM 1:6 using fly ash bricks as per IS:12894, class designation : 5 from the approved manufacturer by NPCIL, over a bed of 150mm thick 1:4:8 cement concrete foundation, plastering with CM 1:4, 20mm thick on inside, outside and all exposed surface finished with floating coat of neat cement, PCC 1: 2:4 for benching and channel finished with neat cement, Top covered with 100mm thick RCC 1:2:4 grade slab with required steel reinforcements, , including providing & Fixing double seal C.I. manhole cover & frame of 450x 450mm weight not less than 38 kg (as per relevant IS), embedding the C.I. frame in RCC cover slab etc complete as per drawings and specifications. (Earth work excavation and steel reinforcement will be paid under relevant item) | 8.00 | No. |  | 7230.00 | 57840.00 | 7500.00 | 60000.00 | 10100.00 | 80800.00 | 10500.00 | 84000.00 | 57840.00 | A.SARATHA
90.00 | Construction of inspection chambers of internal clear dimension 900 x600 mm up to a maximum depth of 900 mm in 230 mm thick fly ash brick masonry in CM 1:4, using fly ash bricks as per IS:12894, class designation : 5 from the approved manufacturer by NPCIL, over a bed of 150mm thick 1:4:8 cement concrete foundation, plastering with CM 1:4, 20mm thick on inside, outside and all exposed surface finished with floating coat of neat cement, PCC 1:2:4 for benching and channel finished with neat cement, providing and Fixing C.I. steps weighing not less than 3.5 Kg/each at 300 mm centre to centre etc., Top covered with 100mm thick RCC 1:2:4 grade slab with required steel reinforcements,, including providing & Fixing double seal C.I. manhole covers & frames of size 600 x 450mm of weight not less than 50 kg (as per relevant IS), embedding the C.I. frame in RCC cover slab etc complete as per drawings and specifications (Earth work excavation and steel reinforcement will be paid under relevant item) | 5.00 | No. |  | 14460.00 | 72300.00 | 15000.00 | 75000.00 | 21000.00 | 105000.00 | 17000.00 | 85000.00 | 72300.00 | A.SARATHA
91.00 | Extra depth for above item, for depth beyond 900 mm, 300mm or part there of including providing and Fixing CI steps weighing not less than 4.5 kg/each etc, as per specifications | 2.00 | No. |  | 2169.00 | 4338.00 | 2500.00 | 5000.00 | 2900.00 | 5800.00 | 1200.00 | 2400.00 | 2400.00 | S.A.V.Constructions
92.00 | Providing and Fixing polyethylene - Aluminium polyethylene (PE-AL-PE) composite pressure pipe UV stabilized with carbon black confirming to IS:15450-2004 for water Supply (with required fittings and fixtures) including providing and Fixing composite box clamps/fixing pipes on GI brackets of approved design at 1000mm spacing for external works Or laying under floor wherever required and cutting the walls for required depth for concealed installation including cutting charges and making good the walls/concrete for internals and providing and Fixing all the required specials/fittings etc wherever required at all elevations including cost of scaffolding, core cutting etc. complete as per drawings and specifications (Earthwork excavation will be paid under relevant item).
93.00 | 12-16mm dia (for internal water supply of Toilets)
94.00 | Supply | 20.00 | Meter |  | 108.45 | 2169.00 | 125.00 | 2500.00 | 170.00 | 3400.00 | 175.00 | 3500.00 | 2169.00 | A.SARATHA
95.00 | Fixing | 20.00 | Meter |  | 57.84 | 1156.80 | 100.00 | 2000.00 | 100.00 | 2000.00 | 150.00 | 3000.00 | 1156.80 | A.SARATHA
96.00 | 16-20mm dia (for internal water supply of Toilets)
97.00 | Supply | 45.00 | Meter |  | 144.60 | 6507.00 | 125.00 | 5625.00 | 220.00 | 9900.00 | 200.00 | 9000.00 | 5625.00 | Thiraviam Suresh
98.00 | Fixing | 45.00 | Meter |  | 72.30 | 3253.50 | 100.00 | 4500.00 | 100.00 | 4500.00 | 150.00 | 6750.00 | 3253.50 | A.SARATHA
99.00 | 20-25mm dia (for internal water supply of Toilets)
100.00 | Supply | 20.00 | Meter |  | 180.75 | 3615.00 | 175.00 | 3500.00 | 293.00 | 5860.00 | 230.00 | 4600.00 | 3500.00 | Thiraviam Suresh
101.00 | Fixing | 20.00 | Meter |  | 72.30 | 1446.00 | 100.00 | 2000.00 | 100.00 | 2000.00 | 150.00 | 3000.00 | 1446.00 | A.SARATHA
102.00 | 32-40mm (for internal water supply of Toilets)
103.00 | Supply | 140.00 | Meter |  | 361.50 | 50610.00 | 425.00 | 59500.00 | 617.00 | 86380.00 | 420.00 | 58800.00 | 50610.00 | A.SARATHA
104.00 | Fixing (for Ground sprinkler system piping) | 100.00 | Meter |  | 43.38 | 4338.00 | 50.00 | 5000.00 | 60.00 | 6000.00 | 200.00 | 20000.00 | 4338.00 | A.SARATHA
105.00 | Fixing (for internal water supply of Toilets) | 40.00 | Meter |  | 72.30 | 2892.00 | 100.00 | 4000.00 | 100.00 | 4000.00 | 200.00 | 8000.00 | 2892.00 | A.SARATHA
106.00 | 40-50mm
107.00 | Supply | 870.00 | Meter |  | 650.70 | 566109.00 | 750.00 | 652500.00 | 840.00 | 730800.00 | 750.00 | 652500.00 | 566109.00 | A.SARATHA
108.00 | Fixing (for Ground sprinkler system piping) | 800.00 | Meter |  | 54.23 | 43384.00 | 50.00 | 40000.00 | 70.00 | 56000.00 | 200.00 | 160000.00 | 40000.00 | Thiraviam Suresh
109.00 | Fixing (for internal water supply of Toilets) | 70.00 | Meter |  | 86.76 | 6073.20 | 100.00 | 7000.00 | 120.00 | 8400.00 | 200.00 | 14000.00 | 6073.20 | A.SARATHA
110.00 | 50-63mm (for Ground sprinkler system piping)
111.00 | Supply | 288.00 | Meter |  | 795.53 | 229112.64 | 800.00 | 230400.00 | 1150.00 | 331200.00 | 1250.00 | 360000.00 | 229112.64 | A.SARATHA
112.00 | Fixing | 288.00 | Meter |  | 57.84 | 16657.92 | 100.00 | 28800.00 | 90.00 | 25920.00 | 250.00 | 72000.00 | 16657.92 | A.SARATHA
113.00 | 63-75mm (for Ground sprinkler system piping)
114.00 | Supply | 600.00 | Meter |  | 1026.66 | 615996.00 | 1100.00 | 660000.00 | 1590.00 | 954000.00 | 1700.00 | 1020000.00 | 615996.00 | A.SARATHA
115.00 | Fixing | 600.00 | Meter |  | 86.76 | 52056.00 | 100.00 | 60000.00 | 120.00 | 72000.00 | 300.00 | 180000.00 | 52056.00 | A.SARATHA
116.00 | 75-90mm (for Ground sprinkler system piping)
117.00 | Supply | 90.00 | Meter |  | 1229.10 | 110619.00 | 1500.00 | 135000.00 | 1980.00 | 178200.00 | 2300.00 | 207000.00 | 110619.00 | A.SARATHA
118.00 | Fixing | 90.00 | Meter |  | 108.45 | 9760.50 | 100.00 | 9000.00 | 166.00 | 14940.00 | 300.00 | 27000.00 | 9000.00 | Thiraviam Suresh
119.00 | 90-110mm (for Ground sprinkler system piping)
120.00 | Supply | 740.00 | Meter |  | 1446.00 | 1070040.00 | 1900.00 | 1406000.00 | 2500.00 | 1850000.00 | 3000.00 | 2220000.00 | 1070040.00 | A.SARATHA
121.00 | Fixing | 740.00 | Meter |  | 108.45 | 80253.00 | 120.00 | 88800.00 | 200.00 | 148000.00 | 350.00 | 259000.00 | 80253.00 | A.SARATHA
122.00 | Sprinkler Pumping System using 1.75Hp Pressure Booster Pump (Head-50M) with accessories as per the following specification and comprise of with All fittings including electrical fittings and requirements to charge the Pump. Electrical Connection will be provided within a distance of 20M (Appx) from pump location. ( UG Sump ) Make : LUBI/TEXMO/KIRLOSKAR/ | 1.00 | No. |  | 122910.00 | 122910.00 | 110000.00 | 110000.00 | 145000.00 | 145000.00 | 40000.00 | 40000.00 | 40000.00 | S.A.V.Constructions
123.00 | Supply of 50mm dia Finolux/Kothari/Dutron/ Aquatech/Kalpataru/Waterman make green suction hose as directed | 200.00 | Meter |  | 144.60 | 28920.00 | 120.00 | 24000.00 | 122.00 | 24400.00 | 250.00 | 50000.00 | 24000.00 | Thiraviam Suresh
124.00 | Supply and Commissioning of Pop-up Rotory Sprinkler with Nozzle of throw radius 16 to 20m Make - Rainbird /Hunter/ k RAIN/Pimtas/Toro | 66.00 | No. |  | 5422.50 | 357885.00 | 6000.00 | 396000.00 | 4250.00 | 280500.00 | 1000.00 | 66000.00 | 66000.00 | S.A.V.Constructions
125.00 | Providing & Fixing Commissioning of Swing Joint 1" x 12’’ length Make : Rainbird/hunter/Pimtas/toro | 66.00 | No. |  | 2024.40 | 133610.40 | 2000.00 | 132000.00 | 1424.00 | 93984.00 | 300.00 | 19800.00 | 19800.00 | S.A.V.Constructions
126.00 | Providing, Fixing & Commissioning of Ball Valves with necessary fittings as Sprinkler Section Valve, for 2.0 " dia Make - Harit / Simtas/Xeritech | 15.00 | No. |  | 1084.50 | 16267.50 | 1000.00 | 15000.00 | 1655.00 | 24825.00 | 2500.00 | 37500.00 | 15000.00 | Thiraviam Suresh
127.00 | Providing, Fixing & Commissioning of Air Release Valve 1'' Make - Harit / Simtas/Xeritech | 3.00 | No. |  | 361.50 | 1084.50 | 350.00 | 1050.00 | 540.00 | 1620.00 | 1200.00 | 3600.00 | 1050.00 | Thiraviam Suresh
128.00 | Providing & Fixing of 6" Rectangular Valve Boxes with openable lid, for enclosing Section Valve / Isolation Valve. Make - Rainbird/hunter/ecoaqua/sintex | 3.00 | No. |  | 542.25 | 1626.75 | 600.00 | 1800.00 | 950.00 | 2850.00 | 1500.00 | 4500.00 | 1626.75 | A.SARATHA
129.00 | Providing & Fixing of 10" Rectangular Valve Boxes with openable lid, for enclosing Section Valve / Isolation Valve. Make - Rainbird/hunter/ecoaqua/sintex | 33.00 | No. |  | 1807.50 | 59647.50 | 1500.00 | 49500.00 | 2177.00 | 71841.00 | 2000.00 | 66000.00 | 49500.00 | Thiraviam Suresh
130.00 | Providing, Fixing & Commissioning of 1’’ Quick Release Coupler Key of Brass Body. Make - Rainbird/hunter/ecoaqua/sintex | 6.00 | No. |  | 1807.50 | 10845.00 | 1750.00 | 10500.00 | 2352.00 | 14112.00 | 1000.00 | 6000.00 | 6000.00 | S.A.V.Constructions
131.00 | Providing, Fixing & Commissioning of Quick Release Coupler Key Brass Body. Make - Harit / Rainbird/hunter/ecoaqua/sintex | 6.00 | No. |  | 867.60 | 5205.60 | 900.00 | 5400.00 | 1300.00 | 7800.00 | 1000.00 | 6000.00 | 5205.60 | A.SARATHA
132.00 | Providing, Fixing & Commissioning of Quick Release Coupler Swiel Elbow Brass Body. Make - Harit/ecoaqua/sintex/Xeritech | 6.00 | No. |  | 723.00 | 4338.00 | 900.00 | 5400.00 | 1300.00 | 7800.00 | 6000.00 | 36000.00 | 4338.00 | A.SARATHA
133.00 | Providing, fixing & commissioning of 45 m3 capacity Disc Filter with drain valve & necessary fittings. Make - Rainbird/Armas / Xeritech | 2.00 | No. |  | 18075.00 | 36150.00 | 16000.00 | 32000.00 | 21778.00 | 43556.00 | 9000.00 | 18000.00 | 18000.00 | S.A.V.Constructions
134.00 | Providing, Fixing & Commissioning of 2'' Pressure Release Valve Make - Harit / Zolato/Armas/Automat/Xeritech | 2.00 | No. |  | 5061.00 | 10122.00 | 5800.00 | 11600.00 | 8188.00 | 16376.00 | 4000.00 | 8000.00 | 8000.00 | S.A.V.Constructions
135.00 | Supply,Fixing & commissioning Of Automatic irrigation control system as interface Between Communication Cable and Solenoid Valve Make : Rainbird /Hunter | 1.00 | No. |  | 28920.00 | 28920.00 | 32000.00 | 32000.00 | 42800.00 | 42800.00 | 50000.00 | 50000.00 | 28920.00 | A.SARATHA
136.00 | Providing, Fixing & Commissioning of Solenoid Valves, 2’’ dia with necessary fittings. Make - Rainbird /Hunter | 11.00 | No. |  | 5784.00 | 63624.00 | 6000.00 | 66000.00 | 9580.00 | 105380.00 | 9000.00 | 99000.00 | 63624.00 | A.SARATHA
137.00 | Providing, Fixing & Commissioning of Common Wire - 1.0 sq.mm x single core cable for automation with Conduit Pipe Make - Polycab (ISI) / Havells/Kundan/Finolax | 1202.00 | Meter |  | 46.27 | 55616.54 | 45.00 | 54090.00 | 64.00 | 76928.00 | 20.00 | 24040.00 | 24040.00 | S.A.V.Constructions
138.00 | Consultancy Charges for Inspection of Ground developmental works by deployment of Play ground development Expert who possesses authorized Curator Certification from Board of Control for Cricket in India (BCCI). The cost includes the fee for consultants along with his technical team/experts etc, transportation charges, accomodation and all other incidental charges incurred. For every visit, the Sports expert should inspect the sequence of works/improvements/ suggetions etc and a Report on the same to be submitted to NPCIL. | 8.00 | Operation |  | 36150.00 | 289200.00 | 31000.00 | 248000.00 | 20000.00 | 160000.00 | 30000.00 | 240000.00 | 160000.00 | M/S.J D PHILOMIN PALASTER DHAS
140.00 | Applicable GST Rate (%) Included in the Quoted Price
| Total in Figures |  |  |  |  | 26083997.27 |  | 29583450.00 |  | 33909636.00 |  | 31261290.00
Lowest Amount Quoted BY: A.SARATHA(26083997.27)

## BOQ Summary
BOQ Summary Details Tender Title: Development of Cricket ground with Seating Gallery facilities and other infrastructure works in Anuvijay Township at Chettikulam Village Tender ID: 2026_NPCIL_261935_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | A.SARATHA (BID ID -966012) | 26083997.27 | L1
| 2 | Thiraviam Suresh (BID ID -966538) | 29583450.00 | L2
| 3 | S.A.V.Constructions (BID ID -962625) | 31261290.00 | L3
| 4 | M/S.J D PHILOMIN PALASTER DHAS (BID ID -963268) | 33909636.00 | L4