## BoQ1
Government eProcurement System Created By: Gaurav Kaloniya Created Date/Time: 23-Apr-2026 09:56 AM Tender Title: Mechanical, Electrical, Piping Package for Matkana Surface Water Drainage Pump House including cross country HDPE Piping at GHAVP site. Tender ID: 2026_NPCIL_262042_1
Tender Inviting Authority: Chief Construction Engineer
Name of Work: Mechanical, Electrical, Piping Package for Matkana Surface Water Drainage Pump House including cross country HDPE Piping at GHAVP site.
Contract No: NPCIL/GHAVP/CTC/2025/PT-284
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Industrial project And Products Co. (GSTN-06BIEPS1664K1ZY) BID ID -966903 |  | EINA ENGINEERING CO (GSTN-NA) BID ID -967073 |  | Sterling and Wilson Private Limited (GSTN-NA) BID ID -965044
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Schedule-1:Civil Works
1.01 | Clearing jungle including uprooting of rank vegetation, grass, brush wood, trees and saplings of girth up to 30 cm measured at a height of 1 m above ground level and removal of rubbish up to a distance of 100m outside the periphery of the area cleared. | 13000.00 | Sq.M. |  | 30.00 | 390000.00 | 15.50 | 201500.00 | 166.00 | 2158000.00 | 201500.00 | EINA ENGINEERING CO
1.02 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth, lead upto 100m and lift upto 3m, as directed by Engineer-incharge. i) All Kinds of soil. Note: Cutting of road at few locations shall be included in the quoted rate. | 12000.00 | CuM |  | 150.00 | 1800000.00 | 184.00 | 2208000.00 | 581.00 | 6972000.00 | 1800000.00 | Industrial project And Products Co.
1.03 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 30cm in depth, consolidating each deposited layer by ramming and watering, lead up to 100 m and lift upto 3m as per the directions of Engineer-incharge. Note: Thickness of each layer shall be as per directions of Engineer-in-charge. | 11750.00 | CuM |  | 180.00 | 2115000.00 | 154.00 | 1809500.00 | 415.00 | 4876250.00 | 1809500.00 | EINA ENGINEERING CO
1.04 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to & above plinth level: 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) | 9.00 | CuM |  | 7500.00 | 67500.00 | 7350.00 | 66150.00 | 10784.00 | 97056.00 | 66150.00 | EINA ENGINEERING CO
1.05 | Providing & laying in position ready mixed or site batched design mix cement concrete of M35 grade for reinforced cement concrete works; using coarse aggregates & fine aggregates, Ordinary Portland cement, admixtures in recommended proportions as per IS: 9103 to accelerate/retard setting of concrete, to improve durability & workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per the directions of Engineer-in-charge. | 30.00 | CuM |  | 9500.00 | 285000.00 | 10700.00 | 321000.00 | 15761.00 | 472830.00 | 285000.00 | Industrial project And Products Co.
1.06 | Providing & laying in position ready mixed or site batched design mix cement concrete of M35 grade for reinforced cement concrete works; using coarse aggregates & fine aggregates, Ordinary Portland cement, admixtures in recommended proportions as per IS: 9103 to accelerate/retard setting of concrete, to improve durability & workability without impairing strength; including pumping/manual placement etc. for second stage concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per the directions of Engineer-incharge. Note: Concrete shall be used as second stage/secondary concrete, which may require manual placement. | 10.00 | CuM |  | 9500.00 | 95000.00 | 10700.00 | 107000.00 | 17420.00 | 174200.00 | 95000.00 | Industrial project And Products Co.
1.07 | Centering and shuttering including strutting, propping etc. and removal of form for Foundations, footings, bases of columns, etc. as per the directions of Engineer-incharge. | 50.00 | Sq.M. |  | 488.00 | 24400.00 | 140.00 | 7000.00 | 1576.00 | 78800.00 | 7000.00 | EINA ENGINEERING CO
1.08 | Centering and shuttering including strutting, propping etc. and removal of form for Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. as per the directions of Engineer-incharge. | 160.00 | Sq.M. |  | 550.00 | 88000.00 | 355.00 | 56800.00 | 1576.00 | 252160.00 | 56800.00 | EINA ENGINEERING CO
1.09 | Centering and shuttering including strutting, propping etc. and removal of form for Suspended floors, roofs, landings, balconies and access platform | 5.00 | Sq.M. |  | 610.00 | 3050.00 | 614.00 | 3070.00 | 1576.00 | 7880.00 | 3050.00 | Industrial project And Products Co.
1.10 | Providing and laying Non Pressure NP-3 class RCC Pipes including collars/spigot jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement: 2 fine sand) including testing of joints etc. complete in all aspects as per the directions of Engineer-incharge. 1. 500/600mm dia RCC Pipes. | 100.00 | Rm |  | 3050.00 | 305000.00 | 6200.00 | 620000.00 | 10366.00 | 1036600.00 | 305000.00 | Industrial project And Products Co.
1.11 | Supplying and providing reinforcement (for reinforced cement concrete works) Thermo-mechanically treated (TMT) bars of Fe 500/500D grade conforming to IS:1786 including initial straightening of coiled/uncoiled bars, removal of loose rust, cutting, bending to correct size & shape, binding at each intersection and placing at any position, at any height and depth complete in all respects inclusive of cost of all labour, materials, tools, tackles etc. as per drawings, specifications and direction of Engineer incharge. -Reinforcement of all dia. | 800.00 | Kg |  | 100.00 | 80000.00 | 124.00 | 99200.00 | 164.00 | 131200.00 | 80000.00 | Industrial project And Products Co.
1.12 | BRICK MASONRY (CLAY BURNT BRICKS) :- Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 for all elevations in Cement mortar 1:6 (1 cement : 6 coarse sand) at all heights and depths laid to proper position line, level as per the drawings and specifications including providing necessary scaffolding, staging, raking out of joints, curing etc. complete in all respects inclusive of cost of all labour, materials, tools, tackles etc. as per drawings, specifications and direction of Site Engineer. | 5.00 | CuM |  | 8150.00 | 40750.00 | 10000.00 | 50000.00 | 17420.00 | 87100.00 | 40750.00 | Industrial project And Products Co.
1.13 | 12MM CEMENT PLASTER (1:6) :- 12 mm cement plaster of mix: 1:6 (1 cement: 6 fine sand) | 30.00 | Sq.M. |  | 500.00 | 15000.00 | 340.00 | 10200.00 | 747.00 | 22410.00 | 10200.00 | EINA ENGINEERING CO
1.14 | Supply & placing in position Pre-cast RCC cover of required shape, sizes, of M-25 grade cement concretefor RCC works, including cost of centering, shuttering, reinforcement of 10mm diameter TMT bars Fe-500/500D grade @ 150mm c/c on both ways, encasing on all edges with 1.6mm thick MS Sheet, duly painted, providing hooks for lifting etc. to cover the ARV Pits all complete & as per the direction of engineer. Reinforcement shall be welded with MS Sheet. Cost of carriage, if any shall be deemed to be included in quoted price. | 1.00 | CuM |  | 10370.00 | 10370.00 | 18500.00 | 18500.00 | 99547.00 | 99547.00 | 10370.00 | Industrial project And Products Co.
2.00 | Schedule-2: Mechanical Works
2.01 | Supply, Storage at site of Carbon steel pipes SA-53, Grade-B, Sch-40, ASME/ANSI B 36.10, SMLS, BW/Plain Ends as per 700 Mwe/71710/01/PMS as per the relevant Technical Specifications, IS codes.
2.01 | DN 15, SMLS, Plain Ends, 2.77 mm Thick | 6.00 | Rm |  | 510.00 | 3060.00 | 500.00 | 3000.00 | 625.00 | 3750.00 | 3000.00 | EINA ENGINEERING CO
2.01 | DN 25, SMLS, Plain Ends, 3.38 mm Thick | 6.00 | Rm |  | 840.00 | 5040.00 | 800.00 | 4800.00 | 972.00 | 5832.00 | 4800.00 | EINA ENGINEERING CO
2.01 | DN 100, ERW, BW Ends, 6.02 mm Thick | 6.00 | Rm |  | 3880.00 | 23280.00 | 1500.00 | 9000.00 | 4233.00 | 25398.00 | 9000.00 | EINA ENGINEERING CO
2.01 | DN 200, ERW, BW Ends, 8.18 mm Thick | 36.00 | Rm |  | 7000.00 | 252000.00 | 4700.00 | 169200.00 | 10419.00 | 375084.00 | 169200.00 | EINA ENGINEERING CO
2.01 | DN 300, ERW, BW Ends, 9.53 mm Thick | 72.00 | Rm |  | 16000.00 | 1152000.00 | 7200.00 | 518400.00 | 17759.00 | 1278648.00 | 518400.00 | EINA ENGINEERING CO
2.02 | Supply, Storage at site Carbon steel Pipe Fittings SA-234, Grade-WPB, ASME/ANSI B 16.9 as per 700 Mwe/71710/01/PMS as per the relevant Technical Specifications, IS codes.
2.02 | Elbow, DN 200, SMLS, BW Ends, Long Radius 90 deg, 8.18 mm Thick | 4.00 | Nos |  | 8780.00 | 35120.00 | 3600.00 | 14400.00 | 11942.00 | 47768.00 | 14400.00 | EINA ENGINEERING CO
2.02 | Elbow, DN 300, ERW, BW Ends, Long Radius 90 deg, 9.53 mm Thick | 6.00 | Nos |  | 20130.00 | 120780.00 | 5800.00 | 34800.00 | 19345.00 | 116070.00 | 34800.00 | EINA ENGINEERING CO
2.02 | Concentric Reducer, DN 300 X DN 200, Thickness same as pipe, BW Ends | 3.00 | Nos |  | 9515.00 | 28545.00 | 5600.00 | 16800.00 | 12292.00 | 36876.00 | 16800.00 | EINA ENGINEERING CO
2.02 | CAP, DN 300, Thickness same as pipe, BW Ends | 1.00 | Nos |  | 6955.00 | 6955.00 | 4500.00 | 4500.00 | 24977.00 | 24977.00 | 4500.00 | EINA ENGINEERING CO
2.02 | Equal TEE, DN 300 x DN 300, SCH STD , BW Ends | 3.00 | Nos |  | 23790.00 | 71370.00 | 9600.00 | 28800.00 | 26812.00 | 80436.00 | 28800.00 | EINA ENGINEERING CO
2.03 | Supply, Storage at site Carbon Steel Flanges SA-105, ASME/ ANSI B 16.5 / AWWA C207, CLASS B as per 700 Mwe/71710/01/PMS including nuts and bolts, gaskets etc. as per the relevant Technical Specifications, IS codes.
2.03 | DN 100, 150#, SORF, Serrated Finish | 8.00 | Nos |  | 2910.00 | 23280.00 | 3840.00 | 30720.00 | 3823.00 | 30584.00 | 23280.00 | Industrial project And Products Co.
2.03 | DN 200, 150#, SORF, Serrated Finish | 28.00 | Nos |  | 5300.00 | 148400.00 | 6600.00 | 184800.00 | 5186.00 | 145208.00 | 145208.00 | Sterling and Wilson Private Limited
2.03 | DN 300, Class B, SOFF, AWWA C207, CLASS B, Serrated Finish | 2.00 | Nos |  | 10980.00 | 21960.00 | 15000.00 | 30000.00 | 20374.00 | 40748.00 | 21960.00 | Industrial project And Products Co.
2.04 | Supply, Storage at site Carbon Steel Coupling SA-105, ASME/ ANSI B 16.11 as per 700 Mwe/71710/01/PMS as per the relevant Technical Specifications, IS codes.
2.04 | Cap, DN 15, 3000#, Threaded | 5.00 | Nos |  | 200.00 | 1000.00 | 240.00 | 1200.00 | 2032.00 | 10160.00 | 1000.00 | Industrial project And Products Co.
2.04 | Cap, DN 25, 3000#, Threaded | 3.00 | Nos |  | 310.00 | 930.00 | 420.00 | 1260.00 | 3672.00 | 11016.00 | 930.00 | Industrial project And Products Co.
2.04 | Full coupling, DN 15, 3000#, SW | 24.00 | Nos |  | 130.00 | 3120.00 | 336.00 | 8064.00 | 603.00 | 14472.00 | 3120.00 | Industrial project And Products Co.
2.04 | Screwed coupling, DN 25, 3000#, Screwed | 12.00 | Nos |  | 366.00 | 4392.00 | 540.00 | 6480.00 | 1251.00 | 15012.00 | 4392.00 | Industrial project And Products Co.
2.05 | Supply, Storage at site Carbon steel Sockolet SA-105, MSS-SP-97 as per 700 Mwe/71710/01/PMS as per the relevant Technical Specifications, IS codes.
2.05 | DN 200 x 15, 3000#, SW | 5.00 | Nos |  | 460.00 | 2300.00 | 1440.00 | 7200.00 | 2380.00 | 11900.00 | 2300.00 | Industrial project And Products Co.
2.05 | DN 300 x 15, 3000#, SW | 5.00 | Nos |  | 455.00 | 2275.00 | 1980.00 | 9900.00 | 2380.00 | 11900.00 | 2275.00 | Industrial project And Products Co.
2.05 | DN 200 x 25, 3000#, SW | 5.00 | Nos |  | 790.00 | 3950.00 | 1800.00 | 9000.00 | 2851.00 | 14255.00 | 3950.00 | Industrial project And Products Co.
2.06 | Welding of CS pipe with SMAW process (SW/FW) | 300.00 | Inch-Dia |  | 730.00 | 219000.00 | 700.00 | 210000.00 | 1311.00 | 393300.00 | 210000.00 | EINA ENGINEERING CO
2.07 | Welding of CS pipe with SMAW process (BW/NW) | 300.00 | Inch-Dia |  | 1090.00 | 327000.00 | 1400.00 | 420000.00 | 1576.00 | 472800.00 | 327000.00 | Industrial project And Products Co.
2.08 | Dye Penetrant examination of weld joints | 100.00 | Inch-Dia |  | 200.00 | 20000.00 | 80.00 | 8000.00 | 116.00 | 11600.00 | 8000.00 | EINA ENGINEERING CO
2.09 | Fabrication, Erection and Hydrotesting of pipes and fittings | 800.00 | Inch-meter |  | 600.00 | 480000.00 | 420.00 | 336000.00 | 415.00 | 332000.00 | 332000.00 | Sterling and Wilson Private Limited
2.10 | Supply of material, Storage at site, Fabrication of CS supports with level 5 NDE requirement as per specifications | 5000.00 | Kg |  | 150.00 | 750000.00 | 125.00 | 625000.00 | 210.00 | 1050000.00 | 625000.00 | EINA ENGINEERING CO
2.11 | Erection of CS supports with all NDE requirements Level-5 as per specifications. | 5000.00 | Kg |  | 50.00 | 250000.00 | 50.00 | 250000.00 | 83.00 | 415000.00 | 250000.00 | Industrial project And Products Co., EINA ENGINEERING CO
2.12 | Painting of Carbon steel piping and supports which shall comprise of suitable surface preparation followed by application of 2 coats (50 micron per coat) of polyamide cured high build epoxy zinc phosphate primer, 1 coat (75 micron) of polyamide cured high build epoxy intermediate with laminar micaceous ion oxide pigment, 52% solid contents and 2 coats at site (40 micron per coat) of aliphatic isocynate cured acrylic polyeurathane. A total coating thickness of 250 micron (min.) shall be achieved. | 100.00 | Sq.M. |  | 3000.00 | 300000.00 | 500.00 | 50000.00 | 581.00 | 58100.00 | 50000.00 | EINA ENGINEERING CO
2.13 | Supply, Storage at site, Fabrication, Erection and Hydro Testing of HDPE pipe of of Grade PE 100, SDR 17 and PN 8 rating. This item shall also include Bending of the pipe (if required), Joining of the pipe through butt fusion welding / Flanged Joints, providing necessary hardware like Nuts, Bolts, gaskets, Washers, locknuts etc as per technical specification, hydrotesting to required pressure complete as per the relevant Technical Specifications, IS codes and directions of Engineer-In-Charge.
2.13 | DN 355, 23.1 mm Thick, PE | 2300.00 | Rm |  | 6500.00 | 14950000.00 | 9850.00 | 22655000.00 | 10604.00 | 24389200.00 | 14950000.00 | Industrial project And Products Co.
2.13 | DN 110, 7.3 mm Thick, PE | 12.00 | Rm |  | 750.00 | 9000.00 | 1400.00 | 16800.00 | 2016.00 | 24192.00 | 9000.00 | Industrial project And Products Co.
2.14 | Supply, Storage at site, Fabrication, Erection and Hydro Testing of HDPE pipe fittings of of Grade PE 100, SDR 17 and PN 8 rating. The item shall also include Joining of the pipe/fitting through butt fusion welding / Flanged Joints, providing necessary hardware like Nuts, Bolts, gaskets, Washers, locknuts etc, hydrotesting to required pressure complete as per the relevant Technical Specifications, IS codes and directions of Engineer-In-Charge.
2.14 | Elbow, DN 355, 23.1 mm thick, 1.5D, 45 Deg., Butt Fusion type | 16.00 | Nos |  | 23410.00 | 374560.00 | 12000.00 | 192000.00 | 16003.00 | 256048.00 | 192000.00 | EINA ENGINEERING CO
2.14 | Elbow, DN 110, 7.3 mm thick, 1.5D, 90 Deg., Butt Fusion type | 6.00 | Nos |  | 1150.00 | 6900.00 | 1800.00 | 10800.00 | 778.00 | 4668.00 | 4668.00 | Sterling and Wilson Private Limited
2.14 | Elbow, DN 355, 23.1 mm thick, 1.5D, 90 Deg., Butt Fusion type | 8.00 | Nos |  | 24710.00 | 197680.00 | 21600.00 | 172800.00 | 16003.00 | 128024.00 | 128024.00 | Sterling and Wilson Private Limited
2.14 | Reducing TEE, DN 355 x DN 110, BW, Butt Fusion type | 3.00 | Nos |  | 8000.00 | 24000.00 | 18000.00 | 54000.00 | 29670.00 | 89010.00 | 24000.00 | Industrial project And Products Co.
2.14 | Stub Flange, DN 355, Long Spigot, Butt Fusion type | 3.00 | Nos |  | 7000.00 | 21000.00 | 13200.00 | 39600.00 | 14244.00 | 42732.00 | 21000.00 | Industrial project And Products Co.
2.14 | Stub Flange, DN 110, Long Spigot, Butt Fusion type | 3.00 | Nos |  | 3000.00 | 9000.00 | 2760.00 | 8280.00 | 2034.00 | 6102.00 | 6102.00 | Sterling and Wilson Private Limited
2.15 | Supply, Storage at site, Fabrication, Erection of Flange, Class B, FABRICATED FROM SA 515 Gr.60 SINGLE PLATE, TAILORMADE FOR HDPE, SOFF, Seratted finish matching with companion CS Flanges. The item shall also include Joining of the pipe/fitting through butt fusion welding / Flanged Joints, providing necessary hardware like Nuts, Bolts, gaskets, Washers, locknuts etc as per technical specification as per the relevant Technical Specifications, IS codes and directions of Engineer-In-Charge.
2.15 | DN 300 (355) | 3.00 | Nos |  | 10130.00 | 30390.00 | 17400.00 | 52200.00 | 6921.00 | 20763.00 | 20763.00 | Sterling and Wilson Private Limited
2.15 | DN 100 (110) | 3.00 | Nos |  | 550.00 | 1650.00 | 6000.00 | 18000.00 | 1093.00 | 3279.00 | 1650.00 | Industrial project And Products Co.
2.16 | Supply, Storage at site, Erection of Valves through threaded/flanged/welded joints as specified inclusive of providing of hardware like Nuts, Bolts, gaskets, Washers, locknuts etc as per technical specification as per the relevant Technical Specifications, IS codes and directions of Engineer-In-Charge.
2.16 | Gate Valve, 15 NB, 900#, SW Ends SA 105, TRIM SS-304 as per 700 MWe/71003/2001/VSS and PC-E-542 | 6.00 | Nos |  | 5000.00 | 30000.00 | 36000.00 | 216000.00 | 103330.00 | 619980.00 | 30000.00 | Industrial project And Products Co.
2.16 | Gate Valve, 25 NB, 900#, SW Ends SA 105, TRIM SS-304 as per 700 MWe/71003/2002/VSS and PC-E-542 | 4.00 | Nos |  | 10000.00 | 40000.00 | 44400.00 | 177600.00 | 169944.00 | 679776.00 | 40000.00 | Industrial project And Products Co.
2.16 | Kinetic air release valve, 100 NB, 125#, FL Ends SA 216, TRIM SS-304 as per GHAVP-1&2/71123/5035/ VSS and PC-E-542 | 3.00 | Nos |  | 500000.00 | 1500000.00 | 96000.00 | 288000.00 | 394202.00 | 1182606.00 | 288000.00 | EINA ENGINEERING CO
2.16 | Gate Valve, 100 NB, 150#, FL Ends SA 216, TRIM SS-304 as per 700 MWe/71003/2007/VSS and PC-E-542 | 3.00 | Nos |  | 47100.00 | 141300.00 | 74400.00 | 223200.00 | 323945.00 | 971835.00 | 141300.00 | Industrial project And Products Co.
2.16 | Gate Valve, 200 NB, 150#, FL Ends SA 216, TRIM SS-304 as per 700 MWe/71003/2011/VSS and PC-E-542 | 4.00 | Nos |  | 50000.00 | 200000.00 | 174000.00 | 696000.00 | 455140.00 | 1820560.00 | 200000.00 | Industrial project And Products Co.
2.16 | Check Valve, 200 NB, 150#, FL Ends SA 216, TRIM SS-304 as per GHAVP-1&2-71123-5005-VSS and PC-E-542 | 4.00 | Nos |  | 26500.00 | 106000.00 | 168000.00 | 672000.00 | 393640.00 | 1574560.00 | 106000.00 | Industrial project And Products Co.
2.16 | CAST CARBON STEEL MANUALLY OPERATED BUTTERFLY VALVE WITH FLANGED ENDS, 300 NB, 150 LBS, Flanged ends as per AWWA C-207 CLASS D, SA216 Gr. WCB as per 700 MWe/71003/2046/VSS | 3.00 | Nos |  | 15000.00 | 45000.00 | 186000.00 | 558000.00 | 731217.00 | 2193651.00 | 45000.00 | Industrial project And Products Co.
2.17 | Design, engineering, preparation of engineering & manufacturing drawings, Approval, Fabrication, manufacture, procurement, inspection, shop testing, safe delivery at site (freight & insurance) and guarantee, supply of spares, Erection at site of submersible type pump with electric motor including hardware like companion flanges Nuts, Bolts, gaskets, Washers, locknuts etc as per the relevant Technical Specifications, IS codes and directions of Engineer-In-Charge. | 3.00 | Set |  | 600000.00 | 1800000.00 | 960000.00 | 2880000.00 | 1195651.00 | 3586953.00 | 1800000.00 | Industrial project And Products Co.
2.18 | Design, engineering, preparation of engineering & manufacturing drawings, Approval, Fabrication, manufacture, procurement, inspection, shop testing, safe delivery at site (freight & insurance) and guarantee, supply of spares, Erection at site of Coarse Screen as per technical specification complete as per the relevant Technical Specifications, IS codes and directions of Engineer-In-Charge. | 1.00 | Lumpsum |  | 2800000.00 | 2800000.00 | 1440000.00 | 1440000.00 | 5828940.00 | 5828940.00 | 1440000.00 | EINA ENGINEERING CO
2.19 | Design, engineering, preparation of engineering & manufacturing drawings, Approval, Fabrication, manufacture, procurement, inspection, shop testing, safe delivery at site (freight & insurance) and guarantee, supply of spares, Erection at site of 200 NB Inline Rubber expansion Bellows including hardware like companion flanges Nuts, Bolts, gaskets, Washers, locknuts etc as per the relevant Technical Specifications, IS codes and directions of Engineer-In-Charge. | 3.00 | Set |  | 80000.00 | 240000.00 | 66000.00 | 198000.00 | 20598.00 | 61794.00 | 61794.00 | Sterling and Wilson Private Limited
2.20 | Design, engineering, preparation of engineering & manufacturing drawings, Approval, Fabrication, manufacture, procurement, inspection, shop testing, safe delivery at site (freight & insurance) and guarantee, supply of spares, Erection at site of 1 Ton Monorail Hoist with Trolley as per technical specification, Load testing as per the relevant Technical Specifications, IS codes and directions of Engineer-In-Charge. | 1.00 | Set |  | 305000.00 | 305000.00 | 540000.00 | 540000.00 | 90830.00 | 90830.00 | 90830.00 | Sterling and Wilson Private Limited
2.21 | Design, engineering, preparation of engineering & manufacturing drawings, Approval, Fabrication, manufacture, procurement, inspection, shop testing, safe delivery at site (freight & insurance) and guarantee, supply of spares, Erection at site of 3 Ton Monorail Hoist with Trolley as per technical specification, Load testing as per the relevant Technical Specifications, IS codes and directions of Engineer-In-Charge. | 1.00 | Set |  | 756400.00 | 756400.00 | 920000.00 | 920000.00 | 191028.00 | 191028.00 | 191028.00 | Sterling and Wilson Private Limited
2.22 | Design, Supply, Installation, Testing and Commissioning of Ventilation system of Matkana pump House as per the relevant Drawings, Technical Specifications, IS codes and directions of Engineer-In-Charge. | 1.00 | Lumpsum |  | 585600.00 | 585600.00 | 1940000.00 | 1940000.00 | 1364618.00 | 1364618.00 | 585600.00 | Industrial project And Products Co.
3.00 | Schedule-3: Electrical Works
3.01 | Design, engineering, procurement, manufacture, quality assurance, routine and acceptance tests, packing & forwarding, transportation, safe delivery at site of following type tested equipment conforming to requirement of tender specifications, drawings & applicable standards, including storage at site, handling, erection / installation / laying & termination, testing at site and commissioning of equipment complete in all respects for sucessful charging of the system. (cost includes the supply of fire extinguishers, required as per relavant standards)
3.01 | 415V AC MCC (M420 - Matkana) as per the technical specification PC-E-00172 (MCC) & 415V Single Line Diagram (GHAVP-1TO4/52540/2001/ED/R1) with motor control scheme, numerical relay protection, indications, control for motor start/stop etc. complete in all respect and with all the accessories. Note:- 1. Suitable starter arrangement for motors to be provided as per motor OEM recommendation. 2. Suitable arrangement for incomming cable connection (from transformer) of 630A to be provided. 3. Transformer and HT cables shown in drg are not in the scope of this contract, but panel shall have arrangement for 51N protection. 4. For incommer supply, purchaser's cable it to be connected to this panel covered under this scope of work and panel shall also have arrangement for connection of busduct in future. Costing for such arrangement is included in this item. | 1.00 | Nos |  | 600000.00 | 600000.00 | 674960.00 | 674960.00 | 2374355.00 | 2374355.00 | 600000.00 | Industrial project And Products Co.
3.01 | 415V, AC indoor type, metal clad, floor mounted lighting cum space heater board panel with 415V, 63A, 3 phase, 4 wire bus, 10kA symmetrical fault current. 4 pole 63 A MCB as incomer, 6 Nos. of 10A, 9 Nos. of 16A & 3 Nos. of 32A, 240V 2 pole MCBs (9kA) as outgoing feeders inclusive of all control devices (incl. astro timmer for outdoor lights) as per drawing no. 415V Single Line Diagram (GHAVP-1TO4/52540/2001 /ED/R1) & technical specification (PC_E_00206 (ACDB) and technical specifications for matkana pond, complete in all respects. | 1.00 | Nos |  | 150000.00 | 150000.00 | 533360.00 | 533360.00 | 166973.00 | 166973.00 | 150000.00 | Industrial project And Products Co.
3.01 | 415V, AC indoor type, metal clad, wall mounted, Ventilation Distribution Board with bus of 415V, 32A, 3 phase, 4 wire, 10 kA symmetrical fault current, 32A 4pole MCB for incomer and 7 Nos.outgoing feeders having approximately 1 A, 415 V, 3 pole, MPCB and 10A contactor (9 kA) along with fan control scheme in line with drawing No. GHAVP-1TO4/73300/2003/P&ID, GHAVP-1&2/60000/2401/ES and GHAVP-1TO4/52540/ 2001/ED/R1. (MPCB rating shall be selected for 0.37kw fans during detail engineering by Vendor). | 1.00 | Nos |  | 81740.00 | 81740.00 | 509760.00 | 509760.00 | 153500.00 | 153500.00 | 81740.00 | Industrial project And Products Co.
3.01 | Power Pack module for feeding 24V DC power supply, having 2hrs battery back-up, charging arrangement from input voltage as 230V AC, 50Hz, Number of output through inbuild MCB shall be as per requirement with 10% as spare MCBs. | 1.00 | Nos |  | 87840.00 | 87840.00 | 377600.00 | 377600.00 | 21282.00 | 21282.00 | 21282.00 | Sterling and Wilson Private Limited
3.02 | Design, engineering, procurement, manufacture, quality assurance, routine and acceptance tests, packing & forwarding, transportation, safe delivery at site of following type tested Low voltage power cables & control cables conforming to requirement of tender specifications (415 V Power Cables PC-E-00184, Electrical Control Cables PC-E-00183), cable installation note GHAVP-1&2/DD/53300/2102, drawings & applicable standards, including storage at site, handling, laying, burying, termination, testing at site and commissioning of Low voltage power cables and control cables complete in all respects for sucessful charging of the system
3.02 | LV power cable, 1100V grade, 3C X 120 sq.mm as minimum cross section, Al., XLPE insulated, Armoured, FRLS PVC sheath | 150.00 | meter |  | 14800.00 | 2220000.00 | 838.00 | 125700.00 | 1303.00 | 195450.00 | 125700.00 | EINA ENGINEERING CO
3.02 | Double compression cable glands for 3C X 120 sq.mm LV power cable | 8.00 | Nos |  | 1500.00 | 12000.00 | 2360.00 | 18880.00 | 2725.00 | 21800.00 | 12000.00 | Industrial project And Products Co.
3.02 | LV power cable, 1100V grade, 4C X 16 sq.mm as minimum cross section, Cu., XLPE insulated, Armoured, FRLS PVC sheath | 150.00 | meter |  | 400.00 | 60000.00 | 1062.00 | 159300.00 | 1759.00 | 263850.00 | 60000.00 | Industrial project And Products Co.
3.02 | Double compression cable glands for 4C X 16 sq.mm LV power cable | 10.00 | Nos |  | 1130.00 | 11300.00 | 1416.00 | 14160.00 | 1117.00 | 11170.00 | 11170.00 | Sterling and Wilson Private Limited
3.02 | LV power cable, 1100V grade, 3C X 2.5 sq.mm as minimum cross section, Cu., XLPE insulated, Armoured, FRLS PVC sheath | 300.00 | meter |  | 375.00 | 112500.00 | 142.00 | 42600.00 | 369.00 | 110700.00 | 42600.00 | EINA ENGINEERING CO
3.02 | Double compression cable glands for 3C X 2.5 sq.mm LV power cable | 10.00 | Nos |  | 610.00 | 6100.00 | 590.00 | 5900.00 | 631.00 | 6310.00 | 5900.00 | EINA ENGINEERING CO
3.02 | Control cable, 1100V grade, 2C X 2.5 sq.mm as minimum cross section, Cu., PVC insulated, Armoured, FRLS PVC sheath | 200.00 | meter |  | 292.00 | 58400.00 | 130.00 | 26000.00 | 273.00 | 54600.00 | 26000.00 | EINA ENGINEERING CO
3.02 | Double compression cable glands for 2C X 2.5 sq.mm, Cu., PVC insulated, Armoured, FRLS PVC sheath | 8.00 | Nos |  | 555.00 | 4440.00 | 602.00 | 4816.00 | 631.00 | 5048.00 | 4440.00 | Industrial project And Products Co.
3.02 | Control cable, 1100V grade, 10C X 2.5 sq.mmas minimum cross section, Cu., PVC insulated, Armoured, FRLS PVC sheath | 200.00 | meter |  | 1110.00 | 222000.00 | 673.00 | 134600.00 | 847.00 | 169400.00 | 134600.00 | EINA ENGINEERING CO
3.02 | Double compression cable glands for 10C X 2.5 sq.mm, Cu., PVC insulated, Armoured, FRLS PVC sheath | 6.00 | Nos |  | 873.00 | 5238.00 | 838.00 | 5028.00 | 936.00 | 5616.00 | 5028.00 | EINA ENGINEERING CO
3.02 | Lugs suitbale for 16 sq.mm, Cu., cable | 40.00 | Nos |  | 20.00 | 800.00 | 94.00 | 3760.00 | 68.00 | 2720.00 | 800.00 | Industrial project And Products Co.
3.02 | Lugs suitable for 120 sq.mm, Al., cable | 24.00 | Nos |  | 65.00 | 1560.00 | 142.00 | 3408.00 | 110.00 | 2640.00 | 1560.00 | Industrial project And Products Co.
3.02 | Lugs suitable for 2.5 sq.mm, Cu., cable | 60.00 | Nos |  | 15.00 | 900.00 | 24.00 | 1440.00 | 25.00 | 1500.00 | 900.00 | Industrial project And Products Co.
3.03 | Design, engineering, procurement, manufacture, quality assurance, routine and acceptance tests, packing & forwarding, transportation, safe delivery at site of following cable trays including support structures and accessories, conforming to requirement of tender specifications (PC-E-00165, Cable Trays & Accessories), cable installation note GHAVP-1&2/DD/ 53300/2102, cable tray accessory drawings GHAVP-1&2/53330/2101, 2102, 2103, 2104, 2105/DD & Cable tray layout GHAVP-1&2/53330/2007/GA, etc. & applicable standards, including storage at site, handling, installation of cable trays, fabrication and erection of support structures and accessories complete in all respects.
3.03 | 300X100 Solid type cable tray with cover | 10.00 | meter |  | 1345.00 | 13450.00 | 1310.00 | 13100.00 | 1912.00 | 19120.00 | 13100.00 | EINA ENGINEERING CO
3.03 | 150X100 Solid type cable tray with cover | 10.00 | meter |  | 915.00 | 9150.00 | 826.00 | 8260.00 | 1628.00 | 16280.00 | 8260.00 | EINA ENGINEERING CO
3.03 | 300X100 Ladder type cable tray without cover | 50.00 | meter |  | 1465.00 | 73250.00 | 1062.00 | 53100.00 | 2084.00 | 104200.00 | 53100.00 | EINA ENGINEERING CO
3.03 | 150X100 Ladder type cable tray without cover | 20.00 | meter |  | 1095.00 | 21900.00 | 720.00 | 14400.00 | 1672.00 | 33440.00 | 14400.00 | EINA ENGINEERING CO
3.03 | 300xR1050X100 ELBOW,90 Deg Vertical Inside,Solid Type With Cover | 2.00 | Nos |  | 3120.00 | 6240.00 | 2360.00 | 4720.00 | 11827.00 | 23654.00 | 4720.00 | EINA ENGINEERING CO
3.03 | 150xR300X100 ELBOW,90 Deg Vertical Inside,Solid Type With Cover | 2.00 | Nos |  | 1855.00 | 3710.00 | 8260.00 | 16520.00 | 11661.00 | 23322.00 | 3710.00 | Industrial project And Products Co.
3.03 | 300x300xR600X100 TEE,Equal,Ladder Type Without Cover | 2.00 | Nos |  | 4090.00 | 8180.00 | 17700.00 | 35400.00 | 11204.00 | 22408.00 | 8180.00 | Industrial project And Products Co.
3.03 | 150xR300X100 BEND,90 Deg Horizontal,Ladder Type Without Cover | 2.00 | Nos |  | 1730.00 | 3460.00 | 17700.00 | 35400.00 | 8922.00 | 17844.00 | 3460.00 | Industrial project And Products Co.
3.03 | Coupler plates with hardware | 100.00 | Nos |  | 160.00 | 16000.00 | 708.00 | 70800.00 | 1031.00 | 103100.00 | 16000.00 | Industrial project And Products Co.
3.03 | 100NB medium duty GI pipes with accessories, clamps and hardware for fixing the pipes to the supports for routing cables from cable trays or Distribution Boards or Junction Boxes to various field equipment or between equipment or between cable trays. | 20.00 | meter |  | 4010.00 | 80200.00 | 1416.00 | 28320.00 | 3783.00 | 75660.00 | 28320.00 | EINA ENGINEERING CO
3.03 | 50NB medium duty GI pipes with accessories, clamps and hardware for fixing the pipes to the supports for routing cables from cable trays or Distribution Boards or Junction Boxes to various field equipment or between equipment or between cable trays. | 70.00 | meter |  | 1730.00 | 121100.00 | 1074.00 | 75180.00 | 1786.00 | 125020.00 | 75180.00 | EINA ENGINEERING CO
3.03 | Hot dip Galvanised support structural material consisting of flats, ISA 65, ISMC 75, any other size of ISA / ISMC, plates, etc. for rigid supports (ceiling, wall and floor supports) | 1.50 | MT |  | 200000.00 | 300000.00 | 7080.00 | 10620.00 | 267.00 | 400.50 | 400.50 | Sterling and Wilson Private Limited
3.04 | Design, engineering, procurement, manufacture, quality assurance, routine and acceptance tests, packing & forwarding, transportation, safe delivery at site of following type tested light fixtures, conforming to requirement of tender specifications (PC-E-00190 Light fixtures), lighting layout GHAVP-1&2/53100/2015/GA, etc. & applicable standards, including storage at site, handling, installation of light fixtures and accessories complete in all respects.
3.04 | LED luminaire, minimum 3500 lux, with extruded aluminum housing, powder coated finish polycarbonate diffuser suitable for surface and suspension mounting (Type B) (3 loops of wiring) | 15.00 | Nos |  | 6380.00 | 95700.00 | 1770.00 | 26550.00 | 1015.00 | 15225.00 | 15225.00 | Sterling and Wilson Private Limited
3.04 | Outdoor LED street lighting luminaire to mount on building periphery wall, minimum 4200 lux, with pressure die cast aluminum alloy housing with heat resistant toughened glass cover, powder coated finish (Type SL1), with astronomical timer switch (controlled by DB at S. No. A4.1.5) | 12.00 | Nos |  | 4000.00 | 48000.00 | 5310.00 | 63720.00 | 3659.00 | 43908.00 | 43908.00 | Sterling and Wilson Private Limited
3.05 | Design, engineering, procurement, manufacture, quality assurance, packing & forwarding, transportation, safe delivery at site of following lighting system material, conforming to requirement of tender specifications, lighting installation note GHAVP-1&2/53100/2104/DD, lighting layout GHAVP-1&2/53100/2015/GA, etc. & applicable standards, including storage at site, handling, installation of lightsystem and accessories complete in all respects.
3.05 | 240V AC, 5/15A single phase five pin, industrial type receptacle with MCB & ELCB | 3.00 | Nos |  | 7930.00 | 23790.00 | 1062.00 | 3186.00 | 16740.00 | 50220.00 | 3186.00 | EINA ENGINEERING CO
3.05 | 240V AC, 30A, single phase five pin, industrial type receptacle with MCB & ELCB | 3.00 | Nos |  | 8540.00 | 25620.00 | 1062.00 | 3186.00 | 17083.00 | 51249.00 | 3186.00 | EINA ENGINEERING CO
3.05 | 63A, 415V AC, 3-Phase, Industrial receptacle with MCB | 1.00 | Nos |  | 9760.00 | 9760.00 | 1770.00 | 1770.00 | 11236.00 | 11236.00 | 1770.00 | EINA ENGINEERING CO
3.05 | Suitable Switch board with metal box & modular cover with modular type 5A switches | 7.00 | Nos |  | 1465.00 | 10255.00 | 236.00 | 1652.00 | 5384.00 | 37688.00 | 1652.00 | EINA ENGINEERING CO
3.05 | 1C x 2.5 Sq.mm as minimum cross section, 750V grade, stranded copper conductor, FRLS PVC insulated wires | 300.00 | meter |  | 120.00 | 36000.00 | 94.00 | 28200.00 | 143.00 | 42900.00 | 28200.00 | EINA ENGINEERING CO
3.05 | 1C x 4 Sq.mm as minimum cross section, 750V grade, stranded copper conductor, FRLS PVC insulated wires | 500.00 | meter |  | 185.00 | 92500.00 | 130.00 | 65000.00 | 217.00 | 108500.00 | 65000.00 | EINA ENGINEERING CO
3.05 | 1C x 1.5 Sq.mm as minimum cross section, 750V grade, stranded copper conductor, FRLS PVC insulated wires for earthing (Yellow Green) | 100.00 | meter |  | 70.00 | 7000.00 | 71.00 | 7100.00 | 120.00 | 12000.00 | 7000.00 | Industrial project And Products Co.
3.05 | 1C x 2.5 Sq.mm as minimum cross section, 750V grade, stranded copper conductor, FRLS PVC insulated wires for earthing (Yellow Green) | 50.00 | meter |  | 120.00 | 6000.00 | 94.00 | 4700.00 | 120.00 | 6000.00 | 4700.00 | EINA ENGINEERING CO
3.05 | ERW heavy duty rigid 25mm dia GI conduits with all accessories like bends, elbows, couplers, hospital saddles, spacers, GI Junction boxes, GI pull boxes, etc., and other accessories required to complete the job on wall/ column/ ceiling etc. as per drawing. (The running length shall be measured along the centre line including bends, fittings etc along the run installed, but excluding the hidden length of conduits and lengths of pull boxes and junction boxes) | 150.00 | meter |  | 375.00 | 56250.00 | 144.00 | 21600.00 | 358.00 | 53700.00 | 21600.00 | EINA ENGINEERING CO
3.05 | ERW heavy duty rigid 40mm dia GI conduits with all accessories like bends, elbows, couplers, hospital saddles, spacers, GI Junction boxes, GI pull boxes, etc., and other accessories required to complete the job on wall/ column/ ceiling etc. as per drawings. (The running length shall be measured along the centre line including bends, fittings etc along the run installed, but excluding the hidden length of conduits and lengths of pull boxes and junction boxes) | 40.00 | meter |  | 900.00 | 36000.00 | 203.00 | 8120.00 | 718.00 | 28720.00 | 8120.00 | EINA ENGINEERING CO
3.05 | 25mm dia as minimum cross section flexible GI conduit for fixture hanging | 250.00 | meter |  | 190.00 | 47500.00 | 65.00 | 16250.00 | 295.00 | 73750.00 | 16250.00 | EINA ENGINEERING CO
3.06 | Design, engineering, procurement, manufacture, quality assurance, packing & forwarding, transportation, safe delivery at site of following earthing material conforming to requirement of tender specifications, drawings & applicable standards, including storage at site, handling, excavation, laying / burying, welding, termination, testing at site and commissioning of earthing system complete in all respects. Installation shall be as per earthing installation note GHAVP1&2/53200/2104/DD.
3.06 | Equipment earthing conductor of size 35X6mm, GS flat | 20.00 | meter |  | 185.00 | 3700.00 | 342.00 | 6840.00 | 358.00 | 7160.00 | 3700.00 | Industrial project And Products Co.
3.06 | Equipment earthing conductor of size 25X6mm, GS flat | 100.00 | meter |  | 140.00 | 14000.00 | 142.00 | 14200.00 | 262.00 | 26200.00 | 14000.00 | Industrial project And Products Co.
3.06 | Bare stranded Al conductor, 1Cx35sqmm | 20.00 | meter |  | 110.00 | 2200.00 | 366.00 | 7320.00 | 271.00 | 5420.00 | 2200.00 | Industrial project And Products Co.
3.07 | Supply & application of fire retardant compound over cable to form fire break capable of preventing propagation of fire for 30 minutes as per specifications PC-E-00173. Thickness of the filling material shall be as per the fire rating requirement. This item shall include the cost of fire stops, required if any. | 4.00 | Sq.M. |  | 5000.00 | 20000.00 | 4366.00 | 17464.00 | 11556.00 | 46224.00 | 17464.00 | EINA ENGINEERING CO
3.08 | Miscellaneous material needed to meet the electrical safety requirements as indicated by CEA or IE rules.
3.08 | Supply of Insulating mat- Class-A as per IE rules/Indian standard IS:15652 in front and back side of all 415V and 240V panels/boards along the complete length. | 16.00 | Sq.M. |  | 5000.00 | 80000.00 | 1416.00 | 22656.00 | 3225.00 | 51600.00 | 22656.00 | EINA ENGINEERING CO
3.08 | Supply & Installation of Danger boards as per IS | 2.00 | Nos |  | 500.00 | 1000.00 | 826.00 | 1652.00 | 1191.00 | 2382.00 | 1000.00 | Industrial project And Products Co.
3.08 | Supply & Installation of Safety instruction chart in word duly framed with 5mm thick glass as required | 1.00 | Nos |  | 12445.00 | 12445.00 | 5310.00 | 5310.00 | 2908.00 | 2908.00 | 2908.00 | Sterling and Wilson Private Limited
3.08 | Supply & Installation of Shock treatment chart | 1.00 | Nos |  | 1000.00 | 1000.00 | 5310.00 | 5310.00 | 2226.00 | 2226.00 | 1000.00 | Industrial project And Products Co.
3.09 | Supply, inspection, testing at the contractors works, handling and handover of all mandatory SPARES for all electrical euipments indicated in various technical specifications/ scope drawings.The spare quantity is subject to purchaser’s approval.
3.09 | Mandatory SPARES for 415V MCC, as per technical specification PC-E-00172 (MCC_PMCC). Mandatory spares for 415V MCC includes but not limited to: 10% of all MCC components (like relays, contactor, fuse, etc.) used of each type and rating as per BOM subject to minimum 1 number shall be provided as minimum mandatory spare to purchaser. Complete ACB spare is not required. However, 10% subject to minimum 1 number of mandatory spares of ACB such as trip coil, close coil, spring charging motor, arc chute, arcing contact, limit switch, etc. shall be provided. Note:- the above requirement is in addition to the spare quantity covered by PC/E/00172. | 1.00 | Lumpsum |  | 270000.00 | 270000.00 | 29500.00 | 29500.00 | 1961116.00 | 1961116.00 | 29500.00 | EINA ENGINEERING CO
3.09 | Mandatory spares for all indoor/outdoor lights as per technical specification PC_E_00190 (Lighting Fixtures). Mandatory spares for indoor/outdoor lights includes but not limited to 5% of each type of fixture supplied, subject to a minimum number 1 (one). | 1.00 | Lumpsum |  | 40000.00 | 40000.00 | 29500.00 | 29500.00 | 150382.00 | 150382.00 | 29500.00 | EINA ENGINEERING CO
4.00 | Schedule-4: C&I Works
4.01 | Supply, Erection and commissioning of Relay based Hardwired -Local Control Panels (Type-A) (375(W)x200(D)x465(H)) as per reference ED GHAVP-1&2/67330/2012/ED (Draft). 1. 0-67330-PL-12A 2. 0-67330-PL-12B With Each panel to be supplied with following componenets: a)Indicating Lamps-230V ac,10mm =11 no. b)Handswicthes-230VAC-3pos,9pole=3 no. c)Relays(4CO)-4NO+4NC=230VAC,5A=10 no. d)MCB=230VAC, 2pole, 2A= 4 no. e) MCB-24VDC-2A- 2 nos. e) TB=80 no. f) SMPS-230V AC-24VDC,10A=1 no. Supplier shall submit the GA, BOM & internal wiring drawings of panel to NPCIL for approval before fabrication of panel. | 2.00 | Nos |  | 150000.00 | 300000.00 | 295000.00 | 590000.00 | 277554.00 | 555108.00 | 300000.00 | Industrial project And Products Co.
4.02 | Supply and laying of control cables as per specification
4.02 | Control Cables-50 pair, C-07, 50PR#1.5Sq.mm, EPR, LHLS, OVERALL SHLD | 100.00 | Rm |  | 6350.00 | 635000.00 | 708.00 | 70800.00 | 6320.00 | 632000.00 | 70800.00 | EINA ENGINEERING CO
4.02 | Control Cables-25 pair,C-06, 25PR#1.5Sq.mm, EPR, LHLS, OVERALL SHLD | 100.00 | Rm |  | 3100.00 | 310000.00 | 531.00 | 53100.00 | 3619.00 | 361900.00 | 53100.00 | EINA ENGINEERING CO
4.02 | Control Cables-3 pair, C-03, 3PR#1.5Sq.mm, EPR, LHLS, OVERALL SHLD | 100.00 | Rm |  | 510.00 | 51000.00 | 531.00 | 53100.00 | 1467.00 | 146700.00 | 51000.00 | Industrial project And Products Co.
4.02 | Control Cables-2 pair, C-02, 2PR#1.5Sq.mm, EPR, LHLS, OVERALL SHLD | 100.00 | Rm |  | 380.00 | 38000.00 | 260.00 | 26000.00 | 1374.00 | 137400.00 | 26000.00 | EINA ENGINEERING CO
4.02 | Control Cables-1 pair, C-01, 1PR#1.5Sq.mm, EPR, LHLS, OVERALL SHLD | 100.00 | Rm |  | 100.00 | 10000.00 | 130.00 | 13000.00 | 1002.00 | 100200.00 | 10000.00 | Industrial project And Products Co.
| Total in Figures |  |  |  |  | 40322485.00 |  | 46741402.00 |  | 75485460.50
Lowest Amount Quoted BY: Industrial project And Products Co.(40322485.00)

## BOQ Summary
BOQ Summary Details Tender Title: Mechanical, Electrical, Piping Package for Matkana Surface Water Drainage Pump House including cross country HDPE Piping at GHAVP site. Tender ID: 2026_NPCIL_262042_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Industrial project And Products Co. (BID ID -966903) | 40322485.00 | L1
| 2 | EINA ENGINEERING CO (BID ID -967073) | 46741402.00 | L2
| 3 | Sterling and Wilson Private Limited (BID ID -965044) | 75485460.50 | L3