## BoQ1
Government eProcurement System Created By: Manoj Kumar Singh Created Date/Time: 02-May-2026 03:02 PM Tender Title: Construction of Physical protection system (PPS) with Welded wire Mesh Fencing and Miscellaneous Civil works at KKNPP-3 and 4 Tender ID: 2026_NPCIL_262288_1
Tender Inviting Authority: In Charge, CMM (Works Group)
Name of Work: Construction of Physical protection system (PPS) with Welded wire Mesh Fencing and Miscellaneous civil works at KKNPP-3&4
Contract No: NPCIL/KK-3&4/CONST/CIVIL/PT/2025/185
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | RKANDSONS (GSTN-33AAEFR1671C1ZN) BID ID -963154 |  | S.A.V.Constructions (GSTN-NA) BID ID -962621 |  | RMT INFRATECH (GSTN-NA) BID ID -970610
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Fencing works: Note : 1. All fence components (except concertina coil,Razor barbed tape,nut and bolts) should be provided with hot dipped galvanized coating( thickness as per specification) and thermoplastic powder coating ( thickness as per specification) of required microns passing C5 high or higher corrosion protection and preferably green in colour. 2. Material Supplier for fencing components like wire mesh,CHS post,omega clamps, profile plate and corner clamp,Y arms,frame of wicket gate as per technical specifications. 3.Fence Manufacturer/supplier shall be pre-qualified by NPCIL before commencement of fabrication/work. Fence supplier should have In-House facilities for weld mesh panel manufacturing and powder coating application, equipped with automated or semi automated systems for pre- treatment , curing and quality inspection. 4. The payment shall be made in stages on percentage of rate quoted against item as specified below for SOQR item No 1.1 to 1.7 Stage-1: Fabrication and Supply of materials - 50% of Quoted rate. Stage-2: Erection -50% of Quoted rate. 5.Supply and installation of various fence components of approved make and as per the technical specification, or as directed by Engineer-In-Charge.
1.10 | Supply and installation of circular Hollow section (CHS) post of YSt240 grade material having minimum external dia of 114.3mm, & minimum thickness 4.0 mm with hot dip galvanised coating of minimum 360 GSM on both inside & outside of pipe as per IS 4736/ IS 4826/ IS 2629 and thermoplastic powder coating of minimum 300 microns of colour preferably green confirming to coating standard EN 10245-1/IS 13871 (Coating should pass C5 high or higher corrosion protection standards).length of the each post 4190(considering height of 3190mm above finish ground level & 1000mm below ground level embeded in concrete) provided at 2.5m center to center using 10mm dia and 300mm long MS anchor rod tied with the post at the bottom at two locations as per drawing, as per technical sepicifations and as directed by Enginner-In-Charge.Note : Quoted rate shall be inclusive of all anchor rods and other fixing accesories required for erection of post at site,transportation,labour,material, scaffolding etc. Concrete,shuttering,excavation and backfilling required for erection of post shall be paid in their respective items. | 130.00 | Metric Ton | 100.00 | 223365.00 | 29037450.00 | 210000.00 | 27300000.00 | 229000.00 | 29770000.00 | 27300000.00 | S.A.V.Constructions
1.20 | Supply, fabrication, and installation of straining and intermediate Y-arm,for supporting concertina coil and razor barbed tape ,made up of E250BR grade angle 50X50X5mm, having one arm length of minimum 510mm, welding as mentioned in drawing, with hot dip galvanised coating of minimum 610 GSM as per IS 4759/IS2629 and thermoplastic powder coating (after welding) of 300 micron prefferably green colour,fitted to CHS posts with proper sleeve caps at as per drawing,technical specifications and as directed by Enginner-In-Charge. The sleeve cap should be made of 3mm thick pipe of minimum 125mm dia welded to 5mm thick plate of 150mm OD circular plate and with hot dip galvanised coating of minimum 360 GSM as per IS 4736/ IS 4826/ IS 2629 and thermoplast powder coating of minimum 300 microns and preferably green colour etc. in all complete as per drawings, technical specifications and as directed by Engineer-In-Charge. Note :Quoted rate shall be inclusive of cost of supply, transportation,labour, material,scaffolding,erection,nuts and bolts and other accessories as required for erection etc in all complete. | 2600.00 | each | 100.00 | 2011.00 | 5228600.00 | 1400.00 | 3640000.00 | 3755.00 | 9763000.00 | 3640000.00 | S.A.V.Constructions
1.30 | Supply and installation of high security weld mesh panel, wire mesh panel of size 2500mmX 2750mm, having mesh wire diameter of 4mm, mesh size 12.7 X 76.2 mm as per drawing with hot dip galvanised coating on wire of minimum 40 GSM as per technical specifications and thermoplastic powder coating of minimum 300 microns and preferably of green colour, prepared by electrical resistance welding of hot dip galvanised wires and subsequently thermoplastic powder coated that are reinforced by means V-shape in horizontal direction of the panel of size, as per drawing, including overlapping of panel using Inter Panel binders (IP binders) if required( minimum 75mm overlap in horizontal direction and minimum 167mm overlap in vertical directions) including fixing with required number of OMEGA clamps of E250BR grade and size as per drawing and E250BR profile plates of size as per drawing using two numbers SS mushroom head bolts with breakable head safety nuts of minimum size M8X60 and washers for fixing the mesh to the CHS post in all complete as per drawings, as per technicalspecifications and as directed by Engineer-in-charge. Rate shall be inclusive of cost of labour, material, transportation, scaffolding,erection etc. in all complete. Note: Cost for providing and fixing OMEGA clamp & profile plates along with connection using mushroom bolt shall be paid in respective item. | 20000.00 | Sqm | 10.00 | 3133.00 | 62660000.00 | 2300.00 | 46000000.00 | 3155.00 | 63100000.00 | 46000000.00 | S.A.V.Constructions
1.40 | Supply and fixing omega clamp of grade E250BR and minimum size 270x35x3 mm( as per drawing) and profile plate of E250BR grade and size minimum 270mmX50.20mmX3mm (as per drawing) made with M.S plate/flat and hot dip galvanized coating of minimum 610 GSM as per IS 2629/IS4759 and thermoplastic powder coating of 300 micron of prefrably green colour using two numbers SS mushroom head bolts with security nuts, washers, all accessories and fixtures required for fixing the mesh to the CHS post in all complete as per drawings, as per technical specifications and as directed by Enginner-In-Charge. Note : Quoted rate shall be inclusive of cost of labour , material, supply, scaffolding,transportation, erection with all necessary accesories in all complete | 19000.00 | each | 10.00 | 347.00 | 6593000.00 | 250.00 | 4750000.00 | 275.00 | 5225000.00 | 4750000.00 | S.A.V.Constructions
1.50 | Supply, fabrication, and installation of SS316 Razor barbed tape(as per drawing) of having wire thickness minimum 2.5mm and Tear Blade profile thickness 0.5mm and blade size 22mmX12mm(LXW)(3 Nos. fixed to each arm of straining & intermideate Y-arms using acessories as per specifications) having SS 316 blade of length 22mm and width 12mm and thickness 0.5mm,Center to centre distance between blades as 35mm & core wire diameter 2.5mm of SS316 having tensile strength of 1350 to 1550N/Sqmm in all complete s per drawing, technical specification and as directed by Engineer-in-Charge. Note:Quoted rate shall be inclusive of material, labour, transportation, scaffolding, erection, along with all accessories required for connecting razor tape with straining post using M8X100 eye bolt and hog ring. | 39000.00 | mtr | 10.00 | 109.00 | 4251000.00 | 80.00 | 3120000.00 | 144.00 | 5616000.00 | 3120000.00 | S.A.V.Constructions
1.60 | providing and fixing SS316 punched tape concertina coil 600mm dia with 5-6m stretchable length , having 50 nos rounds per coil, on top of Y-arm of the fence and clipped with razor wire by hog ring and atleast 3 steel clips per loop with tear blade profile having SS316 blade of length 22mm and width 12mm,thickness 0.5mm,C/C distance of blades 35mm and core wire diameter 2.5mm SS316 ,fixed to existing post with the help of proper fixing accessories in all complete as per drawing, technical specification and as directed by Engineer-in-Charge. Note: Quoted rate shall be inclusive of cost of labour , material, supply, transportation, scaffolding, erection, eye bolts, hog ring and all other accessorieries required for fixing the tape and no extra cost will be paid separately. | 6500.00 | mtr | 10.00 | 1825.00 | 11862500.00 | 1350.00 | 8775000.00 | 690.00 | 4485000.00 | 4485000.00 | RMT INFRATECH
1.70 | Supply, fabrication, and installation in position at site swing leaf M.S gate of overall size 1000mmX3050mm(WXH) as per technical specification, drawing & direction of Engineer-in-Charge. as detailed below : (i) welded mesh size 76.2mm X 12.7mm , wire 4mm dia welded with frame consisting of Yst240 grade tube(CHS/SHS) of minimum OD 50mm and minimum thickness 2 mm coated with hot dip galvanize coating of minimun 360 GSM as per IS4736/IS4826/IS2629 and thermoplastic powder coating of minimun 300 micron, all complete as per drawing. (ii) PTC concertina coil of dia 600mm fixed at the top of gate frame with tear blade profile having SS blade grade SS316. (iii) gate fixed to post by suitable size MS hinge as per drawing and technical specification.(iv) gate is provided with suitable Aldrop with Locking Cleat and handle as per drawing and specifications.(v) entire assembly except coil shall be provided with 360GSM hot dipped galvanised coating as per IS:4736 with thermoplast powder coating of minimum 300micron thickness in all complete as per drawing, technical specification and as directed by Enginner-In-Charge. Note : Quoted rate shall be inclusive of cost of labour , material, supply, transportation, scaffolding, erection with all necessary accesories in all complete | 8.00 | each | 10.00 | 191114.00 | 1528912.00 | 140000.00 | 1120000.00 | 60000.00 | 480000.00 | 480000.00 | RMT INFRATECH
2.00 | EARTHWORK/EXCAVATION:
2.10 | Jungle Cleareance:Clearing jungle including uprooting of rank vegetation,grass,bush,saplings and disposing the material within a lead of 5 Kms all in complete as per drawings,technical specifications and as directed by Engineer-In-Charge. | 10000.00 | sqm | 10.00 | 13.00 | 130000.00 | 20.00 | 200000.00 | 55.00 | 550000.00 | 130000.00 | RKANDSONS
2.20 | Felling trees of the girth upto 200cm (measured at a height of 1m above ground level),including cutting of trunks and branches,removing the roots and stacking of the material and disposal of the material upto 5km all in complete as per drawings,technical specifications and as directed by Engineer-In-Charge. | 10.00 | each | 10.00 | 556.00 | 5560.00 | 1000.00 | 10000.00 | 5455.00 | 54550.00 | 5560.00 | RKANDSONS
2.30 | Earth work excavation by mechanical means(hydraulic excavator)/manual means in All kinds of soil in foundation, trenches or drains, etc. including shoring,dressing of sides and ramming of bottoms,for all lift,wherever required bailing/pumping of water, leveling the bottom of excavation and disposing the material at indicative within a lead of 5 Kms all in complete as per drawings, technical specifications and as directed by Engineer-In-Charge. | 9000.00 | cum | 10.00 | 316.00 | 2844000.00 | 250.00 | 2250000.00 | 475.00 | 4275000.00 | 2250000.00 | S.A.V.Constructions
2.40 | Earth work excavation by mechanical means(hydraulic excavator)/manual means in hard rock by chiselling,breaker or chemical (blasting prohibited) in foundation, trenches etc. including shoring, shrutting wherever required bailing/pumping of water for all lifts, leveling the bottom of excavation and stacking the excavated material at places as directed within a lead of 5 kms all in complete as per drawings, technical specifications and as directed by Engineer-In-Charge. | 13000.00 | cum | 10.00 | 465.00 | 6045000.00 | 1300.00 | 16900000.00 | 1695.00 | 22035000.00 | 6045000.00 | RKANDSONS
3.00 | Backfill :Filling and consolidating in layers not more than 300 mm thick to required slopes and grades as per drawing with available excavated material at stock piles within the lead up to 5kms, to the specified areas, watering, consolidation with suitable power roller as applicable etc all in complete as per drawings, technical specifications and as directed by Engineer-In-Charge. | 15000.00 | cum | 10.00 | 256.00 | 3840000.00 | 390.00 | 5850000.00 | 455.00 | 6825000.00 | 3840000.00 | RKANDSONS
4.00 | Cement concrete : Supplying and placing cement concrete of OPC 43 grade cement of all grades and with maximum aggregate size 20mm , using high range retarding water reducing admixture produced in automatic batching plant,machine batched, machine mixed, transportation of concrete to site,placing at site in various structures at all elevations and locations , including cost of finishing,compaction, curing, providing construction joints and expansion joints as and when required, green cutting, curing, all material, labour, tools / tackles, preparation of pour cards, maintaining records, preparation of post pour inspection report subsequent to deshuttering etc in all complete as per drawings, tehcnical specifications and as directed by the Engineer-In-Charge. Rate to include all tests to be conducted on materials, green and hardened concrete as per the QAP .
4.10 | M20 Grade Concrete:Design,supply and placing pumpable normal density concrete for PCC M20 grade with maximum size of aggregate not exceding 20mm with minimum cement content of 300Kg/Cum and placement temperature as per the requirement at all elevations and locations,including chemical admixtures,testing ,submission of reports, compaction,curing,providing construction joints and expansion joints as and when required, green cutting, finishing etc all in complete as per drawings, technical specifications and as directed by Engineer-In-Charge. : Note: Quoted rate shall be exclusive of shuttering, shuttering shall be measured and paid separetly in respective item. | 6500.00 | cum | 10.00 | 7250.00 | 47125000.00 | 6700.00 | 43550000.00 | 9255.00 | 60157500.00 | 43550000.00 | S.A.V.Constructions
4.20 | M30 Grade Concrete:Design,supply and placing pumpable normal density concrete for RCC M30 grade with maximum size of hard stone aggregate not exceding 20mm with minimum cement content of 350Kg/Cum and placement temperature as per the requirement at all elevations and locations,including chemical admixtures,testing ,submission of reports, compaction,curing,providing construction joints and expansion joints as and when required, green cutting, finishing etc all in complete as per drawings, technical specifications and as directed by Engineer-In-Charge. :Note: Quoted rate shall be exclusive of shuttering, shuttering shall be measured and paid separetly in respective item. | 100.00 | cum | 10.00 | 7634.00 | 763400.00 | 8000.00 | 800000.00 | 10225.00 | 1022500.00 | 763400.00 | RKANDSONS
4.30 | Supplying and placing precast RCC covers weighing up to 1MT made of grade up to M30 with maximum size of aggregates not exceeding 20mm and cement content 350kg per cum including all casting, demoulding,Reinforcement, stacking,curing, formwork,transporting to site,placing at all locations and elevations all in complete as per drawings,technical specifications and as directed by Engineer-In-Charge. | 300.00 | cum | 10.00 | 16546.00 | 4963800.00 | 23600.00 | 7080000.00 | 11655.00 | 3496500.00 | 3496500.00 | RMT INFRATECH
4.40 | Kerb work : Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to required line,level and curvature,jointed with cement mortar 1:3(1 cement : 3 coarse sand),including making joints with or without grooves(thickness of joint except sharp curve shall not to more than 5mm),including making draininage opening/cable opening wherever required complete etc, all in complete as per drawings, technical specifications and as directed by Engineer-In-Charge.(length of finished kerb edging shall be measured to calculate volume for payment).(Note:-Precast C.C. kerb stone shall be approved by Engineer-in-charge). | 200.00 | cum | 10.00 | 15054.00 | 3010800.00 | 13500.00 | 2700000.00 | 9555.00 | 1911000.00 | 1911000.00 | RMT INFRATECH
4.50 | Cement concrete paver block : Providing and laying factory made 50mm thick cement concrete paver blocks of M-35 grade with approved colour,design and pattern in footpath,parks,petrolling pathway,lawns,drive ways or light traffic parking etc, of required strength ,thickness & size/shape,made by table vibratory method using PU mould, laid in reqiuired colour & pattern over 50mm thick compacted bed of sand,compacting and proper embedding/laying of inter locking paver blocks into sand bedding layer through vibratory compaction by using plate vibrator,filling the joints with sand and cutting of paver blocks as per required size and pattern,finishing and sweeping extra sand etc. all in complete as per drawings, technical specifications and as directed by Engineer-In-Charge. | 2000.00 | Sqm | 10.00 | 1068.00 | 2136000.00 | 980.00 | 1960000.00 | 1525.00 | 3050000.00 | 1960000.00 | S.A.V.Constructions
5.00 | FORMWORK : Providing ,fixing in position and removing Form work for all insitu concrete works/structures including scaffolding up to 3m height, etc., in complete at all elevations as per drawings, technical specifications and as directed by Engineer-In-Charge. (measurement for form work shall be the area of forms in contact with concrete surfaces) | 16000.00 | Sqm | 10.00 | 940.00 | 15040000.00 | 850.00 | 13600000.00 | 675.00 | 10800000.00 | 10800000.00 | RMT INFRATECH
6.00 | Providing,straightening, cutting ,bending ,placing and tying mild steel,high yield steel reinforcement of all diameter of grade FE500D confirming to IS:1786 latest revision in RCC works of existing structures including providing cover blocks,binding wires etc.complete at all elevations in complete as per drawings, technical specifications and as directed by Engineer-In-Charge. | 20.00 | Metric Ton | 10.00 | 106253.00 | 2125060.00 | 110000.00 | 2200000.00 | 122115.00 | 2442300.00 | 2125060.00 | RKANDSONS
7.00 | Masonary:
7.10 | Block Masonary : BRICK WORK Providing and constructing cement concrete block masonry of M15 grade using solid blocks of suitable thickness for fulfilling drawing requirements using cement mortar 1:4 by volume, at all elevations and locations including scaffolding, racking out joints, curing etc all in complete as per drawings, technical specifications and as directed by Engineer-In-Charge. | 1500.00 | cum | 10.00 | 8923.00 | 13384500.00 | 8950.00 | 13425000.00 | 8555.00 | 12832500.00 | 12832500.00 | RMT INFRATECH
7.20 | Providing & laying Random Rubble masonry with hard stone in foundation and plinth level of building & upto 3.00 Mtr. height from NGL for boundary/compound wall with Cement mortar 1:6 (1 Cement :6 Coarse sand) including cost of labour, materials, curing , raking out the joints , finishing, scaffoldings etc. all complete as per drawing, technical specifications and direction of Engineer in charge. | 750.00 | cum | 10.00 | 6301.00 | 4725750.00 | 6500.00 | 4875000.00 | 6355.00 | 4766250.00 | 4725750.00 | RKANDSONS
8.00 | PLASTERING
8.10 | Providing and laying 20mm thick cement plaster on exterior surface using mortar 1:4 (1 cement : 4 fine sand) by volume in two layers all heights including finishing, curing, scaffoldings etc. complete as per drawing, technical specification and direction of Engineer-in-charge. | 5000.00 | Sqm | 10.00 | 615.00 | 3075000.00 | 600.00 | 3000000.00 | 425.00 | 2125000.00 | 2125000.00 | RMT INFRATECH
8.20 | Providing and laying 12 mm thick cement sand motar 1:4 (1 cement : 4 fine sand) by volume to interior surface at all elevations including finishing, curing, scaffoldings etc. complete as per drawing, technical specification and direction of Engineer-in-charge. | 6000.00 | Sqm | 10.00 | 574.00 | 3444000.00 | 575.00 | 3450000.00 | 415.00 | 2490000.00 | 2490000.00 | RMT INFRATECH
9.00 | Providing and fixing rigid uPVC single socketed pipe upto 150mm dia as per IS: 12818 including jointing of uPVC bend if required with seal ring from edge of the pavement upto cable tench (in between parellel fencing)etc. complete as per drawing,technical specification and direction of Engineer-in-charge. | 1200.00 | mtr | 10.00 | 624.00 | 748800.00 | 900.00 | 1080000.00 | 400.00 | 480000.00 | 480000.00 | RMT INFRATECH
10.00 | Providing and fixing 150mm dia RCC NP-2 pipe including testing of joints, complete as per drawing, technical specification and as per direction of Engineer-in-charge. Note: excavation and Backfilling shall be paid in their relevant items. | 350.00 | mtr | 10.00 | 1070.00 | 374500.00 | 1250.00 | 437500.00 | 775.00 | 271250.00 | 271250.00 | RMT INFRATECH
11.00 | Providing and fixing 600mm dia RCC NP-3 pipe including testing of joints, as per drawing, technical specification and as per direction of Engineer-in-charge Including all transportation,labour,supply of material,erection,testing,etc all in complete. Note: excavation and Backfilling shall be paid in their relevant items. | 150.00 | mtr | 10.00 | 3476.00 | 521400.00 | 4800.00 | 720000.00 | 2165.00 | 324750.00 | 324750.00 | RMT INFRATECH
12.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and frame work M.S. door & fix ventilators, anchors etc made out M.S. angle, channels, flats, rods, bars, weld mesh, M.S. pipe etc including supplying, cutting, hoisting, fixing in position and applying two coat of approved quality synthetic enamel paint over a priming coat of approved steel primer all complete as per standard design, including the cost of all material and labour complete- as per drawings , technical specifications & direction of engineer in charge. | 20.00 | Metric Ton | 10.00 | 159434.00 | 3188680.00 | 110000.00 | 2200000.00 | 145455.00 | 2909100.00 | 2200000.00 | S.A.V.Constructions
13.00 | Dismantling either manually or with pneumatic tools or with mechanical equipment of existing structures of the following materials without disturbing adjacent structures at all elevations, covering the structures / equipment adjacent to the work , cleaning and removal of debris, dust on day to day basis and disposal of the debris up to a lead of 5km. Rates shall include all labour, plant, tools, tackles, consumables, scaffolding & staging etc. complete as per drawings ,technical specifications & direction of engineer in charge.
13.10 | Plain Cement Concrete of all grades | 150.00 | cum | 10.00 | 1035.00 | 155250.00 | 2000.00 | 300000.00 | 900.00 | 135000.00 | 135000.00 | RMT INFRATECH
13.20 | Reinforced Cement Concrete of all grades | 150.00 | cum | 10.00 | 1917.00 | 287550.00 | 3500.00 | 525000.00 | 1800.00 | 270000.00 | 270000.00 | RMT INFRATECH
13.30 | Brick / stone/ concrete block masonry | 150.00 | cum | 10.00 | 1383.00 | 207450.00 | 3000.00 | 450000.00 | 600.00 | 90000.00 | 90000.00 | RMT INFRATECH
14.00 | Dismantling metal work in single section/built up sections in angles, tees, flats,GI sheets,channels,fencing mesh,barbed wire or flexible wire rope, etc including all gusset plates, bolts,nuts,cutting rivets,welding etc. including dismembering and stacking within a lead upto 5Km lead all in complete as per drawing,as per technical specification and as directed by EIC. | 20.00 | Metric Ton | 10.00 | 6992.00 | 139840.00 | 9000.00 | 180000.00 | 24555.00 | 491100.00 | 139840.00 | RKANDSONS
15.00 | Providing and fixing corrugated G.S. sheet roofing including vertical/curved surface fixed with polymer coated J or L hooks,bolts and nuts 8 mm diameter with bitumen and G.I limpet washer or with G.I. limpset washers filled with white lead,including a coat of approved steel primer and two coat of approved paint on overlapping of sheet complete (excluding the cost of purlins,rafters and trusses and including cutting to size and shape wherever required) for upto 1mm thick with zinc coating not less than 275gm/m2 all in complete as per drawing,as per technical specification and as directed by EIC. | 1000.00 | Sqm | 10.00 | 1904.00 | 1904000.00 | 1600.00 | 1600000.00 | 2855.00 | 2855000.00 | 1600000.00 | S.A.V.Constructions
16.00 | Applicable GST Rate (%) Included in the Quoted Price
| Total in Figures |  |  |  |  | 241346802.00 |  | 224047500.00 |  | 265098300.00
Lowest Amount Quoted BY: S.A.V.Constructions(224047500.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Physical protection system (PPS) with Welded wire Mesh Fencing and Miscellaneous Civil works at KKNPP-3 and 4 Tender ID: 2026_NPCIL_262288_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | S.A.V.Constructions (BID ID -962621) | 224047500.00 | L1
| 2 | RKANDSONS (BID ID -963154) | 241346802.00 | L2
| 3 | RMT INFRATECH (BID ID -970610) | 265098300.00 | L3