## BoQ1
Government eProcurement System Created By: Devi shanker Verma Created Date/Time: 09-Apr-2026 04:02 PM Tender Title: Regular civil maintenance works in main plant and other infrastructure buildings at RRS 5 and 6 Tender ID: 2026_NPCIL_264817_1
Tender Inviting Authority: Maintenance Superintendent, RAPP-5&6
Name of Work: Regular civil maintenance works in main plant and other infrastructure buildings at RRS#5&6.
Contract No: NPC/RRS/56/2026/CPT-A2938
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | YAKUB ALI CONTRACTOR (GSTN-NA) BID ID -983321 |  | Technical Construction Co. (GSTN-NA) BID ID -983794 |  | GUNJAN CONSTRUCTION (GSTN-NA) BID ID -979546 |  | KHAN CONTRACTOR (GSTN-NA) BID ID -981745
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earthwork in excavation in all types of ground substrata consisting of hard rock/ fragmented rock/soft rock/ordinary soils/filled up ground/ murrum requiring use of rock breaker, drilling, chiseling with mechanical/manual means etc. up to a depth of 1.5 m from the original ground level and dewatering if required for foundation of walls, columns, platforms etc. including backfilling with selected excavated materials in plinth and foundation trenches in layers not exceeding 200 mm thick, watering ramming etc. complete and disposing off the surplus materials to a maximum radially measured lead of 1.0 KM. as per drawings, design, safety and specifications and directions of the Engineer. Note :- Bidders should essentially visit and inspect the construction sites and determine themselves the right and safest method/s of excavation considering the safety of nearby structures and population, before quoting their item rates (Blasting is not permitted). | 150.00 | Cum | 1.25 | 680.00 | 102000.00 | 700.00 | 105000.00 | 350.00 | 52500.00 | 486.00 | 72900.00 | 52500.00 | GUNJAN CONSTRUCTION
2.00 | Supplying at site of good earth excavated and brought from outside (borrow pits/ stock piles) free from weeds, roots, rubbles and other foreign material including royalty and carriage and filling in trenches, plinth and sides of foundation etc. in layers not exceeding 20cm in depth consolidating each deposited layers by ramming and watering and lift upto 1.5m etc. complete (only consolidated fill shall be paid). | 540.00 | Cum | 0.00 | 900.00 | 486000.00 | 800.00 | 432000.00 | 250.00 | 135000.00 | 486.00 | 262440.00 | 135000.00 | GUNJAN CONSTRUCTION
3.00 | Providing and laying 150 mm thick stone soling under floors properly hand packed, filling interstices with spalls, gravels and inert fine material and consolidating to required gradient and camber, spreading, watering etc. complete as per drawings, specifications and direction of Engineer. | 750.00 | Sqm | 100.00 | 280.00 | 210000.00 | 300.00 | 225000.00 | 190.00 | 142500.00 | 286.00 | 214500.00 | 142500.00 | GUNJAN CONSTRUCTION
4.00 | Providing and laying in position cement concrete of 1:3:6 (1 Cement: 3 coarse Sand: 6 Graded Stone aggregate 20 mm nominal size) -at all level , transporting of concrete to site, laying, consolidation, finishing, curing etc. all complete excluding cost of centering & shuttering, as per direction of Engineer-in-charge. | 150.00 | Cum | 53.00 | 4800.00 | 720000.00 | 5500.00 | 825000.00 | 5900.00 | 885000.00 | 7186.00 | 1077900.00 | 720000.00 | YAKUB ALI CONTRACTOR
5.00 | Providing and laying cement concrete of 1:2:4 (1 Cement : 2 Coarse sand : 4 graded stone aggregate 20 mm nominal size) in retaining walls, return walls, walls(any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed block, anchor block, window sills, fillets etc. at all level including transporting of concrete to site, laying including cost of finishing, curing etc. all complete excluding the cost of centering and shuttering as per specifications and direction of Engineer-in-charge. | 150.00 | Cum | 10.00 | 6200.00 | 930000.00 | 6200.00 | 930000.00 | 7290.00 | 1093500.00 | 7586.00 | 1137900.00 | 930000.00 | YAKUB ALI CONTRACTOR, Technical Construction Co.
6.00 | Providing and laying in position machine batched, machine mixed and machine vibrated design mix cement concrete of all grades grade for Reinforced cement concrete or other works using 20mm size stone aggregates including transporting of concrete to site for laying but excluding the cost of centering, shuttering and reinforcement, including cost of finishing, compaction, curing, approved chemical admixtures conforming to IS 9103 in recommended proportions for achieving slump not less than 120mm and water/cement ratio not more than 0.42 at all level & for all sections as per drawings, specifications & direction of Engineer-in-charge. Use of concrete retarding agent/accelerator conforming to IS 9103 shall also be done if situation demands so. Rates should be based on using 350 kg of OPC 43 grade cement per Cum of concrete. | 75.00 | Cum | 11.00 | 6300.00 | 472500.00 | 7800.00 | 585000.00 | 8000.00 | 600000.00 | 7786.00 | 583950.00 | 472500.00 | YAKUB ALI CONTRACTOR
7.00 | Providing and laying TMT/HYSD, Fe 500D/Fe550D reinforcement bars of grade as specified in drawings/specifications and as directed by engineer conforming to IS : 1786 latest revision or the latest relevant code for RCC work including straightening, cutting, bending, placing in position and binding with 20 gauge annealed binding wire and cement mortar cover block of all size in C.M. 1:2 MIX etc. all complete- as per drawings , specifications & direction of engineer in charge. | 4500.00 | Kg | 10.00 | 105.00 | 472500.00 | 95.00 | 427500.00 | 95.00 | 427500.00 | 96.16 | 432720.00 | 427500.00 | GUNJAN CONSTRUCTION, Technical Construction Co.
8.00 | Providing & laying Random Rubble masonry with hard stone in foundation and plinth level of building & upto 3.00 Mtr. height from NGL for boundary/compound wall with Cement mortar 1:6 (1 Cement:6 Coarse sand) including cost of labour, materials, curing, raking out the joints, finishing, scaffoldings etc. all complete as per drawing, specifications and direction of Engineer in charge. | 200.00 | Cum | 1.25 | 5000.00 | 1000000.00 | 4800.00 | 960000.00 | 4700.00 | 940000.00 | 3886.00 | 777200.00 | 777200.00 | KHAN CONTRACTOR
9.00 | Providing and laying Fly-ash brick masonry class designation- 75 (IS-12894 -latest revision) in cement mortar 1:6 (1 cement : 6 coarse sand) upto plinth level including cost of labour, materials, curing, finishing, scaffoldings etc. all complete as per drawings, specifications and direction of Engineer in charge. | 40.00 | Cum | 0.00 | 5850.00 | 234000.00 | 6800.00 | 272000.00 | 6400.00 | 256000.00 | 5286.00 | 211440.00 | 211440.00 | KHAN CONTRACTOR
10.00 | Providing and laying Fly-ash brick masonry using Fly-ash building bricks of class designation-75 (IS-12894 -latest revision) in cement mortar 1:6 (1 cement : 6 coarse sand) in superstructure above plinth level up to floor five level as per specifications and direction of Engineer including cost of labour, materials, curing, finishing, scaffoldings etc. all complete as per drawings, specifications and direction of Engineer in charge. | 75.00 | Cum | 100.00 | 6000.00 | 450000.00 | 7000.00 | 525000.00 | 6400.00 | 480000.00 | 5586.00 | 418950.00 | 418950.00 | KHAN CONTRACTOR
11.00 | Pointing on stone work with cement mortar 1:3 (1 cement :3 fine sand): Raised and cut pointing including finishing, curing, scaffoldings etc. complete at all height as per drawing, specification and direction of Engineer-in-charge. | 300.00 | SqM | 53.00 | 295.00 | 88500.00 | 350.00 | 105000.00 | 150.00 | 45000.00 | 186.00 | 55800.00 | 45000.00 | GUNJAN CONSTRUCTION
12.00 | Providing and laying 6mm thick cement plaster (1 cement : 3 sand) in single coat on RCC ceiling face for interior plastering at all levels including necessary grooves at the junction of RCC and brickwork arises, internal rounded angle, chamfers and / or rounded angles not exceeding 80 mm in girth including scafolding, finishing, curing etc all complete as per drawing, specifications and direction of engineer in charge. | 100.00 | SqM | 10.00 | 300.00 | 30000.00 | 350.00 | 35000.00 | 270.00 | 27000.00 | 186.00 | 18600.00 | 18600.00 | KHAN CONTRACTOR
13.00 | Providing and laying 20 mm thick cement plaster of mix:- 1:4 (1 cement: 4 fine sand) including finishing, curing, scaffoldings etc. complete at all height as per drawing, specification and direction of Engineer-in-charge. | 250.00 | SqM | 11.00 | 410.00 | 102500.00 | 400.00 | 100000.00 | 350.00 | 87500.00 | 386.00 | 96500.00 | 87500.00 | GUNJAN CONSTRUCTION
14.00 | Neat cement punning including finishing, curing, etc. including cost of material and labour complete as per direction of Engineer-in-charge. | 50.00 | SqM | 22.00 | 65.00 | 3250.00 | 80.00 | 4000.00 | 45.00 | 2250.00 | 56.00 | 2800.00 | 2250.00 | GUNJAN CONSTRUCTION
15.00 | Providing and fixing polished Kota stone slab flooring 20 to 25 mm thick in flooring, tread of steps, landing, laid over 20 mm (average) thick base of cement mortar 1:4 (1 Cement: 4 sand): and jointed with white cement slurry mixed with pigment to match the shade of the slab, including edge molding and cutting three nos. grooves neatly in longitudinal direction of steps for antiskid purpose, rubbing and polishing complete, including cutting of slot (without edge splitting) using mechanical means for receiving the handrail supports including finishing & curing work at all level etc. complete as per drawing, specification & direction of Engineer-in-charge. | 150.00 | SqM | 0.00 | 950.00 | 142500.00 | 1000.00 | 150000.00 | 1000.00 | 150000.00 | 886.00 | 132900.00 | 132900.00 | KHAN CONTRACTOR
16.00 | Providing and laying premium quality polished vitrified tiles of size 600mm x 600mm of approved shade and conforming to IS: 15622 (latest revision) of H&R JOHNSON (Double charge Magic bush Series) / KAJARIA (Double charge K-62 & K-63 series)/ NITCO (Double charge Nano vitrified premium) as approved, laid on 20 mm thick cement mortar 1:4 (1 Cement: 4 sand) in floors and skirting including grouting the joints using special tile grout FEVIMATE-TG of Pidilite or similar approved make including covering of tiles with 3mm th. PVC tile protection sheet over it for protection of tiles from paint stains, scratch during various finishing activities including finishing and curing at all levels etc. all complete as per drawing, specification and direction of Engineer-in-charge. | 150.00 | SqM | 1.25 | 1450.00 | 217500.00 | 1200.00 | 180000.00 | 1500.00 | 225000.00 | 1286.00 | 192900.00 | 180000.00 | Technical Construction Co.
17.00 | Providing and fixing premium quality mat finished ceramic floor tiles of size 300x300mm and 6mm thickness conforming to IS: 15622 (latest revision) of H&R JOHNSON (pure mat finish Rustic/Lenox series)/KAJARIA (Digital floor -stain mat plain & printed mat finish) / NITCO (Crust digital floor tiles premium) as approved in required shade, laid on 20 mm thick bed of cement mortar 1:4 (1 cement: 4 sand) including grouting the joints using special tiles grout FEVIMAT - TG of Pidilite or similar approved make complete including covering of floor tiles with 3mm th. PVC tile protection sheet over it to protect the tile from painting stains and scratches during various finishing activities including finishing and curing work at all level etc. all complete as per drawing, specification & direction of Engineer in charge. | 150.00 | SqM | 0.00 | 990.00 | 148500.00 | 1000.00 | 150000.00 | 1200.00 | 180000.00 | 986.00 | 147900.00 | 147900.00 | KHAN CONTRACTOR
18.00 | Providing and fixing premium quality special printed ceramic glazed wall tiles of size 600mmx300mm and 6mm thickness of approved shade in base and highlighter conforming to IS: 15622 (latest revision) of H&R JOHNSON wall tiles (DIGITAL PRINTED SERIES) / KAJARIA (Digital & power line) / NITCO (Cosmos digital wall tiles) as approved in skirting and dado over 12mm thick bed of cement mortar 1:3(1 cement :3 sand) including grouting the joints using special tiles grout FEVIMAT - TG of Pidilite or similar approved make complete including protecting the tiles from painting stains and scratches during various finishing activities including finishing and curing work at all level etc. all complete as per drawing, specification & direction of Engineer in charge. | 250.00 | SqM | 100.00 | 1450.00 | 362500.00 | 1400.00 | 350000.00 | 1300.00 | 325000.00 | 986.00 | 246500.00 | 246500.00 | KHAN CONTRACTOR
19.00 | Providing and fixing in full width & length 15mm to 18mm thick Granite Black or any other approved shade / colour / texture gang saw cut mirror polished, premoulded, machine cut for kitchen platforms, fascias, walls and similar locations laid over 20 mm thick base cement mortar 1:4 (1 Cement :4 sand ) with joints treated with white cement mixed with matching pigment, epoxy touch ups, including rubbing, curing, edge moulding and polishing to edge to give high gloss finish etc. complete at all levels: Area of slab over 0.50 Sqm. including finishing & curing work at all level etc. complete as per drawing, specifications and direction of Engineer-in-charge. (Base rate of granite shall not be less than Rs. 1800 / Sqm) Note:- Sample of granite shall be approved by EIC before bulk purchase. | 75.00 | SqM | 53.00 | 3100.00 | 232500.00 | 3500.00 | 262500.00 | 4500.00 | 337500.00 | 3986.00 | 298950.00 | 232500.00 | YAKUB ALI CONTRACTOR
20.00 | Providing and fixing factory made 30mm thick Flush door shutter single / double leaf conforming to IS ; 2202(part-1) of make KITPLY / GREENLAM / CENTURY as approved by EIC, with Block board core & frame of well seasioned hard wood, cross band made from BWP grade veneers and commercial BWP grade face veneers on both sides of shutter including providing and fixing 2nd class teak wood leaping of suitable size and shape all around the edges including approved brand stainless steel fixtures like Tower bolt (size-250mmx12mm), Tadi latch (300mmx14mm), Aldrop (300mmX16mm), Handles plate type - 100mm size (size shall be confirming to IS:208) - 02 nos, Magnetic Cather etc. painting two coats of synthetic enamel paint over a coat of primer of approved brand etc. complete as per drawings, specifications and direction of Engineer. Note - actual area of shutter will be paid. | 20.00 | SqM | 10.00 | 3100.00 | 62000.00 | 3000.00 | 60000.00 | 2800.00 | 56000.00 | 1786.00 | 35720.00 | 35720.00 | KHAN CONTRACTOR
21.00 | Providing and fixing Orissa pattern Water Closet (OP 23 (Open rim) of H & R Johnson / Orissa C0117 of Parryware/ Orissa COVYS 3010104 of CERA as approved with low level placed PVC flushing cistern (Dual Flush Tank {white} of H & R Jhonson / CERA/ Parry ) connected with 32 mm dia PVC flush pipe with all fittings and brackets with C.P. brass angle cock with CP flange (Clarion cat No. CQT 23059 make of JAQUAR or similer approved quality in KOHLER / GROHE and 15 mm dia high quality PVC inlet connection of required length with all accessories, fittings & fixtures of best quality and brand as per drawing, specification and direction of EIC. Item includes essentially following. (a). Orissa pattern white glazed viterous china W.C. pan of size 580mm x 440mm of approved brand and 100mm dia sand cast iron 'P' trap. (b). Low level placed PVC flushing cistern Dual Flush Tank (white) of H & R Johnson ( P2829PW) / Parry (Slim-line E8110 Deluxe) / Cera (Corona B1020102) as approved with all accessories complete. (c). 15mm dia PVC inlet connection of required length of approved brand with heavy duty C.P. brass unions and rubber washer etc. (d). 15mm dia C.P. brass angle valve with C.P. flange of superior quality (Jaquar Clarion cat. No. CQT 23059 or similer approved quality of KOHLER/GROHE as approved). | 2.00 | No. | 11.00 | 8200.00 | 16400.00 | 8000.00 | 16000.00 | 8000.00 | 16000.00 | 786.00 | 1572.00 | 1572.00 | KHAN CONTRACTOR
22.00 | Providing and fixing European type white glazed vitreous china ware water closet concealed S trap of 'H&R JOHNSON' (Ruby concealed trap EWC P0448PW / 'PARRYWARE' (NIAGARA C0252(S) / 'CERA' (CIGNIA Concealed S1051108 S trap) as approved with Germfree EWC solid seat cover with C.P. brass hinges and rubber buffers of approved brand, with low level placed PVC flushing cistern (Dual Flush Tank white) connected with 32 mm dia PVC flush pipe with fittings and brackets, 15mm dia PVC inlet connection of required length and approved brand, 15mm dia C.P. brass angle valve with C.P. flange of superior quality all complete as per drawing, specification and direction of engineer in charge comprising following accessories: (a). White vitreous china wash down European type W.C. pan with white vitreous china 'S' trap of approved brand. (b). Germfree EWC solid seat cover (white) of H&R Johnson ( P0424PW) / Parry (E8094) / Cera (Carina plus B1510106) with C.P. brass hinges and rubber buffers of approved brand (c). Low level placed PVC flushing cistern Dual Flush Tank (white) of H & R Johnson ( P2829PW) / Parry (Slim-line E8110 Deluxe) / Cera (Corona B1020102) as approved with all accessories complete. (d). 15mm dia heavy duty PVC inlet connection of required length and approved brand with brass unions complete. (e). 15mm dia C.P. brass angle valve with C.P. flange of superior quality (Jaquar clarion cat. No. CQT 23059 or similer approved quality of KOHLER/GROHE as approved). (f). Jet spray provision of Jaquar make ALE 547 with 1Meter PVC tube (stainless steel) with 01 nos 15mm dia CP brass angle valve with Cp flange of Jaquar clarion (Code CQT 23059) or similer approved quality of KOHLER/GROHE as approved. | 2.00 | No. | 10.00 | 9830.00 | 19660.00 | 9000.00 | 18000.00 | 9500.00 | 19000.00 | 786.00 | 1572.00 | 1572.00 | KHAN CONTRACTOR
23.00 | Providing and fixing in position white glazed vitreous china ware wash basin 'H&R JOHNSON'/ 'PARRY' / 'CERA' as approved of following accessories jointed watertight as per drawing, specification and direction of EIC as given below : (a). One no. wash basin of make 'H&R JOHNSON' (P1015PW size 500 x 400 mm)/ 'PARRY' (Indus C0471 size 500x400 mm) / 'CERA' (Counsel S2040101 size 510x400mm) as approved. (b). One pair of wall bracket of 35mm x 35mm x 5mm M.S. angle painted with two coats of synthetic enamel paint over a coat of primer of approved quality and make. (c). One no. 32mm dia C.P. brass waste coupling with C.P. grating of Cat. No. ALD709 of Jaquar or similar approved quality of KOHLER / GROHE as approved. (d). One no. 32mm dia C.P. brass bottle trap with wall flange and connected C.P. pipe of cat. No ALD 769 of Jaquar or similar approved quality of KOHLER/GROHE as approved. (e). Two nos. 15mm dia C.P. brass angle valve with C.P. flange of superior quality (Jaquar CLARION cat. No. 23059 or similar approved quality of KOHLER / GROHE as approved). (f). One no. central hole C.P. brass basin mixer without popup waste system with 450mm long braided hoses of superior quality (Jaquar clarion cat. no. CQT 23167B or similar approved quality of KOHLER/GROHE as approved). (g). 32mm dia B class G.I. waste pipe (concealed) of required length (from bottle trap to nahani trap) including painting with anti corrosive bituminous paint. | 2.00 | No. | 1.25 | 11100.00 | 22200.00 | 10000.00 | 20000.00 | 9500.00 | 19000.00 | 786.00 | 1572.00 | 1572.00 | KHAN CONTRACTOR
24.00 | Providing and fixing C.P. brass Angular stop cock with C.P. flange and PVC/CP connecting pipe of required length for geyser points of superior quality (Jaquar Clarion cat no. 23059 or similar approved quality of GROHE/KOHLER) as per specification and direction of EIC. : 15 mm nominal bore. | 60.00 | No. | 0.00 | 1190.00 | 71400.00 | 1200.00 | 72000.00 | 800.00 | 48000.00 | 1286.00 | 77160.00 | 48000.00 | GUNJAN CONSTRUCTION
25.00 | Providing and fixing 40mm dia. nominal bore (Exposed on wall) class 'B' G.I. pipe of approved brand confirming to IS 1239 of following nominal bore with all fittings and specials of heavy duty as required including cutting the walls, floors trenching & reffilling as required, making them good, claimping on wall of approved quality claimps as per specifications, testing the line etc. complete as per drawings, specifications and direction of engineer. | 20.00 | Mtr | 100.00 | 790.00 | 15800.00 | 800.00 | 16000.00 | 540.00 | 10800.00 | 686.00 | 13720.00 | 10800.00 | GUNJAN CONSTRUCTION
26.00 | Providing and fixing 50mm dia. nominal bore (Exposed on wall) class 'B' G.I. pipe of approved brand confirming to IS 1239 of following nominal bore with all fittings and specials of heavy duty as required including cutting the walls, floors trenching & reffilling as required, making them good, claimping on wall of approved quality claimps as per specifications, testing the line etc. complete as per drawings, specifications and direction of engineer. | 200.00 | Mtr | 53.00 | 930.00 | 186000.00 | 900.00 | 180000.00 | 640.00 | 128000.00 | 886.00 | 177200.00 | 128000.00 | GUNJAN CONSTRUCTION
27.00 | Providing and fixing 25 mm nominal bore ball valve (brass) of approved quality, High or low pressure, with 150mm dia approved quality plastic floats with complete accessories as per specification and direction of EIC. | 30.00 | No. | 10.00 | 405.00 | 12150.00 | 1200.00 | 36000.00 | 350.00 | 10500.00 | 436.00 | 13080.00 | 10500.00 | GUNJAN CONSTRUCTION
28.00 | Providing and fixing in position 25mm dia nominal bore heavy duty gun metal wheel valve screw down type confirming to IS: 778 latest revision of approved make including the cost of all jointing materials, fittings and testing etc. complete as per specifications and direction of EIC. | 30.00 | No. | 11.00 | 545.00 | 16350.00 | 1500.00 | 45000.00 | 450.00 | 13500.00 | 336.00 | 10080.00 | 10080.00 | KHAN CONTRACTOR
29.00 | Providing and fixing in position 32mm dia nominal boreheavy duty gun metal wheel valve screw down type confirming to IS: 778 latest revision of approved make including the cost of all jointing materials, fittings and testing etc. complete as per specifications and direction of EIC. | 30.00 | No. | 22.00 | 755.00 | 22650.00 | 2000.00 | 60000.00 | 650.00 | 19500.00 | 486.00 | 14580.00 | 14580.00 | KHAN CONTRACTOR
30.00 | Providing and laying 300mm dia. non-pressure NP2 class (light duty) R.C. hume pipes jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete as per drawings, specifications and as directed of the EIC. | 15.00 | Mtr | 0.00 | 850.00 | 12750.00 | 800.00 | 12000.00 | 900.00 | 13500.00 | 786.00 | 11790.00 | 11790.00 | KHAN CONTRACTOR
31.00 | Providing and fixing cut edge mirror 6mm thick of overall size 600X450mm especially fabricated with superior glass (of approved quality) with designer acrylic PVC frame of approved colour and make mounted around with 6mm thick non-water absorbent Acrylic/PVC material backing fixed with cleats, all complete as per drawing, specifications and directions of the EIC. | 20.00 | No. | 1.25 | 1310.00 | 26200.00 | 800.00 | 16000.00 | 950.00 | 19000.00 | 786.00 | 15720.00 | 15720.00 | KHAN CONTRACTOR
32.00 | Providing and laying M-35 grade and 80mm thick factory made coloured precast cement concrete interlocking pavers block confirming to IS 15658 : 2006 made by block making machine with strong vibratory compaction and of approved colour, size and shape pattern laid in required slope over and including 50mm thick compacted bed of fine sand, filling the joints with fine sand etc. all complete as per drawing, specification & direction of Engineer–in charge. | 10.00 | SqM | 0.00 | 950.00 | 9500.00 | 1000.00 | 10000.00 | 1550.00 | 15500.00 | 986.00 | 9860.00 | 9500.00 | YAKUB ALI CONTRACTOR
33.00 | Providing & Fixing of approved quality C.P. brass bib cock 15 mm dia of weighing not less than 400 gm as per direction of EIC. | 100.00 | Each | 100.00 | 440.00 | 44000.00 | 750.00 | 75000.00 | 450.00 | 45000.00 | 356.00 | 35600.00 | 35600.00 | KHAN CONTRACTOR
34.00 | Providing & Fixing of approved quality C.P. brass stop cock 15 mm dia of weighting not less than 400 gm. | 50.00 | Each | 53.00 | 305.00 | 15250.00 | 700.00 | 35000.00 | 550.00 | 27500.00 | 356.00 | 17800.00 | 15250.00 | YAKUB ALI CONTRACTOR
35.00 | Providing & Fixing of Water proof plywood 18 mm thick ISI marked. | 100.00 | SqM | 10.00 | 190.00 | 19000.00 | 1500.00 | 150000.00 | 1190.00 | 119000.00 | 1286.00 | 128600.00 | 19000.00 | YAKUB ALI CONTRACTOR
36.00 | Providing & Fixing of Water proof plywood 12 mm thick ISI marked. | 100.00 | SqM | 11.00 | 740.00 | 74000.00 | 1000.00 | 100000.00 | 990.00 | 99000.00 | 786.00 | 78600.00 | 74000.00 | YAKUB ALI CONTRACTOR
37.00 | Providing & Fixing white vitreous china Orissa pattern water closet (OP 23) (open ring) of H&R Johnson / Orissa C0117 of Paryware / Orissa COVYS 3010104 of Cera as approved quality . | 5.00 | No. | 10.00 | 2970.00 | 14850.00 | 4500.00 | 22500.00 | 2200.00 | 11000.00 | 786.00 | 3930.00 | 3930.00 | KHAN CONTRACTOR
38.00 | Providing & Fixing of approved quality European type white glazed vitreous china ware water closet concealed S trap of 'H&R JOHNSON' (Ruby concealed trap EWC P0448PW/'PARRYWARE'(NIAGARA C0252(S) /'CERA' (CIGNIA Concealed S1051108 S trap) as approved. | 5.00 | No. | 1.25 | 2770.00 | 13850.00 | 5000.00 | 25000.00 | 2490.00 | 12450.00 | 786.00 | 3930.00 | 3930.00 | KHAN CONTRACTOR
39.00 | Replacing the existing WC and providing & fixing New Anglo Indian WC of make "HINDWARE" or "parry", Cerra as approved by EIC and depositing the old WC is store as per direction of Engineer In Charge . | 5.00 | No. | 0.00 | 4790.00 | 23950.00 | 5500.00 | 27500.00 | 2990.00 | 14950.00 | 786.00 | 3930.00 | 3930.00 | KHAN CONTRACTOR
40.00 | Providing & Fixing of approved C.P.brass pillar cock 15 mm dia. of weighting not less than 600 gm. (IS-1795 - 1982). | 50.00 | No. | 100.00 | 660.00 | 33000.00 | 800.00 | 40000.00 | 850.00 | 42500.00 | 586.00 | 29300.00 | 29300.00 | KHAN CONTRACTOR
41.00 | Providing & Fixing MS Wire Nails as Directed by the Engineer-in-Charge. | 15.00 | Kg | 53.00 | 570.00 | 8550.00 | 120.00 | 1800.00 | 500.00 | 7500.00 | 116.00 | 1740.00 | 1740.00 | KHAN CONTRACTOR
42.00 | Providing & Fixing of S.S. wire mesh 0.63 mm dia with 12 mesh per 2.5 cm in either as Directed by the Engineer-in-Charge. | 60.00 | SqM | 10.00 | 570.00 | 34200.00 | 300.00 | 18000.00 | 640.00 | 38400.00 | 486.00 | 29160.00 | 18000.00 | Technical Construction Co.
43.00 | Providing & Fixing of approved quality Heavy Duty C.P. brass brackets for Towel rod as Directed by the Engineer-in-Charge. | 5.00 | No. | 11.00 | 30.00 | 150.00 | 800.00 | 4000.00 | 150.00 | 750.00 | 26.00 | 130.00 | 130.00 | KHAN CONTRACTOR
44.00 | Removal of exiting roofing and Supply & Fixing of Gal Valume sheeting over truss, Color complying to ASTM A792, base metal thickness 0.63mm, alloy coating AZ 150 (Aluminium 55%, Zin 43.50% and Silicon 1.5%),Yield Strength: 350 MPA, Paint coating regular modified polyster top coat 25 microns & bottom coat 12 microns epoxy, top color: Combination of Blue and Off White and bottom color grey. The Steel Sheet shall be 3'-0" (914mm) width which shall be curved and moulded at site using mechanical press and dies to the desired shape to form 2'-0" (605mm) wide interlocking panels. These panels shall be erected in position and the joints are seamed with gasket etc. whenever is required. The installation should be done by mechanized system. (Mesurment to be paid actul area of sheet as per site. Over lap of sheet area not to be paid.) Note:- This item work can be executed upto 30 Metre Height from ground level. Bidder should quate their rate considering charges of hydraulic lift, scaffolding etc. | 350.00 | SqM | 22.00 | 2330.00 | 815500.00 | 1700.00 | 595000.00 | 950.00 | 332500.00 | 1086.00 | 380100.00 | 332500.00 | GUNJAN CONSTRUCTION
45.00 | Providing & Applying of (LUNKER MAKE) High speed Haxa blade (ISI marked) as Directed by the Engineer-in-Charge. | 100.00 | No. | 0.00 | 41.00 | 4100.00 | 110.00 | 11000.00 | 50.00 | 5000.00 | 16.00 | 1600.00 | 1600.00 | KHAN CONTRACTOR
46.00 | Providing & Fixing of 12mm thick Teakwood rib 25mm wide as Directed by the Engineer-in-Charge. | 100.00 | Metre | 1.25 | 58.00 | 5800.00 | 100.00 | 10000.00 | 35.00 | 3500.00 | 26.00 | 2600.00 | 2600.00 | KHAN CONTRACTOR
47.00 | Providing & Fixing of 12mm thick Teakwood rib 40mm wide as Directed by the Engineer-in-Charge. | 100.00 | Metre | 0.00 | 53.00 | 5300.00 | 150.00 | 15000.00 | 45.00 | 4500.00 | 46.00 | 4600.00 | 4500.00 | GUNJAN CONSTRUCTION
48.00 | Providing & Applying of Concrete drill bit upto 6mm dia for drilling machine of approved brand or BOCSH OR HILTI MAKE as Directed by the Engineer-in-Charge. | 10.00 | No. | 100.00 | 920.00 | 9200.00 | 300.00 | 3000.00 | 150.00 | 1500.00 | 86.00 | 860.00 | 860.00 | KHAN CONTRACTOR
49.00 | Providing & Applying of Full size Concrete drill bit upto 12mm dia for drilling machine of approved brand or BOCSH OR HILTI MAKE as Directed by the Engineer-in-Charge. | 10.00 | No. | 53.00 | 1130.00 | 11300.00 | 500.00 | 5000.00 | 175.00 | 1750.00 | 186.00 | 1860.00 | 1750.00 | GUNJAN CONSTRUCTION
50.00 | Providing & Applying of Full size Concrete drill bit upto 16mm dia for drilling machine of approved brand or BOCSH OR HILTI MAKE as Directed by the Engineer-in-Charge. | 10.00 | No. | 10.00 | 1145.00 | 11450.00 | 1000.00 | 10000.00 | 250.00 | 2500.00 | 286.00 | 2860.00 | 2500.00 | GUNJAN CONSTRUCTION
51.00 | Providing & Applying of Full size Concrete drill bit upto 20mm dia for drilling machine of approved brand or BOCSH OR HILTI MAKE as Directed by the Engineer-in-Charge. | 5.00 | No. | 11.00 | 1215.00 | 6075.00 | 1500.00 | 7500.00 | 350.00 | 1750.00 | 386.00 | 1930.00 | 1750.00 | GUNJAN CONSTRUCTION
52.00 | Providing & Applying of Fevicol Pidilite (R) SH Brand (synthetic resin adhesive) in one kg pack as Directed by the Engineer-in-Charge. | 20.00 | Kg | 10.00 | 580.00 | 11600.00 | 300.00 | 6000.00 | 420.00 | 8400.00 | 286.00 | 5720.00 | 5720.00 | KHAN CONTRACTOR
53.00 | Providing & Applying of M Seal Pidilite in one kg pack as Directed by the Engineer-in-Charge. | 30.00 | Kg | 1.25 | 600.00 | 18000.00 | 500.00 | 15000.00 | 500.00 | 15000.00 | 386.00 | 11580.00 | 11580.00 | KHAN CONTRACTOR
54.00 | Providing & Fixing of C.I. grating for gully trap as Directed by the Engineer-in-Charge. | 10.00 | No. | 0.00 | 55.00 | 550.00 | 150.00 | 1500.00 | 50.00 | 500.00 | 26.00 | 260.00 | 260.00 | KHAN CONTRACTOR
55.00 | Providing & Fixing of Flushing Cistern P.V.C. 10 litre capacity (low level) (White) as Directed by the Engineer-in-Charge. | 50.00 | No. | 100.00 | 870.00 | 43500.00 | 3000.00 | 150000.00 | 940.00 | 47000.00 | 286.00 | 14300.00 | 14300.00 | KHAN CONTRACTOR
56.00 | Providing & Fixing of PVC waste pipe 1 inch dia 900mm long with 32mm PVC waste coupling for Kitchen Sink & Wash Basin with all fittings as Directed by the Engineer-in-Charge. | 100.00 | No. | 53.00 | 52.00 | 5200.00 | 150.00 | 15000.00 | 60.00 | 6000.00 | 26.00 | 2600.00 | 2600.00 | KHAN CONTRACTOR
57.00 | Providing & Fixing of Chromium plated (C.P.) urinal brass spreader fittings of approved make as Directed by the Engineer-in-Charge. | 20.00 | No. | 10.00 | 255.00 | 5100.00 | 300.00 | 6000.00 | 350.00 | 7000.00 | 86.00 | 1720.00 | 1720.00 | KHAN CONTRACTOR
58.00 | Providing & Stacking of ordinary portland cement of 43 grade (OPC -43) confirming to relevent IS code and deposited in civil maintenance store along with voucher. (Note - Test certificate of cement obtained from the manufacturer shall be submitted for a qty. more than 1.0 MT brought). | 35.00 | MT | 11.00 | 6520.00 | 228200.00 | 7500.00 | 262500.00 | 6500.00 | 227500.00 | 2786.00 | 97510.00 | 97510.00 | KHAN CONTRACTOR
59.00 | Providing & Stacking of white cement conforming to relevent IS code as Directed by the Engineer-in-Charge. | .50 | MT | 22.00 | 13180.00 | 6590.00 | 25000.00 | 12500.00 | 20000.00 | 10000.00 | 8786.00 | 4393.00 | 4393.00 | KHAN CONTRACTOR
60.00 | Providing & depositing of screened river sand suitable for concrete/ masonary/ plaster works as approved as Directed by the Engineer-in-Charge. | 100.00 | CuM | 0.00 | 1900.00 | 190000.00 | 1400.00 | 140000.00 | 1800.00 | 180000.00 | 1786.00 | 178600.00 | 140000.00 | Technical Construction Co.
61.00 | Providing & Spreading of good quality crusher aggregate 20mm down gauge as Directed by the Engineer-in-Charge. | 100.00 | CuM | 1.25 | 1675.00 | 167500.00 | 1000.00 | 100000.00 | 1400.00 | 140000.00 | 1086.00 | 108600.00 | 100000.00 | Technical Construction Co.
62.00 | Providing & Stacking of good quality bricks 230 x 115 x 75 mm size as approved as Directed by the Engineer-in-Charge. | 10000.00 | No. | 0.00 | 7.00 | 70000.00 | 8.00 | 80000.00 | 7.00 | 70000.00 | 7.86 | 78600.00 | 70000.00 | GUNJAN CONSTRUCTION, YAKUB ALI CONTRACTOR
63.00 | Providing & Fixing of 32mm dia PVC flushing bend for low level cistern as Directed by the Engineer-in-Charge. | 5.00 | No. | 100.00 | 93.00 | 465.00 | 80.00 | 400.00 | 120.00 | 600.00 | 36.00 | 180.00 | 180.00 | KHAN CONTRACTOR
64.00 | Providing & Fixing of Nickel plated M.S. wood screw 15mm long as Directed by the Engineer-in-Charge. | 200.00 | No. | 53.00 | 3.00 | 600.00 | 4.00 | 800.00 | 1.00 | 200.00 | 0.56 | 112.00 | 112.00 | KHAN CONTRACTOR
65.00 | Providing & Fixing of Nickel plated M.S. wood screw 20mm long as Directed by the Engineer-in-Charge. | 200.00 | No. | 10.00 | 1.50 | 300.00 | 4.00 | 800.00 | 1.00 | 200.00 | 0.56 | 112.00 | 112.00 | KHAN CONTRACTOR
66.00 | Providing & Fixing of Nickel plated M.S. wood screw 25mm long as Directed by the Engineer-in-Charge. | 200.00 | No. | 11.00 | 1.50 | 300.00 | 5.00 | 1000.00 | 1.00 | 200.00 | 0.56 | 112.00 | 112.00 | KHAN CONTRACTOR
67.00 | Providing & Fixing of Nickel plated M.S. wood screw 32mm long as Directed by the Engineer-in-Charge. | 1000.00 | No. | 10.00 | 3.00 | 3000.00 | 6.00 | 6000.00 | 1.00 | 1000.00 | 0.86 | 860.00 | 860.00 | KHAN CONTRACTOR
68.00 | Providing & Fixing of Nickel plated M.S. wood screw 40mm long as Directed by the Engineer-in-Charge. | 1000.00 | No. | 1.25 | 3.00 | 3000.00 | 8.00 | 8000.00 | 1.25 | 1250.00 | 0.86 | 860.00 | 860.00 | KHAN CONTRACTOR
69.00 | Providing & Fixing of Nickel plated M.S. wood screw 50mm long as Directed by the Engineer-in-Charge. | 1000.00 | No. | 0.00 | 0.80 | 800.00 | 10.00 | 10000.00 | 1.00 | 1000.00 | 1.26 | 1260.00 | 800.00 | YAKUB ALI CONTRACTOR
70.00 | Providing & Fixing of Nickel plated M.S. wood screw 75mm long as Directed by the Engineer-in-Charge. | 500.00 | No. | 100.00 | 7.00 | 3500.00 | 15.00 | 7500.00 | 1.25 | 625.00 | 1.86 | 930.00 | 625.00 | GUNJAN CONSTRUCTION
71.00 | Providing & Fixing of approved quality of 6mm thick wired glass in required size as Directed by the Engineer-in-Charge. | 15.00 | SqM | 53.00 | 1900.00 | 28500.00 | 1600.00 | 24000.00 | 850.00 | 12750.00 | 786.00 | 11790.00 | 11790.00 | KHAN CONTRACTOR
72.00 | Providing & Fixing of approved quality GI fittings of Heavy duty ISI marked 20 mm to 15 mm dia Reducer TEE as Directed by the Engineer-in-Charge. | 20.00 | No. | 10.00 | 85.00 | 1700.00 | 80.00 | 1600.00 | 60.00 | 1200.00 | 36.00 | 720.00 | 720.00 | KHAN CONTRACTOR
73.00 | Providing & Fixing of approved quality GI fittings of medium duty ISI marked 40 mm to 15 mm dia Reducer TEE as Directed by the Engineer-in-Charge. | 20.00 | No. | 11.00 | 180.00 | 3600.00 | 100.00 | 2000.00 | 65.00 | 1300.00 | 56.00 | 1120.00 | 1120.00 | KHAN CONTRACTOR
74.00 | Providing & Fixing of approved quality GI fittings of Heavy duty ISI marked 25 mm to 15 mm dia Reducer TEE as Directed by the Engineer-in-Charge. | 20.00 | No. | 22.00 | 105.00 | 2100.00 | 90.00 | 1800.00 | 65.00 | 1300.00 | 46.00 | 920.00 | 920.00 | KHAN CONTRACTOR
75.00 | Providing & Fixing of approved quality GI fittings of Heavy duty ISI marked 25 mm to 20 mm dia Reducer TEE as Directed by the Engineer-in-Charge. | 15.00 | No. | 0.00 | 65.00 | 975.00 | 90.00 | 1350.00 | 70.00 | 1050.00 | 46.00 | 690.00 | 690.00 | KHAN CONTRACTOR
76.00 | Providing & Fixing of approved quality GI fittings of Heavy duty ISI marked 32 mm to 15 mm dia Reducer TEE as Directed by the Engineer-in-Charge. | 20.00 | No. | 1.25 | 91.00 | 1820.00 | 110.00 | 2200.00 | 70.00 | 1400.00 | 56.00 | 1120.00 | 1120.00 | KHAN CONTRACTOR
77.00 | Providing & Fixing of approved quality GI fittings of Heavy duty ISI marked 32 mm to 20 mm dia Reducer TEE as Directed by the Engineer-in-Charge. | 15.00 | No. | 0.00 | 70.00 | 1050.00 | 110.00 | 1650.00 | 75.00 | 1125.00 | 56.00 | 840.00 | 840.00 | KHAN CONTRACTOR
78.00 | Providing & Fixing of approved quality GI fittings of Heavy duty ISI marked 32 mm to 25 mm dia Reducer TEE as Directed by the Engineer-in-Charge. | 15.00 | No. | 100.00 | 90.00 | 1350.00 | 115.00 | 1725.00 | 80.00 | 1200.00 | 56.00 | 840.00 | 840.00 | KHAN CONTRACTOR
79.00 | Providing & Fixing of approved quality GI fittings of Heavy duty ISI marked 40 mm to 20 mm dia Reducer TEE as Directed by the Engineer-in-Charge. | 10.00 | No. | 53.00 | 105.00 | 1050.00 | 140.00 | 1400.00 | 80.00 | 800.00 | 56.00 | 560.00 | 560.00 | KHAN CONTRACTOR
80.00 | Providing & Fixing of approved quality GI fittings of Heavy duty ISI marked 40 mm to 32 mm dia Reducer TEE as Directed by the Engineer-in-Charge. | 15.00 | No. | 10.00 | 105.00 | 1575.00 | 145.00 | 2175.00 | 90.00 | 1350.00 | 56.00 | 840.00 | 840.00 | KHAN CONTRACTOR
81.00 | Providing & Fixing of approved quality GI fittings of Heavy duty ISI marked 40 mm to 25 mm dia Reducer TEE as Directed by the Engineer-in-Charge. | 10.00 | No. | 11.00 | 105.00 | 1050.00 | 140.00 | 1400.00 | 85.00 | 850.00 | 56.00 | 560.00 | 560.00 | KHAN CONTRACTOR
82.00 | Providing & Fixing of approved quality G.I. Tee 15 mm. dia Heavy duty as Directed by the Engineer-in-Charge. | 50.00 | No. | 10.00 | 55.00 | 2750.00 | 75.00 | 3750.00 | 50.00 | 2500.00 | 26.00 | 1300.00 | 1300.00 | KHAN CONTRACTOR
83.00 | Providing & Fixing of approved quality G.I. Tee 20 mm.dia. Heavy duty as Directed by the Engineer-in-Charge. | 50.00 | No. | 1.25 | 80.00 | 4000.00 | 75.00 | 3750.00 | 60.00 | 3000.00 | 36.00 | 1800.00 | 1800.00 | KHAN CONTRACTOR
84.00 | Providing & Fixing of approved quality G.I. Tee 25 mm.dia. Heavy duty as Directed by the Engineer-in-Charge. | 50.00 | No. | 0.00 | 105.00 | 5250.00 | 75.00 | 3750.00 | 65.00 | 3250.00 | 46.00 | 2300.00 | 2300.00 | KHAN CONTRACTOR
85.00 | Providing & Fixing of approved quality G.I. Tee 32 mm. dia Heavy duty as Directed by the Engineer-in-Charge. | 15.00 | No. | 100.00 | 135.00 | 2025.00 | 80.00 | 1200.00 | 70.00 | 1050.00 | 56.00 | 840.00 | 840.00 | KHAN CONTRACTOR
86.00 | Providing & Fixing of approved quality G.I. Tee 40 mm. dia Heavy duty as Directed by the Engineer-in-Charge. | 15.00 | No. | 53.00 | 170.00 | 2550.00 | 85.00 | 1275.00 | 80.00 | 1200.00 | 56.00 | 840.00 | 840.00 | KHAN CONTRACTOR
87.00 | Providing & Fixing of approved quality G.I. Tee 50 mm.dia. Heavy duty as Directed by the Engineer-in-Charge. | 15.00 | No. | 10.00 | 250.00 | 3750.00 | 100.00 | 1500.00 | 90.00 | 1350.00 | 56.00 | 840.00 | 840.00 | KHAN CONTRACTOR
88.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete : 15 mm nominal bore. | 80.00 | No. | 11.00 | 270.00 | 21600.00 | 150.00 | 12000.00 | 240.00 | 19200.00 | 36.00 | 2880.00 | 2880.00 | KHAN CONTRACTOR
89.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete : 20 mm nominal bore. | 50.00 | No. | 22.00 | 294.00 | 14700.00 | 150.00 | 7500.00 | 250.00 | 12500.00 | 46.00 | 2300.00 | 2300.00 | KHAN CONTRACTOR
90.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete : 25 mm nominal bore. | 25.00 | No. | 0.00 | 375.00 | 9375.00 | 175.00 | 4375.00 | 255.00 | 6375.00 | 56.00 | 1400.00 | 1400.00 | KHAN CONTRACTOR
91.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete : 32 mm nominal bore. | 20.00 | No. | 1.25 | 415.00 | 8300.00 | 175.00 | 3500.00 | 260.00 | 5200.00 | 66.00 | 1320.00 | 1320.00 | KHAN CONTRACTOR
92.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete : 40 mm nominal bore. | 15.00 | No. | 0.00 | 540.00 | 8100.00 | 175.00 | 2625.00 | 270.00 | 4050.00 | 76.00 | 1140.00 | 1140.00 | KHAN CONTRACTOR
93.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete : 50 mm nominal bore. | 15.00 | No. | 100.00 | 710.00 | 10650.00 | 200.00 | 3000.00 | 290.00 | 4350.00 | 86.00 | 1290.00 | 1290.00 | KHAN CONTRACTOR
94.00 | Providing & Fixing of approved quality GI fittings of Heavy duty ISI marked 20 mm to 15 mm dia reducer Elbow as Directed by the Engineer-in-Charge. | 10.00 | No. | 53.00 | 260.00 | 2600.00 | 150.00 | 1500.00 | 220.00 | 2200.00 | 26.00 | 260.00 | 260.00 | KHAN CONTRACTOR
95.00 | Providing & Fixing of approved quality GI fittings of Heavy duty ISI marked 25 mm to 15 mm dia Reducer Elbow as Directed by the Engineer-in-Charge. | 10.00 | No. | 10.00 | 280.00 | 2800.00 | 150.00 | 1500.00 | 230.00 | 2300.00 | 36.00 | 360.00 | 360.00 | KHAN CONTRACTOR
96.00 | Providing & Fixing of approved quality GI fittings of Heavy duty ISI marked 25 mm to 20 mm dia reducer Elbow as Directed by the Engineer-in-Charge. | 10.00 | Each | 11.00 | 320.00 | 3200.00 | 175.00 | 1750.00 | 240.00 | 2400.00 | 36.00 | 360.00 | 360.00 | KHAN CONTRACTOR
97.00 | Providing & Fixing of approved quality GI fittings of Heavy duty ISI mark 32 mm to 15 mm dia Reducer ELBOW as Directed by the Engineer-in-Charge. | 10.00 | Each | 10.00 | 320.00 | 3200.00 | 25.00 | 250.00 | 255.00 | 2550.00 | 46.00 | 460.00 | 250.00 | Technical Construction Co.
98.00 | Providing & Fixing of approved quality GI fittings of Heavy duty ISI mark 32 mm to 20 mm dia Reducer ELBOW as Directed by the Engineer-in-Charge. | 10.00 | Each | 1.25 | 320.00 | 3200.00 | 250.00 | 2500.00 | 260.00 | 2600.00 | 46.00 | 460.00 | 460.00 | KHAN CONTRACTOR
99.00 | Providing & Fixing of approved quality GI fittings of Heavy duty ISI mark 32 mm to 25 mm dia Reducer ELBOW as Directed by the Engineer-in-Charge. | 10.00 | Each | 0.00 | 350.00 | 3500.00 | 250.00 | 2500.00 | 270.00 | 2700.00 | 46.00 | 460.00 | 460.00 | KHAN CONTRACTOR
100.00 | Providing & Fixing of approved quality GI fittings of Heavy duty ISI mark 40mm to 15 mm dia Reducer ELBOW as Directed by the Engineer-in-Charge. | 10.00 | Each | 100.00 | 350.00 | 3500.00 | 300.00 | 3000.00 | 278.00 | 2780.00 | 56.00 | 560.00 | 560.00 | KHAN CONTRACTOR
101.00 | Providing & Fixing of approved quality GI fittings of Heavy duty ISI mark 40mm to 20 mm dia Reducer ELBOW as Directed by the Engineer-in-Charge. | 10.00 | Each | 53.00 | 350.00 | 3500.00 | 300.00 | 3000.00 | 285.00 | 2850.00 | 56.00 | 560.00 | 560.00 | KHAN CONTRACTOR
102.00 | Providing & Fixing of approved quality GI fittings of Heavy duty ISI mark 40mm to 25 mm dia Reducer ELBOW as Directed by the Engineer-in-Charge. | 10.00 | Each | 10.00 | 350.00 | 3500.00 | 300.00 | 3000.00 | 290.00 | 2900.00 | 56.00 | 560.00 | 560.00 | KHAN CONTRACTOR
103.00 | Providing & Fixing of approved quality GI fittings of Heavy duty ISI mark 40mm to 32mm dia Reducer ELBOW as Directed by the Engineer-in-Charge. | 10.00 | Each | 11.00 | 350.00 | 3500.00 | 350.00 | 3500.00 | 295.00 | 2950.00 | 56.00 | 560.00 | 560.00 | KHAN CONTRACTOR
104.00 | Providing & Fixing of approved quality G.I. elbow 15 mm. dia. Heavy duty as Directed by the Engineer-in-Charge. | 100.00 | Each | 22.00 | 245.00 | 24500.00 | 150.00 | 15000.00 | 65.00 | 6500.00 | 26.00 | 2600.00 | 2600.00 | KHAN CONTRACTOR
105.00 | Providing & Fixing of approved quality G.I. elbow 20 MM dia. Heavy duty as Directed by the Engineer-in-Charge. | 50.00 | No. | 0.00 | 255.00 | 12750.00 | 175.00 | 8750.00 | 70.00 | 3500.00 | 26.00 | 1300.00 | 1300.00 | KHAN CONTRACTOR
106.00 | Providing & Fixing of approved quality G.I. elbow 25 MM dia. Heavy duty as Directed by the Engineer-in-Charge. | 25.00 | No. | 1.25 | 270.00 | 6750.00 | 200.00 | 5000.00 | 75.00 | 1875.00 | 36.00 | 900.00 | 900.00 | KHAN CONTRACTOR
107.00 | Providing & Fixing of approved quality G.I. elbow 32 mm. dia. Heavy duty as Directed by the Engineer-in-Charge. | 10.00 | No. | 0.00 | 310.00 | 3100.00 | 250.00 | 2500.00 | 80.00 | 800.00 | 46.00 | 460.00 | 460.00 | KHAN CONTRACTOR
108.00 | Providing & Fixing of approved quality G.I. elbow 40 mm. dia. Heavy duty as Directed by the Engineer-in-Charge. | 10.00 | No. | 100.00 | 335.00 | 3350.00 | 275.00 | 2750.00 | 85.00 | 850.00 | 56.00 | 560.00 | 560.00 | KHAN CONTRACTOR
109.00 | Providing & Fixing of approved quality G.I. elbow 50 mm. dia. Heavy duty as Directed by the Engineer-in-Charge. | 10.00 | No. | 53.00 | 180.00 | 1800.00 | 300.00 | 3000.00 | 90.00 | 900.00 | 66.00 | 660.00 | 660.00 | KHAN CONTRACTOR
110.00 | Providing & Fixing of approved quality G.I. nipple 15 mm dia of 50 mm long as Directed by the Engineer-in-Charge. | 50.00 | No. | 10.00 | 29.00 | 1450.00 | 50.00 | 2500.00 | 80.00 | 4000.00 | 16.00 | 800.00 | 800.00 | KHAN CONTRACTOR
111.00 | Providing & Fixing approved quality G.I. nipple 15 mm dia of 100 mm long as Directed by the Engineer-in-Charge. | 50.00 | No. | 11.00 | 35.00 | 1750.00 | 65.00 | 3250.00 | 90.00 | 4500.00 | 26.00 | 1300.00 | 1300.00 | KHAN CONTRACTOR
112.00 | Providing & Fixing of approved quality G.I. nipple 15 mm dia of 150 mm long as Directed by the Engineer-in-Charge. | 50.00 | No. | 10.00 | 42.00 | 2100.00 | 80.00 | 4000.00 | 120.00 | 6000.00 | 36.00 | 1800.00 | 1800.00 | KHAN CONTRACTOR
113.00 | Providing & Fixing of approved quality G.I. nipple 20 mm dia of 50 mm long as Directed by the Engineer-in-Charge. | 40.00 | No. | 1.25 | 35.00 | 1400.00 | 65.00 | 2600.00 | 85.00 | 3400.00 | 26.00 | 1040.00 | 1040.00 | KHAN CONTRACTOR
114.00 | Providing & Fixing of approved quality G.I. nipple 20 mm dia of 100 mm long as Directed by the Engineer-in-Charge. | 40.00 | No. | 0.00 | 41.00 | 1640.00 | 80.00 | 3200.00 | 90.00 | 3600.00 | 36.00 | 1440.00 | 1440.00 | KHAN CONTRACTOR
115.00 | Providing & Fixing of approved quality G.I. nipple 20 mm dia of 150 mm long as Directed by the Engineer-in-Charge. | 40.00 | No. | 100.00 | 50.00 | 2000.00 | 100.00 | 4000.00 | 110.00 | 4400.00 | 46.00 | 1840.00 | 1840.00 | KHAN CONTRACTOR
116.00 | Providing & Fixing of approved quality G.I. nipple 25 mm dia of 50 mm long as Directed by the Engineer-in-Charge. | 25.00 | No. | 53.00 | 41.00 | 1025.00 | 80.00 | 2000.00 | 95.00 | 2375.00 | 36.00 | 900.00 | 900.00 | KHAN CONTRACTOR
117.00 | Providing & Fixing of approved quality G.I. nipple 25 mm dia of 100 mm long as Directed by the Engineer-in-Charge. | 25.00 | No. | 10.00 | 50.00 | 1250.00 | 100.00 | 2500.00 | 100.00 | 2500.00 | 46.00 | 1150.00 | 1150.00 | KHAN CONTRACTOR
118.00 | Providing & Fixing of approved quality G.I. nipple 25 mm dia of 150 mm long as Directed by the Engineer-in-Charge. | 30.00 | No. | 11.00 | 65.00 | 1950.00 | 125.00 | 3750.00 | 120.00 | 3600.00 | 56.00 | 1680.00 | 1680.00 | KHAN CONTRACTOR
119.00 | Providing & Fixing of approved quality G.I. nipple 32 mm dia of 50 mm long as Directed by the Engineer-in-Charge. | 20.00 | No. | 22.00 | 45.00 | 900.00 | 100.00 | 2000.00 | 100.00 | 2000.00 | 46.00 | 920.00 | 900.00 | YAKUB ALI CONTRACTOR
120.00 | Providing & Fixing of approved quality G.I. nipple 32 mm dia. 100 mm long as Directed by the Engineer-in-Charge. | 20.00 | No. | 0.00 | 55.00 | 1100.00 | 125.00 | 2500.00 | 120.00 | 2400.00 | 56.00 | 1120.00 | 1100.00 | YAKUB ALI CONTRACTOR
121.00 | Providing & Fixing of approved quality G.I. nipple 32 mm dia of 150 mm long as Directed by the Engineer-in-Charge. | 20.00 | No. | 1.25 | 79.00 | 1580.00 | 140.00 | 2800.00 | 130.00 | 2600.00 | 66.00 | 1320.00 | 1320.00 | KHAN CONTRACTOR
122.00 | Providing & Fixing of approved quality G.I. nipple 40 mm dia of 50 mm long as Directed by the Engineer-in-Charge. | 10.00 | No. | 0.00 | 50.00 | 500.00 | 125.00 | 1250.00 | 110.00 | 1100.00 | 56.00 | 560.00 | 500.00 | YAKUB ALI CONTRACTOR
123.00 | Providing & Fixing of approved quality G.I. nipple 40 mm dia of 100 mm long as Directed by the Engineer-in-Charge. | 10.00 | No. | 100.00 | 70.00 | 700.00 | 140.00 | 1400.00 | 120.00 | 1200.00 | 66.00 | 660.00 | 660.00 | KHAN CONTRACTOR
124.00 | Providing & Fixing of approved quality G.I. nipple 40 mm dia of 150 mm long as Directed by the Engineer-in-Charge. | 10.00 | No. | 53.00 | 94.00 | 940.00 | 175.00 | 1750.00 | 135.00 | 1350.00 | 76.00 | 760.00 | 760.00 | KHAN CONTRACTOR
125.00 | Providing & Fixing of approved quality G.I. nipple 50 mm dia of 50 mm long as Directed by the Engineer-in-Charge. | 10.00 | No. | 10.00 | 54.00 | 540.00 | 140.00 | 1400.00 | 120.00 | 1200.00 | 66.00 | 660.00 | 540.00 | YAKUB ALI CONTRACTOR
126.00 | Providing & Fixing of approved quality G.I. nipple 50 mm dia of 100 mm long as Directed by the Engineer-in-Charge. | 10.00 | No. | 11.00 | 80.00 | 800.00 | 175.00 | 1750.00 | 130.00 | 1300.00 | 76.00 | 760.00 | 760.00 | KHAN CONTRACTOR
127.00 | Providing & Fixing of approved quality G.I. nipple 50 mm dia of 150 mm long as Directed by the Engineer-in-Charge. | 10.00 | No. | 10.00 | 105.00 | 1050.00 | 200.00 | 2000.00 | 140.00 | 1400.00 | 86.00 | 860.00 | 860.00 | KHAN CONTRACTOR
128.00 | Providing & Fixing of approved quality G.I. plug 15 mm. dia. Heavy duty as Directed by the Engineer-in-Charge. | 20.00 | No. | 1.25 | 29.00 | 580.00 | 50.00 | 1000.00 | 25.00 | 500.00 | 16.00 | 320.00 | 320.00 | KHAN CONTRACTOR
129.00 | Providing & Fixing of approved quality G.I. plug 20 mm. dia. Heavy duty as Directed by the Engineer-in-Charge. | 20.00 | No. | 0.00 | 30.00 | 600.00 | 60.00 | 1200.00 | 30.00 | 600.00 | 16.00 | 320.00 | 320.00 | KHAN CONTRACTOR
130.00 | Providing & Fixing of approved quality G.I. plug 25 mm. dia. B- class as Directed by the Engineer-in-Charge. | 20.00 | No. | 100.00 | 35.00 | 700.00 | 70.00 | 1400.00 | 35.00 | 700.00 | 26.00 | 520.00 | 520.00 | KHAN CONTRACTOR
131.00 | Providing & Fixing of approved quality G.I. plug 32 mm. dia. B- class as Directed by the Engineer-in-Charge. | 10.00 | No. | 53.00 | 42.00 | 420.00 | 80.00 | 800.00 | 40.00 | 400.00 | 36.00 | 360.00 | 360.00 | KHAN CONTRACTOR
132.00 | Providing & Fixing of approved quality G.I. plug 40 mm. dia. B- class as Directed by the Engineer-in-Charge. | 10.00 | No. | 10.00 | 54.00 | 540.00 | 100.00 | 1000.00 | 45.00 | 450.00 | 46.00 | 460.00 | 450.00 | GUNJAN CONSTRUCTION
133.00 | Providing & Fixing of approved quality G.I. plug 50 mm. dia. Heavy duty as Directed by the Engineer-in-Charge. | 10.00 | No. | 11.00 | 79.00 | 790.00 | 125.00 | 1250.00 | 50.00 | 500.00 | 56.00 | 560.00 | 500.00 | GUNJAN CONSTRUCTION
134.00 | Providing & Fixing of approved quality G.I. holder clamp 15 mm. dia. Heavy duty as Directed by the Engineer-in-Charge. | 30.00 | No. | 22.00 | 24.00 | 720.00 | 15.00 | 450.00 | 25.00 | 750.00 | 6.00 | 180.00 | 180.00 | KHAN CONTRACTOR
135.00 | Providing & Fixing of approved quality G.I. holder clamp 20 MM. dia. Heavy duty as Directed by the Engineer-in-Charge. | 30.00 | No. | 0.00 | 28.00 | 840.00 | 25.00 | 750.00 | 30.00 | 900.00 | 6.00 | 180.00 | 180.00 | KHAN CONTRACTOR
136.00 | Providing & Fixing of approved quality G.I. holder clamp 25 MM. dia. Heavy duty as Directed by the Engineer-in-Charge. | 30.00 | No. | 1.25 | 30.00 | 900.00 | 30.00 | 900.00 | 35.00 | 1050.00 | 16.00 | 480.00 | 480.00 | KHAN CONTRACTOR
137.00 | Providing & Fixing of approved quality G.I. holder clamp 32 MM. dia. Heavy duty as Directed by the Engineer-in-Charge. | 10.00 | No. | 0.00 | 37.00 | 370.00 | 40.00 | 400.00 | 35.00 | 350.00 | 16.00 | 160.00 | 160.00 | KHAN CONTRACTOR
138.00 | Providing & Fixing of approved quality G.I. holder clamp 40 MM. dia. Heavy duty as Directed by the Engineer-in-Charge. | 10.00 | No. | 100.00 | 42.00 | 420.00 | 50.00 | 500.00 | 40.00 | 400.00 | 26.00 | 260.00 | 260.00 | KHAN CONTRACTOR
139.00 | Providing & Fixing of approved quality G.I. holder clamp 50 MM. dia. Heavy duty as Directed by the Engineer-in-Charge. | 10.00 | No. | 53.00 | 50.00 | 500.00 | 65.00 | 650.00 | 50.00 | 500.00 | 26.00 | 260.00 | 260.00 | KHAN CONTRACTOR
140.00 | Providing & Fixing of approved quality GI fittings of Heavy duty ISI marked 20 mm to 15 mm dia reducer socket as Directed by the Engineer-in-Charge. | 20.00 | No. | 10.00 | 55.00 | 1100.00 | 65.00 | 1300.00 | 45.00 | 900.00 | 26.00 | 520.00 | 520.00 | KHAN CONTRACTOR
141.00 | Providing & Fixing of approved quality GI fittings of Heavy duty ISI marked 25 mm to 15 mm dia reducer socket as Directed by the Engineer-in-Charge. | 20.00 | No. | 11.00 | 65.00 | 1300.00 | 80.00 | 1600.00 | 55.00 | 1100.00 | 36.00 | 720.00 | 720.00 | KHAN CONTRACTOR
142.00 | Providing & Fixing of approved quality GI fittings of Heavy duty ISI marked 25 mm to 20 mm dia reducer socket as Directed by the Engineer-in-Charge. | 20.00 | No. | 10.00 | 65.00 | 1300.00 | 95.00 | 1900.00 | 65.00 | 1300.00 | 36.00 | 720.00 | 720.00 | KHAN CONTRACTOR
143.00 | Providing & Fixing of approved quality GI fittings of Heavy duty ISI marked 32 mm to 15 mm dia reducer socket as Directed by the Engineer-in-Charge. | 20.00 | No. | 1.25 | 91.00 | 1820.00 | 110.00 | 2200.00 | 55.00 | 1100.00 | 46.00 | 920.00 | 920.00 | KHAN CONTRACTOR
144.00 | Providing & Fixing of approved quality GI fittings of Heavy duty ISI marked 32 mm to 20 mm dia reducer socket as Directed by the Engineer-in-Charge. | 20.00 | No. | 0.00 | 91.00 | 1820.00 | 110.00 | 2200.00 | 60.00 | 1200.00 | 46.00 | 920.00 | 920.00 | KHAN CONTRACTOR
145.00 | Providing & Fixing of approved quality GI fittings of Heavy duty ISI marked 32 mm to 25 mm dia reducer socket as Directed by the Engineer-in-Charge. | 20.00 | No. | 100.00 | 91.00 | 1820.00 | 125.00 | 2500.00 | 70.00 | 1400.00 | 46.00 | 920.00 | 920.00 | KHAN CONTRACTOR
146.00 | Providing & Fixing of approved quality GI fittings of Heavy duty ISI marked 40mm to 15 mm dia reducer socket as Directed by the Engineer-in-Charge. | 5.00 | No. | 53.00 | 91.00 | 455.00 | 125.00 | 625.00 | 60.00 | 300.00 | 56.00 | 280.00 | 280.00 | KHAN CONTRACTOR
147.00 | Providing & Fixing of approved quality GI fittings of Heavy duty ISI marked 40mm to 20 mm dia reducer socket as Directed by the Engineer-in-Charge. | 5.00 | No. | 10.00 | 91.00 | 455.00 | 135.00 | 675.00 | 70.00 | 350.00 | 56.00 | 280.00 | 280.00 | KHAN CONTRACTOR
148.00 | Providing & Fixing of approved quality GI fittings of Heavy duty ISI marked 40mm to 25 mm dia reducer socket as Directed by the Engineer-in-Charge. | 5.00 | No. | 11.00 | 91.00 | 455.00 | 150.00 | 750.00 | 75.00 | 375.00 | 56.00 | 280.00 | 280.00 | KHAN CONTRACTOR
149.00 | Providing & Fixing of approved quality GI fittings of Heavy duty class ISI marked 15mm dia Socket (Ordinary/reducing type) as Directed by the Engineer-in-Charge. | 100.00 | No. | 22.00 | 42.00 | 4200.00 | 60.00 | 6000.00 | 40.00 | 4000.00 | 26.00 | 2600.00 | 2600.00 | KHAN CONTRACTOR
150.00 | Providing & Fixing of approved quality GI fittings of Heavy duty class ISI marked 20mm dia Socket (Ordinary/reducing type) as Directed by the Engineer-in-Charge. | 50.00 | No. | 0.00 | 55.00 | 2750.00 | 75.00 | 3750.00 | 48.00 | 2400.00 | 26.00 | 1300.00 | 1300.00 | KHAN CONTRACTOR
151.00 | Providing & Fixing of approved quality GI fittings of Heavy duty class ISI marked 25mm dia Socket (Ordinary/reducing type) as Directed by the Engineer-in-Charge. | 50.00 | No. | 1.25 | 62.00 | 3100.00 | 90.00 | 4500.00 | 55.00 | 2750.00 | 36.00 | 1800.00 | 1800.00 | KHAN CONTRACTOR
152.00 | Providing & Fixing of approved quality GI fittings of Heavy duty class ISI marked 32mm dia Socket (Ordinary/reducing type) as Directed by the Engineer-in-Charge. | 50.00 | No. | 0.00 | 84.00 | 4200.00 | 105.00 | 5250.00 | 60.00 | 3000.00 | 46.00 | 2300.00 | 2300.00 | KHAN CONTRACTOR
153.00 | Providing & Fixing of approved quality GI fittings of Heavy duty class ISI marked 40mm dia Socket (Ordinary/reducing type) as Directed by the Engineer-in-Charge. | 50.00 | No. | 100.00 | 95.00 | 4750.00 | 140.00 | 7000.00 | 65.00 | 3250.00 | 56.00 | 2800.00 | 2800.00 | KHAN CONTRACTOR
154.00 | Providing & Fixing of approved quality GI fittings of Heavy duty class ISI marked 40mm dia Socket (Ordinary/reducing type) as Directed by the Engineer-in-Charge. | 20.00 | No. | 53.00 | 50.00 | 1000.00 | 160.00 | 3200.00 | 65.00 | 1300.00 | 56.00 | 1120.00 | 1000.00 | YAKUB ALI CONTRACTOR
155.00 | Providing & Fixing of approved quality GI fittings of Heavy duty class ISI marked 15 mm dia Bend (Ordinary / reducing type) as Directed by the Engineer-in-Charge. | 20.00 | No. | 10.00 | 41.00 | 820.00 | 60.00 | 1200.00 | 40.00 | 800.00 | 36.00 | 720.00 | 720.00 | KHAN CONTRACTOR
156.00 | Providing & Fixing of approved quality GI fittings of Heavy duty class ISI marked 20 mm dia Bend(Ordinary / reducing type) as Directed by the Engineer-in-Charge. | 20.00 | No. | 11.00 | 50.00 | 1000.00 | 75.00 | 1500.00 | 45.00 | 900.00 | 46.00 | 920.00 | 900.00 | GUNJAN CONSTRUCTION
157.00 | Providing & Fixing of approved quality GI fittings of Heavy duty class ISI marked 25 mm dia Bend(Ordinary / reducing type) as Directed by the Engineer-in-Charge. | 10.00 | No. | 10.00 | 57.00 | 570.00 | 90.00 | 900.00 | 55.00 | 550.00 | 56.00 | 560.00 | 550.00 | GUNJAN CONSTRUCTION
158.00 | Providing & Fixing of approved quality GI fittings of Heavy duty class ISI marked 32 mm dia Bend(Ordinary / reducing type) as Directed by the Engineer-in-Charge. | 10.00 | No. | 1.25 | 70.00 | 700.00 | 105.00 | 1050.00 | 60.00 | 600.00 | 66.00 | 660.00 | 600.00 | GUNJAN CONSTRUCTION
159.00 | Providing & Fixing of approved quality GI fittings of Heavy duty class ISI marked 40 mm dia Bend(Ordinary / reducing type) as Directed by the Engineer-in-Charge. | 10.00 | No. | 0.00 | 80.00 | 800.00 | 140.00 | 1400.00 | 65.00 | 650.00 | 76.00 | 760.00 | 650.00 | GUNJAN CONSTRUCTION
160.00 | Providing & Fixing of approved quality GI fittings of Heavy duty class ISI marked 50 mm dia Bend(Ordinary / reducing type) as Directed by the Engineer-in-Charge. | 10.00 | No. | 100.00 | 120.00 | 1200.00 | 160.00 | 1600.00 | 80.00 | 800.00 | 86.00 | 860.00 | 800.00 | GUNJAN CONSTRUCTION
161.00 | Providing & Fixing of white glazed vitreous china ware WASH WASIN 510mm X 400mm of make "H&R Johnson" or "PARRY", CERA, as approved by EIC With one,two tap hole and one over flow hole antisplash as Directed by the Engineer-in-Charge. | 10.00 | No. | 53.00 | 1780.00 | 17800.00 | 3500.00 | 35000.00 | 900.00 | 9000.00 | 786.00 | 7860.00 | 7860.00 | KHAN CONTRACTOR
162.00 | Providing & Fixing of Taski Fresh & Clean Urinal Screen (1Unit) as Directed by the Engineer-in-Charge. | 250.00 | No. | 10.00 | 590.00 | 147500.00 | 400.00 | 100000.00 | 375.00 | 93750.00 | 86.00 | 21500.00 | 21500.00 | KHAN CONTRACTOR
163.00 | Providing & Fixing of approved quality Gun Metal MANIK/L & K Make Wheel Valve Screw down Type, Heavy Duty Conforming to IS-778: 15 mm dia. as Directed by the Engineer-in-Charge. | 50.00 | No. | 11.00 | 425.00 | 21250.00 | 500.00 | 25000.00 | 400.00 | 20000.00 | 226.00 | 11300.00 | 11300.00 | KHAN CONTRACTOR
164.00 | Providing & Fixing of approved quality Gun Metal MANIK/L & K Make Wheel Valve Screw down Type, Heavy Duty Conforming to IS-778: 20 mm dia. as Directed by the Engineer-in-Charge. | 50.00 | No. | 22.00 | 475.00 | 23750.00 | 600.00 | 30000.00 | 450.00 | 22500.00 | 286.00 | 14300.00 | 14300.00 | KHAN CONTRACTOR
165.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end): 50mm nominal bore as Directed by the Engineer-in-Charge. | 20.00 | No. | 0.00 | 899.00 | 17980.00 | 1000.00 | 20000.00 | 550.00 | 11000.00 | 786.00 | 15720.00 | 11000.00 | GUNJAN CONSTRUCTION
166.00 | Providing & Fixing of PVC connection pipe (PRAYAG MAKE) with brass unions : 30 cm length : 15 mm nominal bore as Directed by the Engineer-in-Charge. | 150.00 | No. | 1.25 | 190.00 | 28500.00 | 250.00 | 37500.00 | 150.00 | 22500.00 | 86.00 | 12900.00 | 12900.00 | KHAN CONTRACTOR
167.00 | Providing & Fixing PVC connection pipe (PRAYAG MAKE) with brass unions : 45 cm length : 15 mm nominal bore as Directed by the Engineer-in-Charge. | 150.00 | No. | 0.00 | 212.00 | 31800.00 | 350.00 | 52500.00 | 200.00 | 30000.00 | 126.00 | 18900.00 | 18900.00 | KHAN CONTRACTOR
168.00 | Providing & Fixing of uplasticised PVC connection pipe (PRAYAG MAKE) with brass unions : 60 cm length : 15 mm nominal bore as Directed by the Engineer-in-Charge. | 150.00 | No. | 100.00 | 233.00 | 34950.00 | 200.00 | 30000.00 | 250.00 | 37500.00 | 156.00 | 23400.00 | 23400.00 | KHAN CONTRACTOR
169.00 | Providing & Fixing approved quality of M.S. Black (Shoes Nails) as directed by the Engineer and deposited in civil maintenance store. | 5.00 | Kg. | 53.00 | 1260.00 | 6300.00 | 250.00 | 1250.00 | 450.00 | 2250.00 | 186.00 | 930.00 | 930.00 | KHAN CONTRACTOR
170.00 | Providing & Fixing of Heavy Duty C.P. Luxury Health Forcet with all Fittings as Directed by the Engineer-in-Charge. | 30.00 | No. | 10.00 | 810.00 | 24300.00 | 1500.00 | 45000.00 | 450.00 | 13500.00 | 186.00 | 5580.00 | 5580.00 | KHAN CONTRACTOR
171.00 | Providing & Fixing of Silicon as Directed by the Engineer-in-Charge. | 50.00 | litre | 11.00 | 1210.00 | 60500.00 | 1200.00 | 60000.00 | 750.00 | 37500.00 | 186.00 | 9300.00 | 9300.00 | KHAN CONTRACTOR
172.00 | Providing & Applying of EMERY PAPER/SAND PAPER of following sizes 60 no as Directed by the Engineer-in-Charge. | 50.00 | No. | 10.00 | 35.00 | 1750.00 | 40.00 | 2000.00 | 5.00 | 250.00 | 6.00 | 300.00 | 250.00 | GUNJAN CONSTRUCTION
173.00 | Providing & Applying of EMERY PAPER/SAND PAPER of following sizes 80 no as Directed by the Engineer-in-Charge. | 50.00 | No. | 1.25 | 35.00 | 1750.00 | 40.00 | 2000.00 | 6.00 | 300.00 | 6.00 | 300.00 | 300.00 | GUNJAN CONSTRUCTION, KHAN CONTRACTOR
174.00 | Providing & Fixing of FORMICA/SUNMICA approved shade thickness as Directed by the Engineer-in-Charge. | 20.00 | Sqm | 0.00 | 1875.00 | 37500.00 | 1200.00 | 24000.00 | 950.00 | 19000.00 | 386.00 | 7720.00 | 7720.00 | KHAN CONTRACTOR
175.00 | Providing & Fixing of P.V.C. Syphon Set as Directed by the Engineer-in-Charge. | 15.00 | No. | 100.00 | 395.00 | 5925.00 | 400.00 | 6000.00 | 350.00 | 5250.00 | 56.00 | 840.00 | 840.00 | KHAN CONTRACTOR
176.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quantity conforming to IS : 8931 : 15 mm nominal bore. | 50.00 | No. | 53.00 | 502.00 | 25100.00 | 750.00 | 37500.00 | 650.00 | 32500.00 | 386.00 | 19300.00 | 19300.00 | KHAN CONTRACTOR
177.00 | Providing & Fixing of Jet Spray for European W.C. as Directed by the Engineer-in-Charge. | 30.00 | No. | 10.00 | 275.00 | 8250.00 | 450.00 | 13500.00 | 450.00 | 13500.00 | 186.00 | 5580.00 | 5580.00 | KHAN CONTRACTOR
178.00 | Providing & Fixing of P.V.C Bend 110 mm Dia for Rain Water Pipes as Directed by the Engineer-in-Charge. | 50.00 | No. | 11.00 | 175.00 | 8750.00 | 250.00 | 12500.00 | 125.00 | 6250.00 | 86.00 | 4300.00 | 4300.00 | KHAN CONTRACTOR
179.00 | Providing & Fixing P.V.C. Toilet Seat Cover Heavy Duty HINDWARE/CERA/ PARRYWARE make for European WC as Directed by the Engineer-in-Charge. | 25.00 | No. | 22.00 | 1025.00 | 25625.00 | 1200.00 | 30000.00 | 650.00 | 16250.00 | 386.00 | 9650.00 | 9650.00 | KHAN CONTRACTOR
180.00 | Providing & Fixing of P.V.C. Toilet Seat Cover Heavy Duty HINDWARE/CERA/ PARRYWARE make for ANGLO INDIAN WC as Directed by the Engineer-in-Charge. | 20.00 | No. | 0.00 | 1230.00 | 24600.00 | 1800.00 | 36000.00 | 650.00 | 13000.00 | 386.00 | 7720.00 | 7720.00 | KHAN CONTRACTOR
181.00 | Providing & Fixing of Non Breakable P.V.C. Nylon Sleeves: 25 mm Long as Directed by the Engineer-in-Charge. | 501.00 | No. | 1.25 | 1.50 | 751.50 | 10.00 | 5010.00 | 1.00 | 501.00 | 0.36 | 180.36 | 180.36 | KHAN CONTRACTOR
182.00 | Providing & Fixing of Non Breakable P.V.C. Nylon Sleeves: 35 mm Long as Directed by the Engineer-in-Charge. | 500.00 | No. | 0.00 | 3.00 | 1500.00 | 15.00 | 7500.00 | 1.00 | 500.00 | 0.56 | 280.00 | 280.00 | KHAN CONTRACTOR
183.00 | Providing & Fixing of Non Breakable P.V.C. Nylon Sleeves: 50 mm Long as Directed by the Engineer-in-Charge. | 500.00 | No. | 100.00 | 3.00 | 1500.00 | 20.00 | 10000.00 | 1.00 | 500.00 | 0.86 | 430.00 | 430.00 | KHAN CONTRACTOR
184.00 | Providing & Fixing of approved brand 100 mm dia C.P. Grating as Directed by the Engineer-in-Charge. | 10.00 | No. | 53.00 | 45.00 | 450.00 | 100.00 | 1000.00 | 90.00 | 900.00 | 56.00 | 560.00 | 450.00 | YAKUB ALI CONTRACTOR
185.00 | Providing & Fixing of approved quality Heavy Duty Brass Float Valve 15 mm Dia as Directed by the Engineer-in-Charge. | 50.00 | No. | 10.00 | 280.00 | 14000.00 | 800.00 | 40000.00 | 200.00 | 10000.00 | 186.00 | 9300.00 | 9300.00 | KHAN CONTRACTOR
186.00 | Providing & Fixing of approved quality Heavy Duty Brass Float Valve 25 mm Dia as Directed by the Engineer-in-Charge. | 100.00 | No. | 11.00 | 680.00 | 68000.00 | 1200.00 | 120000.00 | 250.00 | 25000.00 | 286.00 | 28600.00 | 25000.00 | GUNJAN CONSTRUCTION
187.00 | Providing & Fixing of approved quality Heavy Duty Brass Float Valve 32 mm Dia. as Directed by the Engineer-in-Charge. | 50.00 | No. | 10.00 | 830.00 | 41500.00 | 1500.00 | 75000.00 | 300.00 | 15000.00 | 386.00 | 19300.00 | 15000.00 | GUNJAN CONSTRUCTION
188.00 | Providing & Fixing of approved quality C.P. Waste Coupling 25 mm Dia. as Directed by the Engineer-in-Charge. | 25.00 | No. | 1.25 | 278.00 | 6950.00 | 900.00 | 22500.00 | 200.00 | 5000.00 | 26.00 | 650.00 | 650.00 | KHAN CONTRACTOR
189.00 | Providing & Fixing of approved quality C.P. Waste Coupling 32mm Dia. as Directed by the Engineer-in-Charge. | 25.00 | No. | 0.00 | 278.00 | 6950.00 | 1200.00 | 30000.00 | 350.00 | 8750.00 | 86.00 | 2150.00 | 2150.00 | KHAN CONTRACTOR
190.00 | Providing & Fixing of approved quality Brass Spindle Small size as Directed by the Engineer-in-Charge. | 200.00 | No. | 100.00 | 155.00 | 31000.00 | 450.00 | 90000.00 | 100.00 | 20000.00 | 86.00 | 17200.00 | 17200.00 | KHAN CONTRACTOR
191.00 | Providing & Fixing of approved quality Brass Spindle Medium size as Directed by the Engineer-in-Charge. | 200.00 | No. | 53.00 | 173.00 | 34600.00 | 650.00 | 130000.00 | 120.00 | 24000.00 | 86.00 | 17200.00 | 17200.00 | KHAN CONTRACTOR
192.00 | Providing & Fixing of approved quality Brass Spindle Big HEAVY size as Directed by the Engineer-in-Charge. | 200.00 | No. | 10.00 | 190.00 | 38000.00 | 800.00 | 160000.00 | 150.00 | 30000.00 | 86.00 | 17200.00 | 17200.00 | KHAN CONTRACTOR
193.00 | Providing & Fixing of Telescopic Pipe 1/4 dia for C.I. Flush Tank as Directed by the Engineer-in-Charge. | 20.00 | No. | 11.00 | 408.00 | 8160.00 | 350.00 | 7000.00 | 200.00 | 4000.00 | 86.00 | 1720.00 | 1720.00 | KHAN CONTRACTOR
194.00 | Providing & Fixing of M.S. Nut Bolts etc. as Directed by the Engineer-in-Charge. | 100.00 | Kg | 22.00 | 265.00 | 26500.00 | 150.00 | 15000.00 | 200.00 | 20000.00 | 186.00 | 18600.00 | 15000.00 | Technical Construction Co.
195.00 | Providing & Applying of LIME (WHITING) Code 1216 as Directed by the Engineer-in-Charge. | 10.00 | Kg | 0.00 | 107.00 | 1070.00 | 100.00 | 1000.00 | 25.00 | 250.00 | 15.66 | 156.60 | 156.60 | KHAN CONTRACTOR
196.00 | Providing & Fixing of Handle for Low Level Cistern as Directed by the Engineer-in-Charge. | 50.00 | No. | 1.25 | 210.00 | 10500.00 | 200.00 | 10000.00 | 150.00 | 7500.00 | 16.00 | 800.00 | 800.00 | KHAN CONTRACTOR
197.00 | Providing & Fixing of Rubber Bush Buffer 50 mm Long as Directed by the Engineer-in-Charge. | 10.00 | No. | 0.00 | 64.00 | 640.00 | 100.00 | 1000.00 | 70.00 | 700.00 | 26.00 | 260.00 | 260.00 | KHAN CONTRACTOR
198.00 | Providing & Applying of PUTTY (Wood Work) as Directed by the Engineer-in-Charge. | 15.00 | Kg | 100.00 | 140.00 | 2100.00 | 40.00 | 600.00 | 150.00 | 2250.00 | 56.00 | 840.00 | 600.00 | Technical Construction Co.
199.00 | Providing & Fixing of SINTEX, VECTUS, PLASTO or equivalent WHITE, Four Layer insulated antibacterial WATER TANK 500 Litre Capacity as Directed by the Engineer-in-Charge.(With check nut of 25mm – 20nos) | 4.00 | No. | 53.00 | 7310.00 | 29240.00 | 7500.00 | 30000.00 | 6000.00 | 24000.00 | 3786.00 | 15144.00 | 15144.00 | KHAN CONTRACTOR
200.00 | Providing and fixing 2.75mm thick 300x300mm tile flooring and / or 150mm high PVC tile skirting of `Armstrong' make of required shade, repairing the broken wall edge, corners with cement/epoxy mortar, curing the same including preparation of base, laying floor / skirting tiles with appropriate adhesive, finishing the same complete as per direction of engineer. | 20.00 | SqM | 10.00 | 221.00 | 4420.00 | 1500.00 | 30000.00 | 1550.00 | 31000.00 | 386.00 | 7720.00 | 4420.00 | YAKUB ALI CONTRACTOR
201.00 | Providing and fixing 30mm thick second class M.P. teak wood glazed shutters for windows / vantilators using 4 mm thick FLOAT glass panes including two coats of approved synthetic enamel paint over a coat of approved wood primer and also including bright finished ISI marked heavy duty M.S butt hinges with necessary screws and fixtures like heavy duty Aluminium Tower bolt (size-200mm long), Handles (125mm long) etc: as per specification and directions of Engnieer-in-charge fabricating details of styles, rails, teakwood, beading shall be as per standard I.S. specification Note - actual area of shutter will be paid. | 10.00 | SqM | 11.00 | 3515.00 | 35150.00 | 3500.00 | 35000.00 | 1050.00 | 10500.00 | 786.00 | 7860.00 | 7860.00 | KHAN CONTRACTOR
202.00 | Hiring of Buldozer on hourly basis including operator and fuel. (Time will be counted after entring into the plant) | 60.00 | Hour | 10.00 | 1290.00 | 77400.00 | 3000.00 | 180000.00 | 1450.00 | 87000.00 | 1586.00 | 95160.00 | 77400.00 | YAKUB ALI CONTRACTOR
203.00 | Supplying and fixing in required slope 20 mm thick cement tiles (conforming to relevnant I.S) in 20 mm average thick cement sand mortar layer 1:4, admixed with water proofing compound as per manufacturer's specifications (Cico No.1 or equivalent conforming to relavent IS and as approved by engineer) laid over the existing roof surface after its thorough preparation through removal of loose layer, hacking and water washing followed by liberal spreading of neat cement slurry before laying cement mortar layer including grouting the tile joints with cement slurry all complete as per spesifications and directions of the engineer. The whole terrace so finished shall be flooded with water for minimum period of two week for curing and for final test. | 50.00 | SqM | 1.25 | 1320.00 | 66000.00 | 1500.00 | 75000.00 | 875.00 | 43750.00 | 186.00 | 9300.00 | 9300.00 | KHAN CONTRACTOR
204.00 | Providing & Fixing of P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. : Semi rigid pipe.: 32mm dia. as Directed by the Engineer-in-Charge. | 30.00 | No. | 0.00 | 135.00 | 4050.00 | 250.00 | 7500.00 | 70.00 | 2100.00 | 36.00 | 1080.00 | 1080.00 | KHAN CONTRACTOR
205.00 | Providing & Fixing of P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. : Flexible pipe: 40mm dia as Directed by the Engineer-in-Charge. | 30.00 | No. | 100.00 | 148.00 | 4440.00 | 350.00 | 10500.00 | 70.00 | 2100.00 | 36.00 | 1080.00 | 1080.00 | KHAN CONTRACTOR
206.00 | Providing & Fixing of Bottle Trap for wash basin and sink: PTMT Bottle trap 38/40 mm single piece moulded with height of 270 mm effective length of tail pipe 260mm from the centre of the waste coupling 77mm breadth with 25mm minimum water seal, weighing not less than 263gms. as Directed by the Engineer-in-Charge. | 20.00 | No. | 53.00 | 370.00 | 7400.00 | 400.00 | 8000.00 | 650.00 | 13000.00 | 86.00 | 1720.00 | 1720.00 | KHAN CONTRACTOR
207.00 | Providing & Fixing Chequered terrazzo tiles 22mm thick with graded marble chips of size up to 6mm in floors jointed with neat cement slurry mixed with pigment to match the shade of the tiles including rubbing and polishing complete on 20 mm thick bed of cement mortar 1:4 (1Cemnt:4 Coarse sand): Light shade using white cement including finishing & curing work at all level etc. complete as per direction of Engineer-in-charge. | 50.00 | SqM | 10.00 | 1229.00 | 61450.00 | 1600.00 | 80000.00 | 1050.00 | 52500.00 | 786.00 | 39300.00 | 39300.00 | KHAN CONTRACTOR
208.00 | Providing and fixing Polyviny Chloride sheet 3 MM thickness / P.V.C. Tile (of other woven fabric flooring / using rubber base adhesives including rolling with light wooden roller complete (3.0 mm thick sheet) as per specification & direction of EIC. | 50.00 | SqM | 11.00 | 1710.00 | 85500.00 | 1600.00 | 80000.00 | 1300.00 | 65000.00 | 1186.00 | 59300.00 | 59300.00 | KHAN CONTRACTOR
209.00 | Providing and fixing G.I. chain link fabric fencing of required width in mesh size 50 x 50mm made of G.I. wire of dia 4mm including strengthening with 2 mm dia wire or nuts, bolts and washers as required complete as per the direction of Engineer – In charge. | 150.00 | SqM | 22.00 | 775.00 | 116250.00 | 900.00 | 135000.00 | 735.00 | 110250.00 | 686.00 | 102900.00 | 102900.00 | KHAN CONTRACTOR
210.00 | Providing and wood work in frames of doors, window, clerestory windows and other frames, wrought frame and fixed in position: Kiln seasoned and chemically treated Hollock wood complete as per drawings, specifications and direction of Engineer. | .50 | Cum | 0.00 | 64069.00 | 32034.50 | 150000.00 | 75000.00 | 76000.00 | 38000.00 | 26786.00 | 13393.00 | 13393.00 | KHAN CONTRACTOR
211.00 | Mirror polishing on marble work/Granite work/stone work where ever required to give high gloss finish complete. | 100.00 | SqM | 1.25 | 400.00 | 40000.00 | 400.00 | 40000.00 | 300.00 | 30000.00 | 56.00 | 5600.00 | 5600.00 | KHAN CONTRACTOR
212.00 | Providing & Fixing of Bright Finished Brass TOWER BOLTS (BARREL TYPE) with necessary screws etc., complete: 250 x 10 mm as Directed by the Engineer-in-Charge. | 10.00 | No. | 0.00 | 375.00 | 3750.00 | 150.00 | 1500.00 | 300.00 | 3000.00 | 86.00 | 860.00 | 860.00 | KHAN CONTRACTOR
213.00 | Providing & Fixing of Bright Finished Brass Hasp and Staple (Safety Type) with necessary screws etc., complete: 150 mm as Directed by the Engineer-in-Charge. | 50.00 | No. | 100.00 | 320.00 | 16000.00 | 250.00 | 12500.00 | 150.00 | 7500.00 | 56.00 | 2800.00 | 2800.00 | KHAN CONTRACTOR
214.00 | Providing & Fixing of Bright Finished Hasp and Staple (Safety Type) with necessary screws etc., complete: 115 mm as Directed by the Engineer-in-Charge. | 20.00 | No. | 53.00 | 112.00 | 2240.00 | 225.00 | 4500.00 | 120.00 | 2400.00 | 36.00 | 720.00 | 720.00 | KHAN CONTRACTOR
215.00 | Providing & Fixing of 2nd class teak wood lipping/moulded beading or taj beading of size 18x5 mm fixed with wooden adhesive of approved quality and screws/ nalils on the edges of the pre-laminated particle board etc. complete as per drawings, specifications and directions of Engineer-in-charge. | 100.00 | Metre | 10.00 | 90.00 | 9000.00 | 150.00 | 15000.00 | 60.00 | 6000.00 | 26.00 | 2600.00 | 2600.00 | KHAN CONTRACTOR
216.00 | Providing & Fixing of approved quality Float Valve P.V.C. BALLS Heavy Duty as Directed by the Engineer-in-Charge: 150 MM DIA | 50.00 | No. | 11.00 | 109.00 | 5450.00 | 250.00 | 12500.00 | 195.00 | 9750.00 | 56.00 | 2800.00 | 2800.00 | KHAN CONTRACTOR
217.00 | Providing & Fixing of approved quality Float Valve P.V.C. BALLS Heavy Duty as Directed by the Engineer-in-Charge: 250 MM DIA | 50.00 | No. | 10.00 | 612.00 | 30600.00 | 350.00 | 17500.00 | 295.00 | 14750.00 | 86.00 | 4300.00 | 4300.00 | KHAN CONTRACTOR
218.00 | Providing & Fixing of approved quality C.P. Bottel Trap Heavy Duty (Weight not less than 500 Grams) as Directed by the Engineer-in-Charge. | 50.00 | No. | 1.25 | 906.00 | 45300.00 | 800.00 | 40000.00 | 849.00 | 42450.00 | 786.00 | 39300.00 | 39300.00 | KHAN CONTRACTOR
219.00 | Providing & Fixing of approved quality URINAL (JHONSON PREMIUM COLLECTION/ PARRY WERE / HINDWARE) Dimensions:610 x 390 x390 mm TOPAZ HALF STALL URINAL IN WHITE COLOUR as Directed by the Engineer-in-Charge. | 10.00 | No. | 0.00 | 5462.00 | 54620.00 | 9000.00 | 90000.00 | 3940.00 | 39400.00 | 5786.00 | 57860.00 | 39400.00 | GUNJAN CONSTRUCTION
220.00 | Providing & Fixing of approved quality URINAL (JHONSON PREMIUM COLLECTION/ PARRY WERE / HINDWARE) Dimensions: 450 X 325 x 280 mm RUBY FLAT BLACK URINAL IN WHITE COLOUR as Directed by the Engineer-in-Charge. | 10.00 | No. | 100.00 | 2180.00 | 21800.00 | 7000.00 | 70000.00 | 3190.00 | 31900.00 | 2786.00 | 27860.00 | 21800.00 | YAKUB ALI CONTRACTOR
221.00 | Providing & Fixing of approved quality Brass SPREADER as Directed by the Engineer-in-Charge. | 20.00 | No. | 53.00 | 321.00 | 6420.00 | 1200.00 | 24000.00 | 350.00 | 7000.00 | 86.00 | 1720.00 | 1720.00 | KHAN CONTRACTOR
222.00 | Providing & Fixing of approved quality Toilet Paper Holder as Directed by the Engineer-in-Charge. | 20.00 | No. | 10.00 | 107.00 | 2140.00 | 1500.00 | 30000.00 | 250.00 | 5000.00 | 186.00 | 3720.00 | 2140.00 | YAKUB ALI CONTRACTOR
223.00 | Providing & Fixing of Tile Adhesive FEVI MATE XL for tile work as Directed by the Engineer-in-Charge. | 50.00 | Kg. | 11.00 | 55.00 | 2750.00 | 60.00 | 3000.00 | 150.00 | 7500.00 | 56.00 | 2800.00 | 2750.00 | YAKUB ALI CONTRACTOR
224.00 | Providing & Fixing of approved quality JET Spray with 1 metre Tube (PRAYAG BRAND Catalogue No 521 or similar approved quality) as Directed by the Engineer-in-Charge. | 20.00 | No. | 22.00 | 99.00 | 1980.00 | 1500.00 | 30000.00 | 450.00 | 9000.00 | 286.00 | 5720.00 | 1980.00 | YAKUB ALI CONTRACTOR
225.00 | Providing & Fixing of approved quality SHOE for Rain Water Pipes as Directed by the Engineer-in-Charge 110 MM DIA. | 60.00 | No. | 0.00 | 130.00 | 7800.00 | 250.00 | 15000.00 | 150.00 | 9000.00 | 126.00 | 7560.00 | 7560.00 | KHAN CONTRACTOR
226.00 | Providing & Fixing of approved quality COLLER for Rain Water Pipes as Directed by the Engineer-in-Charge: 110 MM DIA. | 60.00 | No. | 1.25 | 109.00 | 6540.00 | 250.00 | 15000.00 | 140.00 | 8400.00 | 86.00 | 5160.00 | 5160.00 | KHAN CONTRACTOR
227.00 | Providing and Fixing Self threaded Screw as Directed by the Engineer-in-Charge | 50.00 | Kg | 0.00 | 233.00 | 11650.00 | 250.00 | 12500.00 | 250.00 | 12500.00 | 286.00 | 14300.00 | 11650.00 | YAKUB ALI CONTRACTOR
228.00 | Providing and Fixing Self PVC strip as Directed by the Engineer-in-Charge | 6000.00 | Rmt | 100.00 | 5.00 | 30000.00 | 50.00 | 300000.00 | 40.00 | 240000.00 | 26.00 | 156000.00 | 30000.00 | YAKUB ALI CONTRACTOR
229.00 | Providing & Applying of ARALIDITE as Directed by the Engineer-in-Charge. | 200.00 | Kg | 53.00 | 1170.00 | 234000.00 | 600.00 | 120000.00 | 610.00 | 122000.00 | 586.00 | 117200.00 | 117200.00 | KHAN CONTRACTOR
230.00 | Providing & Fixing of approved quality Teflon Tape (1/2") as Directed by the Engineer-in-Charge. | 500.00 | No. | 10.00 | 50.00 | 25000.00 | 50.00 | 25000.00 | 40.00 | 20000.00 | 16.00 | 8000.00 | 8000.00 | KHAN CONTRACTOR
231.00 | Providing & Fixing of PVC floor trap of self cleaning design 100mm inlet and 75 mm outlet with C.I. grating 100x100 mm as Directed by the Engineer-in-Charge. | 5.00 | No. | 11.00 | 755.00 | 3775.00 | 800.00 | 4000.00 | 450.00 | 2250.00 | 186.26 | 931.30 | 931.30 | KHAN CONTRACTOR
232.00 | Providing & Applying of Two Component Polysulphide base Sealing compound GUN GRADE for vertical surface as per BIS-12118, in 4 kg (Four) or more standard pack as per specifications and direction of Engineer in charge. | 1000.00 | Kg | 10.00 | 655.00 | 655000.00 | 500.00 | 500000.00 | 290.00 | 290000.00 | 586.00 | 586000.00 | 290000.00 | GUNJAN CONSTRUCTION
233.00 | Providing ridges or hips of width 60 cm over all width plain G.S. sheet fixed with polymer coated J or L hooks, bolts and nuts 8 mm dia. G.I. limpet and bitumen washers complete. 0.80 mm thick with Zinc coating not less than 275gm/m2. Note.:- This item work can be executed upto 30 Metre Height from ground level. Bidder should quate their rate considering charges of hydraulic lift, scaffolding etc. | 100.00 | Meter | 1.25 | 907.00 | 90700.00 | 1000.00 | 100000.00 | 550.00 | 55000.00 | 286.00 | 28600.00 | 28600.00 | KHAN CONTRACTOR
234.00 | Providing & Fixing of Bright Finished Brass Butt Hinges with necessary screws etc., complete: 125 x 85 x 5.5 mm (Heavy Type) as Directed by the Engineer-in-Charge. | 100.00 | No. | 0.00 | 200.00 | 20000.00 | 200.00 | 20000.00 | 350.00 | 35000.00 | 86.00 | 8600.00 | 8600.00 | KHAN CONTRACTOR
235.00 | Providing & Fixing of Stainless steel kitchen sink 610 x 460 x 200 mm as Directed by the Engineer-in-Charge. | 10.00 | No. | 100.00 | 2090.00 | 20900.00 | 7500.00 | 75000.00 | 3490.00 | 34900.00 | 1786.00 | 17860.00 | 17860.00 | KHAN CONTRACTOR
236.00 | Supplying at site good quality garden earth free from weeds, roots, pebbles and other foreign materials including royalty and carriege (soil measured in trolly/stacks will be reduced by 20% for voids for payment purposes) as per specification and direction of EIC. (sample of garden good earth shall be approved by EIC before supplying) | 100.00 | Cum | 53.00 | 611.00 | 61100.00 | 800.00 | 80000.00 | 250.00 | 25000.00 | 486.00 | 48600.00 | 25000.00 | GUNJAN CONSTRUCTION
237.00 | Providing & Fixing C.P. brass shower rose with Shower arm 190mm long and wall flange of superior quality as Directed by the Engineer-in-Charge. | 20.00 | No. | 10.00 | 536.00 | 10720.00 | 1000.00 | 20000.00 | 250.00 | 5000.00 | 186.00 | 3720.00 | 3720.00 | KHAN CONTRACTOR
238.00 | Providing & Applying of rapid setting cement based, water leak plugging mortar Renderoc Plug of Fosroc or Equivalent product of SIKA, BASF, CICO, in standard pack as per specifications and direction of Engineer in charge. | 500.00 | Kg | 11.00 | 214.00 | 107000.00 | 80.00 | 40000.00 | 235.00 | 117500.00 | 86.00 | 43000.00 | 40000.00 | Technical Construction Co.
239.00 | Providing and fixing of Cinch Anhor/ Anchor fastner, Screw headed/ sunken/Capstan headed bolts alongwith washer of following sizes as approved by the Engineer.M-8 | 100.00 | No. | 22.00 | 84.00 | 8400.00 | 150.00 | 15000.00 | 70.00 | 7000.00 | 56.36 | 5636.00 | 5636.00 | KHAN CONTRACTOR
240.00 | Providing and fixing of Cinch Anhor/ Anchor fastner, Screw headed / sunken / Capstan headed bolts alongwith washer of following sizes as approved by the Engineer.M-10 | 300.00 | No. | 0.00 | 97.00 | 29100.00 | 200.00 | 60000.00 | 80.00 | 24000.00 | 86.00 | 25800.00 | 24000.00 | GUNJAN CONSTRUCTION
241.00 | Providing and fixing of Cinch Anhor/ Anchor fastner, Screw headed / sunken / Capstan headed bolts alongwith washer of following sizes as approved by the Engineer.M-12 | 500.00 | No. | 1.25 | 119.00 | 59500.00 | 250.00 | 125000.00 | 90.00 | 45000.00 | 126.00 | 63000.00 | 45000.00 | GUNJAN CONSTRUCTION
242.00 | Providing and fixing of Cinch Anhor/ Anchor fastner, Screw headed/sunken/Capstan headed bolts alongwith washer of following sizes as approved by the Engineer.M-16 | 500.00 | No. | 0.00 | 145.00 | 72500.00 | 300.00 | 150000.00 | 105.00 | 52500.00 | 186.00 | 93000.00 | 52500.00 | GUNJAN CONSTRUCTION
243.00 | Providing & Fixing of approved quality steel sink waste Coupling 25 mm Dia. as Directed by the Engineer-in-Charge. | 30.00 | No. | 100.00 | 144.00 | 4320.00 | 450.00 | 13500.00 | 200.00 | 6000.00 | 26.00 | 780.00 | 780.00 | KHAN CONTRACTOR
244.00 | Providing & Fixing of approved quality steel sink waste Coupling 32 mm Dia. as Directed by the Engineer-in-Charge. | 30.00 | No. | 53.00 | 144.00 | 4320.00 | 600.00 | 18000.00 | 250.00 | 7500.00 | 86.00 | 2580.00 | 2580.00 | KHAN CONTRACTOR
245.00 | Casting and lying M-20 precast cover of maximum 20 mm size aggregate at all level, transporting of precast cover at site, laying, finishing, curing etc. all complete including cost of shuttering, as per direction of Engineer-in-charge. Aggregate should be as per IS-2386 and nominal mix should be made as per IS-456 i.e. 1:1.5:3 (cmenet:Fine Aggregate:Coarse Aggregate).On site quality test should be performed on concrete (such that slump test, temperature etc.). On site quality of precast should be as per requirement of Engineer-in-charge. | 50.00 | Cum | 10.00 | 7956.00 | 397800.00 | 10000.00 | 500000.00 | 7275.00 | 363750.00 | 8886.00 | 444300.00 | 363750.00 | GUNJAN CONSTRUCTION
246.00 | Providing & Applying of Conbextra GP2 of fosroc or Equivalent product of SIKA, BASF, CICO, for non shrink grout in standard pack as per specifications and direction of Engineer in charge. | 1000.00 | Kg | 11.00 | 42.00 | 42000.00 | 40.00 | 40000.00 | 95.00 | 95000.00 | 56.00 | 56000.00 | 40000.00 | Technical Construction Co.
247.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and frame work M.S. door & fix ventilators, anchors etc made out M.S. angle, channels, flats, rods, bars, weld mesh, M.S. pipe etc including supplying, cutting, hoisting, fixing in position and applying two coat of approved quality synthetic enamel paint over a priming coat of approved steel primer all complete as per standard design, including the cost of all material and labour complete- as per drawings , specifications & direction of engineer in charge. | 1000.00 | Kg | 10.00 | 43.00 | 43000.00 | 150.00 | 150000.00 | 109.00 | 109000.00 | 136.00 | 136000.00 | 43000.00 | YAKUB ALI CONTRACTOR
248.00 | Providing form work of battened frame with sheathing having plywood lining / MS angle frame with sheathing of MS plate lining so as to give fair finish including centering shuttering strutting and propping etc. height of propping and centering below supporting floor not exceeding 3.5 meters to ceilings and removal of same for foundation, footings, columns, wall, Suspended floors, stairs, landings, balconies, lintels, beams, plinth beams, girders, cantilevers and access platform etc. complete at all level of floors / roof as per specifications and direction of Engineer in charge. | 50.00 | Sqm | 1.25 | 790.00 | 39500.00 | 700.00 | 35000.00 | 525.00 | 26250.00 | 386.00 | 19300.00 | 19300.00 | KHAN CONTRACTOR
249.00 | Accomplishing the task of Engineering Assistance works such as Supervision of various, Maintenance/Construction works, recording store entry, measurement etc. as specified in conditions of contract, complete on all working days on daily basis.Note: For executing one task day work under this item, daily deployment of Highly Skilled experienced personnels shall be required. | 1250.00 | Task Per Day | 0.00 | 1345.00 | 1681250.00 | 1610.00 | 2012500.00 | 1449.00 | 1811250.00 | 1656.00 | 2070000.00 | 1681250.00 | YAKUB ALI CONTRACTOR
250.00 | Extra work beyond normal duty hours to be carried out the same job as stated in 249 | 1100.00 | Hour | 100.00 | 245.00 | 269500.00 | 280.00 | 308000.00 | 350.00 | 385000.00 | 286.00 | 314600.00 | 269500.00 | YAKUB ALI CONTRACTOR
251.00 | Accomplishing the task of Fitter/Plumber/carpenter/Mason etc. related works like cutting, bending, fixing and welding of metals as per desired pattern/drawing or repairing of existing buildings and structures, doors & windows and furniture and all other types of complaints received from offices at R.R. Site plant site with all required tools & plants but excluding welding machine and consumables which will be supplied by NPCIL, by engaging the minimum required Fitter/Plumber/Welder/carpenter/Mason etc. related works as specified in conditions of contract, complete on all working days on daily basis. Note: 1. For executing one task day work under this item, daily deployment of Skilled experienced personnels shall be required. | 2840.00 | Task Per Day | 100.00 | 1120.00 | 3180800.00 | 1320.00 | 3748800.00 | 1449.00 | 4115160.00 | 1436.00 | 4078240.00 | 3180800.00 | YAKUB ALI CONTRACTOR
252.00 | Extra work beyond normal duty hours to be carried out the same job as stated in 251 | 2750.00 | Hour | 53.00 | 210.00 | 577500.00 | 250.00 | 687500.00 | 265.00 | 728750.00 | 256.00 | 704000.00 | 577500.00 | YAKUB ALI CONTRACTOR
253.00 | Accomplishing the task of movement of materials, assisting for Fitter/Plumber/Welder/ carpenter/Mason etc., on all working days on daily basis as specified in the conditions of contract. Note: For executing one task day work under this item, daily deployment of Un-Skilled experienced personnels shall be required. | 2840.00 | Task Per Day | 10.00 | 820.00 | 2328800.00 | 980.00 | 2783200.00 | 1049.00 | 2979160.00 | 1086.00 | 3084240.00 | 2328800.00 | YAKUB ALI CONTRACTOR
254.00 | Extra work beyond normal duty hours to be carried out the same job as stated in 253 | 3600.00 | Hour | 11.00 | 149.00 | 536400.00 | 180.00 | 648000.00 | 220.00 | 792000.00 | 186.00 | 669600.00 | 536400.00 | YAKUB ALI CONTRACTOR
| Total in Figures |  |  |  |  | 21266091.00 |  | 24500235.00 |  | 22280501.00 |  | 21756786.26
Lowest Amount Quoted BY: YAKUB ALI CONTRACTOR(21266091.00)

## BOQ Summary
BOQ Summary Details Tender Title: Regular civil maintenance works in main plant and other infrastructure buildings at RRS 5 and 6 Tender ID: 2026_NPCIL_264817_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | YAKUB ALI CONTRACTOR (BID ID -983321) | 21266091.00 | L1
| 2 | KHAN CONTRACTOR (BID ID -981745) | 21756786.26 | L2
| 3 | GUNJAN CONSTRUCTION (BID ID -979546) | 22280501.00 | L3
| 4 | Technical Construction Co. (BID ID -983794) | 24500235.00 | L4