## BoQ1
Government eProcurement System Created By: RAJESHKUMAR G Pillai Created Date/Time: 13-Apr-2026 04:12 PM Tender Title: Developmental works at AEC school in Anuvijay Township Tender ID: 2026_NPCIL_265292_1
Tender Inviting Authority: Senior Manager(CMM-Works Group)
Name of Work: Developmental works at AEC school in Anuvijay Township
Tender No: NPCIL/KKNPP/CONST/CIVIL-INFRA/PT/2026/13
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AKM CONSTRUCTIONS (GSTN-NA) BID ID -984547 |  | S.A.V.Constructions (GSTN-NA) BID ID -982211 |  | Thiraviam Suresh (GSTN-NA) BID ID -984435 |  | A.SARATHA (GSTN-NA) BID ID -980871
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work excavation by mechanical means(hydraulic excavator)/manual means for foundation, trenches etc., in all types of soils below ground level including shoring, strutting, bailing / pumping of water, leveling, ramming the bottom of excavation, refilling with selected excavated materials in the sides of the foundation in layers, consolidating and disposing off the surplus earth at places as directed within a lead of 50 m all as per drawings and specifications. - up to 1.5m ht | 3230.00 | Cu. Meter |  | 130.00 | 419900.00 | 75.00 | 242250.00 | 168.00 | 542640.00 | 161.12 | 520417.60 | 242250.00 | S.A.V.Constructions
2.00 | Earth work excavation by mechanical means(hydraulic excavator)/manual means in Soft rock in foundation, trenches etc. including shoring, shrutting wherever required bailing/pumping of water, leveling the bottom of excavation and refilling selected excavated materials and consolidating in the sides of foundation and disposing the surplus materials at places as directed within a lead of 2 Kms all as per drawings and specifications. | 20.00 | Cu. Meter |  | 375.00 | 7500.00 | 400.00 | 8000.00 | 300.00 | 6000.00 | 304.76 | 6095.20 | 6000.00 | Thiraviam Suresh
3.00 | Providing and laying plain cement concrete 1:4:8 using 40 mm and down graded stone aggregate at all height including mechanical mixing, leveling, compaction, vibrating, finishing smooth the exposed surfaces of concrete, curing etc complete as per drawings and standard specifications. | 136.00 | Cu. Meter |  | 3600.00 | 489600.00 | 4900.00 | 666400.00 | 4300.00 | 584800.00 | 3834.20 | 521451.20 | 489600.00 | AKM CONSTRUCTIONS
4.00 | Filling with selected earth in layers of not more than 150 mm thick compacted layer, each layer well rammed, watered and consolidated as per drawings and specifications : Selected earth brought from 50 m lead | 150.00 | Cu. Meter |  | 80.00 | 12000.00 | 275.00 | 41250.00 | 100.00 | 15000.00 | 88.16 | 13224.00 | 12000.00 | AKM CONSTRUCTIONS
5.00 | Providing and laying M20/M25 Design mix concrete with cement content up to 350kg/Cum using 20mm and down graded stone aggregates including Mixing ,Ramming, Compaction, leveling, curing, placing at all lifts, including scaffolding and Finishing smooth all exposed faces complete as per specification. | 273.00 | Cu. Meter |  | 6350.00 | 1733550.00 | 6000.00 | 1638000.00 | 5550.00 | 1515150.00 | 5555.60 | 1516678.80 | 1515150.00 | Thiraviam Suresh
6.00 | Providing cutting ,bending placing and tying mild steel, high yield steel reinforcement in RCC works including providing spacer blocks in CM 1:2, binding wires etc.complete at all elevations as per drawings and specifications including dewatering wherever necessary etc complete as per drawings and specifications | 21.00 | MT |  | 88000.00 | 1848000.00 | 94000.00 | 1974000.00 | 85000.00 | 1785000.00 | 77057.16 | 1618200.36 | 1618200.36 | A.SARATHA
7.00 | Providing ,placing in position and removing Form work for all insitu concrete works such as boundary wall foundtion/columns/beams etc including scaffolding etc., complete and as per specifications. (measurement for form work shall be the area of forms in contact with concrete surfaces) | 1560.00 | Sq. Meter |  | 350.00 | 546000.00 | 550.00 | 858000.00 | 350.00 | 546000.00 | 422.56 | 659193.60 | 546000.00 | Thiraviam Suresh, AKM CONSTRUCTIONS
8.00 | Providing and constructing Random Rubble masonry in CM 1:6 using hard granite stones including hammer dressing the stones, providing bond stones as per specifications ,raking out the joints, scaffolding, curing etc., complete as per specifications.
8.10 | In foundation and basement | 135.00 | Cu. Meter |  | 3200.00 | 432000.00 | 4500.00 | 607500.00 | 3500.00 | 472500.00 | 2830.24 | 382082.40 | 382082.40 | A.SARATHA
9.00 | Providing and constructing cement concrete block masonry using minimum M5 grade conforming to IS-2185 of latest version , using solid blocks of specified size (400mmx200mmx200mm) , in cement mortar 1:4 by volume, for walls in super structure for all locations and elevations including scaffolding, racking out joints, curing etc complete as per drawings and specifications | 216.00 | Cu. Meter |  | 4550.00 | 982800.00 | 5000.00 | 1080000.00 | 4800.00 | 1036800.00 | 4148.08 | 895985.28 | 895985.28 | A.SARATHA
10.00 | Plastering of external faces of brick work/concrete for boundary wall and exterior surfaces etc in cement mortar 1:4, 20 mm thick including scaffolding, curing, forming grooves of size 25mmx20mm, plaster bands, border, keystone etc wherever required all as per drawings and specifications (Using Crusher sand) | 2940.00 | Sq. Meter |  | 375.00 | 1102500.00 | 450.00 | 1323000.00 | 350.00 | 1029000.00 | 415.72 | 1222216.80 | 1029000.00 | Thiraviam Suresh
11.00 | Providing and applying exterior emulsion paint of ACE of ASIAN/ Promise of ICI DULUX/Wall masta of LEWIS BERGER/ Atom 2 in 1 of NIPPON /NEROLAC make & shade in two or more coast over a coat of approved primer to give an even shade as per manufacturer's instruction to the external plastered surfaces including preparation of surfaces, scaffolding etc. at all elevations, complete as per drawings and specifications | 2200.00 | Sq. Meter |  | 130.00 | 286000.00 | 225.00 | 495000.00 | 165.00 | 363000.00 | 180.12 | 396264.00 | 286000.00 | AKM CONSTRUCTIONS
12.00 | Providing, fabricating and erection of Structural steel members made out of M.S. angles, flats, plates, pipes, channels, tubes, rods etc conforming to relevant IS etc., including cost of welding, welding rods, drilling holes, bolts/nuts wherever required and providing and applying two or more coats of approved quality synthetic enamel paint over a coat of zinc chromate yellow primer etc., as per drawings and specifications | 13.00 | MT |  | 100000.00 | 1300000.00 | 100000.00 | 1300000.00 | 115000.00 | 1495000.00 | 87921.16 | 1142975.08 | 1142975.08 | A.SARATHA
13.00 | Providing and Fixing roofing at all elevations using Zinc-Aluminium alloy coated profile sheet of 0.45 mm thickness of TATA "Durashine"/JSW/Hindalco/Georoof make of approved colour including all shapes, over laps, side cladding, ridges, eaves board, gutters etc., including Supplying and Fixing of necessary 6mm dia J or L GI hooks, bolts, nuts, screws, bitumen washers, sealing of joints etc., complete all as per manufacturer's recommendations including scaffolding as per drawings and specifications. (Note: Payment shall be made only to the superficial area. No over laps, corrugations /profile shall be measured) | 630.00 | Sq. Meter |  | 475.00 | 299250.00 | 600.00 | 378000.00 | 520.00 | 327600.00 | 418.76 | 263818.80 | 263818.80 | A.SARATHA
14.00 | Providing and filling /spreading Crusher sand 30mm thick (compacted thickness) for preparation of base to lay interlocking precast concrete paver blocks including, leveling, placing, to the required slope, compacting with roller etc complete as per drawings and specifications. (Payment shall be made only for compacted thickness) | 81.00 | Cu. Meter |  | 1100.00 | 89100.00 | 1200.00 | 97200.00 | 1500.00 | 121500.00 | 1355.08 | 109761.48 | 89100.00 | AKM CONSTRUCTIONS
15.00 | Providing and laying M30 grade 60 mm thick interlocking precast concrete pavers blocks as pr relevant IS of approved shape over a profiled layer to the required line, pattern etc., all as per drawings and specifications | 2700.00 | Sq. Meter |  | 575.00 | 1552500.00 | 650.00 | 1755000.00 | 600.00 | 1620000.00 | 501.60 | 1354320.00 | 1354320.00 | A.SARATHA
16.00 | Providing lawn involves planting specified CORIAN/BERMUDA grass and maintaining the same for two months in order to have a healthy growth with the following activities a) providing best quality/ healthy grass suitable for lawn. b) Excavation in all type of soil for a depth of 150mm and filling with soil mixed with cow dung/farmyard manure @ 100kg/100 Sq. Meter for bed preparation . (c) Watering by manually required watering hoses including cost of labour tools and tackles etc complete. (d) Removing unwanted weeds minimum once in a month. (e) Cutting the grass using lawn mover minimum once in a month more if required). f) Supply and application of fertilizer once (DAP-50gms/Sq. Meter & Urea-50gms/Sq. Meter ). f) Providing and spraying of approved quality pesticides on an average of 0.25ml /Sq. Meter including cost of labour, spraying pump etc. complete as directed | 300.00 | Sq. Meter |  | 400.00 | 120000.00 | 120.00 | 36000.00 | 380.00 | 114000.00 | 345.04 | 103512.00 | 36000.00 | S.A.V.Constructions
17.00 | Supply and fixing of Retro reflective sign board madeout of wide angle cube corner micro prismatic retro refective sheeting conforming to IRC 67-2010 & Type 11 standards of ASTM D 4956-09 fixed over 2mm thick aluminium sheet. The item includes cost of all materials, loading, unloading, lead, lift transportation, fixing arrangements etc complete. 10 years warrenty as per clause 6.90 of IRC 67-2012 for Type XI Retro reflective sheeting from the manufacturer and a certified copy of test reports from an indipendent test laboratory confirming to clause 6.70 of IRC 67-2012 including 3 years outdoor weather exposure report for the retro reflective sheeting offered shall be submitted by the contractor. | 10.00 | Sq. Meter |  | 4800.00 | 48000.00 | 4500.00 | 45000.00 | 6000.00 | 60000.00 | 4837.40 | 48374.00 | 45000.00 | S.A.V.Constructions
18.00 | Supply and Fixing in position approved quality Stainless Steel of Grade-304 for handrails/other areas as directed using SS pipes/tubes/balls etc including chasing the walls/floor for Fixing in position and filling the area by cement concrete 1:2:4, finishing with cement plaster in CM 1:4 etc complete as per drawings and specifications | 200.00 | Kg |  | 410.00 | 82000.00 | 400.00 | 80000.00 | 410.00 | 82000.00 | 316.92 | 63384.00 | 63384.00 | A.SARATHA
19.00 | Providing, casting, finishing, curing, hoisting and placing in position 75mm thick precast slabs in cement concrete 1:2:4 using 20mm down size stone aggregate excluding cost of reinforcement but including formwork all complete as per drawings and specifications (The rate shall be exclusive of reinforcement) | 72.00 | Sq. Meter |  | 520.00 | 37440.00 | 750.00 | 54000.00 | 700.00 | 50400.00 | 606.48 | 43666.56 | 37440.00 | AKM CONSTRUCTIONS
20.00 | Construction of granular sub-base (GSB) by providing close graded Material conforming to specifications conforming to Grade-I (size range 75 mm to 0.075 mm) , mixing in a mechanical mix plant, carriage of mixed material by tippers to work site, for all leads & lifts, spreading in uniform layers of specified thickness on prepared surface and compacting etc complete as per specifications and directions of Engineer-in-Charge. | 630.00 | Cu. Meter |  | 1456.00 | 917280.00 | 1500.00 | 945000.00 | 1285.00 | 809550.00 | 1275.28 | 803426.40 | 803426.40 | A.SARATHA
21.00 | Providing, laying, spreading and compacting graded stone aggregate (size range53 mm to 0.075 mm) to wet mix macadam (WMM) specification including premixing the material with water at OMC in mechanical mix plant, carriage of mixed material by tipper to site, for all leads & lifts, laying in uniform layers with mechanical paver finisher in sub- base / base course on well prepared surface and compacting with vibratory roller of 8 to 10 tonne capacity to achieve the desired density, complete as per specifications and directions of Engineer-in-Charge, as per clause 406 of MORT & H specifications complete in all respects. | 1035.00 | Cu. Meter |  | 1580.00 | 1635300.00 | 1500.00 | 1552500.00 | 1400.00 | 1449000.00 | 1377.12 | 1425319.20 | 1425319.20 | A.SARATHA
22.00 | Providing and applying tack coat using bitumen emulsion conforming to IS:8887 using emulsion pressure distibuter including preparing the surface & cleaning with mechanical broom. with rapid settling emulsion on bitumen surface @ 0.25kg/sqm. as per clause 503 of MORT & H specifications complete in all respects . | 2507.00 | Sq. Meter |  | 12.00 | 30084.00 | 25.00 | 62675.00 | 12.00 | 30084.00 | 11.40 | 28579.80 | 28579.80 | A.SARATHA
23.00 | Providing and applying prime coat using slow setting bitumen emulsion conforming to IS:8887 on prepared surface of granular base incl;uding clearing the road surface and spraying primer at the rate of 6kg/10sqm, as per clause 502 of MORT & H specifications complete in all respects | 2507.00 | Sq. Meter |  | 36.00 | 90252.00 | 50.00 | 125350.00 | 35.00 | 87745.00 | 34.96 | 87644.72 | 87644.72 | A.SARATHA
24.00 | Providing and laying Dense graded bituminous macadam 50 mm thick with 100 - 120 THP hot mix plant producing an average output of 75 tonnes per hour using crushed aggregates of specified grading premixed with bituminous binder at 4.0 to 4.5% by weight of total mix and filler, trnsporting the hot mix to site, laid over a previously prepared surface with a hydrostatic paver finisher with sensor control to the required grade, level and alignment and rolled with smooth wheeled, vibratory and tandom rollers to acheieve the desired compaction as per clause 507 of MORT & H specifications complete in all respects. | 130.00 | Cu. Meter |  | 7200.00 | 936000.00 | 8000.00 | 1040000.00 | 7000.00 | 910000.00 | 6776.92 | 880999.60 | 880999.60 | A.SARATHA
25.00 | Providing and laying bituminous concrete 40mm thick with 100 - 120 THP hot mix plant producing an average output of 75 tonnes per hour using crushed aggregates of specified grading premixed with bituminous binder at 5.4 to 5.6% by weight of total mix and filler, trnsporting the hot mix to site, laid over a previously prepared surface with a hydrostatic paver finisher with sensor control to the required grade, level and alignment and rolled with smooth wheeled, vibratory and tandom rollers to acheieve the desired compaction as per clause 509 of MORT & H specifications complete in all respects. | 101.00 | Cu. Meter |  | 8200.00 | 828200.00 | 9000.00 | 909000.00 | 7400.00 | 747400.00 | 7093.84 | 716477.84 | 716477.84 | A.SARATHA
26.00 | Providing and applying 2.5mm thick road marking trips (retro-reflective) of specified shade/ colour using hot thermoplastic material by fully/ semi automatic thermoplastic paint applicator machine fitted with profile shoe, glass beads dispenser, propane tank heater and profile shoe heater, driven by experienced operator on road surface including cost of material, labour ,T&P, cleaning the road surface of all dirt, seals, oil, grease and foreign material etc. complete as per drawings and specifications | 75.00 | Sq. Meter |  | 750.00 | 56250.00 | 650.00 | 48750.00 | 750.00 | 56250.00 | 709.08 | 53181.00 | 48750.00 | S.A.V.Constructions
27.00 | Providing and Fixing reflective road studs of ‘category B’ Raised pavement markers made out of poly carbonate/ABS moulded body and reflective panels(bi-convex reflectors) with micro prismatic lens capable of providing total internal reflection of the light entering the lens face with retro-reflectance and chromaticity values conforming to ASTMD4280. The reflective raised pavement markers shall also confirm to the MORTH circular no RW/NH.33023/10/97-DOIII dt 11.06.97 and the length ,height and width of the body shall not be less than 100mm,15mm and 90mm and base of marker shall be flat within 1.3mm. The marker shall support a load of 13635Kg tested in accordance with ASTM D4280. Lenses shall be moulded of polycarbonate of methyl methecrylate conforming to ASTM D788. The area of each retro –reflector surface shall be 35+5 degree to base. Each reflector shall have a CIL not less than values specified in table2 of said MoRT &H circular and 2 cylindrical polymer shanks of not less than 20mm diameter and not less than 30mm length shall be provided for better anchorage etc complete as per drawings and specifications | 120.00 | No. |  | 450.00 | 54000.00 | 500.00 | 60000.00 | 450.00 | 54000.00 | 452.96 | 54355.20 | 54000.00 | Thiraviam Suresh, AKM CONSTRUCTIONS
28.00 | Providing and applying two coats of First Quality synthetic enamel paint of Asian paints/ Lewis Berger/ ICI Dulux/NIPPON/NEROLAC make of approved colour over a coat of primer on new wood / steel work, suitably prepared for receiving the paint by surface scraping, rubbing applying filler etc., including cost of filler primer, paint etc all complete as per drawings and specifications | 240.00 | Sq. Meter |  | 200.00 | 48000.00 | 250.00 | 60000.00 | 245.00 | 58800.00 | 247.00 | 59280.00 | 48000.00 | AKM CONSTRUCTIONS
29.00 | Supply of approved Ornamental plants (Minimum basic rate of plant shall be Rs.500/No) with Black Granite flower pot of size 18"at top and 18"height Or 18"x18" Sq. type or other approved size of 18" configuration (Minimum basic rate of Granite Pot shall be Rs.1000/No) and maintaining the same for 2 months in order to have a healthy growth with the following activities: a) Supply of approved type of plants in flower pots and placing the same as directed b) Loosening the earth and spreading manure as directed c) Manual watering from the nearby water Supply lines with required watering hoses etc including cost of labour, tools and tackles etc., complete d) Providing and spraying of approved quality pesticides on an average of 5ml /plant including cost of labour, spraying pump etc. complete . | 100.00 | No. |  | 1800.00 | 180000.00 | 2000.00 | 200000.00 | 1500.00 | 150000.00 | 1602.08 | 160208.00 | 150000.00 | Thiraviam Suresh
30.00 | Writing letters/markings/symbols/Artist Drawings etc on any surface as directed with approved quality synthetic enamel paint two or more coats including cost of paint of approved colour and brand etc. complete. The cost includes the base paint also. This item has to be executed through professional artist only | 100.00 | Sq. Meter |  | 500.00 | 50000.00 | 180.00 | 18000.00 | 460.00 | 46000.00 | 460.56 | 46056.00 | 18000.00 | S.A.V.Constructions
31.00 | Applicable GST Rate (%) Included in the Quoted Price
| Total in Figures |  |  |  |  | 16213506.00 |  | 17699875.00 |  | 16165219.00 |  | 15197148.92
Lowest Amount Quoted BY: A.SARATHA(15197148.92)

## BOQ Summary
BOQ Summary Details Tender Title: Developmental works at AEC school in Anuvijay Township Tender ID: 2026_NPCIL_265292_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | A.SARATHA (BID ID -980871) | 15197148.92 | L1
| 2 | Thiraviam Suresh (BID ID -984435) | 16165219.00 | L2
| 3 | AKM CONSTRUCTIONS (BID ID -984547) | 16213506.00 | L3
| 4 | S.A.V.Constructions (BID ID -982211) | 17699875.00 | L4