## BoQ1
Government eProcurement System Created By: Rajesh Sharma Created Date/Time: 25-Apr-2026 02:25 PM Tender Title: Renovation and Furnishing work at various places at NAPS, Plant Site and Township, Narora. Tender ID: 2026_NPCIL_267181_1
Tender Inviting Authority: Chief Superintendent
Name of Work: Renovation & Furnishing Work at various places at NAPS, Plant Site and Township, Narora.
Contract No: NAPS/CMM-WG/CVL/2025/CPPP/PT/1189
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Technical Construction Co. (GSTN-NA) BID ID -995566 |  | ROYAL ENGINEERING SERVICES (GSTN-NA) BID ID -995588 |  | Goswami Furniture House (GSTN-NA) BID ID -994573
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | PART-I : Service
2.00 | PVC FLOORING:- Providing and laying Minimum 02 mm thick PVC flooring of make Armstrong / Knauf Armstrong / LG Hausys (LX Hausys) / Spectrum /pergo in form of tiles / Mat etc. including all adhesive, surface preparation, removal of old tiles, applying of putty or mortar or any other filling materials to level the deformation in floor if required etc. complete in all respect as per site requirement. Sample to be approved before bringing the material at site. | 1700.00 | SqM | 1.25 | 900.00 | 1530000.00 | 600.00 | 1020000.00 | 800.00 | 1360000.00 | 1020000.00 | ROYAL ENGINEERING SERVICES
3.00 | VERTICAL BLINDS:- Supply and installation of Vertical blinds 100mm width of reputed make with all fitting and fixture complete as per site requirement. Sample to be approved before bringing the material at site. | 200.00 | SqM | 0.00 | 900.00 | 180000.00 | 675.00 | 135000.00 | 900.00 | 180000.00 | 135000.00 | ROYAL ENGINEERING SERVICES
4.00 | Supply and installation of Luxalon / Supersil aluminum Metal false ceiling system of approved colour having panel of (Approx). size 593 x 593 mm externally measured with powder coated on external surface resting on edge profile. Suspension system shall be of above make of Galvanized Steel "T" Grid Section, GI rod, GI hold hanger, sil carrier and clip etc. suitable coated with all accessories including the cost of making openings for light fittings, grills, diffusers, cutouts made with additional supports, suspenders as per the manufacturers specification. | 860.00 | SqM | 100.00 | 1850.00 | 1591000.00 | 1500.00 | 1290000.00 | 1700.00 | 1462000.00 | 1290000.00 | ROYAL ENGINEERING SERVICES
5.00 | Supplying & Fixing of LED Base light of reputed make 36 W, Dimensions: 595mm X 595mm X 75mm (L X W X H), Standard, Recessed, Deep Type, 220- 240V~50Hz | 100.00 | Nos | 53.00 | 1950.00 | 195000.00 | 1850.00 | 185000.00 | 1500.00 | 150000.00 | 150000.00 | Goswami Furniture House
6.00 | Providing and fixing sunfilm reflecting type on window / ventilation glass as per required shade as per site requirement. | 200.00 | SqM | 10.00 | 200.00 | 40000.00 | 150.00 | 30000.00 | 180.00 | 36000.00 | 30000.00 | ROYAL ENGINEERING SERVICES
7.00 | Supply and installation of Aluminium composite panel of (Approx.) 4mm thick consisting of core sandwiched between two Aluminium sheets (each approx. 0.5mm thick). of approved shade etc. of required sizes over required frame work and rubber gasket as per site condition. NOTE- Frame work and rubber gasket shall be paid under relvent item. | 500.00 | SqM | 11.00 | 1750.00 | 875000.00 | 1200.00 | 600000.00 | 1400.00 | 700000.00 | 600000.00 | ROYAL ENGINEERING SERVICES
8.00 | Supply and filling of silicone sealant in joint wherever required for complete sealing using pressure gun or other arrangement as per site suitability including use of protective tape to prevent spillage of silicone. | 100.00 | Kg | 11.00 | 1000.00 | 100000.00 | 650.00 | 65000.00 | 1000.00 | 100000.00 | 65000.00 | ROYAL ENGINEERING SERVICES
9.00 | Supplying & installation of structural steel, pipes, angle, Tee, flat, plate etc. with jointing, Screwing, welding and fixing in position including painting with two coat of Synthetic Enamel paint of M/S BERGER, ASIAN, DULEX, Nerolac make over one coat of red oxide primer etc. complete. | 2.00 | MT | 10.00 | 90000.00 | 180000.00 | 75000.00 | 150000.00 | 80000.00 | 160000.00 | 150000.00 | ROYAL ENGINEERING SERVICES
10.00 | Supplying & fixing aluminium doors, windows, ventilators, louvers, grills, glazing etc. With extruded aluminium section, angle, beading, fittings, including screw, all necessary aluminium fixtures and fastenings, nuts, washer, sliding rollers for sliding windows etc. complete fixed on aluminium sub frame all as per drawing and specification. (Mortice lock provided by relevant item of Part-2). Note- sliding rollers for sliding windows, fixtures and fastenings, nuts, washer etc. will not be paid seprately. Only aluminium structural members, beading, angles etc. will be considered for payment on weight basis.
11.00 | Anodised sections Aluminium sections. | 3000.00 | Kg | 0.00 | 650.00 | 1950000.00 | 575.00 | 1725000.00 | 500.00 | 1500000.00 | 1500000.00 | Goswami Furniture House
12.00 | Powder coated Aluminium sections. | 2500.00 | Kg | 1.00 | 670.00 | 1675000.00 | 600.00 | 1500000.00 | 550.00 | 1375000.00 | 1375000.00 | Goswami Furniture House
13.00 | Supply and fixing of Floor spring (Size approx 230X120X65mm as per IS 6315) including removal of old floor spring complete as per site requirement. | 20.00 | Nos | 1.25 | 2000.00 | 40000.00 | 2150.00 | 43000.00 | 2200.00 | 44000.00 | 40000.00 | Technical Construction Co.
14.00 | Supply and fixing of Floor spring (Size approx 290X180X55mm as per IS 6315) including removal of old floor spring complete as per site requirement. | 20.00 | Nos | 0.00 | 2500.00 | 50000.00 | 2200.00 | 44000.00 | 2500.00 | 50000.00 | 44000.00 | ROYAL ENGINEERING SERVICES
15.00 | Supply and fixing of 5.0 mm thick glass in aluminum doors, windows, ventilators, and partitions etc. including removal of old Glass as per site condition complete. | 150.00 | SqM | 53.00 | 1000.00 | 150000.00 | 800.00 | 120000.00 | 850.00 | 127500.00 | 120000.00 | ROYAL ENGINEERING SERVICES
16.00 | Supply and fixing of Rubber gasket in aluminum doors, windows, ventilators, and partitions etc. including removal of old gasket complete as per site condition. | 2000.00 | RM | 10.00 | 60.00 | 120000.00 | 50.00 | 100000.00 | 70.00 | 140000.00 | 100000.00 | ROYAL ENGINEERING SERVICES
17.00 | Supply and fixing of Heavy Duty Door Closer as per IS 3564 Size Type 3 for heavy steel door (Everite / Ritz / Sterling / Godrej make). | 20.00 | Nos | 11.00 | 2000.00 | 40000.00 | 1850.00 | 37000.00 | 2000.00 | 40000.00 | 37000.00 | ROYAL ENGINEERING SERVICES
18.00 | Dismantling aluminium / wooden / Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material including glass and depositing same at Civil-Maint. safely. | 200.00 | SqM | 11.00 | 50.00 | 10000.00 | 30.00 | 6000.00 | 50.00 | 10000.00 | 6000.00 | ROYAL ENGINEERING SERVICES
19.00 | WOOD WORK POLISHING:- Providing polishing on old wooden work with superior approved quality of melamine polish / leckar / sprit etc. including cleaning, wood filling, applying putty rubbing etc. complete as per site requirement. | 350.00 | SqM | 10.00 | 150.00 | 52500.00 | 175.00 | 61250.00 | 140.00 | 49000.00 | 49000.00 | Goswami Furniture House
20.00 | Sofa / Chair repair:- Repairing of normal cushion Chair/revolving chair with wheel/ sofa etc including replacement of high density cushion and cloth of standard and approved make & colour etc. with Paint/ polishing on wooden portion, repairing/replacement of damaged wooden members with same type of wood , repairing /replacement of rubber /high density polymer handles of cushion chair /revolving chair, repair/replacement of wheels /wheel base , hydraulic lifting system of chairs all complete including replacing/replacement of all damaged spring, wood, handles etc. as required all complete as per functional requirement to look like new one.
21.00 | Sofa five seater set. | 10.00 | Nos | 0.00 | 10000.00 | 100000.00 | 8500.00 | 85000.00 | 10000.00 | 100000.00 | 85000.00 | ROYAL ENGINEERING SERVICES
22.00 | Sofa three seater. | 10.00 | Nos | 1.00 | 6000.00 | 60000.00 | 6500.00 | 65000.00 | 7000.00 | 70000.00 | 60000.00 | Technical Construction Co.
23.00 | Sofa/ cushion chair/revolving chair single seater. | 75.00 | Nos | 1.25 | 2000.00 | 150000.00 | 2500.00 | 187500.00 | 2200.00 | 165000.00 | 150000.00 | Technical Construction Co.
24.00 | Sofa two seater. | 10.00 | Nos | 0.00 | 4000.00 | 40000.00 | 4000.00 | 40000.00 | 4700.00 | 47000.00 | 40000.00 | Technical Construction Co., ROYAL ENGINEERING SERVICES
25.00 | Providing and fixing Sunmica of (approx.) 1.00mm thick minimum thick of approved colour standard make and pattern including preparation of surface, repairing, adhesive etc. complete in all respect. Measurement will be paid as per the finished area. | 275.00 | SqM | 100.00 | 650.00 | 178750.00 | 600.00 | 165000.00 | 600.00 | 165000.00 | 165000.00 | Goswami Furniture House, ROYAL ENGINEERING SERVICES
26.00 | Supplying & fixing of Seasoned Sheeshum wood and preparing Doors, Windows, Furniture such as stool, table etc. including polishing / painting and repairing of existing Door, window etc. including fixing at site and repairing the wall surface with required mortar with all fittings as per site requirement for general purpose wooden work. | 150.00 | Cu.feet | 53.00 | 3500.00 | 525000.00 | 2600.00 | 390000.00 | 2800.00 | 420000.00 | 390000.00 | ROYAL ENGINEERING SERVICES
27.00 | Providing and fixing fully perforated Gyp Board tiles including GI Grid Channel at suitable spacing in both direction including removal of existing perforated Gyp board tiles with frame if required at site.
28.00 | Supplying and fixing of Fully perforated Gyp Board tiles 12.5mm thick, for acoustic treatment size 595mmx595mm, over G.I. Grid channels fixed as per item no.15.2 at suitable spacing including 25mm thick glass wool behind Gyp board tiles.. | 200.00 | SqM | 11.00 | 1800.00 | 360000.00 | 975.00 | 195000.00 | 1000.00 | 200000.00 | 195000.00 | ROYAL ENGINEERING SERVICES
29.00 | Supplying and fixing G.I. Grid channels of suitable section at spacing as per site requirement in horizontal and vertical direction. | 720.00 | Kg | 10.00 | 180.00 | 129600.00 | 115.00 | 82800.00 | 130.00 | 93600.00 | 82800.00 | ROYAL ENGINEERING SERVICES
30.00 | Supply and fixing of Stainless Steel wire mesh mosquito proof jali 12 mesh per inch, having wire of approx minimum 0.28mm dia as per requirement at site etc. complete. | 75.00 | SqM | 22.00 | 450.00 | 33750.00 | 425.00 | 31875.00 | 375.00 | 28125.00 | 28125.00 | Goswami Furniture House
31.00 | Supply & fixing of 12mm thick plain Cement Bonded Particle Board in partitions, doors & window shutters, paneling etc. fitted with required angle & channel with self threaded steel screws, frame work of M.S. box section / wood of required size with spacing suiting to site as per site requirement including making cut outs for conduits, ducts etc. and embedding the frame work in floor/wall with all fittings and fixtures complete as per drawing, specifications. (MS box section / wood supplied & fixed under relevant item of Part-1 and to be paid under that item). | 50.00 | SqM | 0.00 | 1200.00 | 60000.00 | 800.00 | 40000.00 | 850.00 | 42500.00 | 40000.00 | ROYAL ENGINEERING SERVICES
32.00 | Supply and fixing of Teak ply wood minimum 3mm thick, one side decorative veneer with ISI marked with license no. necessary screws, nuts & bolts including removing the existing ply, all complete as per site requirement. | 400.00 | SqM | 1.00 | 650.00 | 260000.00 | 600.00 | 240000.00 | 650.00 | 260000.00 | 240000.00 | ROYAL ENGINEERING SERVICES
33.00 | Supplying & fixing of Teak wood work in frames of doors, clerestory windows and other frames wrought framed and fixed in position with hold fast lugs or dash fasteners of required dia & length including repairing the wall with required mortar etc. | 50.00 | Cult. | 22.00 | 3000.00 | 150000.00 | 3500.00 | 175000.00 | 3200.00 | 160000.00 | 150000.00 | Technical Construction Co.
34.00 | Supply and fixing of commercial ply with ISI marked with license no. of required size and thickness with necessary, screws, nuts, bolts & nails including removing the existing ply complete as per site requirement.
35.00 | 4 mm thick commercial ply | 100.00 | SqM | 1.00 | 650.00 | 65000.00 | 500.00 | 50000.00 | 700.00 | 70000.00 | 50000.00 | ROYAL ENGINEERING SERVICES
36.00 | 6 mm thick commercial ply | 100.00 | SqM | 100.00 | 900.00 | 90000.00 | 650.00 | 65000.00 | 900.00 | 90000.00 | 65000.00 | ROYAL ENGINEERING SERVICES
37.00 | 12 mm thick commercial ply | 100.00 | SqM | 53.00 | 1250.00 | 125000.00 | 1000.00 | 100000.00 | 1290.00 | 129000.00 | 100000.00 | ROYAL ENGINEERING SERVICES
38.00 | Supply and fixing of wooden block board 18 mm thick for shutters of cup board, almirah, table tops using boards of required size with necessary screws, nuts, bolt and required hinges, handle, tower bolt and other requirement materials etc. complete as per site requirement. | 150.00 | SqM | 10.00 | 1250.00 | 187500.00 | 1550.00 | 232500.00 | 1400.00 | 210000.00 | 187500.00 | Technical Construction Co.
39.00 | Supply and fixing of Wooden Block board for Miscellaneous use etc. of required size and following thickness with necessary, screws, nuts, bolts, Tower Bolt, L-Drop & nails including removing of the existing shutters.
40.00 | Wooden Block board 30 mm thick. | 50.00 | SqM | 11.00 | 1750.00 | 87500.00 | 1800.00 | 90000.00 | 1600.00 | 80000.00 | 80000.00 | Goswami Furniture House
41.00 | Wooden Block board 35 mm thick . | 50.00 | SqM | 10.00 | 2000.00 | 100000.00 | 2100.00 | 105000.00 | 2000.00 | 100000.00 | 100000.00 | Goswami Furniture House, Technical Construction Co.
42.00 | Providing and fixing Stainless steel Air Diffuser of required shape and size with necessary screws & other fitting to the existing false ceiling including all fixture required for this purpose all complete. | 15.00 | SqM | 22.00 | 4500.00 | 67500.00 | 4500.00 | 67500.00 | 3900.00 | 58500.00 | 58500.00 | Goswami Furniture House
43.00 | Providing and fixing approx. 30mm thick factory made hollow PVC doors shutters with chowkhat of approved colour and design including required nos. of hinges, fastened with nuts and washers, all complete including necessary locking mechanism of Aldrop or tower bolt as per site requirement. | 100.00 | SqM | 0.00 | 3500.00 | 350000.00 | 1800.00 | 180000.00 | 2400.00 | 240000.00 | 180000.00 | ROYAL ENGINEERING SERVICES
44.00 | Providing and fixing stainless steel mongery viz., handles, hinges al-drops, tower tolts/ sliding hatch, stopper, buffer etc. for doors, windows, ventilators etc. and any other requirement all complete as per direction of Engineer-In-Charge. | 130.00 | Kg | 1.25 | 400.00 | 52000.00 | 400.00 | 52000.00 | 500.00 | 65000.00 | 52000.00 | Technical Construction Co., ROYAL ENGINEERING SERVICES
45.00 | Providing and fixing premium quality mat finished Anti skid ceramic floor tiles of required size and 6mm thickness of H&R JOHNSON or KAJARIA or NITCO or SOMANY or equal range in price / quality as approved in required shade, laid on average 20 mm thick bed of cement mortar 1:4 (1 cement: 4 coarse sand) including cleaning and applying cement slurry @3.3 kg/ sqm grounting the joints including covering of floor tiles with PVC sheet protect the tile from painting stains and scratches during various finishing activities including finishing, curring and dismantling of existing floor / tiles and remove the debris etc, at all level etc. all complete. Note- Contractor may be required to provide extra mortar bed at various locations to provide adequate slope. Such extra mortar more than 20mm will have to be provided by the contractor at his own cost. No extra payment will be made for the extra mortar. | 260.00 | SqM | 0.00 | 900.00 | 234000.00 | 1050.00 | 273000.00 | 960.00 | 249600.00 | 234000.00 | Technical Construction Co.
46.00 | Providing & laying of required size and 6mm thickness shade and series Glazed tile of H&R JOHNSON or KAJARIA or NITCO or SOMANY or equal range in price / quality for dado of WC bath and toilet with necessary specials etc. over average approx. 20 mm thick cement mortar 1:4 bedding to true plan & slope, close jointed & pointed with adhesive mortar, curing, cleaning and applying cement slurry @3.3 kg/ sqm including grouting the joints complete including removal / dismentling of existing or damaged tiles and disposal of debris at a designated place. Note- Contractor may be required to provide extra mortar bed at various locations to provide adequate slope. Such extra mortar more than 20mm will have to be provided by the contractor at his own cost. No extra payment will be made for the extra mortar. | 260.00 | SqM | 100.00 | 900.00 | 234000.00 | 800.00 | 208000.00 | 900.00 | 234000.00 | 208000.00 | ROYAL ENGINEERING SERVICES
47.00 | Providing and laying vitrified tiles (Double charge) of size 595mm x 595mm (Approx. thickness - 8 mm) of make in H&R JOHNSON or KAJARIA or NITCO or SOMANY or equal range in price / quality in as approved all colours & shade, in skirting & riser of steps, over average 12mm thick bed of cement mortar 1:3 jointing with grey cement slurry @3.3 kg / sqm including grouting the joints with required cement including finishing, curing and dismantling of existing floor / tiles and remove the debris etc, all complete as per specification. Note- Contractor may be required to provide extra mortar bed at various locations to provide adequate slope. Such extra mortar more than 12mm will have to be provided by the contractor at his own cost. No extra payment will be made for the extra mortar. | 150.00 | SqM | 53.00 | 1000.00 | 150000.00 | 1150.00 | 172500.00 | 1290.00 | 193500.00 | 150000.00 | Technical Construction Co.
48.00 | Providing and laying of 15 mm thick (Approx.) approved GRANITE STONE flooring in glass finish gloss of approved shade in proper alignments over average 20mm thick bed with cement mortar 1:4 to give zero width of joints etc. complete for floor and skirting including removal of existing flooring and disposal of debris at a designated place all complete. Note- Contractor may be required to provide extra mortar bed at various locations to provide adequate slope. Such extra mortar more than 20mm will have to be provided by the contractor at his own cost. No extra payment will be made for the extra mortar. | 200.00 | SqM | 10.00 | 2200.00 | 440000.00 | 3200.00 | 640000.00 | 3300.00 | 660000.00 | 440000.00 | Technical Construction Co.
49.00 | PART-2 : (Supply)
50.00 | Supplying and stacking of materials at site in phased manner.
51.00 | Supply of 3mm dia steel drill bit. | 50.00 | Nos | 10.00 | 25.00 | 1250.00 | 30.00 | 1500.00 | 42.00 | 2100.00 | 1250.00 | Technical Construction Co.
52.00 | Supply of 3.5mm dia steel drill bit. | 50.00 | Nos | 22.00 | 30.00 | 1500.00 | 30.00 | 1500.00 | 45.00 | 2250.00 | 1500.00 | Technical Construction Co., ROYAL ENGINEERING SERVICES
53.00 | Supply of 4mm dia steel drill bit. | 30.00 | Nos | 0.00 | 45.00 | 1350.00 | 40.00 | 1200.00 | 50.00 | 1500.00 | 1200.00 | ROYAL ENGINEERING SERVICES
54.00 | Supply of PVC wall plugs (100 Nos Packing) Size 38mm. | 50.00 | Pkt. | 1.00 | 35.00 | 1750.00 | 55.00 | 2750.00 | 50.00 | 2500.00 | 1750.00 | Technical Construction Co.
55.00 | Supply of PVC wall plugs (100 Nos Packing) Size 50mm. | 50.00 | Pkt. | 1.25 | 50.00 | 2500.00 | 60.00 | 3000.00 | 50.00 | 2500.00 | 2500.00 | Goswami Furniture House, Technical Construction Co.
56.00 | Supply of Chid wood planks of required size. | 100.00 | Cu.ft | 0.00 | 15.00 | 1500.00 | 1000.00 | 100000.00 | 1500.00 | 150000.00 | 1500.00 | Technical Construction Co.
57.00 | Supply of Heavy Duty Door Closer as per IS 3564 Size Type 3 for heavy steel door (Everite / Garnish / Godrej make). | 40.00 | Nos | 100.00 | 2000.00 | 80000.00 | 2100.00 | 84000.00 | 2400.00 | 96000.00 | 80000.00 | Technical Construction Co.
58.00 | Supply of Aluminum Metal false ceiling panel 84 mm wide x 12.5 mm deep make Luxalon / Supersil. | 100.00 | SqM | 53.00 | 2000.00 | 200000.00 | 1800.00 | 180000.00 | 2000.00 | 200000.00 | 180000.00 | ROYAL ENGINEERING SERVICES
59.00 | Supply of Floor spring Size approx 230X120X65mm (As per IS 6315) ISI marked with license no. | 10.00 | Nos | 10.00 | 1900.00 | 19000.00 | 2100.00 | 21000.00 | 2000.00 | 20000.00 | 19000.00 | Technical Construction Co.
60.00 | Supply of Floor spring Size approx 290X180X55mm (As per IS 6315) ISI marked with license no. | 10.00 | Nos | 11.00 | 2200.00 | 22000.00 | 2200.00 | 22000.00 | 2150.00 | 21500.00 | 21500.00 | Goswami Furniture House
61.00 | Supply of 6" Mortice lock with Stainless steel body and handle with complete fitting. | 20.00 | Nos | 10.00 | 600.00 | 12000.00 | 700.00 | 14000.00 | 790.00 | 15800.00 | 12000.00 | Technical Construction Co.
62.00 | Supply of 6" Mortice lock with Brass body and handle with complete fitting. | 20.00 | Nos | 22.00 | 1200.00 | 24000.00 | 1200.00 | 24000.00 | 1200.00 | 24000.00 | 24000.00 | Goswami Furniture House, Technical Construction Co., ROYAL ENGINEERING SERVICES
63.00 | Supply of Minimum 12 mm thick glass with Beveled edge of approved colour. | 20.00 | SqM | 0.00 | 2500.00 | 50000.00 | 2000.00 | 40000.00 | 2000.00 | 40000.00 | 40000.00 | Goswami Furniture House, ROYAL ENGINEERING SERVICES
64.00 | Supply of 4 mm thick commercial ply Size 8’x4’. | 50.00 | SqM | 1.00 | 450.00 | 22500.00 | 275.00 | 13750.00 | 350.00 | 17500.00 | 13750.00 | ROYAL ENGINEERING SERVICES
65.00 | Supply of wooden block board 18 mm thick. | 50.00 | SqM | 1.25 | 850.00 | 42500.00 | 850.00 | 42500.00 | 1000.00 | 50000.00 | 42500.00 | Technical Construction Co., ROYAL ENGINEERING SERVICES
66.00 | Supply of wooden block board 30 mm thick. | 50.00 | SqM | 0.00 | 1600.00 | 80000.00 | 1200.00 | 60000.00 | 1200.00 | 60000.00 | 60000.00 | Goswami Furniture House, ROYAL ENGINEERING SERVICES
67.00 | Supply of Wooden block board 35 mm thick. | 50.00 | SqM | 100.00 | 1950.00 | 97500.00 | 1450.00 | 72500.00 | 1400.00 | 70000.00 | 70000.00 | Goswami Furniture House
68.00 | Supply of 14" with 60 teeth wooden cutter blade. | 5.00 | Nos | 53.00 | 1200.00 | 6000.00 | 1500.00 | 7500.00 | 1500.00 | 7500.00 | 6000.00 | Technical Construction Co.
69.00 | Supply of 5" wooden cutter blade. | 30.00 | Nos | 10.00 | 250.00 | 7500.00 | 150.00 | 4500.00 | 180.00 | 5400.00 | 4500.00 | ROYAL ENGINEERING SERVICES
70.00 | Supply of 4" wooden cutter blade. | 30.00 | Nos | 11.00 | 200.00 | 6000.00 | 95.00 | 2850.00 | 180.00 | 5400.00 | 2850.00 | ROYAL ENGINEERING SERVICES
71.00 | Supply of 4" Iron cutter blade. | 50.00 | Nos | 11.00 | 40.00 | 2000.00 | 50.00 | 2500.00 | 50.00 | 2500.00 | 2000.00 | Technical Construction Co.
72.00 | Supply of 5" Iron cutter blade. | 50.00 | Nos | 10.00 | 200.00 | 10000.00 | 50.00 | 2500.00 | 56.00 | 2800.00 | 2500.00 | ROYAL ENGINEERING SERVICES
73.00 | Supply of 4" Stone cutter blade. | 25.00 | Nos | 22.00 | 150.00 | 3750.00 | 100.00 | 2500.00 | 190.00 | 4750.00 | 2500.00 | ROYAL ENGINEERING SERVICES
74.00 | Supply of floor door stopper with twin rubber & stopper | 200.00 | Nos | 0.00 | 110.00 | 22000.00 | 50.00 | 10000.00 | 70.00 | 14000.00 | 10000.00 | ROYAL ENGINEERING SERVICES
75.00 | Supply of frosted glass panes 4 mm thick of approved colour. | 50.00 | SqM | 1.00 | 900.00 | 45000.00 | 600.00 | 30000.00 | 550.00 | 27500.00 | 27500.00 | Goswami Furniture House
76.00 | Supply of Luxalon / Supersil aluminum Metal false ceiling panel of approved colour having panel of (Approx). size 593 x 593 mm externally measured with powder coated on external surface resting on edge profile. | 100.00 | SqM | 1.25 | 1750.00 | 175000.00 | 1500.00 | 150000.00 | 1600.00 | 160000.00 | 150000.00 | ROYAL ENGINEERING SERVICES
77.00 | Fevicol- SR 998 Synthetic Rubber Adhesive (Make Pidilite) (1 Liter Packing) | 40.00 | Kg | 100.00 | 450.00 | 18000.00 | 400.00 | 16000.00 | 400.00 | 16000.00 | 16000.00 | Goswami Furniture House, ROYAL ENGINEERING SERVICES
78.00 | Fevicol Marine (1 Liter Packing) | 40.00 | Kg | 100.00 | 350.00 | 14000.00 | 325.00 | 13000.00 | 340.00 | 13600.00 | 13000.00 | ROYAL ENGINEERING SERVICES
79.00 | Supply of sunfilm reflecting type as per required shade as per site requirement. | 50.00 | SqM | 100.00 | 100.00 | 5000.00 | 175.00 | 8750.00 | 190.00 | 9500.00 | 5000.00 | Technical Construction Co.
80.00 | Plain Acrylic Sheet 5mm thick, Size (8x4) feet. | 80.00 | Nos | 100.00 | 3400.00 | 272000.00 | 3500.00 | 280000.00 | 3700.00 | 296000.00 | 272000.00 | Technical Construction Co.
| Total in Figures |  |  |  |  | 14253700.00 |  | 12257725.00 |  | 12954925.00
Lowest Amount Quoted BY: ROYAL ENGINEERING SERVICES(12257725.00)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation and Furnishing work at various places at NAPS, Plant Site and Township, Narora. Tender ID: 2026_NPCIL_267181_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ROYAL ENGINEERING SERVICES (BID ID -995588) | 12257725.00 | L1
| 2 | Goswami Furniture House (BID ID -994573) | 12954925.00 | L2
| 3 | Technical Construction Co. (BID ID -995566) | 14253700.00 | L3