## BoQ1
Government eProcurement System Created By: R Thirumurugan Created Date/Time: 27-May-2026 10:17 AM Tender Title: Construction of School building with two class rooms Tender ID: 2026_NPCIL_267569_1
Tender Inviting Authority: DGM -C&MM (Works)
Name of Work: Construction of School building with two class rooms with Common Toilet ( Boys and Girls) for Manikuppam Panchayat Union Primary school under MAPS CSR Activities.
Contract No: MAPS/ C&MM (Works)/ CSR/ PUBLIC/ ET910/2025
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | G THANGAMANI (GSTN-NA) BID ID -997113 |  | K GANESH (GSTN-NA) BID ID -994793
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Civil Works
1.01 | Earth work in excavation by mechanical means (Hydraulic Excavator )/ manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan) including dressing of sides and ramming of bottoms, for all Lifts, including getting out the excavated soil and disposal of surplus excavated soil as directed, and Back filling available Excavated Earth Trench, Plinth ,Sides of Foundation Etc,. In layers not Exceeding 20cm in depth Consolidating each deposited Layer By Ramming and Watering , lead lead Upto 50 m for all lifts. For All kinds of soil as directed by Engineer in charge. | 272.00 | CuM | 553.65 | 670.00 | 182240.00 | 550.00 | 149600.00 | 149600.00 | K GANESH
1.02 | Providing and laying soling 150mm thick under floor with 150mm size hard granite soling stones including supplying, filling and packing voids with 40 to 75mm size hard granite metal and gravel bindage, watering, well rammed, compaction by power/hand roller etc., complete all as directed by Engineer-in-charge. | 250.00 | SqM | 2714.80 | 670.00 | 167500.00 | 500.00 | 125000.00 | 125000.00 | K GANESH
1.03 | Providing and laying plain cement concrete 1:3:6 using 20mm maximum size graded aggregates including mechanical mixing, transporting and placing in required position, ramming, compaction, taging , curing, shuttering, dewatering if any, complete all as per specification for taging courses in foundation for walls, footings, floor drains etc., encasing pipes and other required works directed by Engineer-in-Charge complete all as per specifications. | 30.00 | CuM | 8291.40 | 7900.00 | 237000.00 | 8500.00 | 255000.00 | 237000.00 | G THANGAMANI
1.04 | Providing and laying cast insitu controlled reinforced cement concrete of specified grade at all levels and lifts mentioned below using 20mm maximum size hard granite machine crushed graded stone aggregates including weigh batching, charges for mixing & cost of admixture, mechanical mixing, transporting and placing at all lifts, vibrating, consolidating, curing and finishing smooth of all exposed faces complete for column footings, columns, lintels, sunshades, gutter slabs, beams, slabs, water tank, machine foundation and all other structural elements including dewatering wherever necessary (Formwork and reinforcement will be paid for separately) all as per specification and all as shown in drawings and as directed by the Engineer-in-charge for all insitu item. Note: 1. The rate of concrete shall include all labour, equipment, charges for mixing & cost of admixture. Chemical admixture conforming to IS 9103 shall be mixed in fresh concrete and prior permission from Engineer-in-charge shall be obtained for dosage and compatibility 2. Test certificate of cement, procured from dealer/company to be submitted for all cement related works by the Contractor. 3. The rate shall be quoted on the basis of using minimum cement per cu.m. of concrete mentioned below for relevant grade of concrete. Any upward/ Downward variation required to obtain the specified strength will be paid for or deducted at the rate of Rs.8/Kg of cement . M30 grade with 350 kg. of Ordinary Portland Cement per cu.m. of concrete all works upto plinth level. | 50.00 | CuM | 11938.00 | 11400.00 | 570000.00 | 11500.00 | 575000.00 | 570000.00 | G THANGAMANI
1.05 | Providing and laying cast insitu controlled reinforced cement concrete of specified grade at all levels and lifts mentioned below using 20mm maximum size hard granite machine crushed graded stone aggregates including weigh batching, charges for mixing & cost of admixture, mechanical mixing, transporting and placing at all lifts, vibrating, consolidating, curing and finishing smooth of all exposed faces complete for column footings, columns, lintels, sunshades, gutter slabs, beams, slabs, water tank, machine foundation and all other structural elements including dewatering wherever necessary (Formwork and reinforcement will be paid for separately) all as per specification and all as shown in drawings and as directed by the Engineer-in-charge for all insitu item. Note: 1. The rate of concrete shall include all labour, equipment, charges for mixing & cost of admixture. Chemical admixture conforming to IS 9103 shall be mixed in fresh concrete and prior permission from Engineer-in-charge shall be obtained for dosage and compatibility 2. Test certificate of cement, procured from dealer/company to be submitted for all cement related works by the Contractor. 3. The rate shall be quoted on the basis of using minimum cement per cu.m. of concrete mentioned below for relevant grade of concrete. Any upward/ Downward variation required to obtain the specified strength will be paid for or deducted at the rate of Rs.8/Kg of cement . M30 grade with 350 kg. of Ordinary Portland Cement per cu.m. of concrete all works Above plinth level. | 55.00 | CuM | 12293.65 | 12400.00 | 682000.00 | 12000.00 | 660000.00 | 660000.00 | K GANESH
1.06 | Providing, straightening, decoiling wherever necessary bending, cutting, binding and fixing in position steel reinforcement TMT bars of Fe500D grade steel conforming to IS:1786 ‘SAIL or VIZAG or approved equivalent make’ and tying with approved annealed binding wire of 1.6mm dia in all reinforced cement concrete work at all lifts, including cost of supplying and fixing the spacer/cover blocks in cement mortar 1:2 and binding wire complete all as per specification and as directed by Engineer-in-Charge at all lifts.Note: The rate shall be including the cost of reinforcement steel. The reinforcement steel will be procured from dealers with a test certificate as approved by the department. | 11.00 | MT | 1008.60 | 127000.00 | 1397000.00 | 120000.00 | 1320000.00 | 1320000.00 | K GANESH
1.07 | Supplying, fabricating, erecting and fixing in position at all levels, centering and shuttering to correct line and levels including strutting, propping, etc., with necessary bracings in all axes to give a stable assembly with provision for making the joints in the shuttering fully leak proof and with provision for fixing coil nuts with tie rods along with suitable channel for lateral supports and for inserts, projecting dowels, anchor bolts or any other fixture, including staging, access and working platforms etc., all complete as specified and directed as per Enginner-in-charge including dismantling and removing the aforesaid assembly after the concrete attains the sufficient strength to self-support itself without cracking and distortion all as per specification, including all materials and labour complete in all respects at all lifts. (The measurement for the formwork will be the actual area of forms in contact with concrete surfaces.)shuttering with plywod panels alone will be permitted | 671.00 | SqM | 1068.90 | 820.00 | 550220.00 | 900.00 | 603900.00 | 550220.00 | G THANGAMANI
1.08 | Providing and constructing brick masonry at all lifts using well burnt stock bricks in cement mortar 1:5 including suitable scaffolding, raking out joints, curing complete as per specifications and drawings for foundation, superstructure, etc. for the following floors as directed by Engineer-in-Charge. | 71.00 | CuM | 116401.85 | 11400.00 | 809400.00 | 12500.00 | 887500.00 | 809400.00 | G THANGAMANI
1.09 | Providing and constructing at all floors and lifts 115mm thick brick work in cement mortar 1:4 using well burnt bricks including placing in position 2 nos of 8mm dia rods at every 3rd layer, scaffolding, curing, racking out the joint on both faces etc. complete as per specification and as directed by the Engineer-in-Charge.The quoted rate for the above shall be inclusive of 2 nos of 8mm dia rods at every 3rd layer | 35.00 | SqM | 114804.00 | 1640.00 | 57400.00 | 1800.00 | 63000.00 | 57400.00 | G THANGAMANI
1.10 | Providing plastering to the internal surfaces of brickwork/concrete at all elevations in cement mortar 1:5, 12mm thick including hacking of concrete surfaces with pointed tool, scaffolding, finishing, curing, forming grooves wherever necessary, all as per specifications. | 430.00 | SqM | 1023.65 | 620.00 | 266600.00 | 450.00 | 193500.00 | 193500.00 | K GANESH
1.11 | Providing plastering to the external surfaces of brickwork/concrete at all elevations in cement mortar 1:5, 20mm thick in two coats including hacking of concrete surfaces with pointed tool, scaffolding, finishing, curing, forming grooves wherever necessary, all as directed by the Engineer-in-Charge per specifications. | 405.00 | SqM | 2604.55 | 670.00 | 271350.00 | 600.00 | 243000.00 | 243000.00 | K GANESH
1.12 | Providing and fixing VITRIFIED Double charged floor tiles in different sizes with water absorption less that 0.08% and confirming to IS 15622 of Marbonite or approved make in all colours and shades in Glossy or Matt or satin finish (as required by Engineer-in-charge) laid over a bed of minimum 20mm thick bed of cement mortar 1:4 (in skirting, risers of steps and dados over 12mm thick bed of cement mortar 1:3) including machine/hand cutting to required size & shape, grouting the joints with white cement mixed with coloring pigment to match colour of tile patterns, curing, cleaning the surface neatly at the time of handing over the area complete all as per drawings and specifications. Note: The sample tile shall be got approved by the Architect/Engineer before procurement. In flooring, tile size of 600x600mm fixing with 20mm thick bedding in cement mortar 1:4 | 155.00 | SqM | 244.85 | 1900.00 | 294500.00 | 2300.00 | 356500.00 | 294500.00 | G THANGAMANI
1.13 | Providing and fixing 1st quality ceramic glazed floor/wall tiles confirming to IS 15622 of approved make in approved size, shade and colour (as approved by Engineer-in-charge), free from cracks, fissures & flakes with straight edges & perfect corners fixed at right angles as per design and pattern required over a bed of 20mm thick bed of cement mortar 1:4 (in skirting, risers of steps and dados over 12mm thick bed of cement mortar 1:3), including machine / hand cutting to required size and shape, pointed neatly with white cement mixed with coloring pigment to match colour of tile, properly finished in all respects, curing, cleaning the surface neatly at the time of handing over the area, all materials and labour complete. In flooring fixing with 20mm thick bedding in cement mortar 1:4 Note: The sample tile shall be got approved by the Architect/Engineer before procurement. | 23.00 | SqM | 12800.70 | 1700.00 | 39100.00 | 1400.00 | 32200.00 | 32200.00 | K GANESH
1.14 | Providing and Fixing 1st quality ceramic Glazed wall Tiles conforming IS:15622 (thickness to be specified by the manufacturer) with water absorption less than 0.08% of approved make in all colours,Shades except burgundy,bottle green,black of any sizeas approved by Engineer-in-Charge in skirtin,risers of stepsand dados, over 12mm thick bed of cement mortor 1:3(1 cement: 3 coarse sand) jointing with grey Cement slurry @ 3.3Kg/Sqm Including Pointing with white Cement mixed with Matching pigment shade etc.., Complete. Ceramic tile flooring - Anti skid | 93.00 | SqM | 625.95 | 1700.00 | 158100.00 | 1700.00 | 158100.00 | 158100.00 | K GANESH, G THANGAMANI
1.15 | Providing and fixing Chequerred Precast Cement Concrete Tiles 22mm thick in footh path & courtyard, jointed with neat cement sulrry mixed with pigment to match the Shade of tiles. Including rubbing and cleaning etc.complete on 20mm thick bed of cement mortor 1:4(1 cement: 4 coarse sand), setting the tiles in cement slurry including pointing the joints with white cement with matching colour pigments, curing and cleaning the external face of tiles by water sponging complete all as per specification and as directed by the Engineer-in-Charge. | 35.00 | SqM | 12400.00 | 1600.00 | 56000.00 | 1900.00 | 66500.00 | 56000.00 | G THANGAMANI
1.16 | Providing and fixing for Kadappa stones slabs of 15 to 20mm thick for cupboards etc,. including labour, materials and all as per specifications and as directed by the Engineer-in-Charge. | 16.00 | SqM | 2714.80 | 1470.00 | 23520.00 | 1300.00 | 20800.00 | 20800.00 | K GANESH
1.17 | Providing and applying painting Two coats at all levels with premium Plastic emulsion paint (Asian - Tractor shine or Equivalent approved brand, colour and manufacturer) to give an even shade including one under coat of cement primer, applying putty to make plain and smooth surface, preparation of the surfaces, scaffolding complete all as per specifications and as directed by the Engineer-in-Charge.. | 453.00 | SqM | 8291.40 | 140.00 | 63420.00 | 260.00 | 117780.00 | 63420.00 | G THANGAMANI
1.18 | Providing and applying painting Two coats at all levels with Acrylic emulsion paint (Asian - Apex or Equivalent approved brand, colour and manufacturer) to give an even shade including one under coat of suitable primer, preparation of the surfaces, scaffolding complete all as per specifications and as directed by the Engineer-in-Charge. | 405.00 | SqM | 11938.00 | 120.00 | 48600.00 | 280.00 | 113400.00 | 48600.00 | G THANGAMANI
1.19 | Providing and applying painting Two coats at all levels with premium Synthetic Enamel paint (Asian or Equivalent approved brand, colour and manufacturer) to give an even shade including one under coat of suitable primer, applying putty, preparation of the surfaces, scaffolding complete all as per specifications and as directed by the Engineer-in-Charge. | 50.00 | SqM | 12293.65 | 120.00 | 6000.00 | 190.00 | 9500.00 | 6000.00 | G THANGAMANI
1.20 | Supply and fixing of Green chalk Writing Board of approved size of make schoolneeds or Corporate Concepts or Alkosign made from high quality hard dry wipe Green chalk laminate over 10mm thick MDF board framed with 25mm thick double sided curved heavy anodized aluminum sections and Chromium plated plastic corners including backed with PVC sheet, providing concealed clamps at the back side for wall mounting, providing and fixing of chalk tray at bottom side, etc., complete. | 9.00 | SqM | 1008.60 | 4400.00 | 39600.00 | 5000.00 | 45000.00 | 39600.00 | G THANGAMANI
1.21 | Providing and laying pressed flat clay tiles 230 x 230mm size and 16mm thick tiles on roof slab jointed with cement mortar 1:3 (1 cement : 3 coarse sand) mixed with 2% integral waterproofing compound laid over a bed of 20mm thick cement mortar 1:3 and finished neat complete all as per specifications and as directed by the Engineer-in-Charge. | 187.00 | SqM | 1068.90 | 1400.00 | 261800.00 | 1100.00 | 205700.00 | 205700.00 | K GANESH
1.22 | Providing, supplying, cutting, bending to shape, welding, fabricating, hoisting, placing and fixing in position structural steel members like MS structural embedment’s/pipe and sleeves/penetration etc. using MS angles, channels, I-sections, plates, tees, flats, rounds, square sections etc. including chamfering and rounding off the edges, applying a coat of Red lead paint primer / Zinc chromate primer of approved make and 2 coats of flat oil paint / synthetic enamel paint of approved colour and make, scaffolding and staging required for fabrication as well as erection complete all as per specifications, drawings and as directed by the Engineer-in-charge. Note: Lifting device arrangements if any required Shall also be arranged by the contractor at his own cost. | 3.30 | MT | 116401.85 | 167000.00 | 551100.00 | 140000.00 | 462000.00 | 462000.00 | K GANESH
1.23 | Supplying and fixing UPVC (Un-Plasticized Polyvinyl Chloride) Louvered Ventilators of from the profile the size of outer frame 60mm x 58mm and shutter profile size of 60 x 78mm both profiles are reinforced with GI/1mm 125GSM and 100% corrosion free, the profile are multi chambered sections with wall thick of 2mm. The EPDM rubber (black colour) covered with all over the edges of frame and shutter. The corners and joints should be welded and cleaned. Radiations pin headed glass 4mm thick should be provided in the louvers. The window should be fixed to the wall with 100% packing with screws and silicon packing all round the frames. The ventilator should be got approved from the Engineer in charge before use on work. | 4.00 | SqM | 114804.00 | 8900.00 | 35600.00 | 9500.00 | 38000.00 | 35600.00 | G THANGAMANI
1.24 | Supply and fixing of factory made solid PVC foam door frame of approved make with suitable rebate for shutters (Profile FP-6030) including the joints shall be miltred & joined with self driven self tapping screws of size 38mm x 4mm and made by SP 5 epoxy seal and fevikwik / solvent, fixing the frame to wall with suitable dia. & length anchor fastener, etc all comlplete as per manufacture specifications and as directed by the Engineer - in - charge. | 26.00 | RM | 1023.65 | 770.00 | 20020.00 | 650.00 | 16900.00 | 16900.00 | K GANESH
1.25 | Supplying and fixing in position 30mm thick single leaf / double leaves of non decorative type factory made Wood Polimer Composite (WPC) Solid door shutters of approved make having density of 600-800 Kg/CuM, Water absorption less than 1% and tensile strength greater than 12MPa including providing aluminium lipping / Teak wood all-round if required, Fixing the lipping with suitable adhesive, fixing required hardware fittings, fixing door using required screws, Hinges, D Handle, Baby latch etc, all complete as per specifications and as directed by Engineer-in-charge. | 9.00 | SqM | 2604.55 | 6900.00 | 62100.00 | 5500.00 | 49500.00 | 49500.00 | K GANESH
1.26 | Providing and fixing PVC rain water downtake pipes conforming to IS:13592 Type A and PVC SWR Fittings & specials confirming to IS:14735, ‘Finolex’ or other approved equivalent make of pipes, fittings & specials including jointing with seal ring / with PVC solvent adhesive including fixing in walls/columns using clamps, anchor fasteners, bolts and teakwood packing pieces, joint testing etc complete all as per drawings, specifications and as directed by the Engineer-in-Charge. PVC SWR Rain water pipe 110mm outer dia | 18.00 | RM | 244.85 | 620.00 | 11160.00 | 500.00 | 9000.00 | 9000.00 | K GANESH
1.27 | Providing and fixing Un-Plasticized Polyvinyl Chloride (UPVC) pipes, having thermal stability for hot & cold water supply including all UPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step UPVC solvent cement, trenching, refilling and testing of joints complete as per direction of Engineer in Charge. 25mm Nominal dia Pipe For External work | 35.00 | RM | 12800.70 | 690.00 | 24150.00 | 450.00 | 15750.00 | 15750.00 | K GANESH
1.28 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing.This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. 25mm Nominal dia Pipe Exposed on wall. | 30.00 | RM | 625.95 | 470.00 | 14100.00 | 750.00 | 22500.00 | 14100.00 | G THANGAMANI
1.29 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings i/c fixing the pipe with clamps at 1.00 m spacing.This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling and the costy of cutting chases and making good the same inculding testing of joints complete as per direction of Engineer in Charge. 20mm Nominal dia Pipe for Consealed work, including chases and making good the wall etc. | 39.00 | RM | 12400.00 | 370.00 | 14430.00 | 820.00 | 31980.00 | 14430.00 | G THANGAMANI
1.30 | Providing and fixing the of UPVC ball valves used for commercial applications operate and designed to handle higher water pressure etc., complete all as per specification and as directed by the Engineer-in-Charge. 25mm nominal bore. | 5.00 | Nos | 2714.80 | 540.00 | 2700.00 | 400.00 | 2000.00 | 2000.00 | K GANESH
1.31 | Providing and fixing Heavy Quality C.P. brass 15mm dia long body Bib cock of "Parryware or approved equivalent make as per specifications and as directed by the Engineer-in-Charge. (Samples to be got approved by the Engineer-in-Charge) | 11.00 | Nos | 8291.40 | 1700.00 | 18700.00 | 1250.00 | 13750.00 | 13750.00 | K GANESH
1.32 | Providing and fixing / embedding white vitreous Indian water closet Orissa pattern W.C. pan of size 580 x 440mm with integral type footrest of 'Parryware C 0117 or equivalent approved make", Including 100 mm sand cast iron P or S trap, 10 litre low level white P.V.C flushing cistern, including flush pipe, with manually controlled device (Handle lever) conforming to IS:7231, with all fittings and fixtures complete,including cutting and making good the walls and floors wherever required complete all as per specifications and as directed by the Engineer-in-Charge. | 3.00 | Nos | 11938.00 | 6900.00 | 20700.00 | 8000.00 | 24000.00 | 20700.00 | G THANGAMANI
1.33 | Providing and fixing white vitreous China pedastal type water closet ( European type W.C.Pan) of (Parryware Model No:C0220 or Equivalent make) with seat and liq 10 litre low level white P.V.C flushing cistern,including flush Pipe,with manually controlled device (handle lever),conforming to IS:7231, with all fittings and fixtures complete,including cutting and marking good the walls and floors whatever requiredcomplete all as per specifications and as directed by the Engineer-in-Charge. | 2.00 | Nos | 12293.65 | 8900.00 | 17800.00 | 9500.00 | 19000.00 | 17800.00 | G THANGAMANI
1.34 | Providing and fixing Parryware New Magnum E8113 or equivalent model white vitreous China flat urinal basin with C.P brass spreaders with CP Brass angle cock complete,including painting of fittings and brackets, cutting and making good the walls and floors wherver required, all as per specifications and as directed by the Engineer-in-Charge. | 3.00 | Nos | 1008.60 | 13400.00 | 40200.00 | 9500.00 | 28500.00 | 28500.00 | K GANESH
1.35 | Providing and fixing Heavy Quality 15mm nominal bore C.P. Brass Angle cock of Parryware or approved equivalent make for wash basin inlet / flush cistern etc. as per specifications and as directed by the Engineer-in-Charge (Samples to be got approved by the Engineer-in-Charge) | 5.00 | Nos | 1068.90 | 1600.00 | 8000.00 | 1050.00 | 5250.00 | 5250.00 | K GANESH
1.36 | Providing and fixing Heavy Quality C.P Brass Health Faucet with 1.50metres flexible hose (Hand Shower) of Parryware brand complete all as per specifications and as directed by the Engineer-in-Charge (Samples to be got approved by the Engineer-in-Charge) | 5.00 | Nos | 116401.85 | 1700.00 | 8500.00 | 1200.00 | 6000.00 | 6000.00 | K GANESH
1.37 | Providing and fixing Viterious China white wash basin size 550x400mm/550x420mm ( PARRYWARE) with C.I. brackets, 15mm C.P. brass pillar taps of Parryware or approved equivalent make, 15mm x 600mm long PVC Inlet connection, 32mm Heavy quality C.P. brass waste coupling of standard pattern 32mm dia 'B' Class GI Waste Pipe 15mm dia GM Wheel Valve, 15mm dia Nylon Connection, 15mm dia rass Nipples , including painting of fittings and brackets, cutting and making good the walls and testing complete all as per specifications and as directed by the Engineer-in-Charge. | 3.00 | Nos | 114804.00 | 7900.00 | 23700.00 | 5200.00 | 15600.00 | 15600.00 | K GANESH
1.38 | Providing and fixing PVC Nahani Trap / Floor Trap of 100mm inlet and 75mm outlet, jointing with the connection pipes, placing as per the drawings, including embedding in cement concrete 1:2: 4 and fixing 1 No 125mm dia PVC Brass Grating , complete all as specifications and drawings and as directed by the Engineer-in-Charge. | 5.00 | Nos | 1023.65 | 470.00 | 2350.00 | 370.00 | 1850.00 | 1850.00 | K GANESH
1.39 | Providing and laying the following sizes PVC water supply line with 'Finolex / Varun / Truebore' or approved equivalent make PVC pipes suitable for 6 kg/sq.cm pressure and specials confirming & marked to to IS:4985 including jointing with PVC jointing compound, laying and fixing the pipes in the excavated trenches, cost of all types of specials such as tees, reduces, coupler, reducing bushes, threaded adaptor, elbow, tail pieces, caps etc., and testing the line as directed by the Engineer-in-Charge. 50mm outer dia PVC pipe | 20.00 | RM | 2604.55 | 340.00 | 6800.00 | 200.00 | 4000.00 | 4000.00 | K GANESH
1.40 | Providing and laying the following sizes PVC pipe line with 'Finolex / Varun / Truebore' or approved equivalent make PVC pipes suitable for 6 kg/sq.cm pressure and specials confirming & IS marked including jointing with PVC jointing compound, laying and fixing the pipes in the excavated trenches, cost of all types of specials such as tees, reduces, coupler, reducing bushes, threaded adaptor, elbow, tail pieces, caps etc., and as directed by the Engineer-in-Charge. 75mm outer dia PVC pipe | 20.00 | RM | 244.85 | 540.00 | 10800.00 | 300.00 | 6000.00 | 6000.00 | K GANESH
1.41 | Providing and laying the following sizes PVC pipe line with 'Finolex / Varun / Truebore' or approved equivalent make PVC pipes suitable for 6 kg/sq.cm pressure and specials confirming & IS marked including jointing with PVC jointing compound, laying and fixing the pipes in the excavated trenches, cost of all types of specials such as tees, reduces, coupler, reducing bushes, threaded adaptor, elbow, tail pieces, caps etc., and as directed by the Engineer-in-Charge. 110mm outer dia PVC pipe | 12.00 | RM | 12800.70 | 690.00 | 8280.00 | 500.00 | 6000.00 | 6000.00 | K GANESH
1.42 | Providing, hoisting and installing at required elevation moulded HDPE cylindrical vertical water storage tanks conformimg to IS:12701 make of the following capacities with suitable S. M. C Cover at top including the cost of labour for making hole in the storage tank for inlet, outlet, scour and overflow, providing and fixing necessary G.I Nipples ranging from 15mm to 50mm n.b of average 150mm length with double check nuts, washers etc. complete all as directed by the Engineer-in-Charge. HDPE Cylindrical Vertical Storage Water Tank 1000 Litre Capacity | 2.00 | Nos | 625.95 | 11900.00 | 23800.00 | 16000.00 | 32000.00 | 23800.00 | G THANGAMANI
1.43 | Hiring charges for Deployment of One JCB including fuel and driver wages, etc for miscellenous excavation, dismatling, breaking, levellig, Jungle clearing etc,. all as per specification and as directed by Engineer-in charge. | 10.00 | Per Hour | 12400.00 | 2400.00 | 24000.00 | 1450.00 | 14500.00 | 14500.00 | K GANESH
1.44 | Providing and Fixing 18mm thick Jet black or approved make Granite inaugural plaque with granite stone engraved with artistic letters and golden colour painting for lettering, including cost of labour and material for fixing on a wall all as per specifications and as directed by the Engineer-in-Charge. | 1.60 | SqM | 2714.80 | 8900.00 | 14240.00 | 18000.00 | 28800.00 | 14240.00 | G THANGAMANI
1.45 | Painting of all size of letters, artistic painting of different colours/designs/patterns over board with Enamel Paint including scaffolding erection, surface preparation, Applying putty and back round painting (walls, steel plates, banners etc.)., the rate including cost of labour,material, bursh, , complete to maximum height of 5 meters, all as per specifications and as directed by the Engineer-in-Charge. | 9.00 | SqM | 8291.40 | 2400.00 | 21600.00 | 2200.00 | 19800.00 | 19800.00 | K GANESH
1.46 | Supplying and filling the selected earth (Including royalty) from outside including excavation from borrow pits if any required, filling in layer of not more than 200mm thick, each layer well rammed and consolidated by mechanical roller including water consolidation etc., levelling, dressing the top surface to the required level, complying with standard specification and as directed by the Engineer-in-charge. | 55.00 | CuM | 11938.00 | 1190.00 | 65450.00 | 1400.00 | 77000.00 | 65450.00 | G THANGAMANI
2.00 | Electrical Works
2.01 | Supply and installation of 1 inch PVC conduit 2mm thick with ISI mark for concealed wiring. Make: Modi / Precision | 225.00 | RM | 12293.65 | 97.00 | 21825.00 | 90.00 | 20250.00 | 20250.00 | K GANESH
2.02 | Supply and installation of 1" PVC Conduit 2mm thick with ISI mark bend/coupling. Make:Modi/Precision | 115.00 | Nos | 1008.60 | 57.00 | 6555.00 | 26.00 | 2990.00 | 2990.00 | K GANESH
2.03 | Supply and installation of Heavy Duty PVC/metal Fan Box with ISI mark | 10.00 | Nos | 1068.90 | 440.00 | 4400.00 | 210.00 | 2100.00 | 2100.00 | K GANESH
2.04 | Supply and installation of 1way to 4 way 1" PVC heavyduty deep and wall junction box for concealed wiring. Make:Modi/Precision | 70.00 | Nos | 116401.85 | 120.00 | 8400.00 | 50.00 | 3500.00 | 3500.00 | K GANESH
2.05 | Supply and installation of 6M GI box with cover plate for fixing modular switch. Make:L&T/Legrand/Anchor | 2.00 | Nos | 114804.00 | 470.00 | 940.00 | 400.00 | 800.00 | 800.00 | K GANESH
2.06 | Supply and installation of 8M GI box with cover plate for fixing modular switch. Make:L&T/Legrand/Anchor | 2.00 | Nos | 8291.40 | 570.00 | 1140.00 | 500.00 | 1000.00 | 1000.00 | K GANESH
2.07 | Supply and installation of 12M GI box with cover plate for fixing modular switch. Make:L&T/Legrand/Anchor | 2.00 | Nos | 11938.00 | 720.00 | 1440.00 | 775.00 | 1550.00 | 1440.00 | G THANGAMANI
2.08 | Supply and installation of 12" x 8" GI box for wire pulling with suitable sizes of links and hylum /modular sheet. Make:L&T/Legrand/Anchor | 7.00 | Nos | 12293.65 | 890.00 | 6230.00 | 625.00 | 4375.00 | 4375.00 | K GANESH
2.09 | Supply and installation of ceiling rose with PVC dummy sheet. Make:Anchor/Colors/Fybros | 28.00 | Nos | 1008.60 | 120.00 | 3360.00 | 80.00 | 2240.00 | 2240.00 | K GANESH
2.10 | Supply and installation of 4feet 24W to 30W 230V AC, LED tube light with suitable light fixing frame. Make:CG/Philips/Suriya/Bajaj | 26.00 | Nos | 1068.90 | 520.00 | 13520.00 | 350.00 | 9100.00 | 9100.00 | K GANESH
2.11 | Supply and Installation of 12 Inches Electric gong bell including 1no. 6A/10A bell push switch with 2M GI metal box with cover plate. Make:Edison/Navkar/Swaggers | 1.00 | Nos | 116401.85 | 5900.00 | 5900.00 | 3900.00 | 3900.00 | 3900.00 | K GANESH
2.12 | Supply and installation of High speed/Heavy duty Ceiling fan, complete with 600mm down rod, safety (hanging) rope, canopies, shackles and blades working on 230/240V single phase A/c (1200mm sweep, 370 to 425 rpm). Make: Usha/Almonard/CG/Bajaj/Havells/Polar/Orient. | 10.00 | Nos | 114804.00 | 3700.00 | 37000.00 | 3200.00 | 32000.00 | 32000.00 | K GANESH
2.13 | Supply and installation of 12" Heavy duty Exhaust fan with ISI. Make:Bajaj/Usha/Havells/Polar/CG | 2.00 | Nos | 1023.65 | 4400.00 | 8800.00 | 3600.00 | 7200.00 | 7200.00 | K GANESH
2.14 | Supply and installation of 20W to 25W LED 230V AC Ceiling/ Surface monted fitting. Make:CG/Philips/Suriya/Bajaj/Havells | 5.00 | Nos | 2604.55 | 2400.00 | 12000.00 | 1300.00 | 6500.00 | 6500.00 | K GANESH
2.15 | Supply and installation of 6A/10A modular switch. Make:Anchor Roma/Crabtree | 37.00 | Nos | 244.85 | 70.00 | 2590.00 | 90.00 | 3330.00 | 2590.00 | G THANGAMANI
2.16 | Supply and installation of 6A/10A modular socket 3pin. Make:Anchor Roma/Crabtree | 6.00 | Nos | 12800.70 | 220.00 | 1320.00 | 170.00 | 1020.00 | 1020.00 | K GANESH
2.17 | Supply and installation of 60W to 100W LED Street light with suitable length of GI pipe. Make:CG/Philips/Suriya/Bajaj/Havells | 4.00 | Nos | 625.95 | 8900.00 | 35600.00 | 3000.00 | 12000.00 | 12000.00 | K GANESH
2.18 | Supply and installation of SPN 6 way Double door DB. Make: L&T/Legrand | 2.00 | Nos | 12400.00 | 12000.00 | 24000.00 | 2000.00 | 4000.00 | 4000.00 | K GANESH
2.19 | Supply and installation of 2 pole 25Amps, 30mA ELCB/RCCB Make: L&T/legrand | 2.00 | Nos | 114804.00 | 7700.00 | 15400.00 | 2400.00 | 4800.00 | 4800.00 | K GANESH
2.20 | Supply and installation of 1 pole MCB 10A/16A/20A Make:L&T/Legrand | 7.00 | Nos | 1023.65 | 240.00 | 1680.00 | 250.00 | 1750.00 | 1680.00 | G THANGAMANI
2.21 | Supply and laying of 2.5sq.mm single core multistrand FR/FRLS/FR-LSH copper wire. Make: Finolex/Havells/Zflex/Orbit/Mescab | 1290.00 | RM | 2604.55 | 114.00 | 147060.00 | 50.00 | 64500.00 | 64500.00 | K GANESH
2.22 | Supply and laying of 6 sq.mm single core multistrand FR/FRLS/FR-LSH Aluminium wire. Make: Finolex/Havels/RR Kabel/Orbit | 120.00 | RM | 244.85 | 190.00 | 22800.00 | 70.00 | 8400.00 | 8400.00 | K GANESH
2.23 | Supply and laying of 10Sq.mm 3-core FR/FRLS/FR-LSH Aluminium armoured cable including earth excavation, brick lining and back filling the soil to its original ground level. Make: Finolex/Havells /RR Kabel/KEI/Orbit | 180.00 | RM | 244.85 | 970.00 | 174600.00 | 550.00 | 99000.00 | 99000.00 | K GANESH
2.24 | Supply and installation of 3 meter length (10 Feet) of Earth electrode including the construction of 2 ft x 2 ft Earth Chamber with precast concrete lid | 2.00 | Nos | 12800.70 | 16000.00 | 32000.00 | 11000.00 | 22000.00 | 22000.00 | K GANESH
2.25 | Supply and installation of 2run 8 SWG Solid copper wire for earthing. | 40.00 | RM | 114804.00 | 640.00 | 25600.00 | 250.00 | 10000.00 | 10000.00 | K GANESH
2.26 | Supply and installation of Material required for TNEB connection as per Tamil Nadu Govt. current norms (Three Phase) meter box | 1.00 | Nos | 1023.65 | 24000.00 | 24000.00 | 13000.00 | 13000.00 | 13000.00 | K GANESH
| Total in Figures |  |  |  |  | 7869790.00 |  | 7491965.00
Lowest Amount Quoted BY: K GANESH(7491965.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of School building with two class rooms Tender ID: 2026_NPCIL_267569_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | K GANESH (BID ID -994793) | 7491965.00 | L1
| 2 | G THANGAMANI (BID ID -997113) | 7869790.00 | L2