## BoQ1
Government eProcurement System Created By: Devi shanker Verma Created Date/Time: 16-May-2026 12:28 PM Tender Title: Modification and Up-gradation of Existing Executive Canteen, Peer Review Conference Hall, and Administrative Building Rooms including New Meeting Room at RAPS# 5 and 6. Tender ID: 2026_NPCIL_268476_1
Tender Inviting Authority: Senior Maintenance Engineer (E), RAPP-5&6
Name of Work: Modification and Up-gradation of Existing Executive Canteen, Peer Review Conference Hall, and Administrative Building Rooms including New Meeting Room at RAPS# 5&6.
Contract No: NPC/RRS/56/2026/CPT-B2953
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | BINDAL FABRICATION (GSTN-NA) BID ID -994646
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chow hats, architrave, holdfasts etc. complete and stacking within 50 meters lead. | 50.00 | Each | 1.25 | 729.00 | 36450.00 | 36450.00 | BINDAL FABRICATION
2.00 | Dismantling Stone Slab Flooring laid in Cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 Metres lead as per direction of engineer in charge. | 250.00 | sqm | 0.00 | 360.00 | 90000.00 | 90000.00 | BINDAL FABRICATION
3.00 | Supply and Installation of factory made 52.4 mm thick panel base partition system made up of interlocking aluminium sections duly powder coated as per approved colour 50-60 microns minimum of make Godrej & Boyce Mfg. Ltd. / Durain Industries limited / Pyrotech work space Solutions private limited / Rockworth / Methodex systems Private limited. The infill is made up of wooden/particle board battens finished with 8mm thick, Prelaminated particle board /fabric pinup board/fabric magnetic board/ white board. The partition system will have 1350 mm height. Data raceway with aluminium cover end cap of system will be made up of aluminim die casting with matching powder coating. | 80.00 | sqm | 100.00 | 15000.00 | 1200000.00 | 1200000.00 | BINDAL FABRICATION
4.00 | Providing and fixing colour anodized aluminium work for doors, windows, ventilators and partitions as per the material, fabrication and dimensional specifications/ requirement of IS: 1948 from aluminum alloy extruded sections, tubular / appropriate Z and or other sections of approved make conforming to grade HE9-WP of IS : 733 and HV9-WP of IS: 1285, fixed with raw plugs and screws or with fixing clips, or with expansion hold fasteners including necessary filling up of gaps at junctions, at top, bottom and sides with required neoprene felt and silicon whether sealant etc. And Providing and fixing 12mm thick prelaminated particle board conforming to IS: 12823 Grade I Type II, with decorative lamination on one side and balancing lamination on the other, for paneling fixed in the aluminium frames, Aluminium sections shall be smooth, rust free, straight, mitered and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling. C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. : For shutters of doors, windows & ventilators including providing and fixing approved ss hinges/ pivots/ rollers suitable for sliding / openable window and providing and fixing approved fittings i.e. two handle with locking arrangement for each sliding window shutter and one handle as well as two tower bolt for each glass / jali shutter with provisions of one gate hook for each glass shutter for openable window wherever required as approved including the cost of neoprene gasket all complete: colored anodized coated aluminium (thickness of anodized coating 15 micron). The finished arrangement shall be fully water tight. Note : 1. Payment of Glazing / SS wire mesh to be paid in relevant item in line with their specifications. 2. Cost of SS hinges / pivot /rollers/ Particle Board are to be included in the quoted rate and no payment shall be made for providing and fixing the same. | 200.00 | kg | 53.00 | 810.00 | 162000.00 | 162000.00 | BINDAL FABRICATION
5.00 | Providing and fixing 12 mm thick frameless toughened glass door shutter of approved brand and manufacture, including providing and fixing top & bottom pivot & double acting hydraulic floor spring type fixing arrangement and making necessary holes etc. for fixing required door fittings, all complete as per direction of Engineer-in-charge (Door handle, lock and stopper etc.to be paid separately). | 20.00 | Sqm | 10.00 | 9800.00 | 196000.00 | 196000.00 | BINDAL FABRICATION
6.00 | Providing and fixing factory made 30 mm thick both side laminated flush door shutters single leaf conforming to IS ; 2202(part-1) of make KITPLY/ GREENLAM / CENTURY as approved by EIC with Block board core & frame of well seasoned hard wood, cross band made from BWP grade veneers and commercial BWP grade face veneers/MICA on both sides of shutter including providing and fixing 2nd class teak wood leaping of suitable size and shape all around the edges including supply and fixing of approved brand stainless steel fixtures like Tower bolt (size-250mm long rod size 12mm), Tadi latch (300mm long rod size 14mm), Aldrop (300X16mm), Handles plate type - 100mm size (size shall be confirming to IS:208) - 02 nos, Magnetic Cather etc. with approved quality judas eye, safety chain etc. complete as per drawings, specifications and direction of Engineer. (Door skin shall be 1.0 mm thick on front face and 0.8mm thick on back face with the provision of edge bending of decorative high pressure laminated sheet of plain/wood grain in gloss/ matt/ suede finish with high density protective surface layer of make KITPLY/GREENLAM/CENTURY as approved by EIC). Note - actual area of shutter will be paid. | 5.00 | Each | 11.00 | 10200.00 | 51000.00 | 51000.00 | BINDAL FABRICATION
7.00 | Providing and fixing 30mm thick factory made pre-laminated PVC door shutter of approved make and design consisting of frame made out of M.S. tubes of 19 gauge thickness and size of 19 mm x 19 mm for styles and 15x15 mm for top & bottom rails. M.S. frame shall have a coat of steel primers of approved make. M.S. frame covered with 5 mm thick heat molded PVC 'C' channel of size 30 mm thickness, 95 mm width out of which 75 mm shall be flat and 20 mm shall be tapered in 45 degree angle on both side forming styles and 5 mm thick, 115 mm wide PVC sheet out of which 95 mm shall be flat and 20 mm shall be tapered in 45 degree on the inner side to form top and bottom rail and 140 mm wide PVC sheet out of which 100 mm shall be flat and 20 mm shall be tapered on both sides to form lock rail. Top, bottom and lock rails shall be provided both side of the panel. 10 mm (5 mm x 2 ) thick, 20 mm wide cross PVC sheet be provided as gap insert for top rail & bottom rail, paneling of 5 mm thick both side PVC sheet to be fitted in the M.S. frame welded/ sealed to the styles & rails with 7 mm (5 mm+2 mm) thick x 15 mm wide PVC sheet beading on inner side, and joined together with solvent cement adhesive. An additional 5 mm thick PVC strip of 20 mm width is to be stuck on the interior side of the 'C' Channel using PVC solvent adhesive etc. including all SS fitting and fixtures such as 1 nos Tadi latch 200mm longx12mm rod size, 2 nos. tower bolt 250mm x 12mm, 2 nos. plat type handles - 100mm size (size shall be confirming to IS:208) of approved brand complete as per drawing, specification & direction of Engineer-in-charge | 4.00 | Sqm | 10.00 | 3800.00 | 15200.00 | 15200.00 | BINDAL FABRICATION
8.00 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections (galvanized @ 120 grams/sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm Gl adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. 12.5 mm thick square edge PVC Laminated Gypsum Tile of size 595x595 mm, made of Gypsum plasterboard, manufactured from natural gypsum as per IS 2095 part I and laminated with white 0.16mm thick fire retardant PVC film on the face side and 12micron metalized polyester on the back side with all edges sealed with the face side PVC film which goes around and wraps the edges and is bonded to the edges and the back side metalized polyester film so as to make the tile a completely sealed unit. 12.5 mm thick square edge PVC Laminated Gypsum Tile of size 595x595 mm, made of Gypsum plasterboard, manufactured from natural gypsum as per IS 2095 part 1 and laminated with white 0.18mm thick fire retardant PVC film on the face side and 12micron metalized polyester on the back side with all edges sealed with the face side PVC film which goes around and wraps the edges and is bonded to the edges and the back side metalized polyester film so as to make the tile a completely sealed unit. | 600.00 | sqm | 1.25 | 2350.00 | 1410000.00 | 1410000.00 | BINDAL FABRICATION
9.00 | Providing and laying premium quality polished vitrified tiles of size 600mm x 600mm to 600 mm x 1200 mm. of approved shade and conforming to IS: 15622 (latest revision) of H&R JOHNSON (Double charge Magic bush Series) / KAJARIA (Double charge K-62 & K-63 series)/ NITCO (Double charge Nano vitrified premium) as approved, laid on 20 mm thick cement mortar 1:4 (1 Cement: 4 sand) in floors and skirting including grouting the joints using special tile grout FEVIMATE-TG of Pidilite or similar approved make including covering of tiles with 3mm th. PVC tile protection sheet over it for protection of tiles from paint stains, scratch during various finishing activities including finishing and curing at all levels etc. all complete as per specification and direction of Engineer-in-charge. Note* Size Required is of approximately 600 x 1200 mm. | 350.00 | sqm | 0.00 | 2600.00 | 910000.00 | 910000.00 | BINDAL FABRICATION
10.00 | Providing and fixing premium quality mat finished ceramic floor tiles of size 300x300mm and 6mm thickness conforming to IS: 15622 (latest revision) of H&R JOHNSON (pure mat finish Rustic /Lenox series) / KAJARIA (Digital floor -stain mat plain & printed mat finish) / NITCO (Crust digital floor tiles premium) as approved in required shade, laid on 20 mm thick bed of cement mortar 1:4 (1 cement: 4 sand) including grouting the joints using special tiles grout FEVIMAT - TG of Pidilite or similar approved make complete including covering of floor tiles with 3mm th. PVC tile protection sheet over it to protect the tile from painting stains and scratches during various finishing activities including finishing and curing work at all level etc. all complete as per specification & direction of Engineer in charge. | 30.00 | sqm | 100.00 | 2490.00 | 74700.00 | 74700.00 | BINDAL FABRICATION
11.00 | Providing and fixing premium quality special printed ceramic glazed wall tiles of size 450mmx300mm to 600 mm x 1200 mm. and 6mm thickness of approved shade in base and highlighter conforming to IS: 15622 (latest revision) of H&R JOHNSON wall tiles (DIGITAL PRINTED SERIES) / KAJARIA (Digital & power line) / NITCO (Cosmos digital wall tiles) as approved in skirting and dado over 12mm thick bed of cement mortar 1:3(1 cement :3 sand) including grouting the joints using special tiles grout FEVIMAT - TG of Pidilite or similar approved make complete including protecting the tiles from painting stains and scratches during various finishing activities including finishing and curing work at all level etc. all complete as per specification & direction of Engineer in charge. Note* Size Required is of approximately 600 x 1200 mm. | 350.00 | sqm | 53.00 | 2200.00 | 770000.00 | 770000.00 | BINDAL FABRICATION
12.00 | Applying Birla/JK/Asian white cement based wall putty (two coats) including base coat of alkaline resistance cement primer over cement plaster/ concrete surfaces after cleaning / scrubbing of the surfaces with wire brushes, soft brushes, sand papers, steel sheet scrappers and mechanical grinder etc. for removing all kind of burrs, imperfections, undulations and other such defects existing in the surface to achieve plain & even surface. including the cost of materials, labour etc. all complete as per direction of Engineer-in-Charge. | 50.00 | sqm | 10.00 | 216.00 | 10800.00 | 10800.00 | BINDAL FABRICATION
13.00 | Supply and Installation of Single Seating 36 mm Thick Three Layer Prelaminated Particle Boards of Grade-II Type-II Of IS:12823/Latest or MDF One side Prelaminated board conforming to IS 14587, 25 Seater Modular Extendable Conference Table of make Godrej & Boyce Mfg. Ltd. / Durain Industries limited / Pyrotech work space Solutions private limited / Rockworth / Methodex systems Private limited. Note:- Bidder has to quote prices in terms of price per seat. | 2.00 | Each | 11.00 | 310000.00 | 620000.00 | 620000.00 | BINDAL FABRICATION
14.00 | Supply of High Back Revolving Chair with Synchronic tilt / Tension Mechanism and back head rest of make Godrej & Boyce Mfg. Ltd. / Durain Industries limited / Pyrotech work space Solutions private limited / Rockworth / Methodex systems Private limited. | 6.00 | Each | 22.00 | 12500.00 | 75000.00 | 75000.00 | BINDAL FABRICATION
15.00 | Supply of Mid Back Revolving Chair with Synchronic tilt / Tension Mechanism and back head rest of make Godrej & Boyce Mfg. Ltd. / Durain Industries limited / Pyrotech work space Solutions private limited / Rockworth / Methodex systems Private limited. | 100.00 | Each | 0.00 | 8500.00 | 850000.00 | 850000.00 | BINDAL FABRICATION
16.00 | Supply and Installation of Executive cabin Table with side unit (ERU) with following detailed specification of main top 1830mm x 800mm x 750mm of make Godrej & Boyce Mfg. Ltd. / Durain Industries limited / Pyrotech work space Solutions private limited / Rockworth / Methodex systems Private limited. NOTE* 1.) The Table should have one pedestals at each side. 2.) The Table dimensions are approximately 1830mm x 800mm x 750mm but details shall be complete as per attached drawings. | 2.00 | Each | 1.25 | 45000.00 | 90000.00 | 90000.00 | BINDAL FABRICATION
17.00 | Supply and Installation of CUBICLE cabin Table with one Pedestal unit with following detailed specification of main top 1545mm x 735mm x 750mm of make Godrej & Boyce Mfg. Ltd. / Durain Industries limited / Pyrotech work space Solutions private limited / Rockworth / Methodex systems Private limited. NOTE* 1.) The Table should have one pedestal unit. 2.) The Table dimensions are approximately1545mm x 735mm x 750mm but details shall be complete as per attached drawings. | 20.00 | Each | 0.00 | 24000.00 | 480000.00 | 480000.00 | BINDAL FABRICATION
18.00 | Supply and Installation of 1350mm X 580mm X 750mm Side Table Unit with One Pedestal unit of make Godrej & Boyce Mfg. Ltd. / Durain Industries limited / Pyrotech work space Solutions private limited / Rockworth / Methodex systems Private limited. NOTE* 1.) The Table should have one pedestal. 2.) The Table dimensions are approximately 1350mm X 580mm X 750mm and but details shall be as per complete as per attached drawings. | 20.00 | Each | 100.00 | 17500.00 | 350000.00 | 350000.00 | BINDAL FABRICATION
19.00 | Providing and fixing wall Hung-European type white glazed vitreous china ware water closet concealed S trap of 'H&R JOHNSON' (Ruby concealed trap EWC P0448PW / 'PARRYWARE' (NIAGARA C0252(S) / 'CERA' (CIGNIA Concealed S1051108 S trap) as approved with Germfree EWC solid seat cover with C.P. brass hinges and rubber buffers of approved brand, with low level placed PVC flushing cistern (Dual Flush Tank white) connected with 32 mm dia PVC flush pipe with fittings and brackets, 15mm dia PVC inlet connection of required length and approved brand, 15mm dia C.P. brass angle valve with C.P. flange of superior quality all complete as per specification and direction of engineer in charge comprising following accessories: (a). White vitreous china wash down European type W.C. pan with white vitreous china 'S' trap of approved brand. (b). Germfree EWC solid seat cover (white) of H&R Johnson ( P0424PW) / Parry (E8094) / Cera (Carina plus B1510106) with C.P. brass hinges and rubber buffers of approved brand (c). Low level placed PVC flushing cistern Dual Flush Tank (white) of H & R Johnson ( P2829PW) / Parry (Slim-line E8110 Deluxe) / Cera (Corona B1020102) as approved with all accessories complete. (d). 15mm dia heavy duty PVC inlet connection of required length and approved brand with brass unions complete. (e). 15mm dia C.P. brass angle valve with C.P. flange of superior quality (Jaquar clarion cat. No. CQT 23059 or similer approved quality of KOHLER/GROHE as approved). (f). Jet spray provision of Jaquar make ALE 547 with 1Meter PVC tube (stainless steel) with 01 nos 15mm dia CP brass angle valve with Cp flange of Jaquar clarion (Code CQT 23059) or similer approved quality of KOHLER/GROHE as approved. Note* Provide and install a European wall Hung water closet with a fully concealed cistern integrated within the wall, ensuring clean and seamless finished surface. | 4.00 | Each | 53.00 | 14910.00 | 59640.00 | 59640.00 | BINDAL FABRICATION
20.00 | Providing and fixing 15 to 18mm thick Granite Black or any other approved shade / colour / texture gang saw cut mirror polished, premoulded, machine cut for wash basin counter including cutting opening for wash basin making half round edge moulding in granite stone for counter etc. all complete of required size laid over 20 mm thick base cement mortar 1:4 (1 Cement :4 sand ) with joints treated with white cement mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edge to give high gloss finish etc. complete at all levels: as per drawing, specifications and direction of Engineer-in-charge. (Base rate of granite shall not be less than Rs. 1800 / Sqm) Note:- Sample of granite shall be approved by EIC before bulk purchase. | 10.00 | SqM | 10.00 | 7290.00 | 72900.00 | 72900.00 | BINDAL FABRICATION
21.00 | Providing and fixing in position white glazed vitreous china ware wash basin 'H&R JOHNSON'/ 'PARRY' / 'CERA' as approved of following accessories jointed watertight as given below : (a). One no. wash basin of make 'H&R JOHNSON' (P1015PW size 500 x 400 mm)/ 'PARRY' (Indus C0471 size 500x400 mm) / 'CERA' (Counsel S2040101 size 510x400mm) as approved. (b). One pair of wall bracket of 35mm x 35mm x 5mm M.S. angle painted with two coats of synthetic enamel paint over a coat of primer of approved quality and make. (c). One no. 32mm dia C.P. brass waste coupling with C.P. grating of Cat. No. ALD709 of Jaquar or similar approved quality of KOHLER / GROHE as approved. (d). One no. 32mm dia C.P. brass bottle trap with wall flange and connected C.P. pipe of cat. No ALD 769 of Jaquar or similar approved quality of KOHLER/GROHE as approved. (e). Two nos. 15mm dia C.P. brass angle valve with C.P. flange of superior quality (Jaquar CLARION cat. No. 23059 or similar approved quality of KOHLER / GROHE as approved). (f). One no. central hole C.P. brass basin mixer without popup waste system with 450mm long braided hoses of superior quality (Jaquar clarion cat. no. CQT 23167B or similar approved quality of KOHLER/GROHE as approved). (g). 32mm dia B class G.I. waste pipe (concealed) of required length (from bottle trap to nahani trap) including painting with anti corrosive bituminous paint. Note* 1. OVAL SHAPED AND COUNTER TOP DESIGN IS REQUIRED 2. KOHLER MAKE IS ALSO ACCEPTABLE | 4.00 | Each | 11.00 | 15000.00 | 60000.00 | 60000.00 | BINDAL FABRICATION
22.00 | Providing & Fixing of approved quality Flow Sensor Urinal (JOHNSON PREMIUM COLLECTION/ PARRY WARE / HINDWARE) Dimensions:370x390x610mm mm TOPAZ HALF STALL URINAL IN WHITE COLOUR as Directed by the Engineer-in-Charge. | 3.00 | Each | 10.00 | 54000.00 | 162000.00 | 162000.00 | BINDAL FABRICATION
23.00 | Providing and fixing cut edge mirror 6mm thick of overall size 600X450mm especially fabricated with superior glass (of approved quality) with designer acrylic PVC frame of approved colour and make mounted around with 6mm thick non-water absorbent Acrylic/PVC material backing fixed with cleats, all complete as per the specifications and directions of Engineer. Item includes essentially following:- Providing and installing mirrors with backlit LED illumination above basins complete with supports and wiring. Note* requirement is of two different size 1.) 1800 x 1200 mm and 2.) 1600 x 800 mm | 8.00 | Each | 1.25 | 3000.00 | 24000.00 | 24000.00 | BINDAL FABRICATION
24.00 | Providing and fixing C.P. brass bib cock with C.P. flange of superior quality (Jaquar Clarion cat no. 23047 or similar approved quality of GROHE/KOHLER as approved) : 15 mm nominal bore. | 10.00 | Each | 0.00 | 2000.00 | 20000.00 | 20000.00 | BINDAL FABRICATION
25.00 | Providing and fixing in position heavy duty gun metal wheel valve screw down type confirming to IS: 778 latest revision of approved make including the cost of all jointing materials, fittings and testing etc. complete as per specifications of the following nominal bore. - 25mm dia | 2.00 | Each | 100.00 | 1700.00 | 3400.00 | 3400.00 | BINDAL FABRICATION
26.00 | Providing and fixing in position 25 mm dia heavy duty brass ferrule of approved brand including boring and threading hole in C.I. pipe with necessary fittings as required all complete. | 2.00 | Each | 53.00 | 960.00 | 1920.00 | 1920.00 | BINDAL FABRICATION
27.00 | Providing and fixing in position C.I. floor trap of self cleaning design 100mm inlet and 75 mm outlet with C.P. grating on top including embedding in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) etc. complete as per drawings, specifications and as directed by Engineer in charge. | 10.00 | Each | 10.00 | 3000.00 | 30000.00 | 30000.00 | BINDAL FABRICATION
28.00 | Providing and fixing glass shelf 6mm thick Jaquar continental Cat no. 1171, or similar approved quality of GROHE/KOHLER brand including all fixtures and fittings complete as per specifications. | 10.00 | Each | 11.00 | 3000.00 | 30000.00 | 30000.00 | BINDAL FABRICATION
29.00 | Providing & Fixing of UPVC Pipes (IS : 15328) for Drainage / Severage System of Supreme/ Finlox / Jain Irrigation as approved make including jointing pipe with solvent cement rubber sing and Lubricant. (i) 160 mm SN – 4 | 50.00 | Mts | 22.00 | 960.00 | 48000.00 | 48000.00 | BINDAL FABRICATION
30.00 | Providing and fixing class 'B' G.I. pipe of approved brand confirming to IS 1239 of following nominal bore with all fittings and specials of heavy duty as required including cutting the walls, floors trenching & reffilling as required, making them good, claimping on wall of approved quality claimps as per specifications, testing the line etc. complete as per drawings, specifications and direction of engineer. 15mm dia nominal bore. Concealed pipe painted with anticorrosive bitumestic paint of approved brand. | 10.00 | Mts | 0.00 | 600.00 | 6000.00 | 6000.00 | BINDAL FABRICATION
31.00 | Providing and fixing class 'B' G.I. pipe of approved brand confirming to IS 1239 of following nominal bore with all fittings and specials of heavy duty as required including cutting the walls, floors trenching & reffilling as required, making them good, claimping on wall of approved quality claimps as per specifications, testing the line etc. complete as per drawings, specifications and direction of engineer. 20mm dia nominal bore. Concealed pipe painted with anticorrosive bitumestic paint of approved brand. | 10.00 | Mts | 1.25 | 800.00 | 8000.00 | 8000.00 | BINDAL FABRICATION
32.00 | Providing and fixing soil, waste and vent pipes: 100mm dia: Centrifugally cast (spun) iron socketed pipe as per IS:3989. | 20.00 | Mts | 0.00 | 1600.00 | 32000.00 | 32000.00 | BINDAL FABRICATION
33.00 | Providing and fixing Orissa pattern Water Closet (OP 23 (Open rim) of H & R Johnson / Orissa C0117 of Parryware/ Orissa COVYS 3010104 of CERA as approved with low level placed PVC flushing cistern (Dual Flush Tank {white} of H & R Jhonson / CERA/ Parry ) connected with 32 mm dia PVC flush pipe with all fittings and brackets with C.P. brass angle cock with CP flange (Clarion cat No. CQT 23059 make of JAQUAR or similer approved quality in KOHLER / GROHE and 15 mm dia high quality PVC inlet connection of required length with all accessories, fittings & fixtures of best quality and brand. Item includes essentially following. (a). Orissa pattern white glazed viterous china W.C. pan of size 580mm x 440mm of approved brand and 100mm dia sand cast iron 'P' trap. (b). Low level placed PVC flushing cistern Dual Flush Tank (white) of H & R Johnson ( P2829PW) / Parry (Slim-line E8110 Deluxe) / Cera (Corona B1020102) as approved with all accessories complete. (c). 15mm dia PVC inlet connection of required length of approved brand with heavy duty C.P. brass unions and rubber washer etc. (d). 15mm dia C.P. brass angle valve with C.P. flange of superior quality (Jaquar Clarion cat. No. CQT 23059 or similer approved quality of KOHLER / GROHE as approved). | 2.00 | Each | 100.00 | 15500.00 | 31000.00 | 31000.00 | BINDAL FABRICATION
34.00 | Providing and fixing best quality stainless steel kitchen sink of SS grade 304 glossy finish (Jayna / Nirali / Carysil / Franke Brand) as approved without drain board of overall size 610 x 457 x 200 mm (24"x18"x8") including all accessories such as choke stop stainer, outlet pipe upto floor trap etc. as required all complete as per specifications and direction of engineer in charge. | 2.00 | Each | 53.00 | 10800.00 | 21600.00 | 21600.00 | BINDAL FABRICATION
35.00 | Providing and fixing 15 to 18 mm thick Granite gang saw cut, mirror polished, premoulded and prepolished, machine cut granite stone on wall tops, sides, facias and similar locations of required size (all size), of approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. (Base rate of marble stone shall not be less than 1700/- per Sqm) | 10.00 | SqM | 10.00 | 6900.00 | 69000.00 | 69000.00 | BINDAL FABRICATION
36.00 | Providing & Fixing of appproved 15mm battery based sensor pillar cock | 5.00 | Each | 11.00 | 14400.00 | 72000.00 | 72000.00 | BINDAL FABRICATION
37.00 | Providing & Fixing of Chromium plated (C.P.) liquid Soap containers of brass of approved make as Directed by the Engineer-in-Charge. | 5.00 | Each | 10.00 | 960.00 | 4800.00 | 4800.00 | BINDAL FABRICATION
38.00 | Providing and fixing sun control film (25 micron thick) of approved colour and shade, and supplying and installing fully covered roller-type window curtains/blinds made of decorative polyester fabric, complete with standard roller, chain mechanism, and all necessary fittings of approved make, including all materials, labour, and accessories required for proper completion of work at all levels, as directed by the Engineer-in-Charge. | 40.00 | SqM | 1.25 | 850.00 | 34000.00 | 34000.00 | BINDAL FABRICATION
39.00 | Providing & fixing rollers, motor, door cover & track as suit to site, Controller, V- belt, pully & hanger for sliding sensor door power operator for door operation complete
39.01 | Guide Rollers | 8.00 | Each | 100.00 | 3200.00 | 25600.00 | 25600.00 | BINDAL FABRICATION
39.02 | Sliding door motor | 2.00 | Each | 53.00 | 44000.00 | 88000.00 | 88000.00 | BINDAL FABRICATION
39.03 | Door cover & track as suit to site | 3.00 | Each | 10.00 | 12800.00 | 38400.00 | 38400.00 | BINDAL FABRICATION
39.04 | Sliding door Belt | 4.00 | Roll | 11.00 | 7000.00 | 28000.00 | 28000.00 | BINDAL FABRICATION
39.05 | Controller | 2.00 | Each | 22.00 | 32000.00 | 64000.00 | 64000.00 | BINDAL FABRICATION
39.06 | Sliding door hanger | 8.00 | Each | 0.00 | 1900.00 | 15200.00 | 15200.00 | BINDAL FABRICATION
39.07 | Sliding door pully | 8.00 | Each | 1.25 | 3400.00 | 27200.00 | 27200.00 | BINDAL FABRICATION
40.00 | Providing and Fixing 15 mm thick densified tegular edged eco-friendly light weight calcium silicate false ceiling tiles of approved texture, size 595 x 595 mm, in a true horizontal level. The tiles are suspended on an interlocking metal grid made of hot-dipped galvanized steel sections (galvanizing @ 120 grams per sqm including both sides). The grid consists of main 'T' runners (24x38 mm, 0.33 mm thick minimum) spaced 1200 mm center to center, cross 'T' sections (24x28 mm, 0.33 mm thick minimum) forming a 1200x600 mm grid, and secondary cross 'T' sections (600 mm long, 24x28 mm, 0.33 mm thick minimum) creating a 600x600 mm grid. A perimeter wall angle (24x24x3000 mm, 0.40 mm thick minimum) supports the grid on walls/partitions. The main 'T' runners are suspended from the ceiling using G.I. slotted cleats and adjustable rods. The bottom exposed surfaces of all T-sections are pre-painted with polyester baked paint. This includes cutting/making openings for services such as diffusers, grills, light fittings, fixtures, and smoke detectors as required. | 700.00 | SqM | 0.00 | 2300.00 | 1610000.00 | 1610000.00 | BINDAL FABRICATION
41.00 | Providing & Fixing of approved quality of 8 mm thick plain glass in required size as Directed by the Engineer-in-Charge. | 80.00 | SqM | 100.00 | 2600.00 | 208000.00 | 208000.00 | BINDAL FABRICATION
42.00 | Providing & Fixing approved quality of 4-12 mm thick frosted glass in required size as Directed by the Engineer-in-Charge. | 10.00 | SqM | 53.00 | 2450.00 | 24500.00 | 24500.00 | BINDAL FABRICATION
43.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipe of approved brand conforming to ASTM D–2846 / IS 15778, of the following nominal diameter, with all required CPVC fittings and specials of heavy–duty quality, including cutting walls/floors, making chases as required, fixing the pipes on walls/ceilings with approved quality clamps at specified spacing, jointing with CPVC solvent cement as per manufacturer's recommendations, pressure testing the line to required standards, and making good the surface to its original condition, complete as per drawings, specifications and direction of Engineer-in-Charge. For concealed CPVC pipe work, the pipe shall be wrapped with anticorrosive protective tape/sleeve as per standard practice. 15 mm dia nominal bore. | 40.00 | Mtr | 10.00 | 450.00 | 18000.00 | 18000.00 | BINDAL FABRICATION
44.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipe of approved brand conforming to ASTM D–2846 / IS 15778, of the following nominal diameter, with all required CPVC fittings and specials of heavy–duty quality, including cutting walls/floors, making chases as required, fixing the pipes on walls/ceilings with approved quality clamps at specified spacing, jointing with CPVC solvent cement as per manufacturer's recommendations, pressure testing the line to required standards, and making good the surface to its original condition, complete as per drawings, specifications and direction of Engineer-in-Charge. For concealed CPVC pipe work, the pipe shall be wrapped with anticorrosive protective tape/sleeve as per standard practice. 20 mm dia nominal bore. | 50.00 | Mtr | 11.00 | 450.00 | 22500.00 | 22500.00 | BINDAL FABRICATION
45.00 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on interlocking metal grid of hot dipped galvanized steel sections (galvanized @120 grams/sqm both side inclusive) consisting of main “T” runner with suitably spaced joints to get required length and of size 24x38 mm made of 0.30 mm thick (minimum) sheet, spaced at 1200 mm long center to center and cross “T” of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main “T” at 600 mm center to center to form a grid of 1200 x 600 mm and secondary cross “T” of length 600 mm and size 24x25 mm made of 0.30mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making opening for services like difusers, grills light fittings , fixtures smokes detectors etc. Main “T” runners to be suspended fromceiling using GI slotted cleats of size 27 x 37 x 25 x 1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge.
45.01 | Clip-in False Ceiling System with aluminium tile plain/perforation of 2.2 mm, 2.5 mm and 1.8 mm. (600 mm x 600 mm) is manufactured out of 0.50 mm thick polyester coil coated/0.7mm aluminium powder coated with 60 microns polyester paint in AA5050, AA3105 or AA1050 alum. alloy. as directed by Engineer-in-charge. | 300.00 | SqM | 1.25 | 2450.00 | 735000.00 | 735000.00 | BINDAL FABRICATION
45.02 | Lay-in false Ceiling System with Aluminium tile plain/perforation of 2.2 mm, 2.5 mm and 1.8 mm. (595 mm X 595 mm) is manufactured out of 0.50 mm thick polyester coil coated/ 0.7mm aluminium powder coated with 60 microns polyester paint in AA5050, AA3105 or AA1050 alum. alloy these tiles can have square or bevelled edges. | 1000.00 | SqM | 0.00 | 2050.00 | 2050000.00 | 2050000.00 | BINDAL FABRICATION
46.00 | Providing and placing Stainless Steel Star Dining Table with Chairs, suitable for dining area, complete in all respects. The dining table shall be 6-seater size of 36 inch × 60 inch with a table height of 30 inches. The table shall have a stainless steel base/frame with modern geometric/star pattern design, finished to approved shade and quality. The top shall be made of premium composite marble, finished smooth and polished. Variation in marble veining and shade shall be acceptable. The set shall include six (06) matching dining chairs with cushioned upholstered seats for comfort. Chairs shall have metal cone-shaped legs with durable black finish, ensuring strength and stability. The entire set shall be of approved make and quality, including all fittings, accessories, handling, and placement, complete as directed by the Engineer-in-Charge. | 12.00 | Each | 100.00 | 126000.00 | 1512000.00 | 1512000.00 | BINDAL FABRICATION
47.00 | Providing, supplying, and placing Leather Upholstered Sofa Set (3+1+1 configuration) comprising one three-seater primary unit and two single-seater secondary units, straight type, complete in all respects. The sofa set shall have a wood/engineered wood frame of approved quality. Upholstery for all units shall be black color leather, covering seat, backrest, and armrests. The seating system of the primary unit shall be webbing grid base with foam cushioning, with cushion density between 30–40. Seat height shall be 400–500 mm, seat depth 600–700 mm, and backrest height 700–1000 mm. Cushion thickness shall be 100–200 mm for seats and 100–150 mm for backrests (primary unit). Armrests shall be provided with maximum width less than 100 mm and height 400–600 mm. Ground clearance shall be 50–150 mm. No skirting or chaise shall be provided. The secondary units (single seaters) shall conform to similar specifications, with overall width 800–1000 mm, cushioned seats and backrests, armrests, and black leather upholstery, complete as directed by the Engineer-in-Charge. | 2.00 | Each | 53.00 | 60000.00 | 120000.00 | 120000.00 | BINDAL FABRICATION
48.00 | Supply, installation, testing and commissioning of concealed PVC conduit wiring. The conduit has been to be laid during constructions of the building.The light point wiring shall be done with 1100 V grade PVC insulated 1.5 mm2copper conductor (multi strand) conforming to IS of make : FINOLEX, POLYCAB,HAVELLS.
48.01 | Supply and installation of point wiring for light point/ ceiling point to be done with 1100 V grade 1.5mm2 copper wire Red and black and 1.5mm2 1100V grade copper earth wire of green color. Wiring will terminate on 3 plate ceiling rose. Supply of ceiling rose is in contractor scope. Wire shall be ISI mark. | 60.00 | Nos. | 11.00 | 960.00 | 57600.00 | 57600.00 | BINDAL FABRICATION
48.02 | Supply & installation of point wiring for fan point to be done with 1100 V grade 1.5mm2 copper wire Red and black and 1.5mm 21100 V grade copper earth wire of green colour. Wiring will terminate on 3 plate ceiling rose. Supply of ceiling rose is in contractor scope.Wire shall be ISI mark. | 5.00 | Nos. | 22.00 | 1150.00 | 5750.00 | 5750.00 | BINDAL FABRICATION
48.03 | Supply and installation of point wiring for exhaust fan to be done with 1100 V grade 1.5 mm2 copper wire Red and black and 1.5mm2 1100 V grade copper earth wire of green colour. Wiring will terminate on 3 plate ceiling rose.Supply of ceiling rose is in contractor scope Make: "Wire shall be ISI mark". | 5.00 | Nos. | 0.00 | 1200.00 | 6000.00 | 6000.00 | BINDAL FABRICATION
48.04 | Supply and installation of point wiring for Stair case light point to be done with 1100 V grade 1.5 mm2 copper and wire Red and black and 1.5mm2 1100 V grade copper earth wire of green colour controlled by two way piano type flush mounted 5amp. Double Pole Double Through switch. Make: "Wire shall be ISI mark". Swithch also to be supplied by contractor. | 2.00 | Nos. | 1.25 | 1080.00 | 2160.00 | 2160.00 | BINDAL FABRICATION
48.05 | Supply and installation of point wiring for power point to be done with 1100 V grade 2.5mm2 copper wire Red and black and 2.5mm2 1100V grade copper earth wire of green color. Wire shall be ISI mark. | 20.00 | Nos. | 0.00 | 1440.00 | 28800.00 | 28800.00 | BINDAL FABRICATION
49.00 | Supply and installation of point wiring Sub main wiring , DB to DB and SB to SB looping with 1100 V grade PVC insulated copper stranded wires as per commercial colour code.
49.01 | 2.5mm2 copper conductor wire for SB to SB loop. | 200.00 | Per Metre | 53.00 | 200.00 | 40000.00 | 40000.00 | BINDAL FABRICATION
49.02 | 4.0 mm2 PVC insulated copper wire for DB TO DB loop. | 100.00 | Per Metre | 10.00 | 249.00 | 24900.00 | 24900.00 | BINDAL FABRICATION
50.00 | Supply and installation of PVC conduit ISI marked of following sizes with associated accessories i.e. 65 mm deep Junction boxes, pull boxes, bands (as per total requirement up to adhesive tube of approved make for sealing of conduit joints including installation of angle/batten holders etc.). Make AKG/PRECISION.
50.01 | 19/20mm, 2 mm thick. | 150.00 | Per Metre | 10.00 | 110.00 | 16500.00 | 16500.00 | BINDAL FABRICATION
50.02 | 25mm, 2 mm thick. | 100.00 | Per Metre | 1.25 | 170.00 | 17000.00 | 17000.00 | BINDAL FABRICATION
50.03 | 32mm,2 mm thick. | 50.00 | Per Metre | 0.00 | 200.00 | 10000.00 | 10000.00 | BINDAL FABRICATION
50.04 | Supply & installation of ceiling fan metallic hook box | 5.00 | Nos. | 100.00 | 125.00 | 625.00 | 625.00 | BINDAL FABRICATION
51.00 | Supply & installation of angle/batten holder of Anchor make respectively. To be supplied with 15 W Philips/Surya/Crompton make LED lamp. | 30.00 | Nos. | 53.00 | 690.00 | 20700.00 | 20700.00 | BINDAL FABRICATION
52.00 | Legrand MYLINC /Anchor Roma Category of Switch/Sockets and accessories.
52.01 | 6A one way switch | 100.00 | Nos. | 11.00 | 135.00 | 13500.00 | 13500.00 | BINDAL FABRICATION
52.02 | 6A two way switch | 10.00 | Nos. | 22.00 | 210.00 | 2100.00 | 2100.00 | BINDAL FABRICATION
52.03 | 6A 3 PIN socket | 40.00 | Nos. | 0.00 | 210.00 | 8400.00 | 8400.00 | BINDAL FABRICATION
52.04 | 16A one way switch | 20.00 | Nos. | 1.25 | 200.00 | 4000.00 | 4000.00 | BINDAL FABRICATION
52.05 | 6/16A combined Soket | 40.00 | Nos. | 0.00 | 450.00 | 18000.00 | 18000.00 | BINDAL FABRICATION
52.06 | Step electronic regulator | 10.00 | Nos. | 100.00 | 650.00 | 6500.00 | 6500.00 | BINDAL FABRICATION
52.07 | 1 module plate white colour. | 8.00 | Nos. | 53.00 | 160.00 | 1280.00 | 1280.00 | BINDAL FABRICATION
52.08 | 2 module plate white colour. | 10.00 | Nos. | 10.00 | 160.00 | 1600.00 | 1600.00 | BINDAL FABRICATION
52.09 | 3 module plate white colour | 10.00 | Nos. | 11.00 | 190.00 | 1900.00 | 1900.00 | BINDAL FABRICATION
52.10 | 6 module plate white colour | 15.00 | Nos. | 10.00 | 315.00 | 4725.00 | 4725.00 | BINDAL FABRICATION
52.11 | 9 module plate white colour | 20.00 | Nos. | 1.25 | 360.00 | 7200.00 | 7200.00 | BINDAL FABRICATION
52.12 | 12 module plate white colour | 20.00 | Nos. | 0.00 | 495.00 | 9900.00 | 9900.00 | BINDAL FABRICATION
52.13 | 1 module metal flush boxes. | 10.00 | Nos. | 100.00 | 120.00 | 1200.00 | 1200.00 | BINDAL FABRICATION
52.14 | 2 module metal flush boxes . | 20.00 | Nos. | 53.00 | 120.00 | 2400.00 | 2400.00 | BINDAL FABRICATION
52.15 | 3 module metal flush boxes. | 15.00 | Nos. | 10.00 | 200.00 | 3000.00 | 3000.00 | BINDAL FABRICATION
52.16 | 6 module metal flush boxes. | 10.00 | Nos. | 11.00 | 280.00 | 2800.00 | 2800.00 | BINDAL FABRICATION
52.17 | 9 module metal flush boxes . | 25.00 | Nos. | 22.00 | 375.00 | 9375.00 | 9375.00 | BINDAL FABRICATION
52.18 | 12 module metal flush boxes. | 16.00 | Nos. | 0.00 | 495.00 | 7920.00 | 7920.00 | BINDAL FABRICATION
52.19 | Blanking plate. | 50.00 | Nos. | 1.25 | 87.00 | 4350.00 | 4350.00 | BINDAL FABRICATION
53.00 | Supply and installation of 80mm dia 3 mm thick hylem make Bakelite dummy covers. Covers to be mounted on pull boxes by means of 3/16" machine screws and cup washers of Brass etc. all complete work as directed by EIC. | 200.00 | Nos. | 0.00 | 24.00 | 4800.00 | 4800.00 | BINDAL FABRICATION
54.00 | Supply and installation of 305 mm sweep exhaust fan of M/s Almonard make, double ball bearing, Heavy duty 1350 rpm, 75W, 230V. The job covers making of opening in the wall grouting of Bolts of size 3/8" x 4" and making it suitably turn free in wall as directed by EIC and installation frame, installing louvers, finishing of wall to the original shape etc and its connection to ceiling rose by means of 1.5mm2 TRS copper cable. | 5.00 | Nos. | 100.00 | 6000.00 | 30000.00 | 30000.00 | BINDAL FABRICATION
55.00 | Supply and installation of Double door MCB DBs. The scope covers DBs to be embedded in the wall recess in such a manner so as to flush with the finished surface of the wall, connection with PVC conduits and wall to be neatly finished there after. For 3 phase with the following Accessories complete in all Respect.
55.01 | Supply and installation of Three phase 4 way MCB DB with 1 no. 3 phase 63A RCBO, 30mA leakage current and 04nos. 32A SP-MCBs MDS/Legrand Make Complete with wiring, neutral link etc. in all respect. | 2.00 | Nos. | 10.00 | 15500.00 | 31000.00 | 31000.00 | BINDAL FABRICATION
55.02 | Supply and installation of Three phase 4 way MCB DB with 1 no. 1 phase double pole 25A RCBO, 30mA leakage current and 05 nos. 10 A SP-MCBs,MDS/Legrand Make Complete with wiring, neutral link etc. in all respect. | 2.00 | Nos. | 11.00 | 12500.00 | 25000.00 | 25000.00 | BINDAL FABRICATION
55.03 | Supply and installation of Three phase 4 way MCB DB with 1 no. 3 phase 32 A RCBO, 30mA leakage current and 10 nos. 10 A SP-MCBs MDS/Legrand Make Complete with wiring, neutral link etc. in all respect. | 1.00 | Nos. | 10.00 | 20000.00 | 20000.00 | 20000.00 | BINDAL FABRICATION
56.00 | Supply and installation of LED fixture of make C.G/G.E. complete with wiring of 20 W LED tubes and connection with Ceiling rose provided in point wiring by 1.5 sq.mm TRS copper cable in the following models.
56.01 | Supply and installation of 20 W LED tube light fitting. | 50.00 | Nos. | 0.00 | 1440.00 | 72000.00 | 72000.00 | BINDAL FABRICATION
57.00 | Supply and installation of 48" Sweep ceiling fan with double ball bearing. The fan shall be hung in already embedded fan hook and its interconnection to 3 point ceiling rose (to be supplied in point wiring) with 3 core 1.5mm2 TRS copper cable.TRS cable in the scope of the contrator Make of fan : CROMPTON GREAVES /PHILIPS | 5.00 | Nos. | 100.00 | 4500.00 | 22500.00 | 22500.00 | BINDAL FABRICATION
58.00 | Supply & installation of B class GI pipe "JINDAL " Make with required 90 degree long radius smooth bends wherever required. The pipe shall be buried/grouted in the ground at least 500mm deep and also in the wall chases wherever required. The scope also includes chasing in wall & back filling with cement mortar concreting, Excavation and Back filling have been covered under separate items. The pipe shall be of following sizes.
58.01 | Providing, fabrication & placing of 50mm dia medium gauge GI pipe of length 2.0 M with perforations at a maximum distances of 150mm through out the length and welded with 600 x 600 x 4 mm GI Plate along with 4 Nos. welded 25 mm GI pipe to 1m length. The job covers , fabrication of GI Plate, welding etc in scope of contractor. | 6.00 | Nos. | 10.00 | 5500.00 | 33000.00 | 33000.00 | BINDAL FABRICATION
59.00 | Supply & Installation of ISI marked, 1.1 KV grade, PVC Insulated, Aluminum Conductor, Steel Armourd (Gaivannished flat steel strip) heavy duty power cable (PVC Sheathed) confirming to IS: 1554 Part-I make : FINOLEX, POLYCAB, Havells.
59.01 | Supply of 4 core x 16mm² Cable. | 50.00 | Meter | 22.00 | 315.00 | 15750.00 | 15750.00 | BINDAL FABRICATION
59.02 | Supply of 4 core x 10mm² Cable. | 50.00 | Meter | 0.00 | 260.00 | 13000.00 | 13000.00 | BINDAL FABRICATION
60.00 | Supply & installation of 70 watt LED street light pressure di cast housing ,toughened glass and individual LEDs with IP protection -66 . Protection 60 W LED, make : Bajaj/ Philiphs/Cromption including cost of G.I. bracket of suitable size (for mounting on wall) and MS clamps & Anchor fastners. Complete in all respect. | 6.00 | Nos. | 1.25 | 12000.00 | 72000.00 | 72000.00 | BINDAL FABRICATION
61.00 | Glanding termination & connections of Aluminum Armourd cables supply of gland & Aluminum Lugs are in the scope of contractor.
61.01 | For 4 core x16mm² Aluminium Armourd cable. | 10.00 | Nos. | 100.00 | 250.00 | 2500.00 | 2500.00 | BINDAL FABRICATION
61.02 | For 4 core x10mm² Aluminium Armourd cable. | 10.00 | Nos. | 53.00 | 270.00 | 2700.00 | 2700.00 | BINDAL FABRICATION
62.00 | Providing, supplying, and fixing POLYCAB/WIPRO/HAVELLS/CROMPTON/PHILIPS/BAJAJ brand LED recessed luminaire of approved wattage, model, and specification, suitable for modular/gypsum grid ceiling installation, having high-efficiency LED chips, glare-free diffuser, CRCA housing/aluminium body, high power factor driver (PF > 0.90), lumen output as per BIS/LM-79/80 standards, and complete with all mounting accessories. The luminaire shall include integrated electronic driver, suspension/clips (if required), and necessary wiring for connection to existing point, including testing and commissioning. Make: POLYCAB (approved model) or equivalent in its category, complete as directed by the Engineer-in-Charge. Note* Size Should be approx : 600 x 600 mm Power Rating : 36 Watt Approx | 200.00 | Nos. | 10.00 | 6200.00 | 1240000.00 | 1240000.00 | BINDAL FABRICATION
63.00 | Providing, supplying, and fixing branded modern decorative pendant light fixture of approved design, size, and finish, made of high-quality metal/aluminium/acrylic/glass body with integrated LED/LED-compatible holder (as specified), complete with suspension rods/wires, canopy plate, mounting accessories, internal wiring, and all hardware. The fixture shall be from approved make such as Philips / Havells / Jaquar / Wipro / Crompton or equivalent, including installation, testing, commissioning, aligning height level, and making connections to the existing lighting point with suitable connectors and fasteners, complete as directed by the Engineer-in-Charge. | 10.00 | Nos. | 11.00 | 846.00 | 8460.00 | 8460.00 | BINDAL FABRICATION
64.00 | Providing, supplying, installation, testing and commissioning of Ceiling-Mounted Split Air Conditioner of 2.0 TR capacity, 5-Star rated as per latest BEE norms, including indoor cassette unit and outdoor condensing unit of approved make (Daikin/Hitachi/Carrier/Voltas/LG/Mitsubishi Heavy Duty or equivalent). The unit shall operate on eco-friendly refrigerant (R-32/R-410A), high-efficiency scroll/rotary compressor, multi-stage filtration, remote control operation, copper condenser & evaporator coils, and necessary mounting accessories. | 4.00 | nos | 10.00 | 144100.00 | 576400.00 | 576400.00 | BINDAL FABRICATION
65.00 | Providing and fixing 12W to 22W round recessed slim aluminium LED panel light(POLYCAB/WIPRO/HAVELLS/CROMPTON/PHILIPS/BAJAJ brand Scintillate Slim) , 4000k to 6500K cool white, minimum 75 lm/W efficacy, CRI ≥80, 120° beam angle, powder-coated PDC aluminium housing with high quality LGP & PS diffuser, external constant current driver, 2.5 kV surge protection and power factor ≥0.9, suitable for recess mounting in false ceiling (cut-out approx. 205 mm, dia 225 mm, height 30 mm), complete with supply, installation, testing & commissioning, including necessary wiring from nearby junction box, connectors, ceiling cutting and making good, as required. | 120.00 | Nos. | 1.25 | 1200.00 | 144000.00 | 144000.00 | BINDAL FABRICATION
66.00 | Site Assessment and Data Collection. a.) Conduct site visits to assess the existing condition of the Canteen, Peer Review Conference Room, and Administrative Building Rooms. b.) Carry out measurements, photographic documentation, and identify constraints or requirements for up-gradation. c.) Collect and review available as-built drawings and utility data | 1.00 | Job | 0.00 | 45000.00 | 45000.00 | 45000.00 | BINDAL FABRICATION
67.00 | Architectural Planning & Interior Layout a.) Preparation of conceptual layout plans for spatial reorganization, seating, and movement flow. b.) Finalization of architectural and interior layouts showing furniture arrangement, circulation, and service areas. c.) Integration of accessibility norms, safety, and ergonomic considerations. | 1.00 | Job | 100.00 | 126000.00 | 126000.00 | 126000.00 | BINDAL FABRICATION
68.00 | Furniture and Fixture Design. a.) Design and detailing of built-in and modular furniture (tables, chairs, storage, counters, conference tables, etc.). b.) Preparation of custom joinery drawings and specification sheets for procurement. | 1.00 | Job | 53.00 | 65000.00 | 65000.00 | 65000.00 | BINDAL FABRICATION
69.00 | Civil & Structural Modifications – Detailing of minor structural alterations or strengthening where required. | 1.00 | Job | 10.00 | 63000.00 | 63000.00 | 63000.00 | BINDAL FABRICATION
70.00 | 3D Views & Presentation – Conceptual 3D visuals for client approval. | 1.00 | Job | 11.00 | 72000.00 | 72000.00 | 72000.00 | BINDAL FABRICATION
71.00 | Construction Drawings & Supervision – Issue of working drawings and periodic site visits during execution. | 1.00 | L.S. | 22.00 | 27895.00 | 27895.00 | 27895.00 | BINDAL FABRICATION
| Total in Figures |  |  |  |  | 17820000.00
Lowest Amount Quoted BY: BINDAL FABRICATION(17820000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Modification and Up-gradation of Existing Executive Canteen, Peer Review Conference Hall, and Administrative Building Rooms including New Meeting Room at RAPS# 5 and 6. Tender ID: 2026_NPCIL_268476_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | BINDAL FABRICATION (BID ID -994646) | 17820000.00 | L1