## BoQ1
Government eProcurement System Created By: mitendra singh Created Date/Time: 03-Sep-2026 03:15 PM Tender Title: Trial to establish the feasibility and efficacy of Deep Soil Mixing (DSM) for Main Plant Structures of GHAVP-3 and 4 (Phase-I) at village-Gorakhpur, Distt.-Fatehabad, Haryana. Tender ID: 2026_NPCIL_278378_1
Tender Inviting Authority: Project Director
Name of Work: Trial to establish the feasibility and efficacy of Deep Soil Mixing (DSM) for Main Plant Structures of GHAVP-3&4 (Phase-I) at village-Gorakhpur, Distt.-Fatehabad, Haryana.
Contract No: NPCIL/GHAVP/CTC/2026/PT-296
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Keller Ground Engineering India Private Limited (GSTN-NA) BID ID -1040142 |  | BAUER ENGINEERING INDIA PRIVATE LIMITED (GSTN-NA) BID ID -1041272
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | General Area Filling
1.10 | Filling with available excavated earth (excluding rock) from within the Plant boundary in layers, consolidating each deposited layer by compacting with rollers and watering to achieve required compaction. Quoted rate shall include all arrangements to prevent damage to near by structures, etc. In case of any damage, the same shall be made good by the contractor with no additional cost to NPCIL. Quoted rates shall include site grading / levelling so as to make area workable. | 1000.00 | Cum |  | 767.00 | 767000.00 | 295.00 | 295000.00 | 295000.00 | BAUER ENGINEERING INDIA PRIVATE LIMITED
1.20 | Excavation of the soil using mechanical means/ manual means for lowering the existing Ground Level as per technical specification/ drawing, including making neccesary arrangement for surface dewatering if required. Note :- 1. Quoted rate shall includes all type of exacvation required at the Trial location for installation of DSM column and inspection for leak tightness post DSM installation, including all arrangements to prevent damage to existing DSM Columns. In case of any leakages from walls of the pit, neccesary sealing / dewatering arragement shall be provided. 2. Quoted rate shall also include making necessary arrangement for providing access to the excavated pit and making neccasry arrangement/ sumps for pumping out seepage water (if any). Requisite safety arrangement during excavation & inspection also to be ensured and included in the quoted rates." | 6500.00 | Cum |  | 224.20 | 1457300.00 | 295.00 | 1917500.00 | 1457300.00 | Keller Ground Engineering India Private Limited
2.00 | Geotechnical Investigation & Quality Control Works of DSM Works Rotatory boring/ drilling of holes of all sizes for geotechnical investigation works to log and collect samples through all kinds of soils vertically with adequate and suitable equipment for depths below existing ground level as per specifications, drawing and as directed by the Engineer. Note: The quoted rates shall include the following. 1. Mobilization and Demobilization of suitable boring and drilling rigs of hydraulic type, including necessary accessories e.g. drilling rods, pumps, miscellancous equipments, tools, spares, consumables etc. adequate for all rigs, survey equipment etc. 2. Marking the drill hole locations on ground by actual survey as per the drawing, shifting and setting up of rig at each bore hole location including staging platform, anchoring etc, all complete. 3. Deployment of technical, skilled & unskilled man power required for carrying out the complete work as per specifications & drawings. 4. Stabilization of bore holes by bentonite slurry from GI top and/ or providing suitable temporary steel casing as deemed necessary for preventing caving-in of soil. This casing can be taken back by contractor after completion of work. 5. Measurement of ground water level as per specifications & drawings. 6. Maintance of drilling records and submission of final geological reports in hardcopy as well as soft copy.
2.10 | Drilling & Coring in soil layer Including collection, handling and stacking/ preservation, transportation for testing till the samples are handed to NPCIL at the completion of Job. | 500.00 | RM |  | 8948.00 | 4474000.00 | 6469.00 | 3234500.00 | 3234500.00 | BAUER ENGINEERING INDIA PRIVATE LIMITED
2.20 | Conducting Standard Penetration test (SPT) using automatic trip hammer in drilled boreholes (in virgin soil/ DSM columns) as per the specification following relevant standard. | 350.00 | Nos. |  | 960.00 | 336000.00 | 693.00 | 242550.00 | 242550.00 | BAUER ENGINEERING INDIA PRIVATE LIMITED
2.30 | Supply & installation of PVC pipe for making observation wells for monitoring of water level. Note: Drilling for observation well shall be paid under item no. 2.1 | 120.00 | RM |  | 1992.00 | 239040.00 | 513.00 | 61560.00 | 61560.00 | BAUER ENGINEERING INDIA PRIVATE LIMITED
2.40 | Obtaining Undisturbed tube / piston soil samples, from all depths of the drilled boreholes, necessary sealing and transporting the same to testing laboratory as per specifications and as directed by the engineer. Note: Bidder should study the sample borelogs to understand the soil type expected to be encountered for sampling. Collection of undisturbed samples will require deployment of special samplers viz. Mazier/ Denision etc. considering the silty sand strata at site. | 70.00 | Nos. |  | 5045.00 | 353150.00 | 2985.00 | 208950.00 | 208950.00 | BAUER ENGINEERING INDIA PRIVATE LIMITED
2.50 | Cross Hole Seismic Test (CHST) - Conducting cross hole shear wave test (CHST) in borehole in all types of strata/DSM Column at depths of 1 to 1.5 m interval from ground level up to required depth from ground level including preparation of borehole, providing PVC liner, grouting and backfilling with sand after completion of the test etc. all complete as per specification, drawings and as directed by the Engineer-in-charge including conducting the test, interpretation & recommendation of relevant geotechnical parameters and submitting report thereof Note: 1. The test shall comprise of five bore holes (one for the source and four for receivers). For measurement purpose S-R1-R2 & S-R3-R4 shall be considered as one test. One test is equivalent to depth of source borehole as per approved drawing. 2. PVC liner/ pipe shall be provided in all the five bore holes up to a required depth. Payment against this will be paid under Item No 2.6. 3. The cost of drilling bore holes and pluging etc shall be paid separately as per item 2.1 and 2.7 respectively. 4. The deviation survey of all the five bore holes shall be included in the quoted rate. 5. Quoted rates shall include mobilization and de-mobilization of the CHST equipment and its accessories. 6. Rate shall also include cost of Engineer to be deployed for testing meeting the requirements of ASTM D3740. 7. Energy source shall be S-wave shear sparker with Impulse generator for conducting CHST test. Testing agency shall deploy sufficient number of receivers having minimum 3 channels sensor compatible with the energy source so as to conduct test in all the receiver holes simulataneously (S-R1-R2 at same time). 8. Suitable arrangement to prevent choking/ blockage/ damage to PVC pipe duirng ongoing works shall be made by Contractor at no additional cost to NPCIL. In case installed PVC pipes are found damaged/ blocked during testing, suitable arrangements shall be made to make the pipe available for testing at no additional cost to NPCIL. | 60.00 | RM |  | 31511.00 | 1890660.00 | 33630.00 | 2017800.00 | 1890660.00 | Keller Ground Engineering India Private Limited
2.60 | Providing and installing permanent new PVC casing of suitable size Dia in already drilled hole (in virgin soil/ DSM column) and filling the annular space by bentonite/other suitable material for conduction of Cross Hole Shear Wave test (CHST) as directed by Engineer along with necessary coupling, threading etc. complete, in the above specified drilled holes, wherever asked for by the Engineer. Note: Drilling for CHST shall be paid under item 2.1 & 4.01. | 300.00 | RM |  | 1992.00 | 597600.00 | 563.00 | 168900.00 | 168900.00 | BAUER ENGINEERING INDIA PRIVATE LIMITED
2.70 | Plugging of bore holes with the cement insitu soil grout (1:6) of flowing consistency after the completion of all the tests in the bore holes as per the direction and clearance of the Engineer etc all complete. Note: The grouting of the hole shall be done using a tremie/pipe/rod extending upto bottom of the hole and raising the same as the grouting proceeds. Plugging shall be done by bottom to top method using suitable pumping arrangement to pump the grout in borehole. | 30.00 | Cum |  | 20650.00 | 619500.00 | 12917.00 | 387510.00 | 387510.00 | BAUER ENGINEERING INDIA PRIVATE LIMITED
2.80 | Carrying out In-situ determination of Soil/DSM Column deformability using Menard Pressure meter test of 100bar capacity (with volume change) in borehole of BX/ NX size, up to 80 bars, in holes at specified depths for estimation of modulus of elasticity as per ASTM D-4719/ISO 22476-4, specifications and drawings in selected boreholes as directed by Engineer in charge and establishment of Elastic/Deformation Modulus Note: (1) Drilling for conduction of PMT shall be paid under item 4.01 for DSM column. (2) Drilling for condcution of PMT shall be paid under item 2.1. for soil. | 150.00 | Nos. |  | 39565.00 | 5934750.00 | 32628.00 | 4894200.00 | 4894200.00 | BAUER ENGINEERING INDIA PRIVATE LIMITED
2.90 | Conducting eCPT (Electronic Friction Cone and Peizocone penetration test) as per ASTM D-5778 using 20 T (minimum) mechanically operated equipment. The quoted rate shall include hiring & operation cost of equipment, all materials, manpower , plant and tools , conducting the test as per locations shown in the drawing or as indicated by the Engineer upto Refusal. Note: 1. Pre-drilling required to conduct the test shall be paid under relevant item 2.1 & 4.01. 2. Rate for shifting of machine from one point to another is included in the quoted rate. 3. Rate shall also include cost of Engineer/ Operator to be deployed for testing meeting the requirements of ASTM D3740. | 20.00 | Nos. |  | 97176.00 | 1943520.00 | 59000.00 | 1180000.00 | 1180000.00 | BAUER ENGINEERING INDIA PRIVATE LIMITED
3.00 | Laboratory Testing's
3.10 | Conducting Grain size analysis, particle size & percent fines distribution of soil and soil classification (IS 1498), (Sieve analysis & Hydrometer or pipette analysis) including Grain Size Distribution curve as per drawings, specification, IS 2720 (part-4) and as directed by the Engineer. | 350.00 | Nos. |  | 1080.00 | 378000.00 | 675.00 | 236250.00 | 236250.00 | BAUER ENGINEERING INDIA PRIVATE LIMITED
3.20 | Conducting triaxial compressive strength test on undisturbed soil samples or on remoulded soil samples or improved samples as per drawings, specification, relevant IS 2720 (Part-11 & 12) and directed by the Engineer.
3.21 | Consolidated undrained type including measurement of pore water pressure. | 10.00 | Nos. |  | 4533.00 | 45330.00 | 1971.00 | 19710.00 | 19710.00 | BAUER ENGINEERING INDIA PRIVATE LIMITED
3.22 | Consolidated drained type | 10.00 | Nos. |  | 4965.00 | 49650.00 | 2366.00 | 23660.00 | 23660.00 | BAUER ENGINEERING INDIA PRIVATE LIMITED
3.23 | Conducting unconfined compressive strength test on undisturbed clayey soil samples | 10.00 | Nos. |  | 1187.00 | 11870.00 | 788.00 | 7880.00 | 7880.00 | BAUER ENGINEERING INDIA PRIVATE LIMITED
4.00 | Testing on DSM Trail Columns
4.01 | Drilling from DSM Columns - of all dia Wihout Core Extraction for condcution of all type of tests in DSM column as per technical specification | 1000.00 | RM |  | 8275.00 | 8275000.00 | 5605.00 | 5605000.00 | 5605000.00 | BAUER ENGINEERING INDIA PRIVATE LIMITED
4.02 | Drilling & Coring from DSM Columns - for core of dia 100mm Obtaining samples of 100mm dia. with from DSM columns, for all depths in which DSM has been executed. The rates shall be inclusive of collecting samples, storing & preserving cores collected in a standard core boxes, necessary sealing and transporting of the same to laboratory for testing as per specfications, applicable IS Code,and as directed by the engineer incharge etc. complete, for conducting Triaxial, Modulus of Elasticity, UCS test, etc. Note: (i) Quoted rate shall include, collection, handling, transportation for testing and stacking/preservation till the samples are handed to NPCIL at the completion of Job. | 1200.00 | RM |  | 9710.00 | 11652000.00 | 5900.00 | 7080000.00 | 7080000.00 | BAUER ENGINEERING INDIA PRIVATE LIMITED
4.03 | Wet Grab Sampling (WGS) | 55.00 | Nos. |  | 3600.00 | 198000.00 | 9440.00 | 519200.00 | 198000.00 | Keller Ground Engineering India Private Limited
4.04 | Static Plate Bearing Test (PBT) as per IS 1888:1982. Ultimate Load - upto Maximum Pressure of 2 MPa with a plate size of 0.8m as per Instruction of EIC. 33Testing Level - EL 91 Kentledge/ Girder - Shall be provided by NPCIL on nonchargable returnable basis within the GHAVP Site. However, shifting, erection & dismantling of same withjin GHAVP premises shall be done by contractor at its own cost. | 3.00 | Nos. |  | 395730.00 | 1187190.00 | 259600.00 | 778800.00 | 778800.00 | BAUER ENGINEERING INDIA PRIVATE LIMITED
4.05 | In-situ Water Pressure (permeability) Test in DSM Columns - Lugeon test (packer test) IS 5529-2 | 10.00 | Nos. |  | 15110.00 | 151100.00 | 20650.00 | 206500.00 | 151100.00 | Keller Ground Engineering India Private Limited
4.06 | Uniaxial Compression Strength Test (UCT) on saturated DSM Cores for Strength, - Samples collected in Item 4.02 | 250.00 | Nos. |  | 2878.00 | 719500.00 | 2065.00 | 516250.00 | 516250.00 | BAUER ENGINEERING INDIA PRIVATE LIMITED
4.07 | Uniaxial Compression Strength Test (UCT) on WGS for Strength, - Samples collected in Item 4.03 | 55.00 | Nos. |  | 2878.00 | 158290.00 | 2065.00 | 113575.00 | 113575.00 | BAUER ENGINEERING INDIA PRIVATE LIMITED
4.08 | Uniaxial Compression Strength Test (UCT) on cores from empty drill for Strength, - Samples collected in Item 4.02 | 30.00 | Nos. |  | 2878.00 | 86340.00 | 2065.00 | 61950.00 | 61950.00 | BAUER ENGINEERING INDIA PRIVATE LIMITED
4.09 | Triaxial Test for DSM Cores (CU/ CD) for angle of internal friction and cohesion, Poisons ratio and E- Modulus | 60.00 | Nos. |  | 8635.00 | 518100.00 | 4130.00 | 247800.00 | 247800.00 | BAUER ENGINEERING INDIA PRIVATE LIMITED
4.10 | Alterability Under Water for DSM Cores - Dimensional stability of Cores | 15.00 | Nos. |  | 8635.00 | 129525.00 | 11800.00 | 177000.00 | 129525.00 | Keller Ground Engineering India Private Limited
4.11 | Determination of Permeability Co-efficient (Permeability Test) of DSM Cores in the lab IS 2720 part 17 - Constant Head Method | 15.00 | Nos. |  | 6476.00 | 97140.00 | 4543.00 | 68145.00 | 68145.00 | BAUER ENGINEERING INDIA PRIVATE LIMITED
4.12 | Determination of Permeability Co-efficient (Permeability Test) of DSM Cores in the lab IS 2720 part 17 - Falling Head Method | 5.00 | Nos. |  | 6476.00 | 32380.00 | 4543.00 | 22715.00 | 22715.00 | BAUER ENGINEERING INDIA PRIVATE LIMITED
5.00 | Deep Soil Mixing Works
5.10 | Mobilization of plant, equipments & accessories required for DSM Works. Bidder to provide list of equipment to be mobilized | 1.00 | L.S. |  | 6549000.00 | 6549000.00 | 1770001.00 | 1770001.00 | 1770001.00 | BAUER ENGINEERING INDIA PRIVATE LIMITED
5.20 | De-mobilization of plant, equipments & accessories required for DSM works on completion of work or as per instruction of engineer. | 1.00 | L.S. |  | 4248000.00 | 4248000.00 | 590001.00 | 590001.00 | 590001.00 | BAUER ENGINEERING INDIA PRIVATE LIMITED
6.00 | DSM works of all diameters & depth including manpower, machineries, equipment, casings, tools and tackles for executing works at site as per approved method statement. Rates shall include all manpower and resources required for the works including shifting of machine from one point to another. Note: 1. Quoted rates shall include empty drilling in soil as per approved methodology/ specifications and same shall not be measured & claimed seperately.The measurement shall be done for the DSM column up to the final treated depth. 2. Quoted rates shall also include supply, fabrication, installation and monitoring of settlement markers as per approved drawing. 3. During execution of DSM columns, in case of any interruption due to various reasons such as breakdown of machinery/ equipment/ pump etc which requires additional DSM column shall be done by contractor at its own cost and shall not be considered for measurement/ extra payment. For measurement purpose DSM column will be paid only once as per approved drawing. 4. Quoted rates shall also include all charges for any waiting period between DSM installation trials. No additional payment for any waiting period 5. DSM Materials shall be paid as per actuals consumed in DSM column depending upon the composition of grout under item 7. | 4062.00 | RM |  | 48769.00 | 198099678.00 | 21653.00 | 87954486.00 | 87954486.00 | BAUER ENGINEERING INDIA PRIVATE LIMITED
7.00 | Materials: Grout Material: Consumption of grout materials for different types of trial/testing works. Quoted rate shall include cost of transportation & supply of material, its storage, required testing, cost of transportation of grout material in automated weigh batching and mixing plant(s), transporting grout to placement locations, grout designing, material qualifications, preservation and performing required tests as per approved methodology, including maintaing and submitting all the records. Quoted rate shall also include provision of all equipment, tools & plants, manpower, consumables, enabling works required for carrying out grouting works, necessary arrangements for testing as per the approved methodology & QAP and conducting trials and offering the same for inspection to NPCIL. Measurement for each ingredient shall be made based on batch sheet generated from automatic batching/ mixing plant. Payment shall be made for only actual consumption of materials in grout column and cost towards any rejected/ un-used/ extra material prepared shall be borne by contractor.
7.10 | Cement (OPC 43/53) | 2515.00 | MT |  | 13081.00 | 32898715.00 | 7316.00 | 18399740.00 | 18399740.00 | BAUER ENGINEERING INDIA PRIVATE LIMITED
7.20 | Admixtures | 1000.00 | Kg |  | 134.00 | 134000.00 | 142.00 | 142000.00 | 134000.00 | Keller Ground Engineering India Private Limited
7.30 | Bentonite | 65.00 | MT |  | 10709.00 | 696085.00 | 12390.00 | 805350.00 | 696085.00 | Keller Ground Engineering India Private Limited
| Total in Figures |  |  |  |  | 284927413.00 |  | 139954483.00
Lowest Amount Quoted BY: BAUER ENGINEERING INDIA PRIVATE LIMITED(139954483.00)

## BOQ Summary
BOQ Summary Details Tender Title: Trial to establish the feasibility and efficacy of Deep Soil Mixing (DSM) for Main Plant Structures of GHAVP-3 and 4 (Phase-I) at village-Gorakhpur, Distt.-Fatehabad, Haryana. Tender ID: 2026_NPCIL_278378_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | BAUER ENGINEERING INDIA PRIVATE LIMITED (BID ID -1041272) | 139954483.00 | L1
| 2 | Keller Ground Engineering India Private Limited (BID ID -1040142) | 284927413.00 | L2