## BoQ1
Government eProcurement System Created By: Rajesh Sharma Created Date/Time: 30-Sep-2026 02:44 PM Tender Title: Electrical works of new Environmental Survey Lab Building at NAPS Township, Narora. Tender ID: 2026_NPCIL_278603_1
Tender Inviting Authority: Manager
Name of Work: Electrical works of new Environmental Survey Lab Building at NAPS Township, Narora.
Contract No: NAPS/CMMWG/EMU/2026/CPPP/PT/1213
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Master Electric Store (GSTN-07AAHPB6825H1ZU) BID ID -1033702 |  | Aditya Techno Products Private Limited (GSTN-09AAGCA0910L1ZS) BID ID -1033783 |  | JAGGI ELECTRICALS (GSTN-NA) BID ID -1040273 |  | NEW TECH ENGINEERING CO. (GSTN-NA) BID ID -1032031
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Main power supply board: Supply, installation, testing and commissioning of main power supply board as per specification. (Panel-1) Incomer feeder : 3 phase 630 amp MCCB-1 no. Outgoing feeders: (1)3 phase 100 amp MCCB-7 nos.(2)3 phase 63 amp MCCB-10 nos. Panel shall be equipped with trivectometer and 150 KVAR capacitor panel. | 2.00 | Nos | 1.25 | 879000.00 | 1758000.00 | 755000.00 | 1510000.00 | 649999.00 | 1299998.00 | 1150000.00 | 2300000.00 | 1299998.00 | JAGGI ELECTRICALS
2.00 | Distribution board: supply, installation, testing & commissioning of following distribution boards as per specification.
3.00 | 12 way power distribution boardd (panel-2) Incomer feeder: 4 pole, 3 phase 100 amp, 30mA RCBO- 01 no. Outgoing feeders: 20 amp SPN MCB-36 nos. | 5.00 | Nos | 0.00 | 65999.00 | 329995.00 | 22500.00 | 112500.00 | 52999.99 | 264999.95 | 60000.00 | 300000.00 | 112500.00 | Aditya Techno Products Private Limited
4.00 | 12 way power distribution board (panel-3) Incomer feeder: 4 pole , 3 phase 100 amp. 30 mA RCBO-01 no. Outgoing feeders: (1) 16 amp. TPN MCB- 8 nos. (2) 10 amp SPN MCB- 12 nos. | 1.00 | Nos | 100.00 | 55788.00 | 55788.00 | 30000.00 | 30000.00 | 50999.05 | 50999.05 | 55000.00 | 55000.00 | 30000.00 | Aditya Techno Products Private Limited
5.00 | 12 way power distribution board (panel-4) Incomer feeder: 4 pole, 3 phase 63 amp, 30 mA RCBO- 01 no. Outgoing feeders: (1) 10 amp SPN MCB - 24 nos. (2) 20 amp SPN MCB- 12 nos. | 6.00 | Nos | 53.00 | 46700.00 | 280200.00 | 14000.00 | 84000.00 | 40999.00 | 245994.00 | 45000.00 | 270000.00 | 84000.00 | Aditya Techno Products Private Limited
6.00 | 12 way power distribution board (panel-5) Incomer feeder: 4 pole, 3 phase , 63 amp, 30 mA RCBO- 01 no. Outgoing feeders: (1) 10 amp SPN MCB- 24 nos. (2) 20 amp SPN MCB - 12 nos. Incomer shall have change over switch for two source of supply. | 2.00 | Nos | 10.00 | 51500.00 | 103000.00 | 12951.00 | 25902.00 | 43999.00 | 87998.00 | 45000.00 | 90000.00 | 25902.00 | Aditya Techno Products Private Limited
7.00 | 8 way power distribution board for street light (panel-6) Incomer feeder: 4 pole, 3 phase , 63 amp, 30 mA RCBO -01 no. Outgoing feeders: (1) 32 amp TPN MCB- 2 nos. (2) 16 amp SPN mcb - 12 nos. Panel shall be equipped with photo cell and timer for ON/OFF operation of street lights | 1.00 | Nos | 11.00 | 31500.00 | 31500.00 | 11000.00 | 11000.00 | 29999.00 | 29999.00 | 40000.00 | 40000.00 | 11000.00 | Aditya Techno Products Private Limited
8.00 | Supply of metallic plug and socket type DB as per IS:8623 with 2P+E type connection and with 20A MCB . | 60.00 | Nos | 10.00 | 1200.00 | 72000.00 | 2500.00 | 150000.00 | 1799.00 | 107940.00 | 1700.00 | 102000.00 | 72000.00 | Master Electric Store
9.00 | Erection of plug and socket type DB | 50.00 | Nos | 10.00 | 10.00 | 500.00 | 100.00 | 5000.00 | 529.00 | 26450.00 | 500.00 | 25000.00 | 500.00 | Master Electric Store
10.00 | Supply and Installation of 3 mtr length 40mm dia solid MS rod for lightning protection system with necessary excavation in soil | 10.00 | Nos. | 0.00 | 3500.00 | 35000.00 | 1299.00 | 12990.00 | 4599.00 | 45990.00 | 3000.00 | 30000.00 | 12990.00 | Aditya Techno Products Private Limited
11.00 | Supply and Installation of 14 SWG copper earthing wire along the run of conduit including necessary fixing hardware like copper clip and connection to earthing terminals, lighting, junction boxes, various boards, fan as per specification. | 1200.00 | RM | 1.00 | 9.00 | 10800.00 | 40.00 | 48000.00 | 79.00 | 94800.00 | 72.00 | 86400.00 | 10800.00 | Master Electric Store
12.00 | 1.1 KV grade FRLSH type, armoured LT cables, AL/CU conductor as per IS-7098:2010.
13.00 | 4 core x 50 sq. mm AL | 500.00 | RM | 11.00 | 750.00 | 375000.00 | 502.00 | 251000.00 | 549.00 | 274500.00 | 600.00 | 300000.00 | 251000.00 | Aditya Techno Products Private Limited
14.00 | 4 core x 25 sq. mm AL | 1000.00 | RM | 10.00 | 480.00 | 480000.00 | 812.00 | 812000.00 | 399.00 | 399000.00 | 310.00 | 310000.00 | 310000.00 | NEW TECH ENGINEERING CO.
15.00 | 4 core x 10 sq. mm CU | 1000.00 | RM | 11.00 | 1190.00 | 1190000.00 | 1700.00 | 1700000.00 | 799.00 | 799000.00 | 950.00 | 950000.00 | 799000.00 | JAGGI ELECTRICALS
16.00 | 4 core x 6 sq. mm CU | 500.00 | RM | 0.00 | 780.00 | 390000.00 | 750.00 | 375000.00 | 629.00 | 314500.00 | 570.00 | 285000.00 | 285000.00 | NEW TECH ENGINEERING CO.
17.00 | 4 core x 4 sq. Mm CU | 1500.00 | RM | 11.00 | 680.00 | 1020000.00 | 650.00 | 975000.00 | 429.00 | 643500.00 | 400.00 | 600000.00 | 600000.00 | NEW TECH ENGINEERING CO.
18.00 | Excavation of cable trenches of required sizes, in all sort of soil at wherever necessary . After laying the cable, back filing is also in the scope of job | 100.00 | CuM | 11.00 | 500.00 | 50000.00 | 325.00 | 32500.00 | 569.00 | 56900.00 | 450.00 | 45000.00 | 32500.00 | Aditya Techno Products Private Limited
19.00 | Supply and spreading of good quality sand 100 mm below and 100 mm above the cable in the cable trench | 30.00 | CuM | 10.00 | 500.00 | 15000.00 | 2200.00 | 66000.00 | 2129.00 | 63870.00 | 1000.00 | 30000.00 | 15000.00 | Master Electric Store
20.00 | Supply & placing of bricks of standard size in the cable trench after cable laying and spreading of sand | 4500.00 | Nos | 11.00 | 12.00 | 54000.00 | 14.00 | 63000.00 | 9.00 | 40500.00 | 8.00 | 36000.00 | 36000.00 | NEW TECH ENGINEERING CO.
21.00 | Supply of tinned brass cable glands suitable for the 1100 V grade LT cables supplied in contract.
22.00 | 4C x 50 SQ mm AL | 10.00 | Nos | 11.00 | 100.00 | 1000.00 | 1100.00 | 11000.00 | 749.00 | 7490.00 | 600.00 | 6000.00 | 1000.00 | Master Electric Store
23.00 | 4C x 25 SQ mm AL | 25.00 | Nos | 10.00 | 100.00 | 2500.00 | 850.00 | 21250.00 | 599.00 | 14975.00 | 400.00 | 10000.00 | 2500.00 | Master Electric Store
24.00 | 4C x 10 SQ mm CU | 25.00 | Nos | 11.00 | 100.00 | 2500.00 | 650.00 | 16250.00 | 449.00 | 11225.00 | 350.00 | 8750.00 | 2500.00 | Master Electric Store
25.00 | 4C x 6 SQ mm CU | 10.00 | Nos | 0.00 | 100.00 | 1000.00 | 650.00 | 6500.00 | 379.00 | 3790.00 | 250.00 | 2500.00 | 1000.00 | Master Electric Store
26.00 | 4C x 4 SQ mm CU | 70.00 | Nos | 11.00 | 100.00 | 7000.00 | 550.00 | 38500.00 | 309.00 | 21630.00 | 200.00 | 14000.00 | 7000.00 | Master Electric Store
27.00 | Supply of copper/Aluminum crimpable type of lugs suitable for 1100 V grade LT cables supplied in contract.
28.00 | 50 SQ mm AL | 30.00 | Nos | 11.00 | 4.00 | 120.00 | 42.00 | 1260.00 | 39.00 | 1170.00 | 45.00 | 1350.00 | 120.00 | Master Electric Store
29.00 | 25 SQ mm AL | 100.00 | Nos | 10.00 | 4.00 | 400.00 | 25.00 | 2500.00 | 19.00 | 1900.00 | 30.00 | 3000.00 | 400.00 | Master Electric Store
30.00 | 10 SQ mm CU | 100.00 | Nos | 11.00 | 4.00 | 400.00 | 45.00 | 4500.00 | 29.00 | 2900.00 | 25.00 | 2500.00 | 400.00 | Master Electric Store
31.00 | 6 SQ mm CU | 100.00 | Nos | 0.00 | 4.00 | 400.00 | 35.00 | 3500.00 | 19.00 | 1900.00 | 25.00 | 2500.00 | 400.00 | Master Electric Store
32.00 | 4 SQ mm CU | 500.00 | Nos | 11.00 | 4.00 | 2000.00 | 33.00 | 16500.00 | 9.00 | 4500.00 | 20.00 | 10000.00 | 2000.00 | Master Electric Store
33.00 | Laying and dressing of the supplied 1100 V grade 3/4 core LT cables into the excavated trench/hume pipes/cable tray /light channel/GI pipe.
34.00 | Cable below 50sqmm size | 3000.00 | RM | 11.00 | 15.00 | 45000.00 | 12.00 | 36000.00 | 49.00 | 147000.00 | 50.00 | 150000.00 | 36000.00 | Aditya Techno Products Private Limited
35.00 | Cable of 50sqmm and above size | 1000.00 | RM | 10.00 | 25.00 | 25000.00 | 45.00 | 45000.00 | 89.00 | 89000.00 | 70.00 | 70000.00 | 25000.00 | Master Electric Store
36.00 | Glanding,lugging and connection of 1100 V grade 3/4 core LT cables at both ends. Supply of glands & lugs shall be paid separately in respective item.
37.00 | Cable below 50sqmm size | 60.00 | Nos | 11.00 | 100.00 | 6000.00 | 75.00 | 4500.00 | 199.00 | 11940.00 | 200.00 | 12000.00 | 4500.00 | Aditya Techno Products Private Limited
38.00 | Cable of 50sqmm and above size | 22.00 | Nos | 10.00 | 100.00 | 2200.00 | 250.00 | 5500.00 | 299.00 | 6578.00 | 350.00 | 7700.00 | 2200.00 | Master Electric Store
39.00 | Supply of following sizes of 1100 V grade, PVC insulated, sheathed, FRLSH, flexible stranded copper conductor wires as per IS:694.
40.00 | 1.5 sq. mm | 5500.00 | RM | 10.00 | 35.00 | 192500.00 | 45.00 | 247500.00 | 39.00 | 214500.00 | 32.00 | 176000.00 | 176000.00 | NEW TECH ENGINEERING CO.
41.00 | 2.5 sq. mm | 9000.00 | RM | 11.00 | 60.00 | 540000.00 | 65.00 | 585000.00 | 59.00 | 531000.00 | 52.00 | 468000.00 | 468000.00 | NEW TECH ENGINEERING CO.
42.00 | 4.0 sq, mm | 5500.00 | RM | 0.00 | 90.00 | 495000.00 | 112.00 | 616000.00 | 89.00 | 489500.00 | 81.00 | 445500.00 | 445500.00 | NEW TECH ENGINEERING CO.
43.00 | 6.0 sq. Mm | 2500.00 | RM | 11.00 | 135.00 | 337500.00 | 170.00 | 425000.00 | 119.00 | 297500.00 | 130.00 | 325000.00 | 297500.00 | JAGGI ELECTRICALS
44.00 | Laying, termination and connection of supplied Cu wires (1.5,2.5,4.0,6.0 sqmm wires) in already installed PVC/GI conduit on surface /wall concealed | 18000.00 | RM | 11.00 | 7.00 | 126000.00 | 3.00 | 54000.00 | 19.00 | 342000.00 | 10.00 | 180000.00 | 54000.00 | Aditya Techno Products Private Limited
45.00 | Primary wiring points wiring from all Ist. Panels/DB/SB or SB to SB to first light/Fan point using 2 x 2.5 sqmm (phase & neutral) + 1 x 1.5 sqmm (Earth) Cu PVC wires. | 250.00 | Nos | 0.00 | 1690.00 | 422500.00 | 1250.00 | 312500.00 | 2099.00 | 524750.00 | 1500.00 | 375000.00 | 312500.00 | Aditya Techno Products Private Limited
46.00 | Secondary wiring points extending primary circuits to various light points using 2 x 1.5 (phase & neutral) + 1 x 1.5 sqmm (Earth) Cu PVC wires from primary point | 350.00 | Nos | 11.00 | 1200.00 | 420000.00 | 400.00 | 140000.00 | 999.00 | 349650.00 | 850.00 | 297500.00 | 140000.00 | Aditya Techno Products Private Limited
47.00 | Light control switch & sockets
48.00 | Supply of modular type switch 6/10A. | 520.00 | Nos | 10.00 | 50.00 | 26000.00 | 50.00 | 26000.00 | 99.00 | 51480.00 | 35.00 | 18200.00 | 18200.00 | NEW TECH ENGINEERING CO.
49.00 | Supply of modular type swith 16/20A. | 125.00 | Nos | 11.00 | 100.00 | 12500.00 | 110.00 | 13750.00 | 179.00 | 22375.00 | 100.00 | 12500.00 | 12500.00 | NEW TECH ENGINEERING CO., Master Electric Store
50.00 | Supply of moduar type plug socket 6/10A, 5 pin. | 175.00 | Nos | 0.00 | 90.00 | 15750.00 | 130.00 | 22750.00 | 179.00 | 31325.00 | 50.00 | 8750.00 | 8750.00 | NEW TECH ENGINEERING CO.
51.00 | Supply of moduar type plug socket 16/20A, 6 pin. | 125.00 | Nos | 11.00 | 150.00 | 18750.00 | 190.00 | 23750.00 | 249.00 | 31125.00 | 125.00 | 15625.00 | 15625.00 | NEW TECH ENGINEERING CO.
52.00 | Supply of modular type step fan regulator 100W, 1M. | 80.00 | Nos | 11.00 | 290.00 | 23200.00 | 450.00 | 36000.00 | 499.00 | 39920.00 | 150.00 | 12000.00 | 12000.00 | NEW TECH ENGINEERING CO.
53.00 | Supply of modular type plug socket 20A, twin socket, 2M. | 75.00 | Nos | 0.00 | 150.00 | 11250.00 | 250.00 | 18750.00 | 249.00 | 18675.00 | 150.00 | 11250.00 | 11250.00 | NEW TECH ENGINEERING CO., Master Electric Store
54.00 | Supply of modular type mini MCB 25A, single pole, C-type, 1M | 75.00 | Nos | 11.00 | 300.00 | 22500.00 | 350.00 | 26250.00 | 299.00 | 22425.00 | 250.00 | 18750.00 | 18750.00 | NEW TECH ENGINEERING CO.
55.00 | Installation of different modular type switches, socket, Fan regulators in duly erected modular box with base frame & cover plate, internal wiring connections shall be in scope of contractor. | 1100.00 | Nos | 11.00 | 14.00 | 15400.00 | 21.00 | 23100.00 | 79.00 | 86900.00 | 50.00 | 55000.00 | 15400.00 | Master Electric Store
56.00 | Concealed /surface metal box
57.00 | Supply of 16 Gauge metal concealed /surface Switch box with frame plates and cover plate of following modules.
58.00 | 3 Module | 100.00 | Nos | 10.00 | 140.00 | 14000.00 | 229.00 | 22900.00 | 229.00 | 22900.00 | 110.00 | 11000.00 | 11000.00 | NEW TECH ENGINEERING CO.
59.00 | 4 Module | 20.00 | Nos | 11.00 | 150.00 | 3000.00 | 255.00 | 5100.00 | 249.00 | 4980.00 | 135.00 | 2700.00 | 2700.00 | NEW TECH ENGINEERING CO.
60.00 | 6 Module | 80.00 | Nos | 0.00 | 210.00 | 16800.00 | 325.00 | 26000.00 | 349.00 | 27920.00 | 180.00 | 14400.00 | 14400.00 | NEW TECH ENGINEERING CO.
61.00 | 8 Module | 45.00 | Nos | 11.00 | 240.00 | 10800.00 | 375.00 | 16875.00 | 429.00 | 19305.00 | 250.00 | 11250.00 | 10800.00 | Master Electric Store
62.00 | 12 Module | 50.00 | Nos | 11.00 | 310.00 | 15500.00 | 450.00 | 22500.00 | 699.00 | 34950.00 | 430.00 | 21500.00 | 15500.00 | Master Electric Store
63.00 | 16 Module | 10.00 | Nos | 0.00 | 400.00 | 4000.00 | 550.00 | 5500.00 | 899.00 | 8990.00 | 560.00 | 5600.00 | 4000.00 | Master Electric Store
64.00 | Installation of metal concealed box/metal box with base frame and its cover plate in the wall.ceiling by making required groove for following modules
65.00 | 3 Module | 100.00 | Nos | 10.00 | 10.00 | 1000.00 | 25.00 | 2500.00 | 179.00 | 17900.00 | 150.00 | 15000.00 | 1000.00 | Master Electric Store
66.00 | 4 Module | 20.00 | Nos | 11.00 | 10.00 | 200.00 | 30.00 | 600.00 | 189.00 | 3780.00 | 150.00 | 3000.00 | 200.00 | Master Electric Store
67.00 | 6 Module | 80.00 | Nos | 0.00 | 10.00 | 800.00 | 35.00 | 2800.00 | 239.00 | 19120.00 | 150.00 | 12000.00 | 800.00 | Master Electric Store
68.00 | 8 Module | 45.00 | Nos | 11.00 | 10.00 | 450.00 | 45.00 | 2025.00 | 239.00 | 10755.00 | 200.00 | 9000.00 | 450.00 | Master Electric Store
69.00 | 12 Module | 50.00 | Nos | 11.00 | 10.00 | 500.00 | 55.00 | 2750.00 | 329.00 | 16450.00 | 200.00 | 10000.00 | 500.00 | Master Electric Store
70.00 | 16 Module | 10.00 | Nos | 0.00 | 10.00 | 100.00 | 65.00 | 650.00 | 359.00 | 3590.00 | 200.00 | 2000.00 | 100.00 | Master Electric Store
71.00 | Supply & installation of ISI marked 1200 mm sweep, single phase, 230 V AC operated, 3 blade type, ceiling fan. | 70.00 | Nos | 10.00 | 2261.00 | 158270.00 | 2000.00 | 140000.00 | 3999.00 | 279930.00 | 2250.00 | 157500.00 | 140000.00 | Aditya Techno Products Private Limited
72.00 | Supply & installation of 2 Ton split Air conditioner including all complete set of accessories. | 51.00 | Nos | 11.00 | 78900.00 | 4023900.00 | 35000.00 | 1785000.00 | 65999.00 | 3365949.00 | 65000.00 | 3315000.00 | 1785000.00 | Aditya Techno Products Private Limited
73.00 | Supply & installation of 1.5 Ton split Air conditioner hot and cool type including all complete set of accessories. | 11.00 | Nos | 0.00 | 57800.00 | 635800.00 | 28116.00 | 309276.00 | 52999.00 | 582989.00 | 50000.00 | 550000.00 | 309276.00 | Aditya Techno Products Private Limited
74.00 | Supply and installation of ISI mark 300 mm sweep, 4 pole, 4 blade, metal body, single phase, 230 AC operated exhaust fan complete with louvers . | 20.00 | Nos | 11.00 | 2660.00 | 53200.00 | 2500.00 | 50000.00 | 2999.00 | 59980.00 | 2500.00 | 50000.00 | 50000.00 | NEW TECH ENGINEERING CO., Aditya Techno Products Private Limited
75.00 | Supply of complete set of various types of LED lighting fixtures.
76.00 | LED fixture with light, 1 x 12-18W (Ceiling mounting) | 150.00 | Nos | 10.00 | 550.00 | 82500.00 | 1150.00 | 172500.00 | 2129.00 | 319350.00 | 550.00 | 82500.00 | 82500.00 | NEW TECH ENGINEERING CO., Master Electric Store
77.00 | LED fixture with light, 1 x 35-40W (Ceiling mounting) | 150.00 | Nos | 11.00 | 1899.00 | 284850.00 | 3750.00 | 562500.00 | 2599.00 | 389850.00 | 1250.00 | 187500.00 | 187500.00 | NEW TECH ENGINEERING CO.
78.00 | LED fixture with light, 1 x 4-8W (Ceiling Mounting) Suitable for Toilet/Bathroom | 95.00 | Nos | 0.00 | 310.00 | 29450.00 | 1050.00 | 99750.00 | 1229.00 | 116755.00 | 400.00 | 38000.00 | 29450.00 | Master Electric Store
79.00 | LED fixture with light, 1 x 3-9W (Wall/Surface Mounting) Suitable for Washbasin area | 25.00 | Nos | 11.00 | 320.00 | 8000.00 | 750.00 | 18750.00 | 1499.00 | 37475.00 | 400.00 | 10000.00 | 8000.00 | Master Electric Store
80.00 | LED fixture with light, 1 x 12-18W (Wall/Surface Mounting) Suitable for staicase and entrance area | 25.00 | Nos | 11.00 | 550.00 | 13750.00 | 1150.00 | 28750.00 | 2499.00 | 62475.00 | 750.00 | 18750.00 | 13750.00 | Master Electric Store
81.00 | LED fixture with light, 1 x 6-10W (Wall/Surface Mounting) Bulkhead for outdoor area | 10.00 | Nos | 0.00 | 890.00 | 8900.00 | 1500.00 | 15000.00 | 1729.00 | 17290.00 | 500.00 | 5000.00 | 5000.00 | NEW TECH ENGINEERING CO.
82.00 | Outdoor street light LED fixture 1 x 40-50W | 50.00 | Nos | 10.00 | 2100.00 | 105000.00 | 4500.00 | 225000.00 | 5599.00 | 279950.00 | 2000.00 | 100000.00 | 100000.00 | NEW TECH ENGINEERING CO.
83.00 | Installation of the supplied lighting fixtures at various location of building . Scope includes all the accessories required for installation. | 500.00 | Nos | 0.00 | 100.00 | 50000.00 | 75.00 | 37500.00 | 429.00 | 214500.00 | 250.00 | 125000.00 | 37500.00 | Aditya Techno Products Private Limited
84.00 | Installation of the supplied street light fixtures at various location of building. Scope includes all the accessories required for installation. | 50.00 | Nos | 10.00 | 100.00 | 5000.00 | 145.00 | 7250.00 | 1699.00 | 84950.00 | 500.00 | 25000.00 | 5000.00 | Master Electric Store
85.00 | Supply of 415V AC, 63A 3f AC power receptacle with MCB . | 8.00 | Nos | 10.00 | 3325.00 | 26600.00 | 20000.00 | 160000.00 | 16999.00 | 135992.00 | 25000.00 | 200000.00 | 26600.00 | Master Electric Store
86.00 | Installation of the supplied 63A 3f AC power receptacle at various location of building. Scope includes all the accessories required for installation. | 8.00 | Nos | 11.00 | 665.00 | 5320.00 | 100.00 | 800.00 | 999.00 | 7992.00 | 1250.00 | 10000.00 | 800.00 | Aditya Techno Products Private Limited
87.00 | Supply of 7 meter long 410 SP2 type GI pole as per IS:2713 street light pole | 45.00 | Nos | 0.00 | 12900.00 | 580500.00 | 19500.00 | 877500.00 | 17999.00 | 809955.00 | 15000.00 | 675000.00 | 580500.00 | Master Electric Store
88.00 | Erection of street light pole | 45.00 | Nos | 11.00 | 3000.00 | 135000.00 | 700.00 | 31500.00 | 6499.00 | 292455.00 | 5000.00 | 225000.00 | 31500.00 | Aditya Techno Products Private Limited
89.00 | Supply of 2 way FRP junction box for outdoor lighting pole | 45.00 | Nos | 11.00 | 800.00 | 36000.00 | 2500.00 | 112500.00 | 1499.00 | 67455.00 | 1500.00 | 67500.00 | 36000.00 | Master Electric Store
90.00 | Erection of 2 way FRP junction box to pole mounted street light | 45.00 | Nos | 0.00 | 133.00 | 5985.00 | 50.00 | 2250.00 | 259.00 | 11655.00 | 500.00 | 22500.00 | 2250.00 | Aditya Techno Products Private Limited
91.00 | Making of earth treated pit as per IS:3043 | 4.00 | Nos | 10.00 | 665.00 | 2660.00 | 6500.00 | 26000.00 | 9999.00 | 39996.00 | 5000.00 | 20000.00 | 2660.00 | Master Electric Store
92.00 | Suppy of 25 x 6 mm galvanised steel for earth continuity conductor | 30.00 | meters | 11.00 | 149.00 | 4470.00 | 220.00 | 6600.00 | 209.00 | 6270.00 | 150.00 | 4500.00 | 4470.00 | Master Electric Store
93.00 | Installation of 25 x 6 mm galvanised steel for earth continuity conductor | 30.00 | meters | 0.00 | 30.00 | 900.00 | 22.00 | 660.00 | 99.00 | 2970.00 | 60.00 | 1800.00 | 660.00 | Aditya Techno Products Private Limited
94.00 | Supply, installation, testing & commissioning of 20 KVA capacity of UPS having 6 hour back up complete with batteries (12 V/150 AH) and other accessories. UPS shall have two nos. of 4 way 63 amp power terminals at output side. | 1.00 | Nos | 11.00 | 850000.00 | 850000.00 | 410000.00 | 410000.00 | 1299999.00 | 1299999.00 | 850000.00 | 850000.00 | 410000.00 | Aditya Techno Products Private Limited
95.00 | supply and installation of 11 KV GOD with DO fuse and LA along with complete assembly on pole structure | 1.00 | Set | 10.00 | 66500.00 | 66500.00 | 105000.00 | 105000.00 | 15999.00 | 15999.00 | 55000.00 | 55000.00 | 15999.00 | JAGGI ELECTRICALS
96.00 | supply and installation of MS structural steel (ISMB POLE,C channel, angle etc) of various section as required for 11 KV , 2 pole structure | 1.00 | set | 11.00 | 66500.00 | 66500.00 | 115000.00 | 115000.00 | 129999.00 | 129999.00 | 75000.00 | 75000.00 | 66500.00 | Master Electric Store
97.00 | supply of 150mm W x 75 mm H x 2 mm perforated GI cable tray with cover | 100.00 | Mtr | 0.00 | 900.00 | 90000.00 | 1700.00 | 170000.00 | 1599.00 | 159900.00 | 1150.00 | 115000.00 | 90000.00 | Master Electric Store
98.00 | installation of 150mm W x 75 mm H x 2 mm perforated cable tray with cover along with supply and installtion of cable tray support and anchor fastener. | 100.00 | Mtr | 11.00 | 100.00 | 10000.00 | 120.00 | 12000.00 | 299.00 | 29900.00 | 350.00 | 35000.00 | 10000.00 | Master Electric Store
99.00 | supply of 1.1 KV grade, 3.5 CX240 sqmm armoured AL cable with XLPE insulation and PVC outer sheath. | 500.00 | Mtr | 11.00 | 2130.00 | 1065000.00 | 2550.00 | 1275000.00 | 2499.00 | 1249500.00 | 2000.00 | 1000000.00 | 1000000.00 | NEW TECH ENGINEERING CO.
100.00 | supply of 100 W LED flood light. | 4.00 | Nos. | 0.00 | 3500.00 | 14000.00 | 6500.00 | 26000.00 | 9999.00 | 39996.00 | 4500.00 | 18000.00 | 14000.00 | Master Electric Store
101.00 | supply of 3C X 2.5 sqmm FRLS TRS cable. | 200.00 | Mtr | 10.00 | 310.00 | 62000.00 | 350.00 | 70000.00 | 149.00 | 29800.00 | 170.00 | 34000.00 | 29800.00 | JAGGI ELECTRICALS
102.00 | supply of GI clamp for lightning protection | 200.00 | Nos. | 0.00 | 65.00 | 13000.00 | 150.00 | 30000.00 | 149.00 | 29800.00 | 100.00 | 20000.00 | 13000.00 | Master Electric Store
103.00 | supply of Cable route marker | 50.00 | Nos. | 10.00 | 133.00 | 6650.00 | 1200.00 | 60000.00 | 299.00 | 14950.00 | 350.00 | 17500.00 | 6650.00 | Master Electric Store
104.00 | supply & installation of PVC casing caping. | 300.00 | Mtr | 10.00 | 25.00 | 7500.00 | 250.00 | 75000.00 | 79.00 | 23700.00 | 65.00 | 19500.00 | 7500.00 | Master Electric Store
105.00 | supply & installation of fan hook | 22.00 | Nos. | 11.00 | 200.00 | 4400.00 | 100.00 | 2200.00 | 199.00 | 4378.00 | 150.00 | 3300.00 | 2200.00 | Aditya Techno Products Private Limited
106.00 | supply & installation of 1 mtr long fan rod. | 68.00 | Nos. | 0.00 | 150.00 | 10200.00 | 125.00 | 8500.00 | 189.00 | 12852.00 | 150.00 | 10200.00 | 8500.00 | Aditya Techno Products Private Limited
107.00 | Supply & installation of 200 mm hume pipe for cable laying. | 20.00 | Mtr | 11.00 | 900.00 | 18000.00 | 450.00 | 9000.00 | 479.00 | 9580.00 | 750.00 | 15000.00 | 9000.00 | Aditya Techno Products Private Limited
108.00 | laying and termination of 3C X 2.5 sqmm FRLS TRS cable. | 100.00 | Mtr. | 11.00 | 20.00 | 2000.00 | 25.00 | 2500.00 | 19.00 | 1900.00 | 10.00 | 1000.00 | 1000.00 | NEW TECH ENGINEERING CO.
109.00 | Installation of of GI clamp for lightning protection including supply and installation of anchor fastner | 148.00 | Nos. | 0.00 | 50.00 | 7400.00 | 35.00 | 5180.00 | 249.00 | 36852.00 | 175.00 | 25900.00 | 5180.00 | Aditya Techno Products Private Limited
110.00 | Supply and Installation of 50 mm X 6 mm GI strip for lightning protection | 800.00 | Mtr | 10.00 | 310.00 | 248000.00 | 125.00 | 100000.00 | 399.00 | 319200.00 | 280.00 | 224000.00 | 100000.00 | Aditya Techno Products Private Limited
111.00 | Supply and Installation of 35 mm X 6 mm GI strip for lightning protection | 300.00 | Mtr | 11.00 | 210.00 | 63000.00 | 105.00 | 31500.00 | 229.00 | 68700.00 | 240.00 | 72000.00 | 31500.00 | Aditya Techno Products Private Limited
112.00 | Supply and installation of test link for lightning protection | 10.00 | Nos. | 0.00 | 3325.00 | 33250.00 | 1000.00 | 10000.00 | 329.00 | 3290.00 | 200.00 | 2000.00 | 2000.00 | NEW TECH ENGINEERING CO.
| Total in Figures |  |  |  |  | 17985758.00 |  | 16343168.00 |  | 19083179.00 |  | 17174175.00
Lowest Amount Quoted BY: Aditya Techno Products Private Limited(16343168.00)

## BOQ Summary
BOQ Summary Details Tender Title: Electrical works of new Environmental Survey Lab Building at NAPS Township, Narora. Tender ID: 2026_NPCIL_278603_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Aditya Techno Products Private Limited (BID ID -1033783) | 16343168.00 | L1
| 2 | NEW TECH ENGINEERING CO. (BID ID -1032031) | 17174175.00 | L2
| 3 | Master Electric Store (BID ID -1033702) | 17985758.00 | L3
| 4 | JAGGI ELECTRICALS (BID ID -1040273) | 19083179.00 | L4