## BoQ1
Government eProcurement System Created By: Bathal Kumar Created Date/Time: 05-Oct-2026 12:21 PM Tender Title: Maintenance and Miscellaneous Civil Works at Kaiga Township Mallapur. Tender ID: 2026_NPCIL_278767_1
Tender Inviting Authority: Additional Chief Engineer, (E&US)
Name of Work: Maintenance and Miscellaneous Civil Works at Kaiga Township Mallapur.
Contract No: NPCIL/KGS/C&MM (WG)/E&US(Civil-T/S)/CPPP/2026/119
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | RAVI S HALAGATI (GSTN-NA) BID ID -1034420 |  | P THANGAVELU (GSTN-NA) BID ID -1036335 |  | WIN-TECH ENGINEERS & CONTRACTORS (GSTN-NA) BID ID -1036139 |  | PRAKASH M GAUNSKAR (GSTN-NA) BID ID -1036157
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earthwork Excavation in all Sorts of Soil for foundation trenches, walls, drains, plinths, footings, pedestals, colunmns and for all other miscellaneous foundation works etc., including Cutting / removing & clearance of jungle, bushes, grass & creepers etc. Shoring, strutting, bailing out water [if necessary], dressing, leveling & hand ramming he bottom of foundation base using wooden hand rammer with proper watering, refilling the sides of the foundation with excavated available good quality of Soil, leveling & hand ramming the sides of foundation base using wooden hand rammer with proper watering, providing; fixing & removing necessary staging / platform collecting & disposing the waste soil or surplus soil, generated waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard technical specification and as directed by engineer-in-charge at all locations and at all lift / height. | 300.00 | cum | 516.00 | 280.00 | 84000.00 | 400.00 | 120000.00 | 405.00 | 121500.00 | 300.00 | 90000.00 | 84000.00 | RAVI S HALAGATI
2.00 | Providing and laying in position Cement Concrete Mix 1:3:6 Using 40 mm nominal size graded crushed coarse aggregates for levelling course for all works in foundation. The granite/trap/basalt crushed graded coarse aggregates and fine aggregates as per relevant IS Codes machine mixed, laid in layers not exceeding 150 mm thickness, well compacted using plate vibrators, including all lead & lifts, cost of all materials of quality, labour, Usage charges of machinery, curing, and all the other appurtenances required to complete the work as per technical specifications. | 60.00 | cum | 8644.00 | 6500.00 | 390000.00 | 8000.00 | 480000.00 | 8100.00 | 486000.00 | 7100.00 | 426000.00 | 390000.00 | RAVI S HALAGATI
3.00 | Removing by chisteling / hammering / breaking of BB, CC Block, RR Masonry work with both side plaster, in cement mortar & other finishes if any etc. including collecting, shifting, loading, carriage, unloading & stacking the serviceable materials [such as Bricks, Stone rubbles & CC blocks & other servicable marterials] in Civil Sectional Store at Kaiga Township, providing; fixing & removing necessary staging / platform, collecting, stacking the debris / unwanted materials upto a lead of 2 to 3 kms. from the placer of work work premises, cleaning the work area etc., complete all as per standard technical specifications and as directed by the engineer-in-charge at all locations & at all heights & lifts. | 200.00 | cum | 665.00 | 400.00 | 80000.00 | 620.00 | 124000.00 | 601.00 | 120200.00 | 600.00 | 120000.00 | 80000.00 | RAVI S HALAGATI
4.00 | Providing and laying PCC, 1:2:4 using 20 mm & downsize, clean, crushed, well graded, cubical shape, sharp edged aggregates of hard, durable & approved quality stones / rubbles for plinth, floor & drain bedding & all other various miscellaneous PCC works including preperation of base by closed hacking / chipping the concrete / plastered surfaces; racking out the adjoining masonry joints and cleaning, machine mixing, transporting, laying, spraeding, consolidation, leveling, finishing, curing, providing; fixing removing staging / platform, providing; fixing & removing formwork, collecting and disposing the generated waste upto a lead of 2 to 3 kms. from the place of work & cleaning the work area etc., complete all as per standard technical specification and as directed by the engineer-in-charge at all locations and at all lifts/heights. Note: OPC 43 Grade cement of reputed brand shall be used for executing this item. | 75.00 | cum | 9557.00 | 7900.00 | 592500.00 | 9000.00 | 675000.00 | 8100.00 | 607500.00 | 8000.00 | 600000.00 | 592500.00 | RAVI S HALAGATI
5.00 | Providing and laying RCC, 1:1.5:3, using 20 mm & downsize, clean, crushed, well graded of hard, durable and approved quality for RCC works including mixing [valumatric / as directed by engineer-in-charge] including preperation of base by closed hacking / chipping the concrete / plastered surfaces; racking out the adjoining masonry joints and cleaning, machine mixing, transporting, laying, spraeding, consolidation, leveling, finishing, curing, providing; fixing removing staging / platform, collecting and disposing the generated waste upto a lead of 2 to 3 kms. from the place of work & cleaning the work area etc., complete all as per standard technical specification and as directed by the engineer-in-charge at all locations and at all lifts/heights. Note: OPC 43 Grade cement of reputed brand shall be used for executing this item. | 75.00 | cum | 10489.00 | 8800.00 | 660000.00 | 9500.00 | 712500.00 | 9100.00 | 682500.00 | 8600.00 | 645000.00 | 645000.00 | PRAKASH M GAUNSKAR
6.00 | Providing and laying reputed make high yeild strength deformed Reinforcement Bars of all diameters confirming to grade D-500 of IS:1786 [latest edition] including preperation of base, cutting, bending, transporting, placing in position & providing & tying using binding wire of suitable guage [soft annealed binding wire] for all insitu concrete works and all other miscellaneous RCC works, providing & placing spacer bars, cover blocks [cover blocks shall be cast in same grade of concrete & cured properly] ,providing, fixing removing staging / platform, collecting and disposing the generated waste upto a lead of 2 to 3 kms. from the place of work & cleaning the work area etc., complete all as per standard & manufacturers technical specification and as directed by the engineer-in-charge at all locations and at all lifts/heights. | 5.00 | MT | 103218.00 | 98000.00 | 490000.00 | 100000.00 | 500000.00 | 110000.00 | 550000.00 | 95000.00 | 475000.00 | 475000.00 | PRAKASH M GAUNSKAR
7.00 | Providing, placing and removing formwork for all in-situ concrete works including providing,fixing & removing centering, shuttering, supports, brackets, clips, preperation of surface etc, providing, fixing removing staging / platform, collecting and disposing the generated waste upto a lead of 2 to 3 kms. from the place of work & cleaning the work area etc., complete all as per standard technical specification and as directed by the engineer-in-charge at all locations and at all lifts/heights. Note: The measurement shallm be made for the form work in contact with concrete surface. | 750.00 | Sqm | 357.00 | 300.00 | 225000.00 | 330.00 | 247500.00 | 301.00 | 225750.00 | 350.00 | 262500.00 | 225000.00 | RAVI S HALAGATI
8.00 | Providing & Constructing Masonry with approved C. C. Solid Blocks of size 400 X 200 X 200 mm / 300 X 200 X 200 mm, having crushing strength not less than 45 Kgs/cm2 and confirming to the BIS 2185 part-I of the latest edition, in CM 1:5 for foundations, trenches, walls, drains, plinths and all other miscellaneous masonry works etc. including simultaneous flush pointing, curing, preparation of base by close hacking / chipping the concrete / plastered surfaces, racking out the adjoining masonry joints & cleaning, providing; fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste, up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing [if any] and as directed by engineer-in-charge at all locations & lifts / heights. | 250.00 | cum | 7686.00 | 7500.00 | 1875000.00 | 8500.00 | 2125000.00 | 7000.00 | 1750000.00 | 7000.00 | 1750000.00 | 1750000.00 | WIN-TECH ENGINEERS & CONTRACTORS, PRAKASH M GAUNSKAR
9.00 | Providing and laying Raised & Cut Pointing in CM 1:4 to RR, Laterite, CC block / BB Masonry including preparation of base by close hacking / chipping the surface, racking out the masonry joints & cleaning, providing; fixing & removing necessary staging / platform / ladder, curing, collecting & disposing the generated waste up to a lead of 2 to 3 kms.s from the place of work & cleaning the work area etc. complete all as per standard & manufacturers technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift / height. | 2000.00 | Sqm | 342.00 | 275.00 | 550000.00 | 300.00 | 600000.00 | 301.00 | 602000.00 | 400.00 | 800000.00 | 550000.00 | RAVI S HALAGATI
10.00 | Providing and laying Internal & External Cement Plaster, of 15 mm. thick in CM 1:5 to the masonry & concrete surfaces [new / old, repair / rectification / modification works including chipping] etc., rubbed perfectly so as to obtain smooth & even finish including preparation of base by close hacking / chipping the adjoining concrete / plastered surfaces, racking out the adjoining masonry joints, removal of damaged / loose plaster & cleaning, curing, providing; fixing & removing staging / plaform, collecting & disposing the generated waste up to a lead of 2 to 3 kms.s from the place of work & cleaning the work area etc. complete all as per standard & manufacturers technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift / height. Note: OPC, 43 grade cement of reputed brand / make and as approved by EIC shall be used. | 1000.00 | Sqm | 426.00 | 380.00 | 380000.00 | 400.00 | 400000.00 | 375.00 | 375000.00 | 370.00 | 370000.00 | 370000.00 | PRAKASH M GAUNSKAR
11.00 | Providing & Fabricating gates, hand rails, frames of panels, doors, windows & shutters, shutters, purlins, rafters, horizantal / vertical / cross members, columns, beams, trusses and all other miscellaneous new & modification to exising structure/s including providing standard MS Steel Sections which are required for executing this work and fixing / erecting the same in position to true line level & plumb, preparation of base, providing & fixung hily bolts [of approved quality] of suitable dia. & length, prepration of base, providing & painting One Coat of approved Zinc Phospate Primer of asian paints / berger make and Two Coats of first quality synthetic enamel paint of asian paints / berger make, of approved shade / colour etc., providing; fixing & removing staging / platform / ladder, collecting & disposing the generated waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift / height. | 10.00 | MT | 114006.00 | 109500.00 | 1095000.00 | 110000.00 | 1100000.00 | 120000.00 | 1200000.00 | 100000.00 | 1000000.00 | 1000000.00 | PRAKASH M GAUNSKAR
12.00 | Providing and fixing false ceiling concsisting of aluminium ceiling of 0.5mm of size 600mm x 600mm x 0.5mm over aluminium Tees's 1" x 1" size at 2' x 2' center to center longitudinally and transversally and aluminum angle size 1" x 1" at corners/ ends, including all accessories such as hanging wire hooks, screwnails, rowel plugs, cross joints etc. complete in all respect and as approved by the engineer -in - charge. Note : Rate is including safolding upto height 8.0m above | 200.00 | Sqm | 2297.00 | 1750.00 | 350000.00 | 2500.00 | 500000.00 | 2200.00 | 440000.00 | 1800.00 | 360000.00 | 350000.00 | RAVI S HALAGATI
13.00 | Removing by chisteling / hammering / breaking of roof tiles / wall / floor tiles [thickness of tiles 10 mm. to 25 mm.], wall plaster and other finishes if any etc. including collecting, lowering / shifting, loading, carriage, unloading & stacking the serviceable materials [such as tiles] in Sectional Store at Township, providing; fixing & removing necessary staging / platform, collecting, stacking the debris / unwanted materials upto a lead of 2 to 3 kms. out side the periphery of the work premises, cleaning the work area etc., complete all as per standard technical specifications and as directed by the engineer-in-charge at all locations & all lifts / heights. | 1000.00 | Sqm | 74.00 | 50.00 | 50000.00 | 75.00 | 75000.00 | 71.00 | 71000.00 | 55.00 | 55000.00 | 50000.00 | RAVI S HALAGATI
14.00 | Providing and fixing in position 22 - 25 mm. thick, Kota Stone Slabs / Tiles [of sizes 600 X 600 or 450 X 450 or 300 X 300 mm] of superior 1st quality; of shade / colour [as per site requirement & as selected by engineer-in-charge] & One Side Mirror Polished. Laying / fixing in pattern [as per site requirement & as selected by engineer-in-charge] for Flooring, Landing Slab & Over walls etc. to the true line; level & slope etc. including fixing / laying the Slabs / Tiles using CM in 1:4; 20 mm. thick bedding, cement for slurry, cement [for joints & flooring @ 6.40 Kgs. per Sqm. of laid area] for slurry & colouring pigment to match the existing surface, preparation of base by roughening, racking the masonry joints, hacking the concrete surface & curing, Mirror polishing the joints using polishing machine polishing, Kota Stone shall be machine cut, line shall be paralal to each other & Chamfered [before fixing in position] and Mirror Polishing the Joints [after fixing], collecting & disposing the generated waste, costruction waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard technical specification and as directed by engineer-in-charge at all locations and at all lift / height. | 100.00 | Sqm | 1539.00 | 1100.00 | 110000.00 | 1100.00 | 110000.00 | 1500.00 | 150000.00 | 1000.00 | 100000.00 | 100000.00 | PRAKASH M GAUNSKAR
15.00 | Providing and laying Polished Granite stone flooring in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing, curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge. ** Polished Granite stone slab Black, Cat Eye, River Pink or equivalent | 200.00 | Sqm | 2937.00 | 2800.00 | 560000.00 | 2500.00 | 500000.00 | 2500.00 | 500000.00 | 3000.00 | 600000.00 | 500000.00 | WIN-TECH ENGINEERS & CONTRACTORS, P THANGAVELU
16.00 | Engaging JCB for removal & disposal of road side collapsed soil / earth; stone boulders; wooden logs; dried trees & other unwanted materials / things which are making obstruction for free movement of men & vehicles etc., cleaning of existing drains for free flow of rain water, formation of new drains for free flow of rain water and other miscellaneous works etc, including hire charges of JCB; operator wages; JCB maintenance charges; cost of diesel & lubricants and tool & tackles etc, collecting & disposing the generated waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift / height. | 500.00 | per hour | 1153.00 | 1100.00 | 550000.00 | 1600.00 | 800000.00 | 1150.00 | 575000.00 | 1000.00 | 500000.00 | 500000.00 | PRAKASH M GAUNSKAR
17.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations and other similar works etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 500.00 | cum | 304.00 | 200.00 | 100000.00 | 250.00 | 125000.00 | 301.00 | 150500.00 | 300.00 | 150000.00 | 100000.00 | RAVI S HALAGATI
18.00 | Providing and applying One Coat [minimum 25 micron] of First Quality Synthetic Enamel Paint of Asian [such as Premium Hi Gloss] / Berger [such as Luxol Hi Gloss] / Dulux [such as Super Synthetic] / Nerolack [such as Synthetic], of shade / colour [as per site requirement & as selected by engineer-in-charge], over the painted [old ] Culvers, wall, parapet wall, Zebra Crossing [alternate strips of different shades] & Kerb stones [in white / yellow / black shade for alternated Kerb Stones] etc. including preparation of surfaces by sand papering & washing [properly before application of Paint ], Paint shall be confirming to the relavent BIS specification of the latest edition, providing; fixing & removing necessary staging / platform / ladder [if required], collecting & disposing the generated waste, costruction waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification and as directed by engineer-in-charge at all locations and at all lifts / heights.
18.10 | For Kerb stones [Average depth of 175 mm] | 20000.00 | Rmt | 15.00 | 11.00 | 220000.00 | 10.00 | 200000.00 | 11.00 | 220000.00 | 14.00 | 280000.00 | 200000.00 | P THANGAVELU
18.20 | For Culvers, wall, parapet wall, Zebra Crossing & Kerb stones | 2000.00 | Sqm | 73.00 | 60.00 | 120000.00 | 60.00 | 120000.00 | 61.00 | 122000.00 | 65.00 | 130000.00 | 120000.00 | RAVI S HALAGATI, P THANGAVELU
19.00 | Providing and fixing Wardrobe Shutters using 19 mm thick, water proof plywood with teak wood lipping / beading [of suitable width & thickness] all around, 0.70 - 0.80 mm thick laminate on both sides. The each shutter shall be provided with hardware fixtures like 2 nos. of 125 mm grip SS Door handles, 3 nos .of SS Hinges, multipurpose lock/s of reputed make etc., complete all as per standard & manufacturers technical specification and as directed by engineer-in-charge at all locations and at all lifts / heights. Note: plywood & all materials used under this item shall of superior 1st quality, of reputed make & make shall be as selected by EIC | 300.00 | Sqm | 3882.00 | 3400.00 | 1020000.00 | 3300.00 | 990000.00 | 3200.00 | 960000.00 | 3500.00 | 1050000.00 | 960000.00 | WIN-TECH ENGINEERS & CONTRACTORS
20.00 | Cleaning the External Surface of the Buildings [up to fourth floor height] using Single phase High pressure Water Jet Machine for removal of algae, dust, dirt, fungus & all other unwanted materials / things including extension hole pipe of length 50 meters & with all required accessories of High Pressure Water Jet Machine & cleaning aids, providing; fixing & removing necessary staging / platform / ladder / Zoola, collecting & disposing the generated waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard technical specification and as directed by engineer-in-charge at all locations and at all lift / height. | 200000.00 | Sqm | 2.00 | 1.80 | 360000.00 | 2.00 | 400000.00 | 1.50 | 300000.00 | 1.50 | 300000.00 | 300000.00 | WIN-TECH ENGINEERS & CONTRACTORS, PRAKASH M GAUNSKAR
21.00 | Providing & Fixing of Chain link fabric fence and fixing chain link fabric fence to the existing MS / RCC posts using MS flats [20 X 6 mm. thick] and 8 mm. dia and 110 mm. long self threading screws [GI] with rounded head, placing & tightening 4 mm dia GI wire at middle, bottom & top, all materials shall be confirming to relavent BIS specification of latest edition, preparation of base, providing; fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift / height. | 1000.00 | Sqm | 965.00 | 750.00 | 750000.00 | 900.00 | 900000.00 | 751.00 | 751000.00 | 750.00 | 750000.00 | 750000.00 | RAVI S HALAGATI, PRAKASH M GAUNSKAR
22.00 | Providing and applying One Coat of Aluminium Paint of Asian [such as Three Mangoes] / Berger [such as Super Aluminium] / Dulux [such as Super Synthetic] / Nerolack, including cleaning the surfaces, removing rusted particales, providing staging / platform / ladder, collecting & disposing the generated waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift / height. | 5000.00 | Sqm | 59.00 | 45.00 | 225000.00 | 50.00 | 250000.00 | 51.00 | 255000.00 | 50.00 | 250000.00 | 225000.00 | RAVI S HALAGATI
23.00 | Providing and laying Mat finished / Glazed Vitrified Tiles of reputed make, approved shade / colour & thickness of tile shall be 8 mm to 8.9 mm for Flooring with 20 mm thick in CM 1:4 [bedding] and for Skirting with 12 mm thick in CM 1:3 [backing] or using approved Adhesive [for Flooring & Skilting] pasting the Vitrified tiles on concrete or on masonry or on plastered surfaces, close jointed [with or without spacers] as directed, grout filling in the joints with matching pigmented cement slurry, finished to true line & levels / slope / plumb etc., including cutting of tiles, recommended acid washing, including preperation of base by closed hacking / chipping the concrete / plastered surfaces; racking out the adjoining masonry joints and cleaning, curing, providing; fixing removing staging / platform, collecting and disposing the generated waste upto a lead of 3000 meters from the place of work & cleaning the work area etc., complete all as per standard & manufacturers technical specification and as directed by the engineer-in-charge at all locations and at all lifts/heights. | 200.00 | Sqm | 941.00 | 1000.00 | 200000.00 | 1100.00 | 220000.00 | 701.00 | 140200.00 | 900.00 | 180000.00 | 140200.00 | WIN-TECH ENGINEERS & CONTRACTORS
24.00 | Providing and laying Glazed/ Antiskid, Ceramic Tiles for flooring using tiles of approved & reputed make, shade / colour and of 300 X 300 mm size having minimum thickness of 5.5 mm in approved pattern over a bed of 20 mm thick in CM 1:4, close jointed and pointed with matching pigmented cement slurry and finished to line / levels as required including cutting of tiles, curing, acid washing etc. providing; fixing removing staging / platform including preperation of base by closed hacking / chipping the concrete / plastered surfaces; racking out the adjoining masonry joints and cleaning, curing, providing; fixing removing staging / platform, collecting and disposing the generated waste upto a lead of 2 to 3 kms. from the place of work & cleaning the work area etc., complete all as per standard & maufacturers technical specification and as directed by the engineer-in-charge at all locations and at all lifts/heights. | 200.00 | Sqm | 909.00 | 1000.00 | 200000.00 | 1000.00 | 200000.00 | 701.00 | 140200.00 | 900.00 | 180000.00 | 140200.00 | WIN-TECH ENGINEERS & CONTRACTORS
25.00 | Providing Pre-Cast Kerb Stone made out of PCC 1:2:4 [using 20 mm down size, clean, crushed, well graded, aggregates], of size 450 mm X 300 mm X 100 mm including necessary excavation [200 mm wide & 300 mm deep - approximately] in all sorts of soil, form work, casting [with top surface corners champering], laying 50 mm thick for bed & 50 mm thick & 100 mm deep for sides [PCC 1:4:8 using 40 mm down size, clean, crushed, well graded, aggregates], preparation of base, fixing the pre-cast Kerb stones to true line, level & aligning, sealing the joints in CM 1:2, finishing the kerb stones smooth, curing, Providing & applying One Coat of exterior grade primer [of superior 1st quality & of standard make] & Two Coats of synthetic enamel paint [of superior 1st quality & of standard make, of shade / colour - as per site requirement & as selected by engineer-in-charge], collecting & disposing the generated waste, costruction waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification and as directed by engineer-in-charge at all locations and at all lifts. Note: Pre-Cast Kerb Stones cured properly and lifted & placed in position after 28 days from date of casting. | 500.00 | Each | 267.00 | 225.00 | 112500.00 | 300.00 | 150000.00 | 251.00 | 125500.00 | 200.00 | 100000.00 | 100000.00 | PRAKASH M GAUNSKAR
26.00 | Providing supervisory services for carrying out surveying of all areas, providing assistance for sectional activities like assigning the works to labours, preparation of estimates, rate analysis, progress reports, taking site measurements, preparing field drawings, assisting departmental engineers/supervisors in field activities, maintaining records of bills, technical documents and any other office / field activities as instructed by the Engineer-In Charge, deploying 02 highly skilled manpower with educational qualification of Diploma in Civil Engineering with minimum 60% marks including proficiency in MS word, MS-excel and MS power point presentation, Auto CADD etc., Note: One operation shall mean deploying with qulification of Diploma in Engineering power for attending deficiencies, works for a duration of minimum Eight hours. | 610.00 | Each | 1654.00 | 1500.00 | 915000.00 | 1900.00 | 1159000.00 | 1400.00 | 854000.00 | 1600.00 | 976000.00 | 854000.00 | WIN-TECH ENGINEERS & CONTRACTORS
27.00 | Supply & Apply of Floor Protection Paint. Paint shall be of superior quality,confirming to relavent BIS specification of latest edition. shall be supplied as per job requirement and in sealed & water tight containers of 20.00 liters [maximum] and stacking in sectional store at Kaiga Township. Complete all as per standard & manufacturers technical specification and as directed by the engineer-in-charge. | 500.00 | Liters | 520.00 | 400.00 | 200000.00 | 480.00 | 240000.00 | 450.00 | 225000.00 | 450.00 | 225000.00 | 200000.00 | RAVI S HALAGATI
28.00 | Supply & apply of Synthetic Enamel Paint. Paint shall be of superior 1st quality, Asian Paints [Such as Premium hi-gloss enamel) / Berger make [Such as Luxol hi-gloss] / Duluxe make [such as Super synthetic] & confirming to relavent BIS specification of latest edition. Paint shall be supplied in Colour / shade [as per site requirement & as selected by engineer-in-charge], shall be supplied as per job requirement and in sealed & water tight containers of 20.00 liters [maximum] and stacking in sectional store at Kaiga Township, Mallapur etc. Complete all as per standard & manufacturers technical specification and as directed by the engineer-in-charge. | 500.00 | Liters | 509.00 | 400.00 | 200000.00 | 400.00 | 200000.00 | 400.00 | 200000.00 | 340.00 | 170000.00 | 170000.00 | PRAKASH M GAUNSKAR
29.00 | Supply of white cement Birla make of Each pack of 1.0 kg | 1000.00 | kgs | 27.00 | 25.00 | 25000.00 | 25.00 | 25000.00 | 28.00 | 28000.00 | 26.00 | 26000.00 | 25000.00 | RAVI S HALAGATI, P THANGAVELU
30.00 | Supply of Red Oxide Primer | 500.00 | Liters | 178.00 | 160.00 | 80000.00 | 150.00 | 75000.00 | 160.00 | 80000.00 | 160.00 | 80000.00 | 75000.00 | P THANGAVELU
31.00 | Supply of Thinner/Melamine Solvent | 500.00 | Liters | 108.00 | 100.00 | 50000.00 | 100.00 | 50000.00 | 101.00 | 50500.00 | 100.00 | 50000.00 | 50000.00 | RAVI S HALAGATI, PRAKASH M GAUNSKAR, P THANGAVELU
32.00 | Providing and laying / fixing Plan or Curved Galvalum Sheets for Roofing, Ridges & Cladding etc. [0 .47 mm thick] of Colour Mat Finish Coating: AZ - 150 / 550 MPA, Paint : RMP [Regular Modified Polyester], Top Coat: 18 - 20 Micron, Bottom Coat: 5 - 7 Micron, Trapezoidal Profile 0.47 mm thick at pitch 250 mm., Width 1060 mm, Length as per site measurement, Aluminium - Zinc Steel Sheet [Galvalume Base] 55 % aluminium, 43 % Zinc, 1.60 % Silicon with Tensile strength of 345 to 550 MPA including providing & fixing necessary self drilling screws of best quality & EPDM washers, Galvalum sheets Roofing with Galvalum Ridges shall be of approved shade / colour & confirming to the relavent BIS specification of the latest edition and of approved make, preparation of base, providing; fixing & removing Staging / platform / ladder, collecting & disposing the generated waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift / height. | 500.00 | Sqmt | 580.00 | 580.00 | 290000.00 | 650.00 | 325000.00 | 550.00 | 275000.00 | 600.00 | 300000.00 | 275000.00 | WIN-TECH ENGINEERS & CONTRACTORS
33.00 | Casting & Providing of C.C blocks of size 300x 200x200mm using 1:2:4 concrete including using of non -biodegrable material collected from the Biogas treatment plant like, polytehne bags, plastic etc.cutting, shredding and mixing in the concrete | 1000.00 | Each | 69.00 | 60.00 | 60000.00 | 70.00 | 70000.00 | 70.00 | 70000.00 | 65.00 | 65000.00 | 60000.00 | RAVI S HALAGATI
34.00 | Providing and laying External Cement Plaster, of 15 mm. thick with cement punning to the kerb stone & concrete surfaces provided at road sides including chipping scrubbing etc making the surface rough before plastering, rubbed perfectly,so as to obtain even finish, making groove, including providing and fixing chicken mesh to entire surface racking out the adjoining masonry joints, removal of damaged / loose plaster & cleaning, curing, providing; fixing & removing staging / plaform, collecting & disposing the generated waste up to a lead of 2 to 3 kms.s from the place of work & cleaning the work area etc. complete all as per standard & manufacturers technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift / height. Note: OPC, 43 grade cement of reputed brand / make and as approved by EIC shall be used. | 1000.00 | Sqm | 779.00 | 600.00 | 600000.00 | 600.00 | 600000.00 | 650.00 | 650000.00 | 550.00 | 550000.00 | 550000.00 | PRAKASH M GAUNSKAR
35.00 | Providing and laying 60mm thick factory made cement concrete paver block of approved shape and colour of M -30 grade made of C&D waste by block making machine with vibratory compaction laid in required pattern and including over 50mm thick compacted bed of coarse sand, filling the joints with fine sand etc. all complete as per the direction of Engineer-in-charge. | 200.00 | Sqm | 1057.00 | 980.00 | 196000.00 | 1100.00 | 220000.00 | 1000.00 | 200000.00 | 1100.00 | 220000.00 | 196000.00 | RAVI S HALAGATI
36.00 | Providing and fixing of Aluminium composite panel of approved make and colour for wall cladding for Brick/Rcc/stone walls & coloumns/beams with necessary aluminium frame works at required level made out of 50x25x4mm C section or equivalent. The panel should consist of 3mm thick non- alogenated FR grade mineral based polymer 2 hrs fire resistance as per ASTM E119-12 and clause B, S1, do as per ENT 13501-1sandwiched between 0.50 skins thick aluminium sheet making a total panel thickness of 4mm. The surfaces will be finished with PVDF based coating on top sides and service coating on reverse sides would be in polyester paint. The system shall be fixed using GI brackets, aluminium L cleats and stainless steel bolts and nuts complete with spring washer and cap nuts and all other necessary accessories, sealing shall be done with necessary rods etc., complete. | 65.00 | Sqm | 5272.00 | 4500.00 | 292500.00 | 4900.00 | 318500.00 | 5300.00 | 344500.00 | 5300.00 | 344500.00 | 292500.00 | RAVI S HALAGATI
37.00 | Providing & applying Painting on G.I. sheet with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :New work (two coats) including a coat of approved steel primer but excluding a coat of mordant solution including preparing the surface after thorougly cleaningoil, grease, dirt and foreign matter, cost of materials, labour complete as per specifications and as per directions of Engineer-in-charge. | 950.00 | SqM | 173.00 | 130.00 | 123500.00 | 150.00 | 142500.00 | 151.00 | 143450.00 | 140.00 | 133000.00 | 123500.00 | RAVI S HALAGATI
38.00 | Providing French spirit polishing with Two coats on old work to give an even surface including preparing the surface after thorougly cleaning oil, grease, dirt and foreign matter, sand papering smooth , cost of materials, labour complete as per specifications and as per directions of Engineer-in-charge. | 528.00 | SqM | 197.00 | 150.00 | 79200.00 | 140.00 | 73920.00 | 191.00 | 100848.00 | 200.00 | 105600.00 | 73920.00 | P THANGAVELU
39.00 | Providing & installing IInd class teak wood for wooden batminton court framed or assembled including making groves finishing the surfaces and installation the same with all tools & tackles (including cost of Removing exisiting wooden planks and battens, materials, labour, usage charges complete as per specifications. | 1.00 | Cum | 164145.00 | 155000.00 | 155000.00 | 200000.00 | 200000.00 | 165000.00 | 165000.00 | 167000.00 | 167000.00 | 155000.00 | RAVI S HALAGATI
40.00 | Supply & installation of polyvinyl chloride (PVC) Anti skid mat (of sand finish) and court marking as per BAI/BWF Standard of 5 mm minimum thikness,green color professinal Range, Roll size 15.mtr x1.8 m (04 no),with inbuilt dual cusion,top layer thickness of min 1.5mm,suitable for indoor badminton court,including PU adhesive,joint tape,pvc welding ,line marking paint,and minor surface repair/preparation pior to mat installation AND including supply and fixing of Net poles as per BAI standard(150kgs weight ) complete as per direction of Engineer in Charge. | 220.00 | Sqm | 2394.00 | 2100.00 | 462000.00 | 2500.00 | 550000.00 | 2100.00 | 462000.00 | 2200.00 | 484000.00 | 462000.00 | RAVI S HALAGATI, WIN-TECH ENGINEERS & CONTRACTORS
41.00 | Providing & Painting with Sand mat finish paint for flooring work and non-slippery of approved brand and manufacture of required colour to give an even shade :Two coats on new work over an under coat of suitable shade of approved brand and manufacture after thoroughly brooming the surface to remove all dirt, dust, mortar drops and foreign matter including preparing the surface even and sand paper smooth, cost of materials, labour complete as per specifications and as per directions of Engineer-in-charge. | 200.00 | Sqm | 221.00 | 180.00 | 36000.00 | 200.00 | 40000.00 | 221.00 | 44200.00 | 200.00 | 40000.00 | 36000.00 | RAVI S HALAGATI
42.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 g/m2 as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 m or as desired by Engineerin- charge. The sheet shall be fixed using self drilling/self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 100.00 | SqM | 751.00 | 600.00 | 60000.00 | 800.00 | 80000.00 | 700.00 | 70000.00 | 700.00 | 70000.00 | 60000.00 | RAVI S HALAGATI
43.00 | Supply & installation of Inter-locking rubber Tiles (Black) Size-100cmx100cmx10mm with wedges 100cmx100cmx10mm shock-obsorbent OR 7 to 10 mm rubber cusion shock-obsorbent, suitable for indoor badminton court as per direction of Engineer in Charge. | 625.00 | SqM | 1374.00 | 1200.00 | 750000.00 | 1300.00 | 812500.00 | 1200.00 | 750000.00 | 1200.00 | 750000.00 | 750000.00 | RAVI S HALAGATI, WIN-TECH ENGINEERS & CONTRACTORS, PRAKASH M GAUNSKAR
| Total in Figures |  |  |  |  | 15923200.00 |  | 17805420.00 |  | 16333348.00 |  | 16279600.00
Lowest Amount Quoted BY: RAVI S HALAGATI(15923200.00)

## BOQ Summary
BOQ Summary Details Tender Title: Maintenance and Miscellaneous Civil Works at Kaiga Township Mallapur. Tender ID: 2026_NPCIL_278767_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | RAVI S HALAGATI (BID ID -1034420) | 15923200.00 | L1
| 2 | PRAKASH M GAUNSKAR (BID ID -1036157) | 16279600.00 | L2
| 3 | WIN-TECH ENGINEERS & CONTRACTORS (BID ID -1036139) | 16333348.00 | L3
| 4 | P THANGAVELU (BID ID -1036335) | 17805420.00 | L4