## BoQ1
eProcurement System Government of India Created By: Sanjukta Muralidhar Created Date/Time: 21-Oct-2026 04:14 PM Tender Title: BARCT/NRB/EMC/EMT204/2026/529 Tender ID: 2026_NRB_928351_1
Tender Inviting Authority: Director GSO, NRB, BARC(T)
Name of Work : Electrical and Mechanical works in BARC Staff Colony, Tarapur.
NIT No: BARC(T)/NRB/GSO/EMC/EMT-204/2026/529 dtd.29.09.2026
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | DYNAMIC TECHNOLOGY SOLUTIONS (GSTN-NA) BID ID -3492682 |  | Integrate Electric Corporation (GSTN-NA) BID ID -3492351 |  | PIKESH ENTERPRISES (GSTN-NA) BID ID -3486302
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Filtration of Transformer Oil : Filtration of Transformer Oil up to the required BDV is obtained in Transformer at Sub-stations in BARC Staff colony Tarapur. The contractor has to arrange calibrated filtering machine for transformer of capacity 11KV / 433V, 500 KVA, quantity of oil max –1000 litre. Testing the BDV value of transformer oil of all the transformers at BARC colony i.e. 4 Nos, and 01No. GSO Substation . The contractor has to arrange calibrated BDV test machine at the work site. He has to submit the calibration certificate of the machine before BDV test carried out. The contractor should submit test report of BDV values obtained. | 2.00 | Each |  | 35000.00 | 70000.00 | 34000.00 | 68000.00 | 32500.00 | 65000.00 | 65000.00 | PIKESH ENTERPRISES
2.00 | Cable Jointing Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
2.01 | upto 4 X 16 sq. mm | 2.00 | Each |  | 5800.00 | 11600.00 | 6000.00 | 12000.00 | 5650.00 | 11300.00 | 11300.00 | PIKESH ENTERPRISES
2.02 | 3½ X 25 sq. mm to 3½ X 50 sq. mm | 2.00 | Each |  | 8600.00 | 17200.00 | 9000.00 | 18000.00 | 8500.00 | 17000.00 | 17000.00 | PIKESH ENTERPRISES
2.03 | 3½ X 120 sq. mm to 3½ X 185 sq. mm | 1.00 | Each |  | 16200.00 | 16200.00 | 17000.00 | 17000.00 | 15000.00 | 15000.00 | 15000.00 | PIKESH ENTERPRISES
3.00 | Supplying and making straight through cable jointing with heat shrinkable jointing kit complete with all accessories including ferrules suitable for following size of 3 core, XLPE aluminium conductor cable of 11 KV grade as required :
3.01 | 120 to upto 240 sq. mm | 2.00 | Each |  | 55200.00 | 110400.00 | 54000.00 | 108000.00 | 55000.00 | 110000.00 | 108000.00 | Integrate Electric Corporation
4.00 | Providing truck with driver for shifting material from ware house stores to BARC Staff colony & BARC plant site. Hire charges for truck with driver one operation cost for one day 8 hours | 10.00 | Operation |  | 4100.00 | 41000.00 | 4200.00 | 42000.00 | 4000.00 | 40000.00 | 40000.00 | PIKESH ENTERPRISES
5.00 | Welding operation at BARC Colony : Welding operation required for electrical panels, feeders, service mains and in water supply system (welding rod, tools, for welding & welding machine is in scope of contractor ) one operation cost for full day . | 10.00 | Operation |  | 2020.00 | 20200.00 | 2200.00 | 22000.00 | 2000.00 | 20000.00 | 20000.00 | PIKESH ENTERPRISES
6.00 | Rewinding of Ceilling fans/Wall mounting fans/Pedsestal fans/ Exhaust fans/ 1 phase / 3 phase, 50 Hz, 1400 RPM, 1 HP to 2 HP Motor:
6.01 | Rewinding of Ceiling fan of 48” Sweep and 56” Sweep 60 to 100 watt including removing of old defective winding, cleaning the stator, providing paper insulation, rewinding with super enameled copper wire of required gauge, binding the winding, lead wire connection, provide fiber glass sleeves, varnishing the winding with Dr. Beck golden varnish and drying the motor stator, cleaning the same stator and testing the winding. | 100.00 | Nos |  | 1170.00 | 117000.00 | 1200.00 | 120000.00 | 1150.00 | 115000.00 | 115000.00 | PIKESH ENTERPRISES
6.02 | Rewinding of Single phase wall mounting fan, pedestal fan and exhaust fan of 100 Watts to 200 watts, 230 Volts, A.C., 50 Hz., including removing of old defective winding, cleaning the stator, providing paper insulation, rewinding with super enameled copper wire of required gauge, binding and winding, lead wire connection, provide fiber glass sleeves, varnishing the winding with Dr. Beck golden varnish and drying the motor stator, cleaning the same stator and testing the winding. | 30.00 | Nos |  | 1550.00 | 46500.00 | 1600.00 | 48000.00 | 1600.00 | 48000.00 | 46500.00 | DYNAMIC TECHNOLOGY SOLUTIONS
6.03 | Rewinding of Single phase wall mounting fan, pedestal fan and exhaust fan of 200 watts to 500 watts, 230 volts, A.C., 50 Hz., including removing of old defective winding, cleaning the stator, providing the paper insulation, rewinding with super enameled copper wire connection, provide fiber glass sleeves, varnishing the winding with Dr. Beck golden varnish and drying the motor stator, cleaning the same stator and testing the winding. | 10.00 | Nos |  | 2310.00 | 23100.00 | 2400.00 | 24000.00 | 2300.00 | 23000.00 | 23000.00 | PIKESH ENTERPRISES
6.04 | Rewinding and overhauling of 1 phase / 3 phase, 50 Hz, 1400 RPM, 1 HP to 2 HP Motor including replacing bearing, gaskets, cable termination etc. | 5.00 | Nos |  | 3800.00 | 19000.00 | 4200.00 | 21000.00 | 4000.00 | 20000.00 | 19000.00 | DYNAMIC TECHNOLOGY SOLUTIONS
7.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required.
7.01 | Upto 35 sq. mm | 200.00 | Mtr |  | 900.00 | 180000.00 | 900.00 | 180000.00 | 850.00 | 170000.00 | 170000.00 | PIKESH ENTERPRISES
7.02 | Above 185 sq. mm and upto 400 sq. mm | 100.00 | Mtr |  | 900.00 | 90000.00 | 900.00 | 90000.00 | 950.00 | 95000.00 | 90000.00 | Integrate Electric Corporation, DYNAMIC TECHNOLOGY SOLUTIONS
8.00 | Excavation
8.01 | Earth work excavation by mechanical means (Hydraulic excavator) / manual means in all types of soil other than soft and hard rock, dressing the sides of foundation, ramming of bottom etc. including shoring and dewatering (if necessary) and refilling with selected excavated earth in layers of not more than 500 mm thick, each layer well rammed and consolidated including disposing the surplus earth within a distance of 200 m all as per specifications including clearing Jungle, uprooting of vegetation, grass, etc. complete and as directed by the Engineer-in-charge. From 0.00 to 1.50 m depth from average ground level | 300.00 | Cum |  | 550.00 | 165000.00 | 530.00 | 159000.00 | 500.00 | 150000.00 | 150000.00 | PIKESH ENTERPRISES
8.02 | Hire charges for Hydraulic Excavator with fuel and driver | 10.00 | Hour |  | 1400.00 | 14000.00 | 1600.00 | 16000.00 | 1000.00 | 10000.00 | 10000.00 | PIKESH ENTERPRISES
9.00 | Borewell Pump Sets There are total 15 Nos. of Bore wells in BARC Staff Colony, having depth from 70 feet to 180 feet and these bore wells are installed with Submersible bore well pump sets suitable for 6” dia. bores and G.I. Pipes of 2½ dia, Class, ‘C’ , with coupling and bend. In case of replacement of defective pump set, the existing defective pump set has to be removed by dismantling of pipelines and reinstallation of pipelines with replacement of defective pump set by repaired or new pump set issed by the department at Electrical Workshop at Pump House in Colony.The estimated cost of replacement of defective pump set will be as follows.
9.01 | Dismantling of defective pump set from the distribution line, removing all the connected pipes with Tripod and Chain pully block and clamps upto the depth of pipe line of 150 feet. Fixing of motor to end pipes and installation of Repaired/ New pump set with the same disconnected pipes with applying Holdtight. | 8.00 | Each |  | 8800.00 | 70400.00 | 8600.00 | 68800.00 | 8500.00 | 68000.00 | 68000.00 | PIKESH ENTERPRISES
9.02 | Rewinding : Rewinding of 5 H.P. To 7.5 H.P., 3 Phase, 415 Volts, A.C., 50 Hz., 2880 R.P.M. upto 8 stage Submersible Pump motor including supply of all the materials labour charges, transportation etc. | 8.00 | Each |  | 16000.00 | 128000.00 | 15700.00 | 125600.00 | 15000.00 | 120000.00 | 120000.00 | PIKESH ENTERPRISES
9.03 | Overhauling of Submersible bore well pump set (motor and pump), 6” dia, of 5 H.P. to 7.5 H.P. capacity, 3 phase, 415 Volts, A.C., 50 Hz, 2880 R.P.M. including replacing of bush bearing, thrust bearing, checking impellers, NRV etc. including cleaning for free motion, replacing the coupling studs and nuts and painting the set with Anti-corrosive synthetic enamel paint and testing the same with noise free operation including opening the set and re-assembling the same. | 8.00 | Each |  | 10000.00 | 80000.00 | 8200.00 | 65600.00 | 8000.00 | 64000.00 | 64000.00 | PIKESH ENTERPRISES
10.00 | Cutting of Bituminous Road Cutting of Bituminous Road of size 0.6 x 0.9 x 10 M providing and laying 150mm dia (2.5MX4Nos.) hume pipe and Repairing the road by concreting with 1:2:4 concrete material up to the level as original one . All materials required for repairing of road such as materials required for Soling, sand, pebbles, Cement, RCC Hume pipes etc. is in scope of contractor.. | 2.00 | No |  | 36000.00 | 72000.00 | 36000.00 | 72000.00 | 35000.00 | 70000.00 | 70000.00 | PIKESH ENTERPRISES
11.00 | Reparing of 90/60watt LED Street light fixture including replacement of spare parts if any. | 30.00 | Nos |  | 900.00 | 27000.00 | 970.00 | 29100.00 | 950.00 | 28500.00 | 27000.00 | DYNAMIC TECHNOLOGY SOLUTIONS
12.00 | Maintenance / Repairing of Centrifugal Pumps : The work includes dismantling the pump, checking the shaft for any worn out, removing the old gland, alignment, leveling and overhauling, cutting and fixing the oil paper package, supply and replacing the gland rope (Metallic Type) of centrifugal Pumps ranging from 125 GPM 10 HP to 250 GPM, 30 HP, Testing the pump for any leakage, overheat etc. (Gland rope,bearing, any spare and tools required for above maintenance is in scope of contractor) | 2.00 | Nos |  | 6800.00 | 13600.00 | 6800.00 | 13600.00 | 4000.00 | 8000.00 | 8000.00 | PIKESH ENTERPRISES
13.00 | Rewinding of Motor :
13.01 | Rewinding and installation of detailed motor including supply of all the materials required for rewinding such as copper wire, insulating paper, varnish, labor, transportation from BARC colony to his work shop and back. Testing the motor on No load and on LOAD etc. Motor Details - KIRLOSKAR make Motor HP - 30, 1460 RPM, 415 Volts, 3 phase 50 Hz, 38 Amps, Insulation class– F | 1.00 | No |  | 14000.00 | 14000.00 | 15800.00 | 15800.00 | 10000.00 | 10000.00 | 10000.00 | PIKESH ENTERPRISES
13.02 | Rewinding and installation of the below detailed motor including supply of all the materials required for rewinding such as copper wire, insulating paper, varnish, labor, transportation from BARC colony to his work shop and back. Testing the motor on No load and on LOAD etc. Motor Details - KIRLOSKAR make Motor HP - 20 H.P. 3000 RPM, 415 Volts, 3 phase 50 Hz, 38 Amps, Insulation class–F | 1.00 | No |  | 14000.00 | 14000.00 | 12800.00 | 12800.00 | 10000.00 | 10000.00 | 10000.00 | PIKESH ENTERPRISES
14.00 | Servicing / minor repairing of Boom Barrier of Tahira/ Larson Engg. make complete set including dismantling the boom barrier, overhauling, greasing and oiling of all mechanical and rotating parts, adjustment of limit switch etc. | 1.00 | No |  | 10000.00 | 10000.00 | 8800.00 | 8800.00 | 8000.00 | 8000.00 | 8000.00 | PIKESH ENTERPRISES
15.00 | Replacement of spare parts in Boom Barriers
15.01 | Moulding /Reparing of clutch plate | 1.00 | No |  | 22000.00 | 22000.00 | 25000.00 | 25000.00 | 20000.00 | 20000.00 | 20000.00 | PIKESH ENTERPRISES
15.02 | Replacement of Gear box | 1.00 | No |  | 19500.00 | 19500.00 | 25000.00 | 25000.00 | 20000.00 | 20000.00 | 19500.00 | DYNAMIC TECHNOLOGY SOLUTIONS
15.03 | Replacement of Gear Oil | 1.00 | No |  | 1200.00 | 1200.00 | 1200.00 | 1200.00 | 1000.00 | 1000.00 | 1000.00 | PIKESH ENTERPRISES
15.04 | Replacement of belt | 1.00 | No |  | 1000.00 | 1000.00 | 1200.00 | 1200.00 | 1000.00 | 1000.00 | 1000.00 | PIKESH ENTERPRISES, DYNAMIC TECHNOLOGY SOLUTIONS
15.05 | Replacement of Hooter | 1.00 | No |  | 1200.00 | 1200.00 | 1200.00 | 1200.00 | 1000.00 | 1000.00 | 1000.00 | PIKESH ENTERPRISES
15.06 | Replacement of Bearings | 1.00 | No |  | 1000.00 | 1000.00 | 1200.00 | 1200.00 | 1000.00 | 1000.00 | 1000.00 | PIKESH ENTERPRISES, DYNAMIC TECHNOLOGY SOLUTIONS
15.07 | Replacement of limit switch | 1.00 | No |  | 1700.00 | 1700.00 | 1200.00 | 1200.00 | 1500.00 | 1500.00 | 1200.00 | Integrate Electric Corporation
15.08 | Replacement of Boom | 1.00 | No |  | 120000.00 | 120000.00 | 115000.00 | 115000.00 | 105000.00 | 105000.00 | 105000.00 | PIKESH ENTERPRISES
16.00 | Locating under ground cable fault by using sensing probe. Set-up for locating the underground cable fault shall be arranged by the agency. | 1.00 | Job |  | 29000.00 | 29000.00 | 40000.00 | 40000.00 | 30000.00 | 30000.00 | 29000.00 | DYNAMIC TECHNOLOGY SOLUTIONS
| Total in Figures |  |  |  |  | 1566800.00 |  | 1568100.00 |  | 1476300.00
Lowest Amount Quoted BY: PIKESH ENTERPRISES(1476300.00)

## BOQ Summary
BOQ Summary Details Tender Title: BARCT/NRB/EMC/EMT204/2026/529 Tender ID: 2026_NRB_928351_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | PIKESH ENTERPRISES (BID ID -3486302) | 1476300.00 | L1
| 2 | DYNAMIC TECHNOLOGY SOLUTIONS (BID ID -3492682) | 1566800.00 | L2
| 3 | Integrate Electric Corporation (BID ID -3492351) | 1568100.00 | L3