## BoQ1
Government eProcurement System Created By: SHASHANK JAKHMOLA Created Date/Time: 07-Jul-2026 10:14 AM Tender Title: Works Contract for Fire Pump Remote Control Panel Installation Feeder Modification and System Programming at ONGC Office Buildings Tender ID: 2026_ONGC_269753_1
Tender Inviting Authority: Supply Chain Management, WOB, ONGC- NBP Green Height, BKC, Bandra (E), Mumbai
Name of Work: Works Contract for Fire Pump Remote Control Panel Installation, Feeder Modification and System Programming at ONGC's Office Buildings
Tender Reference No: P26JC26001
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SUCHI TURNKEY PROJECTS PVT.LTD (GSTN-NA) BID ID -991531 |  | PINNACLESAFE TECHNOLOGIES PVT. LTD. (GSTN-NA) BID ID -1002240
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | WORKS CONTRACT
1.01 | Supply of PLC, I/O Modules, Jockey Counter, Communication cables. Advanced automation capabilities with user-friendly interface design to deliver efficient, reliable, seamless automation and control solutions. This will be installed in fire pump room under the works contract. | 3.00 | Nos | 1.25 | 135000.00 | 477900.00 | 160550.00 | 568347.00 | 477900.00 | SUCHI TURNKEY PROJECTS PVT.LTD
1.02 | Supply of HMI Interface Panel including enclosure, MCB, SMPS. Located at fire control room under the works contract. | 3.00 | Nos | 0.00 | 65500.00 | 231870.00 | 37950.00 | 134343.00 | 134343.00 | PINNACLESAFE TECHNOLOGIES PVT. LTD.
1.03 | Supply, installation of Pump Feeder Modification Charges. The pump feeder modification for enhancing functionality, and ensuring the reliability to meet the requirement under the works contract. | 19.00 | Nos | 100.00 | 22500.00 | 504450.00 | 14100.00 | 316122.00 | 316122.00 | PINNACLESAFE TECHNOLOGIES PVT. LTD.
1.04 | Supply of Shielded cable for Integration. (Including accessories- Saddle, Cable Tie, and Gland only.) for Booster Pump, Level & Pressure Transmitters, etc, up to fire control room under the works contract. | 3.00 | Nos | 53.00 | 45000.00 | 159300.00 | 67500.00 | 238950.00 | 159300.00 | SUCHI TURNKEY PROJECTS PVT.LTD
1.05 | Supply of Hydrostatic, Digital, submersible type Water Tank level Monitoring sutaible for Fire water tanks, Level controller send signal to send Remote panel and integrate with the PLC panel under the works contract. Temperature range: 0~70 C. All stainless steel housing. Protection: IP68. | 8.00 | Nos | 10.00 | 20000.00 | 188800.00 | 40500.00 | 382320.00 | 188800.00 | SUCHI TURNKEY PROJECTS PVT.LTD
1.06 | Supply of Pressure transmitter under the works contract. SS 316 MOC, 8 to 30 Vdc power supply. Water Temperature 30 to 100 °C | 3.00 | Nos | 10.00 | 30000.00 | 106200.00 | 13200.00 | 46728.00 | 46728.00 | PINNACLESAFE TECHNOLOGIES PVT. LTD.
1.07 | Supply of Power supply suitable for application under the works contract. | 3.00 | Nos | 11.00 | 3200.00 | 11328.00 | 3450.00 | 12213.00 | 11328.00 | SUCHI TURNKEY PROJECTS PVT.LTD
1.08 | Programming, Testing & Demonstration Charges. Once Functional, testing is complete and the modified pump feeder system has been validated, demonstration sessions are conducted to showcase its Capabilities to clients under the works contract. | 3.00 | jobs | 10.00 | 15500.00 | 54870.00 | 45000.00 | 159300.00 | 54870.00 | SUCHI TURNKEY PROJECTS PVT.LTD
1.09 | Installation, testing, and commissioning of system under the works contract. | 3.00 | Jobs | 22.00 | 9500.00 | 33630.00 | 65000.00 | 230100.00 | 33630.00 | SUCHI TURNKEY PROJECTS PVT.LTD
| Total in Figures |  |  |  |  | 1768348.00 |  | 2088423.00
Lowest Amount Quoted BY: SUCHI TURNKEY PROJECTS PVT.LTD(1768348.00)

## BOQ Summary
BOQ Summary Details Tender Title: Works Contract for Fire Pump Remote Control Panel Installation Feeder Modification and System Programming at ONGC Office Buildings Tender ID: 2026_ONGC_269753_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SUCHI TURNKEY PROJECTS PVT.LTD (BID ID -991531) | 1768348.00 | L1
| 2 | PINNACLESAFE TECHNOLOGIES PVT. LTD. (BID ID -1002240) | 2088423.00 | L2