## BoQ1
Government eProcurement System Created By: Heena Akhtar Created Date/Time: 27-Mar-2026 05:18 PM Tender Title: Addition of 9 No H2S Channel in Existing Crowcon Make H2S GDS at Lanwa GGS-3 Tender ID: 2026_ONGC_272008_1
Tender Inviting Authority: HEENA AKHTAR,EE( E ) -SCM, Email id:- akhtar_heena@ongc.co.in, Contact No.: 02762-26-2431
Name of Work:Addition of 9 No H2S Channel in Existing Crowcon Make H2S GDS at Lanwa GGS-3
Tender No: E16HS26004
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ANACON PROCESS CONTROL (GSTN-NA) BID ID -998526
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Cost of Supply of Material:
1.01 | Xgard Type 2 (H2S),P/N: XG2‐S1‐01‐AC,Range‐ 0‐100ppm Power supply ‐ 24VDC,Output‐ 4‐20 Ma,Approval ‐ ATEX Material ‐ SS,Make: Crowcon | 9.00 | Nos |  | 2.00 | 1136874.51 | 1136874.51 | ANACON PROCESS CONTROL
1.02 | GASMONITOR INPUT MODULE + CARD MODULE MEMBRANE SWITCH,P/N: S01718/3 + E01762 Make: Crowcon . | 9.00 | Nos |  | 2.00 | 561393.00 | 561393.00 | ANACON PROCESS CONTROL
1.03 | 10T Cable,Make: UDEY PYRO . | 400.00 | mtr |  | 1.00 | 562408.00 | 562408.00 | ANACON PROCESS CONTROL
1.04 | 1T Cable,Make: UDEY PYRO | 700.00 | mtr |  | 1.00 | 152460.00 | 152460.00 | ANACON PROCESS CONTROL
1.05 | Cable Tray 50mm | 700.00 | mtr |  | 1.00 | 249865.00 | 249865.00 | ANACON PROCESS CONTROL
1.06 | Cable Tray 100mm | 400.00 | mtr |  | 1.00 | 237160.00 | 237160.00 | ANACON PROCESS CONTROL
1.07 | Main Field Junction box | 1.00 | No |  | 1.00 | 23633.72 | 23633.72 | ANACON PROCESS CONTROL
2.00 | Service Charges:
2.01 | Panel Modification Charges | 1.00 | AU |  | 1.00 | 212401.18 | 212401.18 | ANACON PROCESS CONTROL
2.02 | Charges for Installation and Commissioning | 1.00 | AU |  | 1.00 | 354000.00 | 354000.00 | ANACON PROCESS CONTROL
| Total in Figures |  |  |  |  | 3490195.41
Lowest Amount Quoted BY: ANACON PROCESS CONTROL(3490195.41)

## BOQ Summary
BOQ Summary Details Tender Title: Addition of 9 No H2S Channel in Existing Crowcon Make H2S GDS at Lanwa GGS-3 Tender ID: 2026_ONGC_272008_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ANACON PROCESS CONTROL (BID ID -998526) | 3490195.41 | L1