## BoQ1
Government eProcurement System Created By: Ajit Kumar Created Date/Time: 05-Jun-2026 11:59 AM Tender Title: Works for restoration of Electrical Feeder Panel of KV Qtrs, Base Complex, ONGC, Rajahmundry Tender ID: 2026_ONGC_277977_1
Tender Inviting Authority: Engineering Services, ONGC Rajahmundry Asset
Name of Work: Works for restoration of Electrical Feeder Panel of KV Qtrs, Base Complex, ONGC, Rajahmundry
Tender No: KE1AL26008
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SHINY ELECTRICAL SERVICES (GSTN-NA) BID ID -1027381 |  | CORNERSTONE ENGINEERING AND SERVICES (GSTN-NA) BID ID -1024657 |  | VIJAYA ELECTRICAL AND REWINDING WORKS (GSTN-NA) BID ID -1027953 |  | RAMA ELECTRICAL AND REWINDING WORKS (GSTN-NA) BID ID -1027795
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Description
1.01 | Fabrication of Feeder Pillar and fixing in place of existing Feeder Pillar with all necessary switchgear, connections, terminations, modifications etc. as per below details: 01 No. 400 A, 4 pole MCCB for incoming 03 No. 150 A, 4 pole MCCB for ou going 01 No. Street Light Control feeder having- 63 amps, 4 pole MCBs- 1No. for outgoing with 40 amps, 3 phase contactor-2 Nos. and timer- 2nos. With an Individual MCB and Auto/Manual selector. 01 No. 125 A, 4 pole MCCB for outgoing 01 No. 02 No. 63 A, 4 pole MCBs for outgoing 01 No. Multifunction digital panel meter(V/A/W/PF) The scope includes disconnection and removal of the incoming / outgoing power cables and shifting the existing old feeder pillar from its location to electrical sub-station, base complex and install the above feeder pillar with new CC foundation as required and termination of one number 3½ x 180 sq.mm aluminium armoured cable and 3 Nos. 3 ½ x 50 sq.mm aluminium armoured cable and 4 Nos. 4 c x 16 sq.mm aluminium armoured cables with suitable glands and lugs as required and restore the power supply. Please refer to the SOW & Technical Specification of Tender Document. | 1.00 | AU |  | 221000.00 | 260780.00 | 220000.00 | 259600.00 | 260000.00 | 306800.00 | 224576.00 | 264999.68 | 259600.00 | CORNERSTONE ENGINEERING AND SERVICES
| Total in Figures |  |  |  |  | 260780.00 |  | 259600.00 |  | 306800.00 |  | 264999.68
Lowest Amount Quoted BY: CORNERSTONE ENGINEERING AND SERVICES(259600.00)

## BOQ Summary
BOQ Summary Details Tender Title: Works for restoration of Electrical Feeder Panel of KV Qtrs, Base Complex, ONGC, Rajahmundry Tender ID: 2026_ONGC_277977_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CORNERSTONE ENGINEERING AND SERVICES (BID ID -1024657) | 259600.00 | L1
| 2 | SHINY ELECTRICAL SERVICES (BID ID -1027381) | 260780.00 | L2
| 3 | RAMA ELECTRICAL AND REWINDING WORKS (BID ID -1027795) | 264999.68 | L3
| 4 | VIJAYA ELECTRICAL AND REWINDING WORKS (BID ID -1027953) | 306800.00 | L4