## BoQ1
Government eProcurement System Created By: Raghu Ram Vaddiparti Created Date/Time: 22-Jul-2026 11:02 AM Tender Title: Calibration Works of Electrical Relays Measuring Instruments at Surface Installations Tender ID: 2026_ONGC_279567_1
Tender Inviting Authority: V RAGHU RAM, CE (E), Room No. SC-10, 2nd Floor, C-Wing, Godavari Bhavan, ONGC Base Complex, Rajahmundry – 533106, Andhra Pradesh, Phone No. 0883-2494206
Name of Work:Calibration Works of Electrical Relays & Measuring Instruments at Surface Installations
Contract No: KY1RL26009
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Item Code | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY (GSTN-37BTWPC0647P1ZY) BID ID -1042275 |  | VIJAYA ELECTRICAL AND REWINDING WORKS (GSTN-NA) BID ID -1046788
[5 empty] | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | L1 Rate Without Tax | L1 Bidder Without Tax | L1 Rate With Tax | L1 Bidder With Tax
1.00 | Calibration of Relays
1.00 | Over Current Relay, EE Make, Model:CDV62EG213A, S.No: 93071163001, 100-110V DC, 2.5-10A, NV:250V AC, U/V:150VAC | 1.00 | No | TPK PMCC Room1 | 450.00 | 531.00 | 830.00 | 979.40 | 450.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 531.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.00 | Over Current Relay, EE Make, Model:CDG11AF002SA(M), S.No: 93124426004, 110V DC, 0.5-2 A | 1.00 | No | TPK PMCC Room2 | 450.00 | 531.00 | 830.00 | 979.40 | 450.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 531.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.00 | Reverse Power Relay-1, EE Make, Model:CCUM21PF162A, 110V DC, 5A,110V | 2.00 | No | TPK PMCC Room3 | 900.00 | 1062.00 | 1660.00 | 1958.80 | 900.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 1062.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.00 | Inst. Overvoltage Relay, EE Make, Model:VAGM22AF71C, S.No: 93103337003, 110V DC, 121-154V | 1.00 | No | TPK PMCC Room4 | 450.00 | 531.00 | 830.00 | 979.40 | 450.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 531.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.00 | Inst. Undervoltage Relay, EE Make, Model:VAGM22AF171G, 110V DC, 44-88V | 3.00 | No | TPK PMCC Room5 | 1350.00 | 1593.00 | 2490.00 | 2938.20 | 1350.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 1593.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.01 | Inst. Earth Fault Relay, EE Make, Model:CAG14AF15A, 110V DC, 0.5-2A | 2.00 | No | TPK PMCC Room6 | 900.00 | 1062.00 | 1660.00 | 1958.80 | 900.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 1062.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.01 | Trip Circuit Supervision Relay, EE Make, Model:VAX31ZG8074B(M), S.No: 91040983016, 110V DC | 5.00 | No | TPK PMCC Room7 | 2250.00 | 2655.00 | 2600.00 | 3068.00 | 2250.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 2655.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.01 | Tripping Relay, EE Make, Model:VAJH13YF61A, S.No: 91031093006, 110V DC | 5.00 | No | TPK PMCC Room8 | 2250.00 | 2655.00 | 2600.00 | 3068.00 | 2250.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 2655.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.01 | Undervoltage Relay, EE Make, Model:VAG11YF8011H(M), S.No: 91030693001, 110V DC | 2.00 | No | TPK PMCC Room9 | 900.00 | 1062.00 | 1660.00 | 1958.80 | 900.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 1062.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.01 | Over Current Relay, EE Make, Model:CDG31FF012SB(M), 110V DC, 2.5-10A/0.5-2A | 8.00 | No | TPK PMCC Room10 | 3600.00 | 4248.00 | 6640.00 | 7835.20 | 3600.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 4248.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.01 | Earth Fault Relay, EE Make, Model:CDG31FF012SB(M), 110V DC, 2.5-10A/0.5-2A | 4.00 | No | TPK PMCC Room11 | 1800.00 | 2124.00 | 3320.00 | 3917.60 | 1800.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 2124.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.01 | Definite Time Relay, EE Make, Model:VTT11ZG8195B(M), S.No: 91030753001, 110V DC | 1.00 | No | TPK PMCC Room12 | 450.00 | 531.00 | 830.00 | 979.40 | 450.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 531.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.01 | Auxilary relay, EE Make, Model:VAA11HF8402F(M), S.No: 99088797074, 110/250V DC | 1.00 | No | TPK PMCC Room13 | 300.00 | 354.00 | 410.00 | 483.80 | 300.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 354.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.01 | Over Current Relay, EE Make, Model:CDG31EG0011SA(M), 110V DC, 2.5-10A | 2.00 | No | TPK PMCC Room14 | 900.00 | 1062.00 | 1660.00 | 1958.80 | 900.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 1062.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.01 | EarthFault Relay, EE Make, Model:CDG31EG0011SA(M), S.No: 98412648002, 110V DC, 1-4 A | 1.00 | No | TPK PMCC Room15 | 450.00 | 531.00 | 830.00 | 979.40 | 450.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 531.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.02 | Auxilary relay1(Xmer Alarm Relay), EE Make, Model:VAA22ZG8015B(M), 110V DC | 2.00 | No | TPK PMCC Room16 | 900.00 | 1062.00 | 820.00 | 967.60 | 820.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 967.60 | VIJAYA ELECTRICAL AND REWINDING WORKS
1.02 | Over Current Relay, EE Make, Model:CDG61EG006ZR(M), S.No: 90082343001, 110V DC, OC:2.5-10A, EF:1-4A | 2.00 | No | TPK PMCC Room17 | 900.00 | 1062.00 | 1660.00 | 1958.80 | 900.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 1062.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.02 | Earth Fault Relay, EE Make, Model:CDG61EG006ZR(M), S.No: 90082343001, 110V DC, OC:2.5-10A, EF:1-4A | 1.00 | No | TPK PMCC Room18 | 450.00 | 531.00 | 520.00 | 613.60 | 450.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 531.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.02 | Earth Leakage Relay, PROK-dv's Make, Model:EL02, 85-275V AC/DC | 5.00 | No | TPK PMCC Room19 | 2250.00 | 2655.00 | 2600.00 | 3068.00 | 2250.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 2655.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.02 | Phase failure relay with variable under and over voltage cutout, Make-Minilec | 1.00 | No | TPK PMCC Room20 | 450.00 | 531.00 | 520.00 | 613.60 | 450.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 531.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.02 | Bucholz Relay, 110V DC | 1.00 | No | TPK PMCC Room21 | 450.00 | 531.00 | 410.00 | 483.80 | 410.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 483.80 | VIJAYA ELECTRICAL AND REWINDING WORKS
1.02 | Synchronization Relay, CSPC Make Model SR-1 | 1.00 | No | TPK PMCC Room22 | 600.00 | 708.00 | 1040.00 | 1227.20 | 600.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 708.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.02 | Synchronization Relay, SYM Make | 1.00 | No | TPK PMCC Room23 | 800.00 | 944.00 | 1040.00 | 1227.20 | 800.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 944.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.02 | OC,SC, Earth Fault Relays, L&T Make ACB, UW-MTX1.5G, 230V AC | 1.00 | No | TPK PMCC Room24 | 2000.00 | 2360.00 | 1880.00 | 2218.40 | 1880.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 2218.40 | VIJAYA ELECTRICAL AND REWINDING WORKS
1.02 | OC,SC, Earth Fault Relays, GE- MPACT ACB, 230V AC | 4.00 | No | TPK PMCC Room25 | 8000.00 | 9440.00 | 7520.00 | 8873.60 | 7520.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 8873.60 | VIJAYA ELECTRICAL AND REWINDING WORKS
1.03 | OC,SC, Earth Fault Relays, MERLIN GERIN ACB, 230V AC | 1.00 | No | TPK PMCC Room26 | 2000.00 | 2360.00 | 1880.00 | 2218.40 | 1880.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 2218.40 | VIJAYA ELECTRICAL AND REWINDING WORKS
1.03 | Motor Over Load Relays, L&T/ABB/Schnieder Make: Range varying from 1-50A | 5.00 | No | TPK PMCC Room27 | 2000.00 | 2360.00 | 3350.00 | 3953.00 | 2000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 2360.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.03 | Inst. Undervoltage Relay-1, AREVA Make, Model:VAGM22AF171G, 110V DC, CTR: 630/1A, 44-88 V | 8.00 | No | TPK GCP ROOM1 | 4800.00 | 5664.00 | 8320.00 | 9817.60 | 4800.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 5664.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.03 | Tripping Relay, AREVA Make, Model:VAJH13YF8014ACH, 110V DC | 3.00 | No | TPK GCP ROOM2 | 1200.00 | 1416.00 | 2490.00 | 2938.20 | 1200.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 1416.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.03 | Definite Time Relay, AREVA Make, Model:VAG11YF8050LCH, 110V AC | 5.00 | No | TPK GCP ROOM3 | 2500.00 | 2950.00 | 4700.00 | 5546.00 | 2500.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 2950.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.03 | Control relay, AREVA Make, Model:VAJC11BF802BCH, 110-125 V AC | 3.00 | No | TPK GCP ROOM4 | 1800.00 | 2124.00 | 3120.00 | 3681.60 | 1800.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 2124.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.03 | Sensitive Earth Fault Relay, AREVA Make, Model:CTUM15AF002A, 110-250V AC/DC, CTR 60/1 A | 31.00 | No | TPK GCP ROOM5 | 18600.00 | 21948.00 | 32240.00 | 38043.20 | 18600.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 21948.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.03 | Check Sychronising relay, AREVA Make, Model:SKE11BF8041BCH, S.No: 31050501, 48-500V DC, Rated 63.5/110V | 1.00 | No | TPK GCP ROOM6 | 1000.00 | 1180.00 | 1250.00 | 1475.00 | 1000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 1180.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.03 | OC,SC, Earth Fault Relays, MERLIN GERIN ACB, 230V AC | 2.00 | No | TPK GCP ROOM7 | 4000.00 | 4720.00 | 3120.00 | 3681.60 | 3120.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 3681.60 | VIJAYA ELECTRICAL AND REWINDING WORKS
1.03 | Motor Over Load Relays L&T/ABB/Schnieder Make Range varying from 1-50A | 15.00 | No | TPK GCP ROOM8 | 6000.00 | 7080.00 | 9300.00 | 10974.00 | 6000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 7080.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.04 | Earth Leakage Relay, Protime Make, Model:ELR96 | 14.00 | No | TPK 625 KVA CONTROL ROOM1 | 5600.00 | 6608.00 | 8680.00 | 10242.40 | 5600.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 6608.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.04 | Alternator Protection Control Panel, EASY GEN 3500-5 WOODWARD MAKE, 24V DC | 5.00 | No | TPK 625 KVA CONTROL ROOM2 | 2000.00 | 2360.00 | 7800.00 | 9204.00 | 2000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 2360.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.04 | OC,SC, Earth Fault Relays, L&T Make ACB, UW-MTX1.5G, 230V AC | 7.00 | No | TPK 625 KVA CONTROL ROOM3 | 14000.00 | 16520.00 | 10920.00 | 12885.60 | 10920.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 12885.60 | VIJAYA ELECTRICAL AND REWINDING WORKS
1.04 | OC,SC, Earth Fault Relays, ABB Make ACB SACE PR121/P, 8-36 V DC | 3.00 | No | TPK 625 KVA CONTROL ROOM4 | 6000.00 | 7080.00 | 4680.00 | 5522.40 | 4680.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 5522.40 | VIJAYA ELECTRICAL AND REWINDING WORKS
1.04 | Neutral Earthing Resistor Monitoring Relay, Make - JVS Electronics, Type/ ART No.- JRV-402-2 | 3.00 | No | TPK 625 KVA CONTROL ROOM5 | 1200.00 | 1416.00 | 1860.00 | 2194.80 | 1200.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 1416.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.04 | Auxilary Relay, Alstom Make, Model:VAA11YF8407ECH, S.No: 130172220116001, 110/250V AC/DC | 1.00 | No | TATIPAKA REFINERY1 | 400.00 | 472.00 | 620.00 | 731.60 | 400.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 472.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.04 | OC, SC, Earth Fault Relays, GE MPACT ACB, 230V AC | 1.00 | No | TATIPAKA REFINERY2 | 2000.00 | 2360.00 | 1560.00 | 1840.80 | 1560.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 1840.80 | VIJAYA ELECTRICAL AND REWINDING WORKS
1.04 | Motor Over Load Relays, L&T/ABB/Schnieder Make Range varying from 1-50A | 30.00 | No | TATIPAKA REFINERY3 | 12000.00 | 14160.00 | 18600.00 | 21948.00 | 12000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 14160.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.04 | Earth Leakage Relay, PROK-dv's Make, Model:EL02, 85-275V AC/DC | 15.00 | No | TPK ETP MCC1 | 6000.00 | 7080.00 | 9300.00 | 10974.00 | 6000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 7080.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.04 | Earth Leakage Relay, NAGOBA Make Model:EL01 | 1.00 | No | TPK ETP MCC2 | 400.00 | 472.00 | 620.00 | 731.60 | 400.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 472.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.05 | Earth Leakage Relay, NAGOBA Make Model:EL02 | 1.00 | No | TPK ETP MCC3 | 400.00 | 472.00 | 620.00 | 731.60 | 400.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 472.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.05 | Earth Fault Relay Module, L&T Make, Model:GF2 | 1.00 | No | TPK ETP MCC4 | 400.00 | 472.00 | 620.00 | 731.60 | 400.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 472.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.05 | Earth Fault Relay Module, L&T Make, Model:GF3 | 2.00 | No | TPK ETP MCC5 | 800.00 | 944.00 | 1240.00 | 1463.20 | 800.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 944.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.05 | OC, SC, Earth Fault Relays, GE- MPACT ACB | 1.00 | No | TPK ETP MCC6 | 2000.00 | 2360.00 | 1560.00 | 1840.80 | 1560.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 1840.80 | VIJAYA ELECTRICAL AND REWINDING WORKS
1.05 | Motor Over Load Relays, L&T/ABB/Schnieder Make Range varying from 1-50A | 20.00 | No | TPK ETP MCC7 | 8000.00 | 9440.00 | 12400.00 | 14632.00 | 8000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 9440.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.05 | Earth Leakage Relay, ALSTOM Make | 2.00 | No | TPK ETP MCC8 | 800.00 | 944.00 | 1240.00 | 1463.20 | 800.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 944.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.05 | BPCL B MOTPRO RELAY, ALSTOM Make MCHNM | 1.00 | No | TPK ETP MCC9 | 400.00 | 472.00 | 620.00 | 731.60 | 400.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 472.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.05 | Earth Leakage Relay, PROK-dv's Make, Model:EL02, 85-275V AC/DC | 4.00 | No | TPK INST. AIR COMP SHED | 1600.00 | 1888.00 | 2480.00 | 2926.40 | 1600.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 1888.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.05 | Earth Leakage Relay, PROK-dv's Make | 3.00 | No | MSAA EPS | 1500.00 | 1770.00 | 1860.00 | 2194.80 | 1500.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 1770.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.05 | Earth Leakage Relay, PROK-dv's Make | 10.00 | No | SVLAB EPS | 5000.00 | 5900.00 | 6200.00 | 7316.00 | 5000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 5900.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.06 | Earth Leakage Relay, PROK-dv's Make | 11.00 | No | Narasapur-GCS1 | 5500.00 | 6490.00 | 6820.00 | 8047.60 | 5500.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 6490.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.06 | Over Load relay, Make: Siemens, | 1.00 | No | Narasapur-GCS2 | 500.00 | 590.00 | 620.00 | 731.60 | 500.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 590.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.06 | Auxiliary Relay Make L&T- MO-TA4, RTO-37-49A | 2.00 | No | Narasapur-GCS3 | 1000.00 | 1180.00 | 1240.00 | 1463.20 | 1000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 1180.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.06 | Over Load Relay, 7.5 KW, DOL, SCHNEIDER ,LRD 16 RANGE :9-13 AMPS,B600R 300,CLASS 10A | 3.00 | No | GMAA GGS1 | 1200.00 | 1416.00 | 1560.00 | 1840.80 | 1200.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 1416.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.06 | Over Load Relay, 3.75 KW, DOL, SCHNEIDER ,LRD 14 RANGE :7-10 AMPS,B600R 300,CLASS 10A | 2.00 | No | GMAA GGS2 | 800.00 | 944.00 | 1040.00 | 1227.20 | 800.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 944.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.06 | Over Load Relay, 3.75 KW, DOL, SCHNEIDER ,LRD 16 RANGE :7-10 AMPS,B600R 300,CLASS 10A | 1.00 | No | GMAA GGS3 | 400.00 | 472.00 | 520.00 | 613.60 | 400.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 472.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.06 | Over Load Relay, 5.5 KW, DOL, SCHNEIDER ,LRD 16 RANGE :9-13 AMPS,B600R 300,CLASS 10A | 3.00 | No | GMAA GGS4 | 1200.00 | 1416.00 | 1560.00 | 1840.80 | 1200.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 1416.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.06 | Over Load Relay, 0.75 KW, DOL, SCHNEIDER ,LRD 07 RANGE :1.62-2.5 AMPS,B600R 300,CLASS 10A | 3.00 | No | GMAA GGS5 | 1200.00 | 1416.00 | 1560.00 | 1840.80 | 1200.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 1416.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.06 | Over Load Relay, 25 HP, ATS STARTER, L&T, RANGE 30-50 | 9.00 | No | GMAA GGS6 | 3600.00 | 4248.00 | 4680.00 | 5522.40 | 3600.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 4248.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.06 | Over Load Relay, 20 HP, DOL, L&T, RANGE 20-30 | 2.00 | No | GMAA GGS7 | 800.00 | 944.00 | 1040.00 | 1227.20 | 800.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 944.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.07 | Over Load Relay, 10 HP, DOL, L&T, RANGE 09-15 | 2.00 | No | GMAA GGS8 | 800.00 | 944.00 | 1040.00 | 1227.20 | 800.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 944.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.07 | Over Load Relay, 10 HP, DOL, L&T, RANGE 20-30 | 1.00 | No | GMAA GGS9 | 400.00 | 472.00 | 520.00 | 613.60 | 400.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 472.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.07 | Over Load Relay, 7.5 HP, DOL, L&T, RANGE 09-15 | 1.00 | No | GMAA GGS10 | 400.00 | 472.00 | 520.00 | 613.60 | 400.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 472.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.07 | Over Load Relay, 20 HP, DOL, L&T, RANGE 20-33 | 2.00 | No | GMAA GGS11 | 800.00 | 944.00 | 1040.00 | 1227.20 | 800.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 944.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.07 | Over Load Relay, 10 HP, DOL, L&T, RANGE 09-15 | 2.00 | No | GMAA GGS12 | 800.00 | 944.00 | 1040.00 | 1227.20 | 800.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 944.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.07 | Over Load Relay, 7.5 HP, DOL, L&T, RANGE 09-15 | 1.00 | No | GMAA GGS13 | 400.00 | 472.00 | 520.00 | 613.60 | 400.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 472.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.07 | Over Load Relay, SCHNEIDER ,LRE 03, RANGE :37-50 AMPS. | 1.00 | No | GMAA GGS14 | 400.00 | 472.00 | 520.00 | 613.60 | 400.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 472.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.07 | OWS MOTOR STARTER 20hp 1 no , 10 hp 3nos OLR | 4.00 | No | GMAA GGS15 | 1600.00 | 1888.00 | 2080.00 | 2454.40 | 1600.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 1888.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.07 | MCC ROOM KOD MOTOR STARTER SCHENIDER OLR 6-24A | 2.00 | No | GMAA GGS16 | 800.00 | 944.00 | 1040.00 | 1227.20 | 800.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 944.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.07 | Over Load Relay, 0.37 KW, DOL, SCHNEIDER ,LRD 06 RANGE :1-1.6 AMPS,B600R 300,CLASS 10A | 2.00 | No | GMAA GGS17 | 800.00 | 944.00 | 1040.00 | 1227.20 | 800.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 944.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.08 | Over Load Relay, 1.5 KW, DOL, SCHNEIDER ,LRD 10 RANGE :4-6 AMPS,B600R 300,CLASS 10A | 4.00 | No | GMAA GGS18 | 1600.00 | 1888.00 | 2080.00 | 2454.40 | 1600.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 1888.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.08 | 50 HP air compresssor SCHNEIDER 37-50A OLR | 2.00 | No | GMAA GGS19 | 800.00 | 944.00 | 1040.00 | 1227.20 | 800.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 944.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.08 | Air Compressor Phase Sequence Relay, Make Minilec, S2 VMR3 | 2.00 | No | GMAA GGS20 | 800.00 | 944.00 | 1040.00 | 1227.20 | 800.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 944.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.08 | Over Load Relay, 75 HP, ATS STARTER, SIEMENS, RANGE 85-135 AMPS. | 2.00 | No | GMAA GGS21 | 800.00 | 944.00 | 1040.00 | 1227.20 | 800.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 944.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.08 | Neutral Displacement Relay TYPE VDG ALSTOM MAKE | 2.00 | No | GMAA GGS22 | 800.00 | 944.00 | 1040.00 | 1227.20 | 800.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 944.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.08 | Voltage monitoring relay make minilec | 3.00 | No | GMAA GGS23 | 1200.00 | 1416.00 | 1560.00 | 1840.80 | 1200.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 1416.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.08 | Neutral Earthing Resistor Monitoring Relay, Make - JVS Electronics, Type/ ART No.- JRV-402-2, Type/ ART No.- JRV-402-2 | 2.00 | No | GMAA GGS24 | 800.00 | 944.00 | 1040.00 | 1227.20 | 800.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 944.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.08 | SCHNEIDER 800A ACB (380KVA ALTERNATOR) with LSI protection | 1.00 | No | GMAA GGS25 | 400.00 | 472.00 | 1560.00 | 1840.80 | 400.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 472.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.08 | ABB SACE E1N 08 800A ACB(170KVA GG AND ETP FEEDER) with LSIG protection | 2.00 | No | GMAA GGS26 | 800.00 | 944.00 | 3120.00 | 3681.60 | 800.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 944.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.08 | 380 kva gg auxillary pump motors OLR 25HP -1 NO, 3 HP -1 NO ,1.5HP- 3 NO | 5.00 | No | GMAA GGS27 | 2000.00 | 2360.00 | 2600.00 | 3068.00 | 2000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 2360.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.09 | NGR RELAY MAKE SP ENTERPRISE | 1.00 | No | GMAA GGS28 | 400.00 | 472.00 | 520.00 | 613.60 | 400.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 472.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.09 | Earth Leakage Relay, PROK dv's Make | 64.00 | No | GMAA GGS29 | 25600.00 | 30208.00 | 33280.00 | 39270.40 | 25600.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 30208.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.09 | Dosing motors starters OLR | 12.00 | No | GMAA GGS30 | 4800.00 | 5664.00 | 6240.00 | 7363.20 | 4800.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 5664.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.09 | Over Load Relay, AUTO TR., L&T,30--50 AMPS | 3.00 | No | S Yanam1 | 1200.00 | 1416.00 | 1560.00 | 1840.80 | 1200.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 1416.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.09 | Over Load Relay,5HP DOL | 3.00 | No | S Yanam2 | 1200.00 | 1416.00 | 1560.00 | 1840.80 | 1200.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 1416.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.09 | Over Load Relay, DOL, L&T22-32 AMPS | 1.00 | No | S Yanam3 | 400.00 | 472.00 | 520.00 | 613.60 | 400.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 472.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.09 | Earth Leakage Relay, PROK dv's/NEGOBA Make, AB042001(230 VOLT,AC | 3.00 | No | S Yanam4 | 1200.00 | 1416.00 | 1560.00 | 1840.80 | 1200.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 1416.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.09 | Over Load Relay DOL-3,ATS-2 | 5.00 | No | PSP-GCS 1 | 2000.00 | 2360.00 | 2600.00 | 3068.00 | 2000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 2360.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.09 | NGR RELAY SP ENTERPRISE | 2.00 | No | PSP-GCS 2 | 800.00 | 944.00 | 1040.00 | 1227.20 | 800.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 944.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.09 | Earth Leakage Relay, Nagoba Electrical,PROK dv's Make | 5.00 | No | PSP-GCS 3 | 2000.00 | 2360.00 | 2600.00 | 3068.00 | 2000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 2360.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.10 | Earth Leakage Relay, PROK-dv'sMake | 17.00 | No | Endamuru GCS1 | 6800.00 | 8024.00 | 8840.00 | 10431.20 | 6800.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 8024.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.10 | Neutral Earthing Resistor Monitoring Relay, Make - JVS Electronics, Type/ ART No.- JRV-402-2 | 2.00 | No | Endamuru GCS2 | 800.00 | 944.00 | 1040.00 | 1227.20 | 800.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 944.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.10 | Breaker Multiple Relay, VAJM Make, Model VAJC11BF8402BCH, Supply 110VAC | 2.00 | No | MDP#GCS1 | 800.00 | 944.00 | 2080.00 | 2454.40 | 800.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 944.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.10 | DMT Sensitive Earth Fault Relay, CTUM Make, Model CTUM15AF002A, Supply 110-250VAC | 27.00 | No | MDP#GCS2 | 17550.00 | 20709.00 | 28080.00 | 33134.40 | 17550.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 20709.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.10 | Under Voltage Relay, VAGM Make, Model VAGM22AF171G, Supply 110VAC | 7.00 | No | MDP#GCS3 | 4550.00 | 5369.00 | 7280.00 | 8590.40 | 4550.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 5369.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.10 | Timer Relay, VTT Make, Model VTT11ZG8050 LCH, Supply 110VAC | 5.00 | No | MDP#GCS4 | 2000.00 | 2360.00 | 5200.00 | 6136.00 | 2000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 2360.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.10 | Lockout Relay, VAJ Make, Model VAJH13YF8015ACH, SR. No. 31060774, Supply 110VAC | 3.00 | No | MDP#GCS5 | 1200.00 | 1416.00 | 1860.00 | 2194.80 | 1200.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 1416.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.10 | Synchro check Relay, SKE Make, Model SKE11BF0A1BCH, SR. No. 31050498, Supply 48-50DC | 1.00 | No | MDP#GCS6 | 600.00 | 708.00 | 1250.00 | 1475.00 | 600.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 708.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.10 | MFM Meter, Schneider Make, Model PM710MGCA, SR. No. 4905f526 & 4936406cSupply Supply 110-415V | 2.00 | No | MDP#GCS7 | 1000.00 | 1180.00 | 2080.00 | 2454.40 | 1000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 1180.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.10 | Earth Fault Relay, NAGOBA Make | 1.00 | No | MDP#GCS8 | 400.00 | 472.00 | 620.00 | 731.60 | 400.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 472.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.11 | Multi function meter, Emgis make, Old plant | 1.00 | No | MDP#GCS9 | 500.00 | 590.00 | 620.00 | 731.60 | 500.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 590.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.11 | Neutral Displacement Relay | 2.00 | No | MDP#GCS10 | 800.00 | 944.00 | 1240.00 | 1463.20 | 800.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 944.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.11 | Neutral Earthing Resistor Monitoring Relay, Make - JVS Electronics, Type/ ART No.- JRV-402-2 | 2.00 | No | MDP#GCS11 | 1000.00 | 1180.00 | 1240.00 | 1463.20 | 1000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 1180.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.11 | Prok dv's Make, EL- 02/03/05 | 18.00 | No | Advipalem #GCS1 | 7200.00 | 8496.00 | 11160.00 | 13168.80 | 7200.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 8496.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.11 | Neutral Earthing Resistor Monitoring Relay, Make - JVS Electronics, Type/ ART No.- JRV-402-2 | 2.00 | No | Advipalem #GCS2 | 800.00 | 944.00 | 1040.00 | 1227.20 | 800.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 944.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.11 | Overload relay, 2-3.5A, Air compressors | 2.00 | No | Advipalem #GCS3 | 800.00 | 944.00 | 1040.00 | 1227.20 | 800.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 944.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.11 | Overload relay, 17.4-24A, Jockey pumps | 2.00 | No | Advipalem #GCS4 | 800.00 | 944.00 | 1040.00 | 1227.20 | 800.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 944.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.11 | Overload relay, 6-10A, Loading pump | 1.00 | No | Advipalem #GCS5 | 400.00 | 472.00 | 520.00 | 613.60 | 400.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 472.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.11 | Over load relay, 15-75A, Effluent pump | 1.00 | No | Advipalem #GCS6 | 400.00 | 472.00 | 520.00 | 613.60 | 400.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 472.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.11 | Neutral Earthing Resistor Monitoring Relay, Make - JVS, Electronics, Type/ ART No.- JRV-402-2, Type/ ART No.- JRV-402-2 | 1.00 | No | Ponnamanda #GCS1 | 400.00 | 472.00 | 520.00 | 613.60 | 400.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 472.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.12 | Earth Leakage Relay, GIC/Prok dv's/NAGOBA Make | 20.00 | No | Ponnamanda #GCS2 | 8000.00 | 9440.00 | 12400.00 | 14632.00 | 8000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 9440.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.12 | Over load relay, L&T MNx32, (9A-15A)Booster pump 1 | 1.00 | No | Ponnamanda #GCS3 | 400.00 | 472.00 | 520.00 | 613.60 | 400.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 472.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.12 | Over load relay, L&T MNx2, (9A-15A)Booster pump 2 | 1.00 | No | Ponnamanda #GCS4 | 400.00 | 472.00 | 520.00 | 613.60 | 400.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 472.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.12 | Over load relay, L&T MNx2, (9A-15A) Air compressor1 | 1.00 | No | Ponnamanda #GCS5 | 400.00 | 472.00 | 520.00 | 613.60 | 400.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 472.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.12 | Over load relay, L&T MNx2, (9A-15A) Air compressor2 | 1.00 | No | Ponnamanda #GCS6 | 400.00 | 472.00 | 520.00 | 613.60 | 400.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 472.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.12 | Over load relay, L&T MNx2, (4.5-7.5A) loading pump | 1.00 | No | Ponnamanda #GCS7 | 400.00 | 472.00 | 520.00 | 613.60 | 400.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 472.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.12 | Over load relay, L&T MNx2, (0.9A-1.5A) dosing motors | 2.00 | No | Ponnamanda #GCS8 | 800.00 | 944.00 | 1040.00 | 1227.20 | 800.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 944.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.12 | Over load relay, L&T MNx25, (30-40A) Jockey pump | 1.00 | No | Ponnamanda #GCS9 | 400.00 | 472.00 | 520.00 | 613.60 | 400.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 472.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.12 | Earth Leakage Relay, Prok dv's Make, EL- 02/03/05 | 33.00 | No | MORI #GCS1 | 13200.00 | 15576.00 | 20460.00 | 24142.80 | 13200.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 15576.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.12 | Neutral Earthing Resistor Monitoring Relay, Make - JVS, Electronics, Type/ ART No.- JRV-402-2, Type/ ART No.- JRV-402-2 | 2.00 | No | MORI #GCS2 | 800.00 | 944.00 | 1040.00 | 1227.20 | 800.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 944.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.13 | Overload rely, 9-14A, Air compressors | 2.00 | No | MORI #GCS3 | 800.00 | 944.00 | 1040.00 | 1227.20 | 800.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 944.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.13 | Overload relay,20-30A, Jockey pump | 1.00 | No | MORI #GCS4 | 400.00 | 472.00 | 520.00 | 613.60 | 400.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 472.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.13 | Overload relay, 12-18A , KOD motor | 2.00 | No | MORI #GCS5 | 800.00 | 944.00 | 1040.00 | 1227.20 | 800.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 944.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.13 | Over volt relay, minilec, Booster pumps | 2.00 | No | MORI #GCS6 | 800.00 | 944.00 | 1040.00 | 1227.20 | 800.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 944.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.13 | Overload relay, 12-18A, Booster pumps | 2.00 | No | MORI #GCS7 | 800.00 | 944.00 | 1040.00 | 1227.20 | 800.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 944.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.13 | Earth fault relay, D2 EFR1, minilec, Booster pumps | 2.00 | No | MORI #GCS8 | 800.00 | 944.00 | 1040.00 | 1227.20 | 800.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 944.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.13 | Over Voltage Relay,Air Compressor03 | 1.00 | No | MORI #GCS9 | 400.00 | 472.00 | 830.00 | 979.40 | 400.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 472.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.13 | Phase Sequence Relay, Make Minilec, S2 VMR3, Air Compressor03 make Atlas Copco | 1.00 | No | MORI #GCS10 | 400.00 | 472.00 | 1250.00 | 1475.00 | 400.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 472.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.13 | Main MCC Room Earth Leakage Relay, Prok dv's Make, EL- 01/02/03/05 | 38.00 | No | KSP #GGS1 | 15200.00 | 17936.00 | 19760.00 | 23316.80 | 15200.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 17936.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.14 | Neutral Dispalcement Relay Type VDG, V- (24-250 VAC) Make- ALSTOM, VDG14AF9111ACH 33472860/10/15 | 1.00 | No | KSP #GGS2 | 400.00 | 472.00 | 520.00 | 613.60 | 400.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 472.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.14 | PIC realys(ELR-01, 50-500mA)(Reverse power-01)(Over volt relay-01) in GG1 panel | 3.00 | No | KSP #GGS3 | 1200.00 | 1416.00 | 1560.00 | 1840.80 | 1200.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 1416.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.14 | PIC realys(ELR-01, 30-300mA)(Reverse power-01)(Over volt relay-01) in GG2 panel | 3.00 | No | KSP #GGS4 | 1800.00 | 2124.00 | 1560.00 | 1840.80 | 1560.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 1840.80 | VIJAYA ELECTRICAL AND REWINDING WORKS
1.14 | Thermal Overload Relay, MN12, Make L&T, No.- 160971, (90 KW TPK Pump 2)(3-5A) | 1.00 | No | KSP #GGS5 | 400.00 | 472.00 | 520.00 | 613.60 | 400.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 472.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.14 | Thermal Overload Relay, MN2, Make L&T, No.- 1531157, (90 KW TPK Pump 2)(4.5-7.5A) | 1.00 | No | KSP #GGS6 | 400.00 | 472.00 | 520.00 | 613.60 | 400.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 472.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.14 | Over voltage Relay & Undervoltage Relay, S2 VMR3, 18.5 KW VFD | 1.00 | No | KSP #GGS7 | 600.00 | 708.00 | 520.00 | 613.60 | 520.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 613.60 | VIJAYA ELECTRICAL AND REWINDING WORKS
1.14 | Earth Leakage Relay, S2 CMR4, 18.5 KW VFD | 1.00 | No | KSP #GGS8 | 600.00 | 708.00 | 520.00 | 613.60 | 520.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 613.60 | VIJAYA ELECTRICAL AND REWINDING WORKS
1.14 | Over Voltage Relay, Make-L&T, No. LRD3355, Air Compressor 1 | 1.00 | No | KSP #GGS9 | 600.00 | 708.00 | 520.00 | 613.60 | 520.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 613.60 | VIJAYA ELECTRICAL AND REWINDING WORKS
1.14 | Phase Sequence Relay, Make Minilec, S2 VMR3, Air Compressor 1 | 1.00 | No | KSP #GGS10 | 600.00 | 708.00 | 520.00 | 613.60 | 520.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 613.60 | VIJAYA ELECTRICAL AND REWINDING WORKS
1.14 | Over Voltage Relay, Make-L&T, No. LRD3045, Air Compressor 2 | 1.00 | No | KSP #GGS11 | 600.00 | 708.00 | 520.00 | 613.60 | 520.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 613.60 | VIJAYA ELECTRICAL AND REWINDING WORKS
1.15 | Phase Sequence Relay, Make Minilec, S2 VMR3, Air Compressor 2 | 1.00 | No | KSP #GGS12 | 600.00 | 708.00 | 520.00 | 613.60 | 520.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 613.60 | VIJAYA ELECTRICAL AND REWINDING WORKS
1.15 | Over load relay, 30-40A, Air compressor 1&2 | 2.00 | No | KSP #GGS13 | 1200.00 | 1416.00 | 1040.00 | 1227.20 | 1040.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 1227.20 | VIJAYA ELECTRICAL AND REWINDING WORKS
1.15 | Over load relay, 48-65A, Air compressor 3 | 1.00 | No | KSP #GGS14 | 600.00 | 708.00 | 520.00 | 613.60 | 520.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 613.60 | VIJAYA ELECTRICAL AND REWINDING WORKS
1.15 | Overvoltage Relay, Undervoltage Relay, Make- Minilec, Model- ALV D2, Jockey Pump 1 | 1.00 | No | KSP #GGS15 | 600.00 | 708.00 | 520.00 | 613.60 | 520.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 613.60 | VIJAYA ELECTRICAL AND REWINDING WORKS
1.15 | Overvoltage Relay, Undervoltage Relay, Make- Minilec, Model- ALV D2, Jockey Pump 2 | 1.00 | No | KSP #GGS16 | 600.00 | 708.00 | 520.00 | 613.60 | 520.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 613.60 | VIJAYA ELECTRICAL AND REWINDING WORKS
1.15 | 500 KVA GG 1, NGR Tripping Relay with Earth Fault , make- S.P. Enterprises, ELF1A | 1.00 | No | KSP #GGS17 | 600.00 | 708.00 | 520.00 | 613.60 | 520.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 613.60 | VIJAYA ELECTRICAL AND REWINDING WORKS
1.15 | 500 KVA GG 1, NGR Tripping Relay with Earth Fault , make- S.P. Enterprises, ELF1A | 1.00 | No | KSP #GGS18 | 600.00 | 708.00 | 520.00 | 613.60 | 520.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 613.60 | VIJAYA ELECTRICAL AND REWINDING WORKS
1.15 | 380 KVA GG 1, NGR Tripping Relay with Earth Fault , make- S.P. Enterprises, ELF1A | 1.00 | No | KSP #GGS19 | 600.00 | 708.00 | 520.00 | 613.60 | 520.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 613.60 | VIJAYA ELECTRICAL AND REWINDING WORKS
1.15 | ETP MCC ROOM Earth Leakage Relay, Prok dv's Make, ELSPL-MA | 20.00 | No | KSP #GGS20 | 12000.00 | 14160.00 | 10400.00 | 12272.00 | 10400.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 12272.00 | VIJAYA ELECTRICAL AND REWINDING WORKS
1.15 | ETP MCC ROOM, OLR-06-1.0 to 1.6 A | 13.00 | No | KSP #GGS21 | 7800.00 | 9204.00 | 6760.00 | 7976.80 | 6760.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 7976.80 | VIJAYA ELECTRICAL AND REWINDING WORKS
1.16 | ETP MCC ROOM, OLR-08-2.5 to 4 A | 10.00 | No | KSP #GGS22 | 6000.00 | 7080.00 | 5200.00 | 6136.00 | 5200.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 6136.00 | VIJAYA ELECTRICAL AND REWINDING WORKS
1.16 | ETP MCC ROOM, OLR-07-1.6 to 2.5 A | 6.00 | No | KSP #GGS23 | 3600.00 | 4248.00 | 3120.00 | 3681.60 | 3120.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 3681.60 | VIJAYA ELECTRICAL AND REWINDING WORKS
1.16 | ETP MCC ROOM, OLR, 188 to 300 Amps | 3.00 | No | KSP #GGS24 | 1800.00 | 2124.00 | 1560.00 | 1840.80 | 1560.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 1840.80 | VIJAYA ELECTRICAL AND REWINDING WORKS
1.16 | ETP MCC ROOM, OLR-10- 4 to 6 A | 3.00 | No | KSP #GGS25 | 1800.00 | 2124.00 | 1560.00 | 1840.80 | 1560.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 1840.80 | VIJAYA ELECTRICAL AND REWINDING WORKS
1.16 | ETP MCC ROOM, OLR-14 - 7 to 10 A | 6.00 | No | KSP #GGS26 | 3600.00 | 4248.00 | 3120.00 | 3681.60 | 3120.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 3681.60 | VIJAYA ELECTRICAL AND REWINDING WORKS
1.16 | ETP MCC ROOM, OLR-16 - 9 to 13 A | 2.00 | No | KSP #GGS27 | 1200.00 | 1416.00 | 1040.00 | 1227.20 | 1040.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 1227.20 | VIJAYA ELECTRICAL AND REWINDING WORKS
1.16 | ETP MCC ROOM, OLR-12 - 5.5 to 8 A | 2.00 | No | KSP #GGS28 | 1200.00 | 1416.00 | 1040.00 | 1227.20 | 1040.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 1227.20 | VIJAYA ELECTRICAL AND REWINDING WORKS
1.16 | ETP MCC ROOM, OLR-21 - 12 to 18 A | 5.00 | No | KSP #GGS29 | 3000.00 | 3540.00 | 2600.00 | 3068.00 | 2600.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 3068.00 | VIJAYA ELECTRICAL AND REWINDING WORKS
2.00 | Replacement of Malfunctioning Relays
2.01 | Providing, fixing, connecting and testing of new ELR with CBCT and necessary accessories. Make Prok dv or equivalent | 30.00 | No | Surface all | 150000.00 | 177000.00 | 158700.00 | 187266.00 | 150000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 177000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
3.00 | Calibration of Measuring Instruments
3.00 | Digital Multimeter, Make: Fluke, Model: 17B, S. No. 22190271 | 1.00 | No | GMAA#GGS1 | 2000.00 | 2360.00 | 1780.00 | 2100.40 | 1780.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 2100.40 | VIJAYA ELECTRICAL AND REWINDING WORKS
3.00 | Digital Insulation Tester, Make: Fluke, Model: 1507, S. No. 21810218 | 1.00 | No | GMAA#GGS2 | 2000.00 | 2360.00 | 1780.00 | 2100.40 | 1780.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 2100.40 | VIJAYA ELECTRICAL AND REWINDING WORKS
3.00 | Digital Ground Tester, Make: Metravi, Model: 1507, S. No. 21810218 | 1.00 | No | GMAA#GGS3 | 2000.00 | 2360.00 | 1780.00 | 2100.40 | 1780.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 2100.40 | VIJAYA ELECTRICAL AND REWINDING WORKS
3.00 | Digital Motor Checker, Make: Metrai, Model: MC -380, S. No. R220010576 | 1.00 | No | GMAA#GGS4 | 2000.00 | 2360.00 | 1780.00 | 2100.40 | 1780.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 2100.40 | VIJAYA ELECTRICAL AND REWINDING WORKS
3.00 | Digital Lux Meter, Make: HTC, Model: MC -380, S. No. 2107380 | 1.00 | No | GMAA#GGS5 | 6000.00 | 7080.00 | 1680.00 | 1982.40 | 1680.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 1982.40 | VIJAYA ELECTRICAL AND REWINDING WORKS
3.01 | Digital RCD Tester, Make: Metravi, Model: 1813, S. No. 230329717 | 1.00 | No | GMAA#GGS6 | 3000.00 | 3540.00 | 1680.00 | 1982.40 | 1680.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 1982.40 | VIJAYA ELECTRICAL AND REWINDING WORKS
3.01 | Analog Hand Operated Earth Tester, Make: Waco, S.No. 290296 | 1.00 | No | GMAA#GGS7 | 2000.00 | 2360.00 | 1780.00 | 2100.40 | 1780.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 2100.40 | VIJAYA ELECTRICAL AND REWINDING WORKS
3.01 | Digital Micro Ohm Meter, Make: Quadrant Measurement, Model: 53-C, S. No.076032016 | 1.00 | No | GMAA#GGS8 | 2000.00 | 2360.00 | 1880.00 | 2218.40 | 1880.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 2218.40 | VIJAYA ELECTRICAL AND REWINDING WORKS
3.01 | Digital AC/DC True RMS Clamp Meter, Make: Metravi, Model: MetraClamp-20, S No. 220501589 | 1.00 | No | GMAA#GGS9 | 2000.00 | 2360.00 | 1580.00 | 1864.40 | 1580.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 1864.40 | VIJAYA ELECTRICAL AND REWINDING WORKS
3.01 | Analog EARTH TESTER, WACO, S.NO:288742 | 1.00 | No | MDP1 | 2000.00 | 2360.00 | 1480.00 | 1746.40 | 1480.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 1746.40 | VIJAYA ELECTRICAL AND REWINDING WORKS
3.01 | Digital LUX METER, HTC, LX-101A, S.NO: 2107372 | 1.00 | No | MDP2 | 6000.00 | 7080.00 | 1580.00 | 1864.40 | 1580.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 1864.40 | VIJAYA ELECTRICAL AND REWINDING WORKS
3.01 | Digital Multimeter, Make: Fluke, Model: 17B, S. No. 22190298 | 1.00 | No | MDP3 | 2000.00 | 2360.00 | 1640.00 | 1935.20 | 1640.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 1935.20 | VIJAYA ELECTRICAL AND REWINDING WORKS
3.01 | Digital RCD Tester, Make: Metravi, Model: 1813, S. No. 221119450 | 1.00 | No | MDP4 | 2000.00 | 2360.00 | 1440.00 | 1699.20 | 1440.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 1699.20 | VIJAYA ELECTRICAL AND REWINDING WORKS
3.01 | Digital Clamp meter, Make:Metravi Model: Metraclamp-20, S.NO 230302023 | 1.00 | No | MDP5 | 2000.00 | 2360.00 | 1840.00 | 2171.20 | 1840.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 2171.20 | VIJAYA ELECTRICAL AND REWINDING WORKS
3.02 | Digital Insulation Tester, Make: Fluke, Model: 1507, S. No. 2180372 | 1.00 | No | KSP#GGS1 | 2000.00 | 2360.00 | 1540.00 | 1817.20 | 1540.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 1817.20 | VIJAYA ELECTRICAL AND REWINDING WORKS
3.02 | Digital Clamp meter, Make: Fluke, Model: 376, S. No. | 1.00 | No | KSP#GGS2 | 2000.00 | 2360.00 | 1880.00 | 2218.40 | 1880.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 2218.40 | VIJAYA ELECTRICAL AND REWINDING WORKS
3.02 | Digital Multimeter, Make: Metravi, Model: Metraclamp, S. No. 23030201A | 1.00 | No | KSP#GGS3 | 2000.00 | 2360.00 | 1940.00 | 2289.20 | 1940.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 2289.20 | VIJAYA ELECTRICAL AND REWINDING WORKS
3.02 | Digital Ground Tester, Make: Metrai, Model: 1507, S. No. 21120047 | 1.00 | No | KSP#GGS4 | 2000.00 | 2360.00 | 1940.00 | 2289.20 | 1940.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 2289.20 | VIJAYA ELECTRICAL AND REWINDING WORKS
3.02 | Digital Motor Checker, Make: Metrai, Model: MC -380, S. No. R220010534 | 1.00 | No | KSP#GGS5 | 2000.00 | 2360.00 | 1650.00 | 1947.00 | 1650.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 1947.00 | VIJAYA ELECTRICAL AND REWINDING WORKS
3.02 | Analog Hand Operated Earth Tester, Make: Waco, S.No. CIE/ 222M | 1.00 | No | KSP#GGS6 | 2000.00 | 2360.00 | 1840.00 | 2171.20 | 1840.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 2171.20 | VIJAYA ELECTRICAL AND REWINDING WORKS
3.02 | Digital Lux Meter, Make: HTC, Model: MC -380, S. No. 2107390 | 1.00 | No | KSP#GGS7 | 6000.00 | 7080.00 | 1880.00 | 2218.40 | 1880.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 2218.40 | VIJAYA ELECTRICAL AND REWINDING WORKS
3.02 | Digital RCD Tester, Make: Metravi, Model: 1813, S. No. 221119421 | 1.00 | No | KSP#GGS8 | 2000.00 | 2360.00 | 2080.00 | 2454.40 | 2000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 2360.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
3.02 | Digital Ground Tester, Make: Metrai, Model: CET-03, S. No. 21120050 | 1.00 | No | MSAA#GGS1 | 2000.00 | 2360.00 | 2280.00 | 2690.40 | 2000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 2360.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
3.02 | Lux Meter, Make: HTC, Model: LX-101A, S. No. 2107385 | 1.00 | No | MSAA#GGS2 | 6000.00 | 7080.00 | 2080.00 | 2454.40 | 2080.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 2454.40 | VIJAYA ELECTRICAL AND REWINDING WORKS
3.02 | Digital Motor Checker, Make: Metrai, Model: MC -380, S. No. R220010523 | 1.00 | No | MSAA#GGS3 | 2000.00 | 2360.00 | 2080.00 | 2454.40 | 2000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 2360.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
3.03 | Digital AC/DC True RMS Clamp Meter, Make: Metravi, Model: MetraClamp-20, Sno. 230302018 | 1.00 | No | MSAA#GGS4 | 2000.00 | 2360.00 | 2280.00 | 2690.40 | 2000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 2360.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
3.03 | Digital RCD Tester, Make: Metravi, Model: 1813, S. No. 30329674 | 1.00 | No | MSAA#GGS5 | 2000.00 | 2360.00 | 2080.00 | 2454.40 | 2000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 2360.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
3.03 | Digital Clamp meter, Make: MECO, Model: 27-AUTO, S. No. 180411155 | 1.00 | No | ENDAMURU #GCS1 | 2000.00 | 2360.00 | 2280.00 | 2690.40 | 2000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 2360.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
3.03 | Digital Insulation Tester, Make: MECO, Model: DIT99C, S.No. 18040223 | 1.00 | No | ENDAMURU #GCS2 | 2000.00 | 2360.00 | 2080.00 | 2454.40 | 2000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 2360.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
3.03 | Digital Clamp meter, Make: MECO, Model: 27-AUTO | 1.00 | No | NSP#GCS1 | 2000.00 | 2360.00 | 2180.00 | 2572.40 | 2000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY | 2360.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
3.03 | Digital Insulation Tester, Make: MECO, Model: DIT99C, S.No. 18070856 | 1.00 | No | NSP#GCS2 | 2000.00 | 2360.00 | 1780.00 | 2100.40 | 1780.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 2100.40 | VIJAYA ELECTRICAL AND REWINDING WORKS
3.03 | Analog Hand Operated Earth Tester, WACO, S.NO:288734 | 1.00 | No | NSP#GCS3 | 2000.00 | 2360.00 | 1880.00 | 2218.40 | 1880.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 2218.40 | VIJAYA ELECTRICAL AND REWINDING WORKS
3.03 | Digital Clamp Meter, Make: Fluke, Model: 376, S.NO. 22090969 | 1.00 | No | Base Office1 | 2000.00 | 2360.00 | 1580.00 | 1864.40 | 1580.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 1864.40 | VIJAYA ELECTRICAL AND REWINDING WORKS
3.03 | Digital Multimeter, Make: Fluke, Model: 17B, S.NO. 22190300/22190279/22190296 | 10.00 | No | Base Office2 | 20000.00 | 23600.00 | 16800.00 | 19824.00 | 16800.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 19824.00 | VIJAYA ELECTRICAL AND REWINDING WORKS
3.04 | Digital Insulation Tester, Make: Fluke, Model: 1507, S. No. 21810216 | 1.00 | No | Base Office3 | 2000.00 | 2360.00 | 1580.00 | 1864.40 | 1580.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 1864.40 | VIJAYA ELECTRICAL AND REWINDING WORKS
3.04 | Digital Micro Ohm Meter, Make: Quadrant Measurement, Model: 53-C, S. No.076032016 | 1.00 | No | Base Office4 | 2000.00 | 2360.00 | 1880.00 | 2218.40 | 1880.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 2218.40 | VIJAYA ELECTRICAL AND REWINDING WORKS
3.04 | Digital Ground Tester, Make: Metrai, Model: CET-03, S. No. 21110103 | 1.00 | No | Base Office5 | 2000.00 | 2360.00 | 1970.00 | 2324.60 | 1970.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 2324.60 | VIJAYA ELECTRICAL AND REWINDING WORKS
3.04 | Insulation resistance meggar , Fluke 1507, 21810373 | 1.00 | No | TPK#Complex1 | 2000.00 | 2360.00 | 1840.00 | 2171.20 | 1840.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 2171.20 | VIJAYA ELECTRICAL AND REWINDING WORKS
3.04 | Multimeter voltage,Fluke(17B), 22190274 | 1.00 | No | TPK#Complex2 | 2000.00 | 2360.00 | 1640.00 | 1935.20 | 1640.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 1935.20 | VIJAYA ELECTRICAL AND REWINDING WORKS
3.04 | Multimeter voltage,Fluke 17B+, 38913547WS | 1.00 | No | TPK#Complex3 | 2000.00 | 2360.00 | 1630.00 | 1923.40 | 1630.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 1923.40 | VIJAYA ELECTRICAL AND REWINDING WORKS
3.04 | Clamp multimeter AC/DC, METRAVI(20), 220501592 | 1.00 | No | TPK#Complex4 | 2000.00 | 2360.00 | 1780.00 | 2100.40 | 1780.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 2100.40 | VIJAYA ELECTRICAL AND REWINDING WORKS
3.04 | Multimeter voltage,Fluke 17B, 22190260 | 1.00 | No | TPK#Complex5 | 2000.00 | 2360.00 | 1880.00 | 2218.40 | 1880.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 2218.40 | VIJAYA ELECTRICAL AND REWINDING WORKS
3.04 | Digital motor tester (R/L/C/I.R. METER) , METRAVI(ERT 1501),METRAVI(ERT 1501) | 1.00 | No | TPK#Complex6 | 2000.00 | 2360.00 | 1780.00 | 2100.40 | 1780.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 2100.40 | VIJAYA ELECTRICAL AND REWINDING WORKS
3.04 | Earth resistance tester Analog, RK technologies, 9028646172 | 1.00 | No | TPK#Complex7 | 2000.00 | 2360.00 | 1780.00 | 2100.40 | 1780.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 2100.40 | VIJAYA ELECTRICAL AND REWINDING WORKS
3.04 | LUX METER , LX-101A HTC , 2107389 | 1.00 | No | TPK#Complex8 | 6000.00 | 7080.00 | 1780.00 | 2100.40 | 1780.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 2100.40 | VIJAYA ELECTRICAL AND REWINDING WORKS
3.05 | RCD TESTER, METRAVI 1813, 221119471 | 1.00 | No | TPK#Complex9 | 2000.00 | 2360.00 | 1780.00 | 2100.40 | 1780.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 2100.40 | VIJAYA ELECTRICAL AND REWINDING WORKS
3.05 | OIL TEST SET BDV TESTER, MOTWANE, Z02490c17 | 1.00 | No | TPK#Complex10 | 3500.00 | 4130.00 | 1780.00 | 2100.40 | 1780.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 2100.40 | VIJAYA ELECTRICAL AND REWINDING WORKS
3.05 | PORTABLE WHEAT STONE BRIDGE, DCM2350, CAT NO 1682 | 1.00 | No | TPK#Complex11 | 8500.00 | 10030.00 | 1580.00 | 1864.40 | 1580.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 1864.40 | VIJAYA ELECTRICAL AND REWINDING WORKS
| Total in Figures |  |  |  | 663600.00 | 783048.00 | 760170.00 | 897000.60