## BoQ1
Government eProcurement System Created By: Raghu Ram Vaddiparti Created Date/Time: 07-Oct-2026 12:41 PM Tender Title: Electrical works for Tanker Earthing Monitoring System and Fire Pump panel supply system at TPK Complex Tender ID: 2026_ONGC_282836_1
Tender Inviting Authority: V RAGHU RAM, CE (E), Room No. SC-10, 2nd Floor, C-Wing, Godavari Bhavan, ONGC Base Complex, Rajahmundry – 533106, Andhra Pradesh, Phone No. 0883-2494206
Name of Work: Electrical works for Tanker Earthing Monitoring System and Fire Pump panel supply system at TPK Complex
Tender No: KY1RL26008
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Item Code | RAMA ELECTRICAL AND REWINDING WORKS (GSTN-NA) BID ID -1045479 |  | VENUS INDUSTRIES (GSTN-NA) BID ID -1040889 |  | VIJAYA ELECTRICAL AND REWINDING WORKS (GSTN-NA) BID ID -1040377
[5 empty] | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | L1 Rate Without Tax | L1 Bidder Without Tax | L1 Rate With Tax | L1 Bidder With Tax
1.00 | DESCRIPTION
1.01 | Fabrication, installation and termination of flameproof grounding earthing Monitering System on suitable MS Angular Stand with canopy grouted in ground with following Technical specifications 1.Power Supply:230 V AC 2.Opto isolated I/P,O/P 3.Dual Input lamp system 4.Digital resistance setting 5.Earth potential safe value on tanker 6.Class of protection: IIA/IIB for zone 1&2 Installations: TPK GCS Loading Bay | 1.00 | No | item1 | 80000.00 | 94400.00 | 75000.00 | 88500.00 | 76000.00 | 89680.00 | 75000.00 | VENUS INDUSTRIES | 88500.00 | VENUS INDUSTRIES
1.02 | Fabrication, installation and termination of flameproof grounding earthing Monitering System on suitable MS Angular Stand with canopy grouted in ground with following Technical specifications 1.Power Supply:230 V AC 2.No of Inputs: 8 No 3. Input Status Indication LED: True earth 08 Input, alarm, interlock on 4.Digital resistance setting 5.Earth potential safe value on tanker 6.Class of protection: IIA/IIB for zone 1&2 Installations: TPK Refinery Loading Bay | 1.00 | No | item2 | 86000.00 | 101480.00 | 90000.00 | 106200.00 | 90000.00 | 106200.00 | 86000.00 | RAMA ELECTRICAL AND REWINDING WORKS | 101480.00 | RAMA ELECTRICAL AND REWINDING WORKS
1.03 | Breaking the RCC road for laying of pipe at a depth of 1/2ft and restoring the RCC road by concreting the road. Note: Pipe will be supplied by ONGC | 35.00 | Mtr | item3 | 35000.00 | 41300.00 | 35000.00 | 41300.00 | 31500.00 | 37170.00 | 31500.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 37170.00 | VIJAYA ELECTRICAL AND REWINDING WORKS
1.04 | Laying and Termination of 3CX1.5 Sq.mm copper Armored cable by laying on wall with suitable clamps, pipes and existing cable trays by using suitable clamps, lugs, DC Glands and other accessories. Note: Cable will be provided by ONGC | 700.00 | Mtr | item4 | 15400.00 | 18172.00 | 21000.00 | 24780.00 | 16800.00 | 19824.00 | 15400.00 | RAMA ELECTRICAL AND REWINDING WORKS | 18172.00 | RAMA ELECTRICAL AND REWINDING WORKS
1.05 | Providing and fixing of SS304 retractable autorewind spring loaded Static discharge reel of copper cable size 6Sq.mm with working length 10Mtr and crocodile earthing clamp SS304 | 12.00 | No | item5 | 138000.00 | 162840.00 | 144000.00 | 169920.00 | 144000.00 | 169920.00 | 138000.00 | RAMA ELECTRICAL AND REWINDING WORKS | 162840.00 | RAMA ELECTRICAL AND REWINDING WORKS
1.06 | Fabrication, Providing. Installation of T Shape MS Angular stand with square plate anchor bolted to ground with height 1Mtr and width 1 Mtr for 100MM FLP Junction box and SS304 retractable autorewind spring loaded Static discharge reel for Earthing Tanker unit with necessary DC glands concealed with suitable rubber hoots. | 6.00 | No | item6 | 36000.00 | 42480.00 | 30000.00 | 35400.00 | 30000.00 | 35400.00 | 30000.00 | VIJAYA ELECTRICAL AND REWINDING WORKS, VENUS INDUSTRIES | 35400.00 | VIJAYA ELECTRICAL AND REWINDING WORKS, VENUS INDUSTRIES
1.07 | Digging of trench 30cm wide and 30cm deep underground, laying of pipe and cable in trench and refilling of trench after laying pipe and cable as per standard and making the trench level evenly to the ground level. Note: Pipe and Cable will be provided by ONGC | 10.00 | Mtr | item7 | 3000.00 | 3540.00 | 3000.00 | 3540.00 | 2500.00 | 2950.00 | 2500.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 2950.00 | VIJAYA ELECTRICAL AND REWINDING WORKS
1.08 | Fabrication of Suitable MS Angular Stand and providing, installation and commissioning of 400AMPS 4Pole change over switch with enclosure for secondary power supply to 110KW fire pump motor panel | 1.00 | AU | item8 | 54000.00 | 63720.00 | 55000.00 | 64900.00 | 50000.00 | 59000.00 | 50000.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 59000.00 | VIJAYA ELECTRICAL AND REWINDING WORKS
1.09 | Laying and Termination of 3.5CX95 Sq.mm copper Armoured cable by laying in existing cable trays by using suitable clamps, lugs, DC Glands and other accessories. Note: Cable will be provided by ONGC | 230.00 | Mtr | item9 | 20700.00 | 24426.00 | 18400.00 | 21712.00 | 23000.00 | 27140.00 | 18400.00 | VENUS INDUSTRIES | 21712.00 | VENUS INDUSTRIES
1.10 | Providing and replacing of damaged GI cable tray with cover of size 500MM Width 2.5Mtr Length 1.5MM Thickness by using proper tools and supporting structures without damaging existing cables while doing work. Installation: Fire Pump Area | 30.00 | Mtr | item10 | 54000.00 | 63720.00 | 60000.00 | 70800.00 | 48000.00 | 56640.00 | 48000.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 56640.00 | VIJAYA ELECTRICAL AND REWINDING WORKS
1.11 | Providing and replacing of damaged GI cable tray covers only of size 500MM Width 2.5Mtr Length 1.5MM Thickness and Two coats of Painting of chemical resistant paint after installation of cable tray. Installation: TPK Refinery Boiler Area | 90.00 | Mtr | item11 | 90000.00 | 106200.00 | 76500.00 | 90270.00 | 99000.00 | 116820.00 | 76500.00 | VENUS INDUSTRIES | 90270.00 | VENUS INDUSTRIES
1.12 | Fabrication and installation of Closed “C” shape1.5MM GI Sheeted Push Button canopies 1Feet Width 16Inches Depth and Height 2Feet and Painted with two coats of chemical resistant Paint Installation: TPK Refinery Area | 3.00 | No | item12 | 30000.00 | 35400.00 | 22500.00 | 26550.00 | 25500.00 | 30090.00 | 22500.00 | VENUS INDUSTRIES | 26550.00 | VENUS INDUSTRIES
1.13 | Fabrication of base plate suitable as per VCB panel, providing, Installation and Termination of 11KV Potential transformer with following technical specifications 1.11KV Indoor resin cast 2.Ratio:11kVrt3/110Vrt3 3.Rated current 3.15A with inbuilt fuse protection | 3.00 | No | item13 | 66000.00 | 77880.00 | 76500.00 | 90270.00 | 69000.00 | 81420.00 | 66000.00 | RAMA ELECTRICAL AND REWINDING WORKS | 77880.00 | RAMA ELECTRICAL AND REWINDING WORKS
1.14 | Fabrication, providing, Installation and Termination of moulded 11KV Epoxy spout bushing(Insulator) rated 1250Amps suitable for 11KV VCB Panel | 3.00 | No | item14 | 60000.00 | 70800.00 | 76500.00 | 90270.00 | 69000.00 | 81420.00 | 60000.00 | RAMA ELECTRICAL AND REWINDING WORKS | 70800.00 | RAMA ELECTRICAL AND REWINDING WORKS
1.15 | Complete chipping, Grinding of rust with necessary tools and cleaning of VCB Panel | 1.00 | AU | item15 | 8000.00 | 9440.00 | 7200.00 | 8496.00 | 7000.00 | 8260.00 | 7000.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 8260.00 | VIJAYA ELECTRICAL AND REWINDING WORKS
1.16 | Painting of VCB Panel with EB6 Premium Gloss Enamel Paint colour code RAL 7032 | 1.00 | AU | item16 | 10000.00 | 11800.00 | 9200.00 | 10856.00 | 9000.00 | 10620.00 | 9000.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 10620.00 | VIJAYA ELECTRICAL AND REWINDING WORKS
1.17 | Sealing of door panel with IP65 Rubber gasket and Top cover with Cork sheet by applying Synthetic Rubber Adhesive and sealing with Silicon sealant for waterproofing | 1.00 | AU | item17 | 18000.00 | 21240.00 | 14000.00 | 16520.00 | 12000.00 | 14160.00 | 12000.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 14160.00 | VIJAYA ELECTRICAL AND REWINDING WORKS
1.18 | Providing and Installation of 350W Space heater with necessary internal wiring in PVC tray with cover | 1.00 | AU | item18 | 7000.00 | 8260.00 | 7000.00 | 8260.00 | 7600.00 | 8968.00 | 7000.00 | VENUS INDUSTRIES, RAMA ELECTRICAL AND REWINDING WORKS | 8260.00 | VENUS INDUSTRIES, RAMA ELECTRICAL AND REWINDING WORKS
1.19 | Removing copper bus bar cleaning and reinstalling with new 3Inch HT Sleeve by using heat blower | 1.00 | AU | item19 | 3200.00 | 3776.00 | 3500.00 | 4130.00 | 2800.00 | 3304.00 | 2800.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 3304.00 | VIJAYA ELECTRICAL AND REWINDING WORKS
1.20 | Replacement of rusted nut and bolts with Stainless steel Nut and bolt with 2 flat washers and 1 Spring washer | 20.00 | KG | item20 | 20000.00 | 23600.00 | 20000.00 | 23600.00 | 19000.00 | 22420.00 | 19000.00 | VIJAYA ELECTRICAL AND REWINDING WORKS | 22420.00 | VIJAYA ELECTRICAL AND REWINDING WORKS
| Total in Figures |  |  |  | 834300.00 | 984474.00 | 844300.00 | 996274.00 | 831700.00 | 981406.00