## BoQ1
Government eProcurement System Created By: Ravindra Kumar Created Date/Time: 27-Jul-2026 12:19 PM Tender Title: Miscellaneous Electrical works in connection with Renovation of Visitor Porta Cabin Tender ID: 2026_RBI_281663_1
Tender Inviting Authority:
Name of Work:Miscellaneous Electrical works in connection with Renovation of Visitor Porta Cabin at Bank’s Central Office Building at Mumbai, Fort
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Ramesh Electrical and Mechanical Works (GSTN-27ACKPS7682J1ZQ) BID ID -1040651 |  | TRIPURA ENGINEERS (GSTN-NA) BID ID -1040258 |  | Ask Electricals (GSTN-NA) BID ID -1040828 |  | National electric and Service centre (GSTN-NA) BID ID -1039434
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Cat (I) -Items to be supply and installation
1.10 | 1) Termination of 4 core 10/16 sq.mm. LT XLPE insulated armoured copper conductor cable using double compression type brass cable glands & copper crimping type lugs. | 4.00 | Nos | 0.00 | 1103.00 | 4412.00 | 800.00 | 3200.00 | 630.00 | 2520.00 | 1550.00 | 6200.00 | 2520.00 | Ask Electricals
1.20 | 2) Termination of 3 core 10 sq.mm. PVC insulated flexible copper conductor cable using double compression type brass cable glands & copper crimping type lugs. | 2.00 | Nos | 0.00 | 975.00 | 1950.00 | 700.00 | 1400.00 | 540.00 | 1080.00 | 1400.00 | 2800.00 | 1080.00 | Ask Electricals
1.30 | 3) Termination of 4 core 4 sq.mm. LT XLPE insulated armoured copper conductor cable using double compression type brass cable glands & copper crimping type lugs. | 2.00 | Nos | 0.00 | 919.00 | 1838.00 | 600.00 | 1200.00 | 450.00 | 900.00 | 670.00 | 1340.00 | 900.00 | Ask Electricals
1.40 | 4) Providing & laying of 4C x 10 sq. mm. LT XLPE insulated armoured copper cable with 2 nos. 10SWG GI earth wires for earthing for the three phase AC unit complete with all mounted accessories such as MS spacers, saddles, screws etc. | 30.00 | Mtrs Appr | 0.00 | 1386.00 | 41580.00 | 1575.00 | 47250.00 | 1170.00 | 35100.00 | 1660.00 | 49800.00 | 35100.00 | Ask Electricals
2.00 | Cat ( II) DISTRIBUTION BOARDS:-
2.10 | 1) AC D.B. Supply, installation, testing & commissioning of 8 way 3 phase VTPN double door DB comprising of incomer of 80A. 16kA 4 pole MCCB, 18 nos. 10/6/16A. 10kA. SPMCBs, 2 nos. 40A 10kA TP MCBs complete with neutral & earthing links in MS enclosure. | 1.00 | Nos | 0.00 | 41703.00 | 41703.00 | 34000.00 | 34000.00 | 36000.00 | 36000.00 | 32000.00 | 32000.00 | 32000.00 | National electric and Service centre
2.20 | 2) LIGHTING & POWER D.B. Supply, installation, testing & commissioning of 8-way 3 phase VTPN double door DB comprising of incomer of 25A. 10kA 4 pole MCB, 3 nos. 25A. 30mA. D.P. ELCB, 18 nos. 10/6A. 10kA. SPMCBs complete with neutral & earthing links in MS enclosure | 1.00 | Nos | 0.00 | 31046.00 | 31046.00 | 25000.00 | 25000.00 | 27000.00 | 27000.00 | 19800.00 | 19800.00 | 19800.00 | National electric and Service centre
2.30 | 3) COMPUTER D.B. Supply, installation, testing & commissioning of 10 way 1 phase VTPN double door DB comprising of incomer of 63A. 10kA 2 pole MCB, 8 nos. 10/6/16/20/25A. 10kA. SPMCBs complete with neutral & earthing links in MS enclosure. | 1.00 | Nos | 0.00 | 8661.00 | 8661.00 | 8500.00 | 8500.00 | 15300.00 | 15300.00 | 16500.00 | 16500.00 | 8500.00 | TRIPURA ENGINEERS
3.00 | Cat ( III) LIGHTING, POWER & A.C. WIRING :-
3.01 | 1) Point wiring comprising of 2 nos. 4.0 sq.mm. & 1 no. 4.0 sq.mm. FRLS PVC insulated copper conductor wire of 660V. to 1100V. Grade in 20mm FRLS MMS rigid PVC conduit pipes with its accessories such as spacers, saddles, screws, bends, couplings, junction boxes etc. Wiring to be carried out partly concealed & partly open execution from the respective DB till the various X Ray machine switch sockets (approx. 30 mtr length of wires) (cost of sockets not included here). | 4.00 | Pts | 0.00 | 9357.00 | 37428.00 | 9000.00 | 36000.00 | 8100.00 | 32400.00 | 12500.00 | 50000.00 | 32400.00 | Ask Electricals
3.02 | 2) Providing, fixing, testing & commissioning of 20A. switch Sockets with PVC concealed box & module plate. | 2.00 | Nos | 0.00 | 1391.00 | 2782.00 | 1500.00 | 3000.00 | 1800.00 | 3600.00 | 1550.00 | 3100.00 | 2782.00 | Ramesh Electrical and Mechanical Works
3.03 | 3) Providing, fixing, testing & commissioning of 6/16A. switch Sockets with PVC concealed box & module plate. | 9.00 | Nos | 0.00 | 1300.00 | 11700.00 | 1300.00 | 11700.00 | 1800.00 | 16200.00 | 1990.00 | 17910.00 | 11700.00 | TRIPURA ENGINEERS, Ramesh Electrical and Mechanical Works
3.04 | 4) Point wiring comprising of 2 nos. 2.5 sq.mm. & 1 no. 2.5 sq.mm. FRLS PVC insulated copper conductor wire of 660V. to 1100V. Grade in 20mm FRLS MMS rigid PVC conduit pipes with its accessories such as spacers, saddles, screws, bends, couplings, junction boxes etc. Wiring to be carried out partly concealed & partly open execution from the respective DB till the various 6A switch sockets, indoor AC units, 16A switch sockets, lighting switchboard (approx. 20 mtr length of wires) (cost of switch sockets, switchboard not included here). | 12.00 | Pts | 0.00 | 5354.00 | 64248.00 | 5200.00 | 62400.00 | 3330.00 | 39960.00 | 3200.00 | 38400.00 | 38400.00 | National electric and Service centre
3.05 | 5) - do - same as item no. 4 but for point wiring comprising of 2 nos. 2.5 sq.mm. & 1 no. 2.5 sq.mm. FRLS PVC insulated copper conductor wire of 660V. to 1100V. Grade in 20mm FRLS MMS rigid PVC conduit pipes with its accessories such as spacers, saddles, screws, bends, couplings, junction boxes etc. Wiring to be carried out partly concealed & partly open execution from the primary point till the various 6A switch sockets, switchboard, 16A switch sockets, lighting switchboard (approx. 8 mtr length of wires) (cost of switch sockets, switchboard not included here). | 16.00 | Pts | 0.00 | 2137.00 | 34192.00 | 2050.00 | 32800.00 | 1800.00 | 28800.00 | 1690.00 | 27040.00 | 27040.00 | National electric and Service centre
3.06 | 6) Light point wiring Partly concealed & partly open in 3/4"(20 mm.) rigid MMS PVC conduit pipe using 3 nos. 1.5 sq.mm. PVC insulated copper conductor wire of 660V. to 1100V. grade with the 1.5 sq.mm. wire from the switchboards till the various light points with its accessories such as PVC spacers, saddles, screws etc. as well as the junction boxes, ceiling rose etc. inclusive of the 5A. 1 way switch but exclusive of the light fixtures. 6-a) Primary light points (Switch board to 1st light point approximately 8 mtr wire length). | 22.00 | Pts | 0.00 | 2404.00 | 52888.00 | 1600.00 | 35200.00 | 1260.00 | 27720.00 | 1440.00 | 31680.00 | 27720.00 | Ask Electricals
3.07 | 6) Light point wiring Partly concealed & partly open in 3/4"(20 mm.) rigid MMS PVC conduit pipe using 3 nos. 1.5 sq.mm. PVC insulated copper conductor wire of 660V. to 1100V. grade with the 1.5 sq.mm. wire from the switchboards till the various light points with its accessories such as PVC spacers, saddles, screws etc. as well as the junction boxes, ceiling rose etc. inclusive of the 5A. 1 way switch but exclusive of the light fixtures. 6-b) Secondary light point (Looping from 1st light point approximately 4 mtr wire length ). | 44.00 | Nos | 0.00 | 1332.00 | 58608.00 | 800.00 | 35200.00 | 630.00 | 27720.00 | 890.00 | 39160.00 | 27720.00 | Ask Electricals
3.08 | 7)-d0- same as item No. 7 But for Exhaust Fan point, inclusive of switch mounted on switch board, 6Amps. Socket to be mounted near exhaust fan complete with PVC concealed box in partly concealed & partly open execution. | 2.00 | Pts | 0.00 | 1742.00 | 3484.00 | 1600.00 | 3200.00 | 1260.00 | 2520.00 | 1150.00 | 2300.00 | 2300.00 | National electric and Service centre
3.09 | 8) Providing, fixing, testing & commissioning of 6A. 5 pin socket & 6A. switch with PVC concealed box & module plate. | 44.00 | Each | 0.00 | 799.00 | 35156.00 | 1000.00 | 44000.00 | 900.00 | 39600.00 | 860.00 | 37840.00 | 35156.00 | Ramesh Electrical and Mechanical Works
3.10 | 9) Providing, fixing, testing & commissioning of 3 nos. 6A. 5 pin socket & 1 no. 16A. switch with PVC concealed box & module plate. | 4.00 | Each | 0.00 | 2233.00 | 8932.00 | 1600.00 | 6400.00 | 1800.00 | 7200.00 | 1440.00 | 5760.00 | 5760.00 | National electric and Service centre
3.11 | 10) Point wiring comprising of 3 core 2.5 sq.mm. FRLS PVC insulated flexible copper conductor cable in laid pipe/raceways from the respective DB till the various ups switch sockets for computers, printers (approx. 20 mtr length of wires) (Cost of switch sockets, switchboard not included here, Cost of pipes/raceways not included here). | 4.00 | Pt. | 0.00 | 5186.00 | 20744.00 | 4000.00 | 16000.00 | 2700.00 | 10800.00 | 3200.00 | 12800.00 | 10800.00 | Ask Electricals
3.12 | 11)- do - same as item no. 11 but for secondary point wiring comprising of 3 core 2.5 sq.mm. FRLS PVC insulated flexible copper conductor cable in laid pipe/raceways from the 1st primary point till the secondary UPS switch sockets for computers, printers (approx. 8 mtr length of wires) (Cost of switch sockets, switchboard not included here, Cost of pipes/raceways not included here). | 10.00 | Pt. | 0.00 | 2074.00 | 20740.00 | 1600.00 | 16000.00 | 1800.00 | 18000.00 | 1650.00 | 16500.00 | 16000.00 | TRIPURA ENGINEERS
4.00 | Cat (IV) - ACCESSORIES FIXING:-
4.01 | 1) Providing, fixing, testing & commissioning of ceiling mounted 18W recess spotlight fixture complete with LED driver & all mounting accessories (equivalent to Crompton TDR-300-18-57-HL1-DP-NWH) | 22.00 | Nos | 0.00 | 1289.00 | 28358.00 | 1400.00 | 30800.00 | 2250.00 | 49500.00 | 880.00 | 19360.00 | 19360.00 | National electric and Service centre
4.02 | 2) Providing, fixing, testing & commissioning of ceiling mounted 12W recess spotlight fixture complete with LED driver & all mounting accessories (equivalent to Crompton TDR-300-12-57-HL1-DP-NWH) | 24.00 | Nos | 0.00 | 1143.00 | 27432.00 | 1400.00 | 33600.00 | 1800.00 | 43200.00 | 990.00 | 23760.00 | 23760.00 | National electric and Service centre
4.03 | 3) Providing, fixing, testing & commissioning of 20W LED profile hanging type fixture complete with LED driver & all mounting accessories (equivalent to Crompton TCP-145-20-57-HL2-DP-12-NWH) | 5.00 | Nos | 0.00 | 3744.00 | 18720.00 | 4000.00 | 20000.00 | 4500.00 | 22500.00 | 3900.00 | 19500.00 | 18720.00 | Ramesh Electrical and Mechanical Works
4.04 | 4) Providing, fixing, testing & commissioning of 10W LED profile hanging type fixture complete with LED driver & all mounting accessories (equivalent to Crompton TCP-145-10-57-HL2-DP-06-NWH) | 4.00 | Nos | 0.00 | 2869.00 | 11476.00 | 3500.00 | 14000.00 | 3960.00 | 15840.00 | 2900.00 | 11600.00 | 11476.00 | Ramesh Electrical and Mechanical Works
4.05 | 5) Providing, fixing, testing & commissioning of flood light fixtures for highlighting the trees complete with all mounting accessories(50W) (weatherproof type fixture)(equivalent to Crompton TFS-521-50-57-NL-SL-NS-GL-NSG) | 2.00 | Nos | 0.00 | 2010.00 | 4020.00 | 1700.00 | 3400.00 | 3150.00 | 6300.00 | 2400.00 | 4800.00 | 3400.00 | TRIPURA ENGINEERS
4.06 | 6)Supply, installation, testing & commissioning of LED strip light fixture complete with all mounting accessories(10W/mtr)(Equivalent to Crompton CS-121-50-40-SL-CP-5M-NWH) | 100.00 | Mtrs Appr | 0.00 | 402.00 | 40200.00 | 750.00 | 75000.00 | 540.00 | 54000.00 | 262.00 | 26200.00 | 26200.00 | National electric and Service centre
4.07 | 7) Supply, installation, testing & commissioning of LED driver for the LED strip light(Equivalent to SODVKURA-55-2000-TI2-N) | 23.00 | Nos | 0.00 | 415.00 | 9545.00 | 800.00 | 18400.00 | 1170.00 | 26910.00 | 330.00 | 7590.00 | 7590.00 | National electric and Service centre
4.08 | 8)Providing, fixing, testing and commissioning of wall fan of 12" size. | 8.00 | Nos | 0.00 | 3000.00 | 24000.00 | 3000.00 | 24000.00 | 3960.00 | 31680.00 | 6500.00 | 52000.00 | 24000.00 | TRIPURA ENGINEERS, Ramesh Electrical and Mechanical Works
4.09 | 9)Fixing, testing & commissioning of Chandelier (to be supplied separately). | 1.00 | Nos | 0.00 | 650.00 | 650.00 | 500.00 | 500.00 | 1800.00 | 1800.00 | 6000.00 | 6000.00 | 500.00 | TRIPURA ENGINEERS
5.00 | Cat (V) - DATA/VOICE WIRING + UNDERFLOOR CONDUITING/RACEWAYS: -
5.01 | 1) Providing & laying of CAT-6 wire in laid pipe/raceways(cost of pipe not considered here)(16 NOS. VOICE/DATA OUTLETS, 6 NOS. CAMERAS). | 660.00 | Mtrs Appr | 0.00 | 78.00 | 51480.00 | 60.00 | 39600.00 | 63.00 | 41580.00 | 75.00 | 49500.00 | 39600.00 | TRIPURA ENGINEERS
5.02 | 2) Providing & laying of 25mm FRLS rigid PVC conduit pipes with its accessories such as spacers, saddles, screws, bends, couplings, ceiling rose, junction boxes etc. in partly concealed & partly open execution (MMS type). | 400.00 | Mtrs Appr | 0.00 | 119.00 | 47600.00 | 75.00 | 30000.00 | 63.00 | 25200.00 | 90.00 | 36000.00 | 25200.00 | Ask Electricals
5.03 | 3) Supply & installation of MS powder coated junction boxes of 16SWG with stainless steel cover plate for the following sizes: - 3-a)200mm x 200mm x 50mm size | 10.00 | Nos | 0.00 | 1568.00 | 15680.00 | 1500.00 | 15000.00 | 630.00 | 6300.00 | 3200.00 | 32000.00 | 6300.00 | Ask Electricals
5.04 | 3) Supply & installation of MS powder coated junction boxes of 16SWG with stainless steel cover plate for the following sizes: - 3-b)300mm x 300mm x 50mm size | 4.00 | Nos | 0.00 | 2243.00 | 8972.00 | 1800.00 | 7200.00 | 900.00 | 3600.00 | 4400.00 | 17600.00 | 3600.00 | Ask Electricals
5.05 | 4-a) Supply & installation of modular cover plate with RJ45 socket and PVC concealed back boxes for the following sizes of voice/data outlets: -4-a)1 port | 10.00 | Nos | 0.00 | 566.00 | 5660.00 | 300.00 | 3000.00 | 900.00 | 9000.00 | 2200.00 | 22000.00 | 3000.00 | TRIPURA ENGINEERS
5.06 | 4-b) Supply & installation of modular cover plate with RJ45 socket and PVC concealed back boxes for the following sizes of voice/data outlets: -4-b)2 port | 6.00 | Nos | 0.00 | 909.00 | 5454.00 | 400.00 | 2400.00 | 1260.00 | 7560.00 | 1440.00 | 8640.00 | 2400.00 | TRIPURA ENGINEERS
5.07 | 4) Supply & installation of modular cover plate with RJ45 socket and PVC concealed back boxes for the following sizes of voice/data outlets: -4-c)4 port | 1.00 | Nos | 0.00 | 1302.00 | 1302.00 | 600.00 | 600.00 | 2340.00 | 2340.00 | 1450.00 | 1450.00 | 600.00 | TRIPURA ENGINEERS
5.08 | 5) Supply & installation of modular cover plate with RJ-11 socket, with required CAT6 cabling and PVC concealed back boxes for the following sizes of voice/ outlets: 2 Ports | 10.00 | Nos | 0.00 | 769.00 | 7690.00 | 700.00 | 7000.00 | 2700.00 | 27000.00 | 1150.00 | 11500.00 | 7000.00 | TRIPURA ENGINEERS
6.00 | Cat (VI) - PROVISION OF TEMPORARY WIRING: -
6.01 | Providing & laying of armoured cable for temporary connection, providing main switch, ELCB and given temporary electrical connection such as tube light fitting lighting plugs, welding m/c, grinding machine, drill machine, cutter machine etc. to civil contractor. The electrical safety shall be ensured while providing the temporary electrical sources as per Electricity Safety Standards. | 1.00 | Job | 0.00 | 37111.00 | 37111.00 | 5000.00 | 5000.00 | 9000.00 | 9000.00 | 12000.00 | 12000.00 | 5000.00 | TRIPURA ENGINEERS
7.00 | Cat (VII) - PREPARATION OF AS BUILT IN DRAWING: -
7.01 | 1) Providing, fixing, testing & commissioning of ceiling mounted 18W recess spotlight fixture complete with LED driver & all mounting accessories (equivalent to Crompton TDR-300-18-57-HL1-DP-NWH) | 1.00 | Job | 0.00 | 1500.00 | 1500.00 | 10000.00 | 10000.00 | 15300.00 | 15300.00 | 25000.00 | 25000.00 | 1500.00 | Ramesh Electrical and Mechanical Works
8.00 | Cat (VIII) - BUYBACK OF THE ELECTRICAL ITEMS REMOVED/TAKEN OUT IN THE ELECTRICAL WORK:
8.01 | Electric Cables, flexible cables, Air curtains, switch sockets, boxes etc. as per the discretion of the Bank's Engineer | 1.00 | Lot | 0.00 | 2360.00 | -2360.00 | 500.00 | -500.00 | 2700.00 | -2700.00 | 1000.00 | -1000.00 | -2700.00 | Ask Electricals
| Total in Figures |  |  |  |  | 826582.00 |  | 761450.00 |  | 768330.00 |  | 796430.00
Lowest Amount Quoted BY: TRIPURA ENGINEERS(761450.00)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous Electrical works in connection with Renovation of Visitor Porta Cabin Tender ID: 2026_RBI_281663_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | TRIPURA ENGINEERS (BID ID -1040258) | 761450.00 | L1
| 2 | Ask Electricals (BID ID -1040828) | 768330.00 | L2
| 3 | National electric and Service centre (BID ID -1039434) | 796430.00 | L3
| 4 | Ramesh Electrical and Mechanical Works (BID ID -1040651) | 826582.00 | L4