## BoQ1
Government eProcurement System Created By: Vishnu N Created Date/Time: 19-Aug-2026 05:46 PM Tender Title: SITC of modular switch plates, switches, sockets and electrical works in 10 Officers flats at RBI Officers Quarters, Santacruz, Mumbai Tender ID: 2026_RBI_284508_2
Tender Inviting Authority: RBI Estate Cell, Byculla
Name of Work: SITC of modular switch-plates, switches, sockets and electrical works in 10 Officers’ flats at RBI Officers Quarters, Santacruz, Mumbai
Contract No: 2026_RBI_284508
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Sonhira Electric Company (GSTN-27AFNPD8173P1ZO) BID ID -1055280 |  | Swastik Electric cCompany (GSTN-NA) BID ID -1053344 |  | Padave Electric (GSTN-NA) BID ID -1055519 |  | TRIPURA ENGINEERS (GSTN-NA) BID ID -1055706
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, installation, termination and testing of following switches, sockets, plates, G.I. boxes etc. as directed by the Bank’s Engineer.
2.00 | 6 Amp Switch (Kindly refer to the Unrpiced Schedule of quantities in the tender document for detailed description) | 400.00 | Nos. | 0.00 | 85.00 | 40120.00 | 99.00 | 46728.00 | 96.00 | 45312.00 | 100.00 | 47200.00 | 40120.00 | Sonhira Electric Company
3.00 | 6 Amp 5-pin Universal Socket (Kindly refer to the Unrpiced Schedule of quantities in the tender document for detailed description) | 220.00 | Nos. | 0.00 | 140.00 | 36344.00 | 180.00 | 46728.00 | 148.00 | 38420.80 | 160.00 | 41536.00 | 36344.00 | Sonhira Electric Company
4.00 | 20 A Switch with indicator (Kindly refer to the Unrpiced Schedule of quantities in the tender document for detailed description) | 30.00 | Nos. | 0.00 | 430.00 | 15222.00 | 290.00 | 10266.00 | 228.00 | 8071.20 | 280.00 | 9912.00 | 8071.20 | Padave Electric
5.00 | 6/16 Amp heavy duty Socket (Kindly refer to the Unrpiced Schedule of quantities in the tender document for detailed description) | 40.00 | Nos. | 0.00 | 315.00 | 14868.00 | 380.00 | 17936.00 | 318.00 | 15009.60 | 325.00 | 15340.00 | 14868.00 | Sonhira Electric Company
6.00 | 100 W Fan Regulator (2 Module) (Kindly refer to the Unrpiced Schedule of quantities in the tender document for detailed description) | 40.00 | Nos. | 0.00 | 685.00 | 32332.00 | 700.00 | 33040.00 | 598.00 | 28225.60 | 700.00 | 33040.00 | 28225.60 | Padave Electric
7.00 | M.S. A.C. box having 20 amp. Metal clad socket and top along with 20 amp. SPMCB (Kindly refer to the Unrpiced Schedule of quantities in the tender document for detailed description) | 30.00 | Nos. | 0.00 | 1500.00 | 53100.00 | 1650.00 | 58410.00 | 2058.00 | 72853.20 | 1800.00 | 63720.00 | 53100.00 | Sonhira Electric Company
8.00 | T.V. Socket (Kindly refer to the Unrpiced Schedule of quantities in the tender document for detailed description) | 30.00 | Nos. | 0.00 | 160.00 | 5664.00 | 180.00 | 6372.00 | 198.00 | 7009.20 | 185.00 | 6549.00 | 5664.00 | Sonhira Electric Company
9.00 | Telephone Socket (Kindly refer to the Unrpiced Schedule of quantities in the tender document for detailed description) | 30.00 | Nos. | 0.00 | 220.00 | 7788.00 | 180.00 | 6372.00 | 198.00 | 7009.20 | 185.00 | 6549.00 | 6372.00 | Swastik Electric cCompany
10.00 | 6 A Bell Push with indicator (Kindly refer to the Unrpiced Schedule of quantities in the tender document for detailed description) | 10.00 | Nos. | 0.00 | 220.00 | 2596.00 | 250.00 | 2950.00 | 308.00 | 3634.40 | 300.00 | 3540.00 | 2596.00 | Sonhira Electric Company
11.00 | Blank Plate (Kindly refer to the Unrpiced Schedule of quantities in the tender document for detailed description) | 30.00 | Nos. | 0.00 | 40.00 | 1416.00 | 40.00 | 1416.00 | 48.00 | 1699.20 | 50.00 | 1770.00 | 1416.00 | Swastik Electric cCompany, Sonhira Electric Company
12.00 | 1 Module Plate with G.I.Box in concealed manner (Kindly refer to the Unrpiced Schedule of quantities in the tender document for detailed description) | 80.00 | Nos. | 0.00 | 100.00 | 9440.00 | 300.00 | 28320.00 | 268.00 | 25299.20 | 350.00 | 33040.00 | 9440.00 | Sonhira Electric Company
13.00 | 2 Module Plate with G.I.Box in concealed manner (Kindly refer to the Unrpiced Schedule of quantities in the tender document for detailed description) | 50.00 | Nos. | 0.00 | 100.00 | 5900.00 | 310.00 | 18290.00 | 318.00 | 18762.00 | 350.00 | 20650.00 | 5900.00 | Sonhira Electric Company
14.00 | 3 Module Plate with G.I.Box in concealed manner (Kindly refer to the Unrpiced Schedule of quantities in the tender document for detailed description) | 100.00 | Nos. | 0.00 | 100.00 | 11800.00 | 320.00 | 37760.00 | 318.00 | 37524.00 | 400.00 | 47200.00 | 11800.00 | Sonhira Electric Company
15.00 | 4 Module Plate with G.I.Box in concealed manner (Kindly refer to the Unrpiced Schedule of quantities in the tender document for detailed description) | 10.00 | Nos. | 0.00 | 135.00 | 1593.00 | 380.00 | 4484.00 | 398.00 | 4696.40 | 500.00 | 5900.00 | 1593.00 | Sonhira Electric Company
16.00 | 6 Module Plate with G.I.Box in concealed manner (Kindly refer to the Unrpiced Schedule of quantities in the tender document for detailed description) | 50.00 | Nos. | 0.00 | 210.00 | 12390.00 | 650.00 | 38350.00 | 458.00 | 27022.00 | 650.00 | 38350.00 | 12390.00 | Sonhira Electric Company
17.00 | 8 Module Plate (horizontal/square) with G.I.Box in concealed manner (Kindly refer to the Unrpiced Schedule of quantities in the tender document for detailed description) | 20.00 | Nos. | 0.00 | 245.00 | 5782.00 | 800.00 | 18880.00 | 548.00 | 12932.80 | 800.00 | 18880.00 | 5782.00 | Sonhira Electric Company
18.00 | 12 Module Plate (horizontal/square) with G.I.Box in concealed manner (Kindly refer to the Unrpiced Schedule of quantities in the tender document for detailed description) | 20.00 | Nos. | 0.00 | 370.00 | 8732.00 | 1050.00 | 24780.00 | 768.00 | 18124.80 | 1250.00 | 29500.00 | 8732.00 | Sonhira Electric Company
19.00 | Supply, Installation, testing and commissioning of dust & vermin proof factory fabricated 16 SWG suitable size 16 way SPN MCBDB (Kindly refer to the Unrpiced Schedule of quantities in the tender document for detailed description) | 5.00 | Nos. | 0.00 | 10655.00 | 62864.50 | 11500.00 | 67850.00 | 8580.00 | 50622.00 | 8500.00 | 50150.00 | 50150.00 | TRIPURA ENGINEERS
20.00 | Wiring for single light point controlled by 6 amp modular type single switch (Kindly refer to the Unrpiced Schedule of quantities in the tender document for detailed description) | 50.00 | Nos. | 0.00 | 2030.00 | 119770.00 | 950.00 | 56050.00 | 880.00 | 51920.00 | 900.00 | 53100.00 | 51920.00 | Padave Electric
21.00 | Wiring for Geyser point with modular 16 amps socket (Kindly refer to the Unrpiced Schedule of quantities in the tender document for detailed description) | 10.00 | Nos. | 0.00 | 2750.00 | 32450.00 | 3500.00 | 41300.00 | 1180.00 | 13924.00 | 1800.00 | 21240.00 | 13924.00 | Padave Electric
22.00 | Wiring for plug point with 6 amps 3 pin modular type socket 1 no. and 6 amps modular type switch 1 no. (Kindly refer to the Unrpiced Schedule of quantities in the tender document for detailed description) | 10.00 | Nos. | 0.00 | 1370.00 | 16166.00 | 1100.00 | 12980.00 | 558.00 | 6584.40 | 1200.00 | 14160.00 | 6584.40 | Padave Electric
23.00 | Supply, Installation, termination, testing and commissioning of following fixtures /fittings / items with required hardware / accessories, wires etc.
24.00 | 4 feet 36 watt LED tube light fitting (to be fixed on PVC square box) with required hardware/ accessories/ twin flat parallel (Kindly refer to the Unrpiced Schedule of quantities in the tender document for detailed description) | 50.00 | Nos | 0.00 | 795.00 | 46905.00 | 500.00 | 29500.00 | 458.00 | 27022.00 | 500.00 | 29500.00 | 27022.00 | Padave Electric
25.00 | 6” Angular PVC Dome light fitting for Bathroom/WC /balcony (White) with 9 W LED lamp (Kindly refer to the Unrpiced Schedule of quantities in the tender document for detailed description) | 20.00 | Nos | 0.00 | 2025.00 | 47790.00 | 500.00 | 11800.00 | 558.00 | 13168.80 | 800.00 | 18880.00 | 11800.00 | Swastik Electric cCompany
26.00 | 8” PVC down light fitting with B-22 holder for common passage (White) with 9 W LED lamp (Kindly refer to the Unrpiced Schedule of quantities in the tender document for detailed description) | 20.00 | Nos | 0.00 | 295.00 | 6962.00 | 500.00 | 11800.00 | 358.00 | 8448.80 | 1000.00 | 23600.00 | 6962.00 | Sonhira Electric Company
27.00 | 10 W 2 ft. LED batten as mirror light (White) (Kindly refer to the Unrpiced Schedule of quantities in the tender document for detailed description) | 10.00 | Nos | 0.00 | 1300.00 | 15340.00 | 300.00 | 3540.00 | 168.00 | 1982.40 | 450.00 | 5310.00 | 1982.40 | Padave Electric
28.00 | Decorative single arm wall bracket light fitting with LED lamps (Kindly refer to the Unrpiced Schedule of quantities in the tender document for detailed description) | 40.00 | Nos | 0.00 | 2340.00 | 110448.00 | 1000.00 | 47200.00 | 2998.00 | 141505.60 | 2200.00 | 103840.00 | 47200.00 | Swastik Electric cCompany
29.00 | Decorative Three arm wall bracket light fitting with LED lamps (Kindly refer to the Unrpiced Schedule of quantities in the tender document for detailed description) | 10.00 | Nos | 0.00 | 3325.00 | 39235.00 | 3000.00 | 35400.00 | 9448.00 | 111486.40 | 8000.00 | 94400.00 | 35400.00 | Swastik Electric cCompany
30.00 | 48” ceiling fan with existing fan hook(of good quality) / new fan hook and rope provided by the Bank. (Kindly refer to the Unrpiced Schedule of quantities in the tender document for detailed description) | 30.00 | Nos | 0.00 | 3170.00 | 112218.00 | 2500.00 | 88500.00 | 2148.00 | 76039.20 | 3800.00 | 134520.00 | 76039.20 | Padave Electric
31.00 | 24” ceiling fan with existing fan hook(of good quality) / new fan hook and rope provided by the Bank. (Kindly refer to the Unrpiced Schedule of quantities in the tender document for detailed description) | 10.00 | Nos | 0.00 | 3650.00 | 43070.00 | 2500.00 | 29500.00 | 2148.00 | 25346.40 | 3650.00 | 43070.00 | 25346.40 | Padave Electric
32.00 | 8” PVC Exhaust fan with louvers (Kindly refer to the Unrpiced Schedule of quantities in the tender document for detailed description) | 30.00 | Nos | 0.00 | 1980.00 | 70092.00 | 1500.00 | 53100.00 | 1348.00 | 47719.20 | 1800.00 | 63720.00 | 47719.20 | Padave Electric
33.00 | Rebate for taking away old switches/ plates/ casing-capping/ conduit/concealed boxes / surface boxes/ ceiling fans/exhaust fans/ dome fittings/LED battens/tube light fittings etc. | 10.00 | Nos | 0.00 | 1500.00 | -15000.00 | 100.00 | -1000.00 | 250.00 | -2500.00 | 500.00 | -5000.00 | -15000.00 | Sonhira Electric Company
| Total in Figures |  |  |  |  | 973397.50 |  | 888602.00 |  | 944874.80 |  | 1073166.00
Lowest Amount Quoted BY: Swastik Electric cCompany(888602.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of modular switch plates, switches, sockets and electrical works in 10 Officers flats at RBI Officers Quarters, Santacruz, Mumbai Tender ID: 2026_RBI_284508_2
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Swastik Electric cCompany (BID ID -1053344) | 888602.00 | L1
| 2 | Padave Electric (BID ID -1055519) | 944874.80 | L2
| 3 | Sonhira Electric Company (BID ID -1055280) | 973397.50 | L3
| 4 | TRIPURA ENGINEERS (BID ID -1055706) | 1073166.00 | L4