## BoQ1
Government eProcurement System Created By: Nilesh Dalal Created Date/Time: 31-Jul-2026 04:58 PM Tender Title: Electrical works - Merging of class III flats at BSQ Tender ID: 2026_RBI_285205_1
Tender Inviting Authority: Reserve Bank of India, Hyderabad Office
Name of Work: Electrical works – Merging of Class III flats at Begumpet Staff Quarters
Contract No: 2026_RBI_285205_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | HIGH TECH ENGINEERING SERVICES (GSTN-NA) BID ID -1051413 |  | B RAMAKRISHNA REDDY (GSTN-NA) BID ID -1049604
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, installation, testing and commissioning of double door 6-way TPN MCBDB with necessary neutral link, earth link, including circuit wiring termination, internal wiring, blanking plate etc. Incomer - 63A 4P MCB- 1 nos. Outgoing - 16A SPMCB- 8 nos. 10A SPMCB- 5 nos. 6A SPMCB- 5 nos. The DB shall be concealed in wall by chasing with required tools and labor etc. | 3.00 | Nos |  | 16949.20 | 60000.17 | 17500.00 | 61950.00 | 60000.17 | HIGH TECH ENGINEERING SERVICES
2.00 | Wiring for light points using 3 X 1.5 sq. mm. 1100 volt grade multi-stranded copper conductor PVC insulated FRLS wires, partly surface/concealed in suitable size rigid, medium duty PVC conduit with required accessories like bends, tees, junction boxes etc. (concealed in wall/floors and surface on ceiling) with modular plate type switches, sockets with respective make required size mounting plate fixed on same make M.S. box concealed in wall and ceiling rose/ connector/angle holder / junction box etc. Point wiring rate shall also include necessary circuit wiring from MCBDB to main lighting switch boards in all rooms/toilet and from main lighting switch board to sub lighting switchboard in same room with 2 X 2.5 + 1 x 1.5 sq. mm. 1100v grade copper conductors FRLS PVC insulated wire and required blank plate in switchboard as directed by Bank’s Engineer.
3.00 | Wiring as item no.2 but for one light point controlled by one 6 amp. plate type switch. | 75.00 | pts |  | 1016.95 | 90000.07 | 1300.00 | 115050.00 | 90000.07 | HIGH TECH ENGINEERING SERVICES
4.00 | Wiring as item no.2 but for ceiling fan point controlled by one 6 amp. plate type switch with electronic 2 modular step regulator socket type suitable for 48” ceiling fan and chandeliers | 25.00 | pts |  | 2118.64 | 62499.88 | 1700.00 | 50150.00 | 50150.00 | B RAMAKRISHNA REDDY
5.00 | Wiring as item no. 2 but for exhaust fan point controlled by one 6 amp. plate type switch. | 9.00 | pts |  | 1016.95 | 10800.01 | 1250.00 | 13275.00 | 10800.01 | HIGH TECH ENGINEERING SERVICES
6.00 | Wiring same as item no. 2 but for 6 Amp 5 pin independent plug point with 3 x 1.5 sq mm copper wire. | 18.00 | pts |  | 1694.92 | 36000.10 | 1400.00 | 29736.00 | 29736.00 | B RAMAKRISHNA REDDY
7.00 | Wiring for half point on lighting switch board with 6-amp switch and 6 Amp 5 pin socket including internal wiring etc. | 60.00 | nos |  | 423.73 | 30000.08 | 400.00 | 28320.00 | 28320.00 | B RAMAKRISHNA REDDY
8.00 | Wiring same as item no.2 but for call bell point with bell push and buzzer. | 3.00 | nos |  | 1101.69 | 3899.98 | 1400.00 | 4956.00 | 3899.98 | HIGH TECH ENGINEERING SERVICES
9.00 | Wiring for power point using 2 X 2.5 sq. mm +1x 1.5 sq. mm 1100-volt grade multi-stranded copper conductor PVC insulated FRLS wire partly surface/concealed in suitable size rigid medium duty PVC conduit with required accessories like bends, tees, junction boxes etc. in concealed manner by chasing the wall/floor with modular plate type switches, sockets with respective make required size mounting plate fixed on G.I. box concealed in wall. The wiring shall be done from MCBDB to each power point. Wiring as above for 6/16Amp socket plug point controlled by one 16 Amp type plate switch. | 42.00 | pts |  | 2118.64 | 104999.80 | 2650.00 | 131334.00 | 104999.80 | HIGH TECH ENGINEERING SERVICES
10.00 | Supply & Providing wiring for telephone point from Telephone tag Block at the entrance of block with two pair 0.5 mm. dia copper conductor PVC insulated FRLS PVC sheathed telephone cable in suitable size rigid, medium duty PVC conduit with required accessories like bends, tees, junction boxes etc. in concealed manner by chasing the wall/floor inside flat and in surface manner on wall inside the duct with required scaffolding / zula. Rate shall include for providing of modular RJ-11 telephone jack (single) with respective make required size mounting plate fixed on respective make GI box concealed in wall including termination of the telephone wire. | 3.00 | pts |  | 1694.92 | 6000.02 | 1400.00 | 4956.00 | 4956.00 | B RAMAKRISHNA REDDY
11.00 | Same as item no. 10 but with looping of above point to be provided in bedroom | 6.00 | pts |  | 1355.93 | 9599.98 | 1400.00 | 9912.00 | 9599.98 | HIGH TECH ENGINEERING SERVICES
12.00 | Supply & Providing wiring for TV cable point with RG-6, co-axial cable in suitable size rigid, medium duty FRLS PVC conduit with required accessories like Bends, Tees, Junction boxes etc. in concealed manner by chasing the wall/floor inside the flat. TV cable splitter to be installed in the duct outside the flat in pvc box and wiring shall be done for hall, living room and bedroom including taking of one RG-6 cable from splitter inside the pvc box to the Gr. Floor of the building through rigid FRLS PVC conduit at accessible level with ferules mentioning flat numbers in Class -III flats. The rate shall include for providing modular TV sockets with respective make required size mounting plate fixed on same make G.I. box concealed in wall. The rate shall also include for terminating the TV cable at both ends with required cable connectors etc. The rate shall also include the cost of scaffolding / zula required for cabling inside the duct. | 3.00 | sets |  | 1694.92 | 6000.02 | 1400.00 | 4956.00 | 4956.00 | B RAMAKRISHNA REDDY
13.00 | Same as item no. 12 but with looping of above point to be provided in 2 bedrooms. | 6.00 | sets |  | 1355.93 | 9599.98 | 1400.00 | 9912.00 | 9599.98 | HIGH TECH ENGINEERING SERVICES
14.00 | Supply, installation, testing and commissioning of tube light fitting/wall bracket/ceiling light fitting using required hardware along with 2 core PVC insulated PVC sheathed flexible copper conductor wires. | 27.00 | sets |  | 423.73 | 13500.04 | 300.00 | 9558.00 | 9558.00 | B RAMAKRISHNA REDDY
15.00 | Supply, installation, testing and commissioning of decorative wall bracket light fitting using required hardware along with 2 core PVC insulated PVC sheathed flexible copper conductor wires. | 12.00 | sets |  | 677.97 | 9600.06 | 850.00 | 12036.00 | 9600.06 | HIGH TECH ENGINEERING SERVICES
16.00 | Supply, installation, testing and commissioning of 12-Watt lamps using required hardware along with 2 core PVC insulated PVC sheathed flexible copper conductor wires. | 36.00 | sets |  | 110.17 | 4680.02 | 120.00 | 5097.60 | 4680.02 | HIGH TECH ENGINEERING SERVICES
17.00 | Liaisoning with State Electricity Board for surrender of two single phase meters of the flats and acquiring of 01 nos. 3 phase energy meter. | 5.00 | sets |  | 21186.40 | 124999.76 | 5500.00 | 32450.00 | 32450.00 | B RAMAKRISHNA REDDY
18.00 | Supply & laying of 4Cx6 sqmm armoured FRLS copper conductor cable including glanding, termination complete as directed | 130.00 | Rmt |  | 423.73 | 65000.18 | 756.00 | 115970.40 | 65000.18 | HIGH TECH ENGINEERING SERVICES
19.00 | Plastering, applying putty and making the surface good to the original finish in the areas cut for conduits and GI boxes. | 1.00 | job |  | 16949.20 | 20000.06 | 32500.00 | 38350.00 | 20000.06 | HIGH TECH ENGINEERING SERVICES
20.00 | Buy Back Items
21.00 | Less rebate for removing of old wiring inside the above flats such as wires, casing capping, switch boards, rewireable DBs, Iron clad Main switches, mains wiring etc. and taking away. | 1.00 | Nos | 0.00 | 25000.00 | -29500.00 | 99999.00 | -117998.82 | -117998.82 | B RAMAKRISHNA REDDY
| Total in Figures |  |  |  |  | 637680.21 |  | 559970.18
Lowest Amount Quoted BY: B RAMAKRISHNA REDDY(559970.18)

## BOQ Summary
BOQ Summary Details Tender Title: Electrical works - Merging of class III flats at BSQ Tender ID: 2026_RBI_285205_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | B RAMAKRISHNA REDDY (BID ID -1049604) | 559970.18 | L1
| 2 | HIGH TECH ENGINEERING SERVICES (BID ID -1051413) | 637680.21 | L2