## BoQ1
Government eProcurement System Created By: Vishnu Vardhan Created Date/Time: 22-Oct-2026 04:14 PM Tender Title: Renovation of staff canteen at RBI BKC Office Tender ID: 2026_RBI_289920_1
Tender Inviting Authority: RBI Estate Cell, BKC
Name of Work: Renovation of staff canteen and external area in front of staff canteen, RBI, BKC, Bandra (East), Mumbai
Contract No: RBI/Mumbai Regional Office/Estate BKC/26-27/4
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AMIT INTERIOR (GSTN-27AAXFA5825G1Z2) BID ID -1078834 |  | Deepak construction (GSTN-27AAJPJ4240Q1ZA) BID ID -1079081 |  | S.K. INDIA (GSTN-NA) BID ID -1078360
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling Work: Dismantling of existing brick walls including plaster, lintel, partition walls, all types of flooring including its bed mortar, skirting, Dado, old Plaster, platform, counters, wall tiles PCC below floor up to parent slab cladding, false ceiling, partitions, panel, molding,doors, door frames all hardwares of any, and all hardwares all Existing Plumbing supply lines (Concealed/Exposed), piping's, valves, fittings, fixtures etc.and carting away the unused dismantled materials, debris from the Canteen of C7 Building to the outside of the Bank`s premises through trucks / lorry etc. to the dumping yard / any other area designated by the local Municipal Corporation / Local Authority.Contractor should verify the actual qty of dismantling before quoting their rates for the same. (Please refer unpriced schedule of quantities of tender for complete details) | 1.00 | Job | 0.00 | 141000.00 | 166380.00 | 50000.00 | 59000.00 | 150000.00 | 177000.00 | 59000.00 | Deepak construction
2.00 | PCC Levelling Course Providing and laying Plain Cement Concrete PCC 1:3:6 (Cement 1: Sand 3: Coarse Aggregate 6) in levelling coarse in proper line and level, curing, etc. all complete as directed by the Bank`s Engineer. The cement used shall be Portland Pozzolana Cement (PPC) of 43/53 grade, while the coarse sand will be clean and well-graded, free from organic impurities or excess silt, to ensure proper bonding and durability. (Please refer unpriced schedule of quantities of tender for complete details) | 17.00 | CUM | 0.00 | 6000.00 | 120360.00 | 6500.00 | 130390.00 | 5000.00 | 100300.00 | 100300.00 | S.K. INDIA
3.00 | Brick Work: Providing and constructing single brick thick masonry partition walls by using well burnt good quality locally available full-size bricks in Ready Mix Mortar of approved manufacturer, providing intermediate stiffener course at every 9th layer of brick work with RCC band with 2 nos. 8mm dia. steel rebar laterally supported by 8mm dia. steel bar pins @ 300mm c/c, racking the joints, curing, cleaning, etc. including providing necessary scaffolding, etc. all complete as directed by the Bank’s engineer. The rate shall also include all required shuttering/centering/all materials, tools required for completion of work. | 140.00 | SQ MT | 0.00 | 1050.00 | 173460.00 | 900.00 | 148680.00 | 1300.00 | 214760.00 | 148680.00 | Deepak construction
4.00 | Polymer Plaster Repairs: Providing and repairing the damaged R.C.C members like columns, roof slabs, beams, lintels, etc. comprising the following: (Please refer unpriced schedule of quantities of tender for complete details) | 40.00 | Sqm | 0.00 | 700.00 | 33040.00 | 500.00 | 23600.00 | 500.00 | 23600.00 | 23600.00 | S.K. INDIA, Deepak construction
5.00 | Readymix cement plaster: Providing and applying average 15 mm thick internal plaster in single coat on wall surface by using Ready Mix Mortar of approved make including applying a base/dash cement mortar coat to brick wall surface after applying cement slurry, providing required scaffolding, curing, etc. and finishing the plaster surface smooth to receive further finishes with punning/paint, etc. all complete as directed by the Bank’s Engineer. | 210.00 | SQ MT | 0.00 | 550.00 | 136290.00 | 500.00 | 123900.00 | 500.00 | 123900.00 | 123900.00 | S.K. INDIA, Deepak construction
6.00 | Chemical waterproofing coat to interior wall surfaces at dampness affected area: Providing and applying two or more coats of approved chemical treatment on the wall plaster surface over one or more coat of water proofing putty wherever directed to prevent capillary seepage/ dampness including surface preparation by scrapping the thoroughly the top layers of paint/ putty/plaster as per requirement to expose the plaster/brick surface to the satisfaction of the Bank's Engineer, etc. all complete. (Please refer unpriced schedule of quantities of tender for complete details) | 125.00 | SQ MT | 0.00 | 500.00 | 73750.00 | 60.00 | 8850.00 | 100.00 | 14750.00 | 8850.00 | Deepak construction
7.00 | CORE CUTTING: Making core drill holes in existing R.C.C walls or beams for the installation of propeller/exhaust fans of required size by hiring necessary core cutting tolls including scaffolding., etc. all complete as directed by the Bank`s Engineer. | 4.00 | Nos | 0.00 | 2000.00 | 9440.00 | 1000.00 | 4720.00 | 3000.00 | 14160.00 | 4720.00 | Deepak construction
8.00 | Providing and fixing 20 mm dia. CPVC Class 1 SDR 11 pipes confirming to IS:15778 with IS mark, having thermal stability for hot and cold water supply, including all CPVC plains and brass threaded fittings as concealed line in wall including fixing the pipe with necessary clamps and concealing with CM 1:4 , testing the pipe lines for its watertightness, etc. complete all as directed by the Bank`s Engineer. The rate shall also inculsive of making chases of size 70mm X 70 mm in wall & filling with cement mortar, etc. all complete as directed. Note:The provision of necessary brass threded fittings shall be provided in pipe lines for fixing two way bib cock, angle cock, stop cock, etc. | 25.00 | RMT | 0.00 | 450.00 | 13275.00 | 600.00 | 17700.00 | 500.00 | 14750.00 | 13275.00 | AMIT INTERIOR
9.00 | Providing and fixing 32 mm dia CPVC Class 1 SDR 11 pipes confirming to IS :15778 with IS mark, having thermal stability for hot and cold water supply, including all CPVC plains and brass threaded fittings as concealed line in wall including fixing the pipe with necessary clamps and concealing with CM 1:4, testing the pipe lines for its watertightness, etc. complete all as directed by the Bank`s Engineer. The rate shall also inculsive of making chases of size 70mm X 70 mm in wall & filling with cement mortar, etc. all complete as directed. | 10.00 | RMT | 0.00 | 600.00 | 7080.00 | 800.00 | 9440.00 | 600.00 | 7080.00 | 7080.00 | S.K. INDIA, AMIT INTERIOR
10.00 | Providing & fixing unplasticized polyvinyl chloride (uPVC) Pipe confirming to IS4985:2000,PN6KG.f/cm2 with PVC pressure fittings complete with all fittings ( door / plain) viz junctions, tees, cowl, solvent /rubber ring joints including cutting and making good the walls and floors wherever required etc., all complete as directed by the Banks’ Engineer. uPVC solvent cement and cost of cutting chases and making good the same including testing of joints, necessary scaffoldings, etc. all complete as directed by the Bank`s Engineer.
10.10 | 40 mm dia | 10.00 | RMT | 0.00 | 300.00 | 3540.00 | 500.00 | 5900.00 | 400.00 | 4720.00 | 3540.00 | AMIT INTERIOR
10.20 | 75 mm dia | 20.00 | RMT | 0.00 | 500.00 | 11800.00 | 700.00 | 16520.00 | 500.00 | 11800.00 | 11800.00 | S.K. INDIA, AMIT INTERIOR
10.30 | 110 mm dia | 15.00 | RMT | 0.00 | 600.00 | 10620.00 | 1000.00 | 17700.00 | 600.00 | 10620.00 | 10620.00 | S.K. INDIA, AMIT INTERIOR
11.00 | Providing and fixing the following plumbing/sanitary fixtures of approved make & model with all necessary fittings /fixtures.
11.10 | CP brass Angle Cock with Basic price of ₹ 1200 /- each no (Exclusive of GST) | 5.00 | Nos | 0.00 | 1350.00 | 7965.00 | 1800.00 | 10620.00 | 1500.00 | 8850.00 | 7965.00 | AMIT INTERIOR
11.20 | CP brass 2-way Angle cock with Basic price ₹1800/- each no (Exclusive of GST) | 2.00 | Nos | 0.00 | 2100.00 | 4956.00 | 2500.00 | 5900.00 | 2000.00 | 4720.00 | 4720.00 | S.K. INDIA
11.30 | Providing and fixing commercial-grade Grade SS-316 stainless steel square floor trap of required size with a traffic-rated top grating, dynamic internal multi-directional water seal trap, and an integrated, deep-perforated removable silt/waste strainer tray. Basic price of floor SS floor trap is ₹ 6000/- each no (Exclusive of GST) | 1.00 | Nos | 0.00 | 750.00 | 885.00 | 7000.00 | 8260.00 | 7000.00 | 8260.00 | 885.00 | AMIT INTERIOR
11.40 | CP Brass Bib cock with Basicprice of Rs.3000/-per nos(exclusive of GST) | 5.00 | Nos | 0.00 | 3400.00 | 20060.00 | 3500.00 | 20650.00 | 3500.00 | 20650.00 | 20060.00 | AMIT INTERIOR
11.50 | CP brass Concealed Stop Cock with basic price ₹1600/- each no (Exclusive of GST) | 2.00 | Nos | 0.00 | 1850.00 | 4366.00 | 2000.00 | 4720.00 | 2000.00 | 4720.00 | 4366.00 | AMIT INTERIOR
11.60 | SS 316 heavy quality floor grating with Basicprice of Rs 4500/- each (Exclusive of GST) | 1.00 | Nos | 0.00 | 4850.00 | 5723.00 | 6000.00 | 7080.00 | 5000.00 | 5900.00 | 5723.00 | AMIT INTERIOR
12.00 | Wash Basin: Providing and fixing hand wash basin over granite stone countertop of approved make, model and shade. Supplying and fixing heavy quality C.P. Brass fittings of approved make viz. 32 mm C.P brass waste fitting, CP bottle trap, sensor based pillar cock (long body) of approved make and model for hand wash basin, waste coupling etc. including painting of fitting and brackets, making good the walls, floors, slab wherever required as directed by the Bank's Engineer. Basic rate wash basin is ₹8,000/- per piece, sensor based pillar cock is ₹8,475/- per piece (all excluding GST) | 5.00 | Nos | 0.00 | 23000.00 | 135700.00 | 25000.00 | 147500.00 | 25000.00 | 147500.00 | 135700.00 | AMIT INTERIOR
13.00 | Vitrfied Tiles: Providing and laying Glazed Vitrified tiles polished finish in floor in size 600mm x1200 mm or any other approved size (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to 15:15622, of approved brand & manufacturer, in all colours and shade, laid on 25-40 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only. Laying of tiles shall be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. Basic rate of vitrified tiles = ₹ 1400/- per sqm exclusive of GST at site | 170.00 | SQ MT | 0.00 | 2050.00 | 411230.00 | 2100.00 | 421260.00 | 2400.00 | 481440.00 | 411230.00 | AMIT INTERIOR
14.00 | Same as above item no.13 but Moraccan Tile of size 600mm X 1200mm in Passage Area of Dining Hall. Basic Rate of tile = Rs.1300/- per Sqm exclusive of GST at site | 60.00 | SQ MT | 0.00 | 1980.00 | 140184.00 | 2100.00 | 148680.00 | 2300.00 | 162840.00 | 140184.00 | AMIT INTERIOR
15.00 | Same as above item no. 13 but vitrified matte finish tiles of size 600 x 600 mm in kitchen area. Basic Rate of tile = Rs. 900/- per Sqm exclusive of GST at site. | 75.00 | SQ MT | 0.00 | 1550.00 | 137175.00 | 1800.00 | 159300.00 | 2000.00 | 177000.00 | 137175.00 | AMIT INTERIOR
16.00 | Vitrified tile skirting: i) Providing and fixing 150 mm height skirting cut out from 1200 x 600 mm or approved size, fully vitrified tiles of approved make in all colour and shade, laid over a backing of Readymix mortar of required thickness in true plumb and line & set with grey cement paste including filling joints with white cement paste admixed with matching pigment, machine grinding and buffing of the exposed edges / sharp corners, curing, cleaning, etc. all complete as directed by the Bank’s Engineer. The rate shall also include repairs to old damaged wall plaster due to difference in height of the existing skirting and new skirting and finishing to match with the adjacent surface. Basic rate of vitrified tiles = ₹ 1400/- per sqm exclusive of GST at site | 170.00 | RMT | 0.00 | 580.00 | 116348.00 | 300.00 | 60180.00 | 300.00 | 60180.00 | 60180.00 | S.K. INDIA, Deepak construction
17.00 | Same as above item no. 16 but 100mm high Skirting in Kitchen Area . Basic Rate of tile = Rs. 900/- per Sqm exclusive of GST at site. | 90.00 | RMT | 0.00 | 450.00 | 47790.00 | 350.00 | 37170.00 | 200.00 | 21240.00 | 21240.00 | S.K. INDIA
18.00 | Glazed ceramic wall tiles: (i) Providing and fixing 1st quality Ceramic glazed designer’s wall tiles of approved make, in all colour, shades of any approved size in skirting, dado, etc. over a minimum 15 mm thick backing coat of plaster in Ready Mix Mortar, jointing with grey cement paste in proper line and leve including pointing in white cement mixed with pigment of matching shade, cleaning, etc. all complete as directed by the Bank`s Engineer. (Please refer unpriced schedule of quantities of tender for complete details) | 260.00 | SQ MT | 0.00 | 1600.00 | 490880.00 | 1300.00 | 398840.00 | 1800.00 | 552240.00 | 398840.00 | Deepak construction
19.00 | Providing and constructing L shaped granite Serving Counter as per the drawing and following sepecifications: i) Height of service counter till granite top shall be 750 mm from the floor tiles. (Please refer unpriced schedule of quantities of tender for complete details) | 3.00 | SQM | 0.00 | 11000.00 | 38940.00 | 10000.00 | 35400.00 | 8000.00 | 28320.00 | 28320.00 | S.K. INDIA
20.00 | TELEPHONE BLACK GRANITE WASH BASIN COUNTER : i) Providing and constructing wash basin counter as per the drawing in single piece of 16-20 mm thick Telephone Black granite stone 600 mm width(clear size) fixed over 25- 30 mm thick Black Cuddappa, sandwitch type construction laid over 20-25 mm thick bed ready mixed mortar of approved manufacturer, fixing in wall by making chases/zari upto 75 mm deep & filling with ready mixed mortar, joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, round moulding and polishing of edges to give high gloss finish, profile cutting in granite and cudappa of required size of Wash basin including making hole in granite/kuddappa stone (if required) to receive pillar cock for wash basin, etc. complete as directed by the Bank`s Engineer. (Please refer unpriced schedule of quantities of tender for complete details) | 3.50 | RMT | 0.00 | 8000.00 | 33040.00 | 1300.00 | 5369.00 | 5500.00 | 22715.00 | 5369.00 | Deepak construction
21.00 | WATER DISPENSER GRANITE COUNTER: i) Providing and constructing wash basin counter as per the drawing in single piece of 16-20 mm thick Telephone Black granite stone 600 mm width(clear size) fixed over 25- 30 mm thick Black Cuddappa, sandwitch type construction laid over 20-25 mm thick bed ready mixed mortar of approved manufacturer, fixing in wall by making chases/zari upto 75 mm deep & filling with ready mixed mortar, joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, round moulding and polishing of edges to give high gloss finish, profile cutting in granite and cudappa of required size of Wash basin including making hole in granite/kuddappa stone (if required) to receive pillar cock for wash basin, etc. complete as directed by the Bank`s Engineer. (Please refer unpriced schedule of quantities of tender for complete details) | 1.60 | RMT | 0.00 | 8000.00 | 15104.00 | 15000.00 | 28320.00 | 10000.00 | 18880.00 | 15104.00 | AMIT INTERIOR
22.00 | Used plates COUNTER : i) Providing and constructing used plates counter as per the drawing in single piece of 16-20 mm thick Telephone Black granite stone 600 mm width(clear size) fixed over 25- 30 mm thick Black Cuddappa, sandwitch type construction laid over 20-25 mm thick bed ready mixed mortar of approved manufacturer, fixing in wall by making chases/zari upto 75 mm deep & filling with ready mixed mortar, joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, round moulding and polishing of edges to give high gloss finish, profile cutting in granite and cudappa, etc. complete as directed by the Bank`s Engineer.. (Please refer unpriced schedule of quantities of tender for complete details) | 3.00 | RMT | 0.00 | 8000.00 | 28320.00 | 11000.00 | 38940.00 | 10000.00 | 35400.00 | 28320.00 | AMIT INTERIOR
23.00 | Providing and laying telephone black / Amba White / Cadburybrown / Ruby red / Ocean Brown granite stone of 18 to 20 mm thick for door frame/ dado/ window boxing etc. with grey cement paste including 15 mm thick backing coat cement plaster in ready mixed cement including filling joints with polymer base filler nosing/moulding the sharp edges wherever necessary, curing, etc. complete all as directed by the Bank`s Engineer. The door frame of granite shall be making by providing two stage constrcution of granite stones for fixing door shutter. Note: 1) Basic rate of Granite = ₹ 2800 /- per sqm exclusive of all taxes/GST 2) The quoted rate shall include the cost for extra thickness of backing plaster, if so required to get smooth and even surface as per site conditions. | 10.00 | SQM | 0.00 | 5500.00 | 64900.00 | 5000.00 | 59000.00 | 5000.00 | 59000.00 | 59000.00 | S.K. INDIA, Deepak construction
24.00 | Gypsum board plain ceiling: Providing and fixing plain 12.5 mm thick Gypsum board (PL) false ceiling at all height, including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc-aluminium coating of 150 gms/sqm (both side inclusive) at almost 3.0 to 3.5 meter height above the existing floor finish level, suspended from the existing RCC slab approximately 0.8 to 1.2 meter below the soffit level all as per the specifications of the approved manufacturer and consisting following : (Please refer unpriced schedule of quantities of tender for complete details) | 120.00 | SQ MT | 0.00 | 1185.00 | 167796.00 | 1900.00 | 269040.00 | 1200.00 | 169920.00 | 167796.00 | AMIT INTERIOR
25.00 | SUPPLY & INSTALLATION OF METAL BAFFLE CEILING: Supply of acoustic and fire retardant metal baffle ceiling formed out of 0.50 mm thick (TCT) Galvanized steel 100mm Height with 50mm Width (spacing 100mm between two panels) plain Galvanized Linear Baffle panel / U Shape panel open Metal false ceiling with electro statically powder coated together with necessary grid components Viz; GS 0.60mm thick Baffel Carrier – 2400mm, GS 0.50mm Thick Carrier Coupler, GS 0.50mm thick 100mm x 20mm S S White Edge Profile, GS 4mm dia Wire rod, GS 0.50 Baffel panel Coupler etc. complete all as per the requirement of the site. (Please refer unpriced schedule of quantities of tender for complete details) | 120.00 | SQM | 0.00 | 4350.00 | 615960.00 | 5000.00 | 708000.00 | 4200.00 | 594720.00 | 594720.00 | S.K. INDIA
26.00 | POP Punning: Providing and applying Plaster of Paris (POP) punning on prepared wall and ceiling surfaces to obtain a smooth, even, and finished surface suitable for painting or other specified finishes, complete in all respects, as shown on drawings or as directed by the Bank`s Engineer. (Please refer unpriced schedule of quantities of tender for complete details) | 730.00 | SQ MT | 0.00 | 120.00 | 103368.00 | 250.00 | 215350.00 | 75.00 | 64605.00 | 64605.00 | S.K. INDIA
27.00 | Acrylic(Plastic ) emusion paint: Providing and applying two or more coats of Premium quality 100% Acrylic emulsion paint over one coat of cement primer of approved make & shade on ceiling, walls, columns etc. in desired shades and finishes (roller/spray finish, etc. as per site requirements). Preparing the surface smooth by scraping, sand papering & filling the unevenness and undulations with putty , etc. complete all as directed by the Bank`s Engineer. Rate are inclusive for the cost of scaffolding, removal of debris out of Bank’s premises with all leads & lifts etc., all complete. | 730.00 | SQ MT | 0.00 | 210.00 | 180894.00 | 200.00 | 172280.00 | 200.00 | 172280.00 | 172280.00 | S.K. INDIA, Deepak construction
28.00 | Texture paint for columns: i) The surface to be painted shall be thoroughly cleaned to remove dirt, grease, loose particles, and old paint using wire brushes, sandpaper, or water jet cleaning. Any cracks or surface defects shall be repaired with a cement-based putty or exterior-grade filler, and the surface shall be leveled to ensure a smooth and uniform base. (Please refer unpriced schedule of quantities of tender for complete details) | 50.00 | SQ MT | 0.00 | 1300.00 | 76700.00 | 700.00 | 41300.00 | 700.00 | 41300.00 | 41300.00 | S.K. INDIA, Deepak construction
29.00 | Cashier Cabin:-Providing & Fixing partly glazed and partly opaque partition which includes aluminium framework of clear grid size 600mm X 600mm using aluminium hollow square section of size 50mm X 50mm X 1.6mm thick, single layer 12mm thick BWP plywood conforming to IS 710 screwed on both side on both side till 4 feet and finished with approved make 1mm thick decorative laminate and 10mm thick toughened safety glass on top. (Please refer unpriced schedule of quantities of tender for complete details) | 1.00 | Unit | 0.00 | 105000.00 | 123900.00 | 30000.00 | 35400.00 | 55000.00 | 64900.00 | 35400.00 | Deepak construction
30.00 | Cashier Desk: Providing & Making desk with storage and drawer with all necessary fittings and fixtures using 19mm thk BWP ply conforming with IS 710 for top and leg supports and finished with 1mm thick laminate with necessary adhesive, screws/nail, etc. all complete as per drawing and as directed by the Bank`s Engineer. Approx size of table -1.8m X 0.6m. Basic rate of laminate = ₹1350/Sq mt (Excluding GST) | 1.00 | Unit | 0.00 | 28000.00 | 33040.00 | 20000.00 | 23600.00 | 17000.00 | 20060.00 | 20060.00 | S.K. INDIA
31.00 | False Window- Providing and fixing custom wall-mounted faux architectural arched window light panels of approx size 2.3 SQM (Please refer unpriced schedule of quantities of tender for complete details) | 7.00 | Nos | 0.00 | 19000.00 | 156940.00 | 15000.00 | 123900.00 | 4000.00 | 33040.00 | 33040.00 | S.K. INDIA
32.00 | Canteen Main Door- Providing and fixing in position fully glazed aluminum door made up of extruded and anodised aluminium sections of approved make (Please refer unpriced schedule of quantities of tender for complete details) | 3.50 | SQ MT | 0.00 | 6500.00 | 26845.00 | 12000.00 | 49560.00 | 8000.00 | 33040.00 | 26845.00 | AMIT INTERIOR
33.00 | Flush Doors: Providing and fixing flush door shutters (Single or double) of 30 mm nominal thickness, constructed using a solid core as per IS:2202 (Part I) standards. (Please refer unpriced schedule of quantities of tender for complete details) | 5.00 | Sq Mt. | 0.00 | 11500.00 | 67850.00 | 7000.00 | 41300.00 | 7000.00 | 41300.00 | 41300.00 | S.K. INDIA, Deepak construction
34.00 | Wash Basin Partition: Providing & installing fully glazedaluminium partition partition as per drawing with Fluted /Tinted 10 mm thick Toughened Glass with the following specifications (Please refer unpriced schedule of quantities of tender for complete details) | 2.00 | Sq Mt. | 0.00 | 5500.00 | 12980.00 | 10000.00 | 23600.00 | 8000.00 | 18880.00 | 12980.00 | AMIT INTERIOR
35.00 | Wall Panelling:- Providing and making Wall Panelling using commerical plywood and finished in combinaton of laminate & fluted panels as per design (Please refer unpriced schedule of quantities of tender for complete details) | 1.00 | Job | 0.00 | 95000.00 | 112100.00 | 170000.00 | 200600.00 | 95000.00 | 112100.00 | 112100.00 | S.K. INDIA, AMIT INTERIOR
36.00 | Wall paper: Providing and pasting and fixing 100 % washable, scratch resistance, peel proof wallpaper of approved make, shade, design with suitable adhesive, etc. complete as directed by the Bank`s Engineer. The wall paper shall have a seamless finish with approved adhesive. Rate shall includes all wastage, handling, laying in pattern, primer, protecting till handing. Only finished area shall be measured and paid for. Basic rate of wall paper is Rs 1300 /- per Sqm excluding GST | 20.00 | Sq Mt. | 0.00 | 1800.00 | 42480.00 | 2000.00 | 47200.00 | 1600.00 | 37760.00 | 37760.00 | S.K. INDIA
37.00 | Dismantling Work:- Dismantling of existing Work mentioned below and carting away the unused dismantled materials, debris from the external area of C7 Building to the outside of the Banks premises through trucks / lorry etc. to the dumping yard / any other area designated by the local Municipal Corporation / Local Authority.Contractor should verify the actual qty of dismantling work before quoting their rates for the same. (Please refer unpriced schedule of quantities of tender for complete details) | 1.00 | Job | 0.00 | 110000.00 | 129800.00 | 50000.00 | 59000.00 | 70000.00 | 82600.00 | 59000.00 | Deepak construction
38.00 | Leveling, watering and compacting: Levelling the loose material of road base course in required gradient, watering road surface and compacting sub-base with suitable means, etc. complete all as directed by the Bank`s Engineer. Approximate area - 240 Sqm | 1.00 | Job | 0.00 | 45000.00 | 53100.00 | 30000.00 | 35400.00 | 30000.00 | 35400.00 | 35400.00 | S.K. INDIA, Deepak construction
39.00 | Concreting in RMC in M-20 grade: Providing and laying Ready-Mix (RMC), M-20 grade cement concrete from an approved plant for preparing base concrete surface of road with an average compacted thickness of 125 mm with required gradient / camber to ensure proper / easy drainage of water, etc. complete as directed by the Bank`s Engineers. (Please refer unpriced schedule of quantities of tender for complete details) | 30.00 | CUM | 0.00 | 8200.00 | 290280.00 | 9000.00 | 318600.00 | 7000.00 | 247800.00 | 247800.00 | S.K. INDIA
40.00 | Heavy duty outdoor vitrified tiles: Providing and laying Heavy duty outdoor vitrified tiles in pavement in size 400mm X 400mm mm or any other approved size (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to 15:15622, of approved brand & manufacturer, in all colours and shade, laid on 40 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments, etc. (Please refer unpriced schedule of quantities of tender for complete details) | 310.00 | Sqm | 0.00 | 1400.00 | 512120.00 | 1600.00 | 585280.00 | 1300.00 | 475540.00 | 475540.00 | S.K. INDIA
41.00 | Raising existing Chambers : Restrengthening and raising the height of existing old manhole/ chambers with first class well burnt clay bricks, incluing 15 mm thick readymix plaster to the newly raised/ constructed internal face of the manhole/ chambers in proper plumb line and level. The rate shall include the cost of all scaffolding, lead and lift, dismantling of old plaster surface to get new surface, etc complete all as directed by the Bank's Engineer. | 11.00 | Nos | 0.00 | 3000.00 | 38940.00 | 2000.00 | 25960.00 | 2000.00 | 25960.00 | 25960.00 | S.K. INDIA, Deepak construction
42.00 | Staircase/ ramp construction in brick: Providing and constructing Ramp in brick construction using locally available best quality bricks in cement mortar CM 1:4 ( Cement 1 : Sand 4) in required slope as per site condition, curing, cleaning, carting away debris out of Bank`s Premises, etc. complete all as directed by the Bank`s Engineer. | 15.00 | Cum | 0.00 | 7500.00 | 132750.00 | 7000.00 | 123900.00 | 9000.00 | 159300.00 | 123900.00 | Deepak construction
43.00 | Staircase/Ramp Top Layer In R.C.C: Providing and laying Cement Concrete of mix 1:1.5:3 (1 part Cement : 1.5 parts Sand : 3 parts Coarse Aggregate) in required thickness as per the required line and level, complete in all respects as directed by the Bank`s Engineer. (Please refer unpriced schedule of quantities of tender for complete details) | 3.00 | Cum | 0.00 | 8500.00 | 30090.00 | 7000.00 | 24780.00 | 8000.00 | 28320.00 | 24780.00 | Deepak construction
44.00 | Staircase/Ramp Steel reinforcement: Providing and placing in position 10 mm dia TMT bar @ spacing of 150 mm both ways at ground level including straightening, cutting, bending, necessary lap lenth, tieing with binding wires, etc. all complete as directed by the Bank`s Engineer. Necessary cover blocks need to be placed to hold the steel bar above concreting level at the time of concreting work. | 300.00 | Kg | 0.00 | 95.00 | 33630.00 | 80.00 | 28320.00 | 80.00 | 28320.00 | 28320.00 | S.K. INDIA, Deepak construction
45.00 | Single coat plaster to brick work: Providing and applying approx ave. 15 mm thickness cement plaster in a single coat using Ready Mix Mortar of approved make in level and finished smooth using appropriate tools to obtain even surface, suitable to receive subsequent finishes such as POP punning or paint. The plaster shall be applied over a well-prepared substrate that includes a base cement slurry coat, followed by a dash coat to ensure proper adhesion between the mortar and the masonry surface. The Ready Mix Mortar shall be mixed as per the manufacturer's instructions and applied in a uniform thickness. | 30.00 | Sqm | 0.00 | 550.00 | 19470.00 | 500.00 | 17700.00 | 500.00 | 17700.00 | 17700.00 | S.K. INDIA, Deepak construction
46.00 | Brick work for bund wall: Providing and constructing brick wall contruction of approximate height 40 cm around trees in half brick masonry construction using locally available best quality bricks in readymix mortar, providing and applying 15 mm thick readymix cement plaster on both faces of bund wall, curing, cleaning, etc. complete all as directed by the Bank`s Engineer. Rate shall also include of dismantling existing brick masonry bund wall and removing the debris out of Bank`s Premises and dumping at local municipal corporation approved dumping yard, etc. complete all as directed by the Bank`s Engineer. | 20.00 | Sqm | 0.00 | 1050.00 | 24780.00 | 800.00 | 18880.00 | 1300.00 | 30680.00 | 18880.00 | Deepak construction
47.00 | Decorative tiles for bund wall: Providing & fixing Ceramic decorative tiles of approved make over 12 mm (average) thick readymix cement plaster, laid with cement paste to bund wall, etc., complete as directed. Basic rate of tile is Rs. 800 /- per Sqm excluding GST at site. | 25.00 | Sqm | 0.00 | 1400.00 | 41300.00 | 1500.00 | 44250.00 | 1500.00 | 44250.00 | 41300.00 | AMIT INTERIOR
48.00 | Cladding tiles: Providing and laying high depth vitrified tiles in wall cladding in size 1200x600 mm or any other approved size (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to 15:15622, of approved brand & manufacturer, in all colours and shade, to be fixed on readymix mortar backing jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . fixing of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. i) Basic rate of vitrified tiles = ₹ 900/- per sqm | 120.00 | Sqm | 0.00 | 1525.00 | 215940.00 | 1700.00 | 240720.00 | 1500.00 | 212400.00 | 212400.00 | S.K. INDIA
49.00 | SS Handrails: The work shall include the supply, fabrication, and installation of stainless steel (SS) handrails, ensuring durability, structural stability, and a sleek, polished finish. (Please refer unpriced schedule of quantities of tender for complete details) | 250.00 | Kg | 0.00 | 450.00 | 132750.00 | 500.00 | 147500.00 | 600.00 | 177000.00 | 132750.00 | AMIT INTERIOR
50.00 | CANOPY :- Designing, providing and fixing tensile canopy structure with high-performance, PVC-coated polyester composite membrane fabric of minimum 650 GSM, ISI quality MS Tubular (CHS) hollow pipes. All fabrication Accessories of MS Plate Threaded J Bolt and other accessories will be as per the approved structural drawing specifications. Fabrication and fabric fitting work along with fabric patterning, detailing with High frequency welding & pocketing. Single coat of primer and 2 coat satin matt finish paint. Rate shall be inclusive of designing, structural vetting, scaffolding, fabrication, painting; all complete as directed by Bank's Engineer. | 175.00 | SQ MT | 0.00 | 5100.00 | 1053150.00 | 5200.00 | 1073800.00 | 5300.00 | 1094450.00 | 1053150.00 | AMIT INTERIOR
| Total in Figures |  |  |  |  | 6891554.00 |  | 6858809.00 |  | 6600920.00
Lowest Amount Quoted BY: S.K. INDIA(6600920.00)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation of staff canteen at RBI BKC Office Tender ID: 2026_RBI_289920_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | S.K. INDIA (BID ID -1078360) | 6600920.00 | L1
| 2 | Deepak construction (BID ID -1079081) | 6858809.00 | L2
| 3 | AMIT INTERIOR (BID ID -1078834) | 6891554.00 | L3