## BoQ1
Government eProcurement System Created By: Jithin Philip Created Date/Time: 14-Oct-2026 09:59 AM Tender Title: Renovation - Officer flat (E11) - Thamalam Tender ID: 2026_RBI_290013_1
Tender Inviting Authority: Estate Department, RBI, Thiruvananathapuram
Name of Work:Renovation of Officer flat (E-11) at Bank's Staff Quarters, Thamalam
Contract No: 2026_RBI_290013_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | B.SUBRAMONIAM AND COMPANY (GSTN-32AAEFB8068K1ZB) BID ID -1077187 |  | Engineers Associates (GSTN-NA) BID ID -1079493
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Cat (A) -Items to be supply and installation
1.01 | Carefully dismantling/ disengaging and removing the following items from interior area of flat (on Third floor - approx. carpet area of flat is 1100 Sqft). Details in tender document | 1.00 | Job | 0.00 | 105000.00 | 105000.00 | 65000.00 | 65000.00 | 65000.00 | Engineers Associates
1.02 | Providing and constructing 115 mm thick brick masonry for walls, closing the openings etc. where ever required, using best quality locally available bricks in CM 1:6, in correct plumb, line and level, providing proper key to the adjoining wall/ column/ flooring etc., placing 2 nos 6mm dia re bars in concrete encasement at every 4th course, raking the joints, necessary scaffolding, curing, cleaning, removal of debris if any outside the Bank's premises etc. all complete as directed by the Bank's Engineer. | 12.00 | Sqm | 0.00 | 1750.00 | 21000.00 | 1650.00 | 19800.00 | 19800.00 | Engineers Associates
1.03 | Cement plaster with smooth finish - Providing and rendering cement plaster of average thickness of 20 mm or above for new walls including plastering in patches, in C.M. 1:4 (01 port land cement : 04 M. sand) true to plumb and line over the existing / new walls to match with the adjoining plastering and finishing the same smoothly and neatly etc. The rates shall include necessary curing scaffolding, all leads and lifts, removal of debris etc., all complete as directed by the Bank’s Engineer | 10.00 | Sqm | 0.00 | 550.00 | 5500.00 | 450.00 | 4500.00 | 4500.00 | Engineers Associates
1.04 | Cement plaster with rough finish - Preparing the surface of the masonry / RCC walls by raking, watering and thorough cleaning using wire brush, broom, providing and applying average 20 to 25 mm thick cement plaster using CM 1:4 (comprising of a first coat of 12 mm thickness, and a second coat of 9 to 12mm thickness) using approved quality OPC and M. sand, true to plumb, level and line. The wall plaster shall have an even surface and shall be finished with recessed joints to receive the tile dado. The rate shall include for cutting, curing, labour, all leads and lifts, etc. required for the finished work, all as directed by the Bank’s Engineer. | 75.00 | Sqm | 0.00 | 550.00 | 41250.00 | 490.00 | 36750.00 | 36750.00 | Engineers Associates
1.05 | Water proofing to sunken area in washrooms and morie area of flat by engaging approved water proofing specialized firm as per their specifications but approved by the Bank which comprises thorough cleaning of the surfaces, applying water proof chemical coating and above which plastering with CM 1:3, 15 to 20 mm thick mixed with approved make polymer to the entire floor slab of sunken portion including on all the four sides up to 150mm above proposed floor level and testing for leakage by ponding of water etc. complete. The rate shall include for filling back of the sunken portion with the old surkhi/brick bat coba, providing additional surkhi / brick bat coba wherever necessary, providing and laying flooring on top of approx. 50 to 75mm thick with CC 1:2:4 using 20mm downgraded aggregates mixed with water proofing compound of approved make etc., all complete as directed by the Bank's Engineer. Approximate plan dimensions of washrooms to be treated is 1250mm x 1880mm - 2 Nos, 1150mm x 1880mm - 2nos and kitchen morie is 850 x 750mm. | 1.00 | Job | 0.00 | 24000.00 | 24000.00 | 12600.00 | 12600.00 | 12600.00 | Engineers Associates
1.06 | Supplying and laying concealed plumbing lines:- Providing, cutting, fixing, testing and commisioning concealed waterlines of 20mm diameter using C-PVC threaded pipe of SDR 11 including all the necessary specials like elbows, tees, couplings etc. All the concealed lines shall be properly fastened to the wall using GI clamps @maximum spacing of 450mm. Rate shall be inclusive of making necessary cutting and chasing on the walls to receive the plumbing lines, placing the plumbing line, properly packing using cement mortar admixed with waterproofing chemicals, pressure testing for leakage etc. Actual linear measurement shall be reckoned for payment purpose. | 35.00 | Rmtr | 0.00 | 600.00 | 21000.00 | 450.00 | 15750.00 | 15750.00 | Engineers Associates
1.07 | Providing and fixing PVC pipes of 50 mm diameters (minimum test/working pressure 6 kg/sq.cm) of approved quality and make, including all fittings, of the same manufacturer of the pipes or approved equivalent for the waste lines for toilet, bathroom, wash basin, washing machine and kitchen sink and fixing the pipes with clamps at 1 mtr spacing for concealed/external work including cutting chases in the wall/ floor for concealing the pipes, connecting to duct line/manhole, including fixing pipes with concrete blocks etc. complete. The rate shall inclusive of cutting, jointing of pipes with fittings and to the existing PVC pipes in the duct with solvent cement of approved quality, and making good the damages by necessary plastering, including testing of joints/ pipelines, etc. for leakage etc. all complete as directed by the Bank's Engineer. | 12.00 | Rmtr | 0.00 | 400.00 | 4800.00 | 395.00 | 4740.00 | 4740.00 | Engineers Associates
1.08 | All same as item 7 above, but for PVC pipes of 75mm dia | 5.00 | Rmtr | 0.00 | 500.00 | 2500.00 | 550.00 | 2750.00 | 2500.00 | B.SUBRAMONIAM AND COMPANY
1.09 | All same as item 7 above, but for PVC pipes of 110mm dia | 5.00 | Rmtr | 0.00 | 600.00 | 3000.00 | 750.00 | 3750.00 | 3000.00 | B.SUBRAMONIAM AND COMPANY
1.10 | Nahani Trap:- Providing, fixing and connecting approved quality and make PVC Nahani trap/ multi trap of 100x75mm dia outlet with a minimum water seal of 50mm to the waste water pipe line. Rate shall be inclusive of making trenches of minimum width 250mm and filling the sump using concrete 1:1.5:3 admixed with water proofing chemical, providing and fixing 125mm dia SS gratings etc. all as directed by the Bank's Engineer. | 6.00 | Nos | 0.00 | 600.00 | 3600.00 | 1200.00 | 7200.00 | 3600.00 | B.SUBRAMONIAM AND COMPANY
1.11 | Providing and laying screed concrete: Preparing the surface of the R.C.C floor slab by thorough cleaning and priming with cement slurry admixed with approved make and quality water proofing compounds, providing, mixing, laying, spreading, levelling and manually consolidating using hand rammers P.C.C 1:3:6 for an average thickness 40 to 50 mm using approved quality 12 mm and down size graded broken granite stone aggregates, approved quality M. sand and Portland cement of approved make, as screed layer in flooring. The surface of the screed laid as above shall be made rough using wire brushes or brooms. The work shall include necessary curing, disposing off and carting away the debris from the Bank's premises etc all complete as directed by the Bank's Engineer. | 6.00 | Cum | 0.00 | 10500.00 | 63000.00 | 8900.00 | 53400.00 | 53400.00 | Engineers Associates
1.12 | Vitrified tile flooring: Preparing the surface of the screed concrete layer / floor slab by thorough cleaning and priming with cement slurry to receive the new flooring, providing and laying flooring in the approved pattern, line, level etc., using 1200 mm x 600 mm or approved size polished vitrified tiles (antiskid tiles in balcony area) of approved make and shade over a bed of cement mortar prepared by hand mixing approved make Portland cement and approved quality M-sand in the ratio 1: 4, laid, spread and consolidated to get an average consolidated thickness of 20 mm. The tiles shall be set with a floating layer of grey cement slurry and using 3mm spacers, the joints shall be pointed with epoxy grouts of approved make and quality to match with the shade of the tiles. The rate shall include curing, cleaning of the finished work, all leads & lifts etc required for the finished work all as directed by the Bank’s Engineer. (Basic rate of tiles to be considered- Rs. 750/- per Sqm excluding GST. No carriage/ transportation will be considered for the basic rate adjustment. Only exposed finished area of work shall be measured and paid for. (Please refer clause 31 in General instructions of Tender Part-I for basic rate adjustment) | 105.00 | Sqm | 0.00 | 1650.00 | 173250.00 | 2000.00 | 210000.00 | 173250.00 | B.SUBRAMONIAM AND COMPANY
1.13 | Vitrified Skirting: Preparing the surface of the walls to receive the new skirting by watering and cleaning, providing and fixing 150 mm height skirting cut out of 1200 x 600 mm or approved size fully vitrified tiles of approved make and shade over a backing of CM 1: 4 (using approved quality M-sand and OPC) for the required thickness, true to plumb and line(only tile thickness shall be projected from the surface of wall) , set with grey cement paste and joint pointed with epoxy grouts of approved make and quality to match with the shade of the tile. The rate shall include machine grinding and buffing of the exposed edges / sharp corners, machine cutting, curing, cleaning of the finished work, all leads & lifts, etc required for the finished work all as directed by the Bank's Engineer. The rate shall also include repairs to the plaster damaged during dismantling (including new area to be made up due to difference in height of existing skirting and new skirting) and finishing of the skirting and making to match with the adjacent surfaces. (Basic price of tiles - Rs. 750/- per Sqm excluding taxes. No carriage/ transportation will be considered for the basic price adjustment). (Please refer clause 31 in General instructions of Tender Part-I for basic rate adjustment) | 14.00 | Sqm | 0.00 | 1700.00 | 23800.00 | 2350.00 | 32900.00 | 23800.00 | B.SUBRAMONIAM AND COMPANY
1.14 | Wall Dado tile work:- Details in tender document | 60.00 | Sqm | 0.00 | 1600.00 | 96000.00 | 1950.00 | 117000.00 | 96000.00 | B.SUBRAMONIAM AND COMPANY
1.15 | Anti skid flooring in washrooms - Details in tender document | 9.00 | Sqm | 0.00 | 1700.00 | 15300.00 | 1900.00 | 17100.00 | 15300.00 | B.SUBRAMONIAM AND COMPANY
1.16 | Granite sill/ soffit/ jambs for doors and windows: Details in tender document | 14.00 | Sqm | 0.00 | 4500.00 | 63000.00 | 5500.00 | 77000.00 | 63000.00 | B.SUBRAMONIAM AND COMPANY
1.17 | Aluminium doors for washrooms - Details in tender document | 3.00 | Nos | 0.00 | 14000.00 | 42000.00 | 12500.00 | 37500.00 | 37500.00 | Engineers Associates
1.18 | Aluminium ventilators for washrooms: Providing and fixing new ventilator of approx. size 600 mm x 850 mm made with powder coated aluminium frames of suitable sections and louver panels using 5 mm thick frosted glass fixed to the frame using cleats and beading and having a 8” square opening for fixing exhaust fan including providing additional frame work if necessary etc. all complete as directed by the Bank’s Engineer. All the corners and joints of the frame & sash shall be mitred cut & jointed well and the frame joints with wall/ ceiling etc. shall be properly sealed with silicon sealent etc. | 4.00 | No. | 0.00 | 6000.00 | 24000.00 | 5500.00 | 22000.00 | 22000.00 | Engineers Associates
1.19 | Aluminium sliding window for kitchen as per details mentioned in the tender document | 1.00 | No | 0.00 | 7500.00 | 7500.00 | 12000.00 | 12000.00 | 7500.00 | B.SUBRAMONIAM AND COMPANY
1.20 | Gypsum Board false ceiling as per details mentioned in the tender document | 12.00 | Sqm | 0.00 | 1500.00 | 18000.00 | 2000.00 | 24000.00 | 18000.00 | B.SUBRAMONIAM AND COMPANY
1.21 | Providing and fixing stepped POP cornice of approx. 100mm size of approved design/ pattern with adhesive/ POP, at junctions/ joints of wall and ceiling in perfect lines and levels, etc. including applying primer, putty and two coats of interior emulsion paint, finish neatly etc. all complete as directed by the Bank’s Engineer. | 30.00 | Rmtr | 0.00 | 300.00 | 9000.00 | 205.00 | 6150.00 | 6150.00 | Engineers Associates
1.22 | Wall hung wash Basin to be provided as per details mentioned in the tender document | 3.00 | Nos | 0.00 | 5500.00 | 16500.00 | 5500.00 | 16500.00 | 16500.00 | B.SUBRAMONIAM AND COMPANY, Engineers Associates
1.23 | Providing and making wash basin counter of approx. overall plan size 1200 mm x 600 mm as per the sketch enclosed and with the specifications mentioned in the tender document | 1.00 | No | 0.00 | 26000.00 | 26000.00 | 22000.00 | 22000.00 | 22000.00 | Engineers Associates
1.24 | Providing and fixing wall mounted water closet inside the master toilet, using elongated Wall hung closet bowl with cistern and seat cover, all of approved brand including cost of all accessories , connecting the same to the vertical stack with PVC pipe of suitable diameter charges for installation, transportation charges etc all complete as directed by the Bank's Engineer. Basic rate to be considered for EWC set (EWC+ Flush tank+ seat cover) is Rs 10,000/- excluding GST. (Please refer clause 31 in General instructions of Tender Part-I for basic rate adjustment) | 1.00 | No | 0.00 | 14000.00 | 14000.00 | 15800.00 | 15800.00 | 14000.00 | B.SUBRAMONIAM AND COMPANY
1.25 | Providing and fixing white, floor mounted EWC with seat cover and necessary P/S trap and connecting the same to the vertical stack with necessary PVC pipe of suitable diameter of approved quality, all as per the directions of the Banks Engineer. The P/S trap shall be set in water proof cement concrete and joints shall be made water tight and tested for the same. The rate shall also include for providing and fixing 10 litre capacity P.V.C dual flush tank with 15 MM P.V.C connection, 32 MM dia P.V.C flush pipe and all other accessories required and connecting the same to the EWC / water lines etc. as directed by the Banks Engineer. Basic rate to be considered for EWC + seat cover+ Flush tank is Rs 7500/- exclusive of GST(Please refer clause 31 in General instructions of Tender Part-I for basic rate adjustment) | 2.00 | Nos | 0.00 | 10850.00 | 21700.00 | 12500.00 | 25000.00 | 21700.00 | B.SUBRAMONIAM AND COMPANY
1.26 | Providing and fixing the following CP fittings of “Jaquar Continental” make for the flat as per details and specifications mentioned in the tender document | 1.00 | Job |  | 80000.00 | 80000.00 | 60000.00 | 60000.00 | 60000.00 | Engineers Associates
1.27 | Supplying and fixing bath room cabinets of (Medicine Chest) approved design with shelves, brush holders etc. made out of minimum 3 MM thick opaque acrylic sheets of approved colour (Basic rate – Rs. 2300 exclusive of GST)(Please refer clause 31 in General instructions of Tender Part-I for basic rate adjustment) | 2.00 | Nos |  | 3500.00 | 7000.00 | 2600.00 | 5200.00 | 5200.00 | Engineers Associates
1.28 | Providing and fixing 450 mm x 600 x 6 mm thick mirror of approved quality and make with necessary marine plywood backing, PVC frame work etc. all complete as directed by the Bank's Engineer. | 3.00 | Nos |  | 2500.00 | 7500.00 | 1500.00 | 4500.00 | 4500.00 | Engineers Associates
1.29 | Providing, making and installing new wardrobe in the opening available in bedroom area with approx. overall size 950mm wide x 580 mm deep x 2050 mm high, and shutters for the open area above the wardrobe having size 950mm x 400mm as per the attached sketch and with the specifications and details mentioned in the tender document | 2.00 | Nos |  | 42000.00 | 84000.00 | 29500.00 | 59000.00 | 59000.00 | Engineers Associates
1.30 | Providing, making and installing new wardrobe cum dressing table arrangement in bedroom area with approx. overall size 2100mm wide x 580 mm deep x 2100 mm high, and storage cabinet with shutters for the area above the wardrobe unit having size 3000mm x 750mm as per the attached sketch and with the specifications and details mentioned in the tender document | 2.00 | Nos |  | 100000.00 | 200000.00 | 55000.00 | 110000.00 | 110000.00 | Engineers Associates
1.31 | Providing, fabricating and installing wooden crockery unit at hall area having approx. dimensions 1200mm(L) x 400mm (W) x 2100mm (H) as per the sketch enclosed and with specifications and details mentioned in the tender document | 1.00 | No |  | 54000.00 | 54000.00 | 45000.00 | 45000.00 | 45000.00 | Engineers Associates
1.32 | TV Unit: Providing, fabricating and making TV unit at hall area having approx. elevation dimensions 1500mm (W) x 2100mm (H) as per the sketch enclosed and with specifications mentioned in the tender document | 1.00 | No |  | 50000.00 | 50000.00 | 25000.00 | 25000.00 | 25000.00 | Engineers Associates
1.33 | Providing, fabricating and installing shoe rack of approx size 1220mm (L) x 400mm(B) x 650mm (H) as per the attached sketch and with specifications mentioned in the tender document | 1.00 | No |  | 25000.00 | 25000.00 | 16200.00 | 16200.00 | 16200.00 | Engineers Associates
1.34 | Fabrication, supply and installation of modular kitchen unit as per the attached sketches and with specifications mentioned in the tender document | 1.00 | Job |  | 115000.00 | 115000.00 | 300000.00 | 300000.00 | 115000.00 | B.SUBRAMONIAM AND COMPANY
1.35 | Providing and fixing 25 mm dia heavy duty SS drapery rods for windows/ doors openings with brackets/ fixing arrangements and ornamental knobs of approved brand/ design etc. complete all as per specifications and as directed by Bank's Engineer. | 26.00 | Rmtr |  | 350.00 | 9100.00 | 300.00 | 7800.00 | 7800.00 | Engineers Associates
1.36 | Providing, fabricating and fixing openable/ removable type mosquito net panels for windows in flats with following specifications. Outer frames of 1.25" square pipe and shutter frames of overall size 25x15mm for each panels shall be made with approved quality and make aluminium extruded built up standard sections / appropriate Z sections and finished with powder coating of approved shade. The mesh panels shall be of approved make SS square mesh with powder coated finish in single piece fixed to the frame with EPDM rubber beading in approved methods etc. Each panel shall be provided with one intermediate horizontal frame of suitable size also. The Contractor shall produce samples for Bank’s approval before using the same in the work. Materials approved by the Bank shall only be used in the work. The rates shall be inclusive of providing necessary nylon hinges and locking arrangements for shutters, etc all complete as directed by the Bank's Engineer. | 18.00 | Sqm |  | 3500.00 | 63000.00 | 3000.00 | 54000.00 | 54000.00 | Engineers Associates
1.37 | Upgradation of main door with frame: Carefully removing the existing door shutter, hardware fittings etc., thoroughly scrapping and removing the paint finishes on the shutter and frame, providing and pasting 4 mm thick veneer of approved make and shade to the shutter panels and door frame by approved means, providing and fixing decorative teak wood beadings for the shutter panels and door frame etc. complete. The rate shall include for providing and applying required no. of coats of melamine spray polish (semi glossy polish) of approved shade and quality to the entire face of the modified door shutter and door frame, providing and fixing new hardware like SS matt finish hinges, heavy duty SS matt finish handles, aldrop, tower bolts etc. of required no. and size, verti bolt lock etc all complete as directed by the Bank’s Engineer. | 1.00 | Job |  | 6000.00 | 6000.00 | 9500.00 | 9500.00 | 6000.00 | B.SUBRAMONIAM AND COMPANY
1.38 | Carefully removing the existing door shutters from the frame, removing all the existing hardware fittings, carryout minor repairs, cutting the bottom of the shutters, if necessary to adjust the height suitable for new flooring, re-fixing the doors to the door frame with new SS matt finish hinges etc. The rate shall inclusive of providing and fixing new hardware like SS matt finish handles, aldrop, tower bolts etc. of required no. and size, etc all complete as directed by the Bank’s Engineer. Total no. of doors to be taken up for work in the flat is 7 Nos. | 7.00 | Nos |  | 4000.00 | 28000.00 | 6000.00 | 42000.00 | 28000.00 | B.SUBRAMONIAM AND COMPANY
1.39 | Repainting the entire interior area of flat(On Third Floor) by preparing the surface of the walls, ceiling and soffits or vertical sides of the beams, wood and metal surfaces, etc by scrapping, sand papering & dusting of loose paints/ paint flakes etc., providing and applying primer and paints as mentioned in the tender document | 1.00 | Job | 0.00 | 100000.00 | 100000.00 | 85000.00 | 85000.00 | 85000.00 | Engineers Associates
2.00 | Cat (B) - Buy Back Items
2.10 | Buy-Back (ie minus)Rebate for taking away the salvageable items removed and stacked under item 1 | 1.00 | Job | 0.00 | 5000.00 | -5000.00 | 10000.00 | -10000.00 | -10000.00 | Engineers Associates
| Total in Figures |  |  |  |  | 1668300.00 |  | 1674390.00
Lowest Amount Quoted BY: B.SUBRAMONIAM AND COMPANY(1668300.00)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation - Officer flat (E11) - Thamalam Tender ID: 2026_RBI_290013_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | B.SUBRAMONIAM AND COMPANY (BID ID -1077187) | 1668300.00 | L1
| 2 | Engineers Associates (BID ID -1079493) | 1674390.00 | L2