## BoQ1
eProcurement System Government of India Created By: Binanda Narzary Created Date/Time: 23-Oct-2026 12:15 PM Tender Title: Development of Aluminium Window Partition Grill works and Electrification works at Kanaklata Baruah Girls Hostel Lachit Borphukan Boys Hostel and Transit Mens Hostel 2 at HSS Building Tezpur University Campus Napaam Tezpur Assam Tender ID: 2026_TEZU_927164_1
Tender Inviting Authority: The Registrar, Tezpur University
Name of Work: Development of Aluminium Window, Partition, Grill works & Electrification works at Kanaklata Baruah Girl’s Hostel, Lachit Borphukan Boy’s Hostel and Transit Men’s Hostel-2 at HSS Building, Tezpur University Campus, Napaam, Tezpur, Assam
Contract No: TU/EC/CIVIL/515/2026-27 DATED 22.09.2026
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | BHHARUNDIA CONSTRUCTION (GSTN-NA) BID ID -3486563 |  | Axom Infratech and Project Pvt. Ltd (GSTN-NA) BID ID -3483319
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Civil Works at Kanaklata Baruah Girls Hostel, Lachit Borphukan Mens Hostel andTransit Mens Hostel -2
2.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge.In cement mortar | 5.64 | CuM | 2060.20 | 1500.00 | 8460.00 | 1854.18 | 10457.58 | 8460.00 | BHHARUNDIA CONSTRUCTION
3.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / panelling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-incharge. (Glazing, paneling and dash fasteners to be paid for separately)
3.10 | For fixed portion, Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 171.51 | Kg | 495.05 | 400.00 | 68604.00 | 445.54 | 76414.57 | 68604.00 | BHHARUNDIA CONSTRUCTION
3.20 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately), Powder coated aluminium (minimum thickness of powder coating 50 micron) | 114.08 | Kg | 598.60 | 600.00 | 68448.00 | 538.74 | 61459.46 | 61459.46 | Axom Infratech and Project Pvt. Ltd
4.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particleboard conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. Pre-laminated particle board with decorative lamination on both sides | 25.93 | SqM | 1115.40 | 1000.00 | 25930.00 | 1002.96 | 26006.75 | 25930.00 | BHHARUNDIA CONSTRUCTION
5.00 | Providing and fixing panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows (Area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled or panelled and glazed shutters 25 mm to 40 mm thick. Float glass panes, 4 mm thick glass pane (weight not less than 10 kg/sqm). | 35.20 | SqM | 2241.80 | 1800.00 | 63360.00 | 1002.96 | 35304.19 | 35304.19 | Axom Infratech and Project Pvt. Ltd
6.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 567.72 | Kg | 133.70 | 133.00 | 75506.76 | 120.33 | 68313.75 | 68313.75 | Axom Infratech and Project Pvt. Ltd
7.00 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 fine sand) | 155.90 | SqM | 347.05 | 350.00 | 54565.00 | 160.00 | 24944.00 | 24944.00 | Axom Infratech and Project Pvt. Ltd
8.00 | Wall painting with acrylic emulsion paint of approved brand andmanufacture to give an even shade, Two or more coats on new work | 576.00 | SqM | 137.85 | 130.00 | 74880.00 | 175.00 | 100800.00 | 74880.00 | BHHARUNDIA CONSTRUCTION
9.00 | Electrification Works in Kanaklata Baruah Girls Hostel and Lachit Borphukan Mens Hostel
10.00 | Supply and Fixing metal box of following sizes on surface or in recess with suitable size of phenolic laminated sheet cover. (250 x 200 x 100) mm deep | 32.00 | Each | 568.00 | 600.00 | 19200.00 | 200.00 | 6400.00 | 6400.00 | Axom Infratech and Project Pvt. Ltd
11.00 | Supply and Fixing following piano type switch/socket on the existing switch board including connection etc. as required.
11.10 | 5/6 Amps Switch | 128.00 | Each | 63.00 | 60.00 | 7680.00 | 220.00 | 28160.00 | 7680.00 | BHHARUNDIA CONSTRUCTION
11.20 | 5/6 Amps Socket | 32.00 | Each | 81.00 | 60.00 | 1920.00 | 201.00 | 6432.00 | 1920.00 | BHHARUNDIA CONSTRUCTION
12.00 | Wiring od circuit/submain wiring alongwith earth wire with the following sizes FRLS insulated copper conductor, single, single core cable in surface/recessed medium class PVC conduit as required. 2 x 1.5 Sq. mm + 1 x 1.5 Sq. mm earth wire | 50.00 | Mtr | 267.00 | 400.00 | 20000.00 | 225.00 | 11250.00 | 11250.00 | Axom Infratech and Project Pvt. Ltd
13.00 | Electrification Works in Transit Mens Hostel-2
14.00 | Supply and Fixing metal box of following sizes on surface or in recess with suitable size of phenolic laminated sheet cover. (200 x 150 x 75) mm deep | 15.00 | Each | 414.00 | 300.00 | 4500.00 | 411.00 | 6165.00 | 4500.00 | BHHARUNDIA CONSTRUCTION
15.00 | Supply and Fixing following piano type switch/socket on the existing switch board including connection etc. as required.
15.10 | 5/6 Amps Switch | 45.00 | Each | 63.00 | 60.00 | 2700.00 | 220.00 | 9900.00 | 2700.00 | BHHARUNDIA CONSTRUCTION
15.20 | 5/6 Amps Socket | 45.00 | Each | 81.00 | 60.00 | 2700.00 | 201.00 | 9045.00 | 2700.00 | BHHARUNDIA CONSTRUCTION
16.00 | Wiring od circuit/submain wiring alongwith earth wire with the following sizes FRLS insulated copper conductor, single, single core cable in surface/recessed medium class PVC conduit as required. 2 x 2.5 Sq. mm + 1 x 2.5 Sq. mm earth wire | 65.00 | Mtr | 311.00 | 400.00 | 26000.00 | 415.00 | 26975.00 | 26000.00 | BHHARUNDIA CONSTRUCTION
17.00 | Supply and Installation of 450 mm sweep metal blade wall mounting fan. | 8.00 | Each | 4557.00 | 2300.00 | 18400.00 | 3276.70 | 26213.60 | 18400.00 | BHHARUNDIA CONSTRUCTION
| Total in Figures |  |  |  |  | 542853.76 |  | 534240.90
Lowest Amount Quoted BY: Axom Infratech and Project Pvt. Ltd(534240.90)

## BOQ Summary
BOQ Summary Details Tender Title: Development of Aluminium Window Partition Grill works and Electrification works at Kanaklata Baruah Girls Hostel Lachit Borphukan Boys Hostel and Transit Mens Hostel 2 at HSS Building Tezpur University Campus Napaam Tezpur Assam Tender ID: 2026_TEZU_927164_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Axom Infratech and Project Pvt. Ltd (BID ID -3483319) | 534240.90 | L1
| 2 | BHHARUNDIA CONSTRUCTION (BID ID -3486563) | 542853.76 | L2