## BoQ1
eProcurement System Government of India Created By: PRAVEEN TATA Created Date/Time: 06-Oct-2026 09:59 AM Tender Title: HBCH/ENGG/MECH/MGPS/2026-27/06 Tender ID: 2026_TMC_927543_1
Tender Inviting Authority: Director, MPMMCC
Name of Work: Comprehensive Annual Maintenance Contract (CAMC) For Medical Gas Piping System at HBCH, Varanasi.
NIT NO: HBCH/ENGG/MECH/MGPS/2026-27/06 Dated- 24.09.2026
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AXIS INDIA MEDICAL SYSTEM (GSTN-NA) BID ID -3485812 |  | MS ENTERPRISES (GSTN-NA) BID ID -3485447 |  | MAHAVEER ENTERPRISES (GSTN-NA) BID ID -3485723
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Vaccum Pump Ingersoll Rand (IR) Basemounted, Model - VT, Cap -7.5 HP Motor Driver | 2.00 | Nos | 0.00 | 40525.00 | 81050.00 | 45000.00 | 90000.00 | 40600.00 | 81200.00 | 81050.00 | AXIS INDIA MEDICAL SYSTEM
2.00 | Air Compressor AnestIwata Motherson 5 HP Basemounted Motor Driver | 3.00 | Nos | 0.00 | 58900.00 | 176700.00 | 63750.00 | 191250.00 | 59000.00 | 177000.00 | 176700.00 | AXIS INDIA MEDICAL SYSTEM
3.00 | Conrtol Panel with Manifold Fully Automatic oxygen (O2) Control Panel ISO Certified Alarm with 6x6 cylinder Maniflod NRV Tail Pipe. | 2.00 | Nos | 0.00 | 16750.00 | 33500.00 | 18550.00 | 37100.00 | 17000.00 | 34000.00 | 33500.00 | AXIS INDIA MEDICAL SYSTEM
4.00 | Conrtol Panel with Manifold Fully Automatic oxygen (O2) Control Panel ISO Certified Alarm with 4x4 cylinder Maniflod NRV Tail Pipe. | 1.00 | Nos | 0.00 | 16750.00 | 16750.00 | 18500.00 | 18500.00 | 17000.00 | 17000.00 | 16750.00 | AXIS INDIA MEDICAL SYSTEM
5.00 | Cylinder Manifold 2 cylindr manifold with NRV Flexible Tail pipe. | 1.00 | Nos | 0.00 | 4000.00 | 4000.00 | 4500.00 | 4500.00 | 4050.00 | 4050.00 | 4000.00 | AXIS INDIA MEDICAL SYSTEM
6.00 | Control Panel with Manifold Semi Automatic N2O Control Panel with ISO Certified Alarm with 2x2 Cylinder Manifold NRV flexible Tail pipe. | 1.00 | Nos | 0.00 | 12900.00 | 12900.00 | 14200.00 | 14200.00 | 13000.00 | 13000.00 | 12900.00 | AXIS INDIA MEDICAL SYSTEM
7.00 | Emergency N2O service point with kit conversion. | 1.00 | Nos | 0.00 | 5150.00 | 5150.00 | 5800.00 | 5800.00 | 5200.00 | 5200.00 | 5150.00 | AXIS INDIA MEDICAL SYSTEM
8.00 | Three stage air filter with bypass line isolation valve | 1.00 | Nos | 0.00 | 27500.00 | 27500.00 | 30500.00 | 30500.00 | 27850.00 | 27850.00 | 27500.00 | AXIS INDIA MEDICAL SYSTEM
9.00 | Bacteria Filter domestic hunter line BSP Thread. | 1.00 | Nos | 0.00 | 12750.00 | 12750.00 | 15000.00 | 15000.00 | 12900.00 | 12900.00 | 12750.00 | AXIS INDIA MEDICAL SYSTEM
10.00 | Line pressure with safety valve | 2.00 | Nos | 0.00 | 12750.00 | 25500.00 | 15200.00 | 30400.00 | 12900.00 | 25800.00 | 25500.00 | AXIS INDIA MEDICAL SYSTEM
11.00 | Pressure control switch ( Air & Vaccum) | 2.00 | Nos | 0.00 | 15000.00 | 30000.00 | 17980.00 | 35960.00 | 15100.00 | 30200.00 | 30000.00 | AXIS INDIA MEDICAL SYSTEM
12.00 | Air Driver Refrigerator 20 CFM with pre filter & After filter | 2.00 | Nos | 0.00 | 17000.00 | 34000.00 | 19800.00 | 39600.00 | 17500.00 | 35000.00 | 34000.00 | AXIS INDIA MEDICAL SYSTEM
13.00 | Air Receiver 1000 LTS ( MS Tank Vertical ) | 2.00 | Nos | 0.00 | 4200.00 | 8400.00 | 5500.00 | 11000.00 | 4250.00 | 8500.00 | 8400.00 | AXIS INDIA MEDICAL SYSTEM
14.00 | Vaccum Receiver 1000 LTS ( MS Tank Vertical ) | 2.00 | Nos | 0.00 | 4200.00 | 8400.00 | 5550.00 | 11100.00 | 4250.00 | 8500.00 | 8400.00 | AXIS INDIA MEDICAL SYSTEM
15.00 | 4" Dail (0-14) 3/8" BSP Pressure Gauge. | 2.00 | Nos | 0.00 | 2700.00 | 5400.00 | 3500.00 | 7000.00 | 2700.00 | 5400.00 | 5400.00 | MAHAVEER ENTERPRISES, AXIS INDIA MEDICAL SYSTEM
16.00 | Oxygen (O2) Outlet | 247.00 | Nos | 0.00 | 800.00 | 197600.00 | 950.00 | 234650.00 | 805.00 | 198835.00 | 197600.00 | AXIS INDIA MEDICAL SYSTEM
17.00 | Vaccum Outlet | 214.00 | Nos | 0.00 | 800.00 | 171200.00 | 975.00 | 208650.00 | 805.00 | 172270.00 | 171200.00 | AXIS INDIA MEDICAL SYSTEM
18.00 | Medical Air Outlet | 54.00 | Nos | 0.00 | 800.00 | 43200.00 | 970.00 | 52380.00 | 805.00 | 43470.00 | 43200.00 | AXIS INDIA MEDICAL SYSTEM
19.00 | N2O Outlet | 11.00 | Nos | 0.00 | 800.00 | 8800.00 | 980.00 | 10780.00 | 805.00 | 8855.00 | 8800.00 | AXIS INDIA MEDICAL SYSTEM
20.00 | Air Compressor at BMW Make - Elgi, Cap - 1 HP, 45lts, Oil Based, Base Mounted. | 1.00 | Nos | 0.00 | 12250.00 | 12250.00 | 15500.00 | 15500.00 | 12200.00 | 12200.00 | 12200.00 | MAHAVEER ENTERPRISES
| Total in Figures |  |  |  |  | 915050.00 |  | 1063870.00 |  | 921230.00
Lowest Amount Quoted BY: AXIS INDIA MEDICAL SYSTEM(915050.00)

## BOQ Summary
BOQ Summary Details Tender Title: HBCH/ENGG/MECH/MGPS/2026-27/06 Tender ID: 2026_TMC_927543_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | AXIS INDIA MEDICAL SYSTEM (BID ID -3485812) | 915050.00 | L1
| 2 | MAHAVEER ENTERPRISES (BID ID -3485723) | 921230.00 | L2
| 3 | MS ENTERPRISES (BID ID -3485447) | 1063870.00 | L3