## BoQ1
eProcurement System Government of India Created By: RAMESH NAMDEV POL RAMESH NAMDEV POL Created Date/Time: 09-Oct-2026 03:37 PM Tender Title: Augmentation of State-Of-The-Art IP Based Surveillance System, TMH Complex Electronic Surveillance System CCTV, TMH, Parel, Mumbai Tender ID: 2026_TMC_927980_1
Tender Inviting Authority: Officer-in-Charge, Engineering, TMC on behalf of Director, TMC
Name of Work: Augmentation of State-Of-The-Art IP Based Surveillance System, TMH Complex (Electronic Surveillance System (CCTV)), TMH, Parel, Mumbai
NIT No.: TMC/ENG/Elect/Augmentation/CCTV/26-27/e-NIT/17 dated 28/09/2026
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Ascent Networks Pvt. Ltd. (GSTN-27AAACB0666L1ZM) BID ID -3487730
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SITC of IP Dome Camera 1/3” Progressive scan CMOS with 3 mm Fixed Lens or wider, 1920 x1080P or Better and Camera Resolution can be Configurable in all Standard Resolutions, S/N Ratio > 55dB, Shutter speed Auto/Manual, 1/25s to 1/30000 or better, 0.2Lux @ F2 (Color), ONVIFS & G Profile, Zero Lux IR On @ F2 or Better, True WDR 120bd, IR Distance 20 Mtrs, 3 independent streams can be configure to MJPEG, h.265 etc, CBR and VBR Support - 64Kbps to 35 Mbps, Minimum 102° of horizontal view , The proposed camera OEM should have a valid H.265 HEVC Certificate and should be listed on HEVC website, IP 66 and IK10 protection , shall have . Certificate - STQC/UL, CE, FCC, ROhS. | 60.00 | Nos | 10.00 | 20762.71 | 1245762.60 | 1245762.60 | Ascent Networks Pvt. Ltd.
2.00 | Server Hardware for Streaming service which can stream live video for recording and viewing , which support N+1 redundancy to catter 110 camera swith latest HD resolution Viewing and Recording , Minimum 10 Core Intel® Xeon, Chipset Intel® C610 Series Chipset or latest suggested by OEM, Memory 16GB, HDD Disk Set SSD 600 GB - 2 Nos with RAID 1 for OS and Application, Additional 8TB 7200RMP SATA HDD, Dual 2Gbps NIC Card, WINDOWS Server 2019. As per technical specification | 1.00 | Set | 10.00 | 1093220.34 | 1093220.34 | 1093220.34 | Ascent Networks Pvt. Ltd.
3.00 | SITC of SAN Storage System with RAID 5, 10K RPM SAS/NL-SAS/SATA disk to achieve minimum 67 TB usable storage to record aditional 60 Nos. IP CCTV camera countinue recording or as per recodring defination mentioned in tender, Seamless integration with existing HP make 450 TB SAN with required switch/hardware, software including all. | 1.00 | Set | 10.00 | 1144067.80 | 1144067.80 | 1144067.80 | Ascent Networks Pvt. Ltd.
4.00 | SITC of Client Machine - i7, 3 GHz or better, SSD 600 GB and 12 TB SATA HDD with 7.2KRPM, 16 GB RAM, 4GB NVIDIA Graphics Card,Windows 10 proffessional or latest, with screen ,mouse ,keyboard | 1.00 | Set | 10.00 | 233050.85 | 233050.85 | 233050.85 | Ascent Networks Pvt. Ltd.
5.00 | SITC of 55 Inch HD LED Display for 24*7 operation certified by OEM with wall mounted stand in all respect. | 1.00 | Set | 10.00 | 64449.15 | 64449.15 | 64449.15 | Ascent Networks Pvt. Ltd.
6.00 | SITC of 32 Inch HD LED Display for 24*7 operation certified by OEM with wall mounted stand in all respect. | 1.00 | Set | 10.00 | 28644.07 | 28644.07 | 28644.07 | Ascent Networks Pvt. Ltd.
7.00 | SITC of 28 port L2/L3 Managed POE Switch as per Specification mentioned in tender | 4.00 | Nos | 10.00 | 148305.08 | 593220.32 | 593220.32 | Ascent Networks Pvt. Ltd.
8.00 | SITC of SITC of SC-SC / SC-LC DUPLEX SM Fiber Patch Cord - 3 meter, Make - Commscope | 30.00 | Nos | 10.00 | 1271.19 | 38135.70 | 38135.70 | Ascent Networks Pvt. Ltd.
9.00 | SITC of UTP CAT 6 Cable, FRPVC through rigid PVC conduit, Cable Colour -Blue | 3000.00 | Mtrs | 10.00 | 93.22 | 279660.00 | 279660.00 | Ascent Networks Pvt. Ltd.
10.00 | SITC of 6 Core Single mode ,uitube single sheathed ,armored 9/125 um,Fiber optic cable , Saddle work after 1mtr length on wall/ ceiling | 300.00 | Mtrs | 10.00 | 100.85 | 30255.00 | 30255.00 | Ascent Networks Pvt. Ltd.
11.00 | Supply, Installation, Testing & commissioning of 3 core x 1.5 sq.mm, armored Power cable with GI saddle on wall/ceiling | 100.00 | Mtrs | 10.00 | 177.97 | 17797.00 | 17797.00 | Ascent Networks Pvt. Ltd.
12.00 | Supply ,installation of 25 mm dia,2mm thick ,ISI marked rigid PCV MMS conduit with required accessories,Colour- Grey | 1000.00 | Mtrs | 10.00 | 80.51 | 80510.00 | 80510.00 | Ascent Networks Pvt. Ltd.
13.00 | 1st Year of CAMC after DLP period of 1 year | 1.00 | Year | 10.00 | 33898.31 | 33898.31 | 33898.31 | Ascent Networks Pvt. Ltd.
14.00 | 2nd Year of CAMC | 1.00 | Year | 10.00 | 33898.31 | 33898.31 | 33898.31 | Ascent Networks Pvt. Ltd.
15.00 | 3rd Year of CAMC | 1.00 | Year | 10.00 | 33898.31 | 33898.31 | 33898.31 | Ascent Networks Pvt. Ltd.
| Total in Figures |  |  |  |  | 4950467.76
Lowest Amount Quoted BY: Ascent Networks Pvt. Ltd.(4950467.76)

## BOQ Summary
BOQ Summary Details Tender Title: Augmentation of State-Of-The-Art IP Based Surveillance System, TMH Complex Electronic Surveillance System CCTV, TMH, Parel, Mumbai Tender ID: 2026_TMC_927980_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Ascent Networks Pvt. Ltd. (BID ID -3487730) | 4950467.76 | L1