## BoQ1
eProcurement System Government of India Created By: RAMESH NAMDEV POL RAMESH NAMDEV POL Created Date/Time: 16-Oct-2026 03:48 PM Tender Title: Cleaning of Water Tanks in TMH premises Tender ID: 2026_TMC_928861_1
Tender Inviting Authority : Officer In-Charge, Engineering, TMC on behalf of Director, TMC
Name of Work : Cleaning of Water Tanks in TMH premises
NIT No.: TMC/ENG/Civil/WaterTankCleaning/26-27/e-NIT/24 dated 05/10/2026
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AQUARIUS (GSTN-NA) BID ID -3490940
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Cleaning of UG fire fighting, UG domestic tank, UG flushing tank, OH fire fighting tank, OH domestic tank, OH flushing tank at TATA MEMORIAL HOSPITAL,Parel including disposal of slit and rubbish, all as per direction of Engineer-in-Charge. i) Tank shall be emptied of water by pumping & bottom shall be cleaned of slit and other depotis. ii) Entire surface area of the sump shall then scrubbed thoroughly with wire brush etc. and pressure washed with potable water. iii) Chlorination of RCC internal surface by liquid chlorine iv) The treated surface shall be dried using air jetting and all loose particles shall be removal from the surface. v) Finally the surface shall be treated with ultaviolet radiation etc. as per direction of Engineer-in-Charge vi) After cleaning of water tank take fresh sample of water through tank and sent it to MCGM/NABL approved Lab for testing purpose and report submit it department. All safety Gadgets like safety belts, special safety ladder, helmets heavy duty gum boots, electric safety gloves and special working gloves, safety goggles masks, aprons etc. for complete security and safe operation be used by well trained operators. Storage and cleaning equipment like scrubbers/wipers, storage drums, sludge collection and cisterns etc. must be integral part of system. Note :- Payment will be made after cleaning and submission of water test report all thr mentioned tanks in the premises.
1.00 | TMH BLDG. - OH Tank (1,64,000 litrs) - 3 parts | 1.00 | Round | 100.00 | 11950.00 | 11950.00 | 11950.00 | AQUARIUS
1.00 | TMH BLDG. - OH Tanks (64,000 litrs) - 2 parts each | 1.00 | Round | 100.00 | 4660.00 | 4660.00 | 4660.00 | AQUARIUS
1.00 | SERVICE BLOCK - OH Tank (1,50,000 litrs) 3 parts | 1.00 | Round | 10.00 | 10930.00 | 10930.00 | 10930.00 | AQUARIUS
1.00 | ANNEX BLDG. - U.G. Tank (around 2,15,000 ltrs) | 1.00 | Round | 10.00 | 15660.00 | 15660.00 | 15660.00 | AQUARIUS
1.00 | ANNEX BLDG. - Fire Tank (around 2,00,000ltrs) | 1.00 | Round | 10.00 | 14570.00 | 14570.00 | 14570.00 | AQUARIUS
1.01 | ANNEX BLDG. - OH Tank (around 3,20,000 ltrs) 3 parts | 1.00 | Round | 10.00 | 23310.00 | 23310.00 | 23310.00 | AQUARIUS
1.01 | GJB - UG Tank (around 2,83,000 ltrs) | 1.00 | Round | 10.00 | 20610.00 | 20610.00 | 20610.00 | AQUARIUS
1.01 | GJB - Fire tank (around 60,000 ltrs) | 1.00 | Round | 10.00 | 4370.00 | 4370.00 | 4370.00 | AQUARIUS
1.01 | GJB - OH Tank 2 Nos (2,00,000 ltrs) 3 parts each | 1.00 | Round | 10.00 | 14570.00 | 14570.00 | 14570.00 | AQUARIUS
1.01 | HBB - Fire Tank 2 parts @ 4,00,000 ltrs | 1.00 | Round | 10.00 | 29150.00 | 29150.00 | 29150.00 | AQUARIUS
1.01 | HBB - Domestic Tank 2 parts @ 4,00,000 ltrs | 1.00 | Round | 10.00 | 29150.00 | 29150.00 | 29150.00 | AQUARIUS
1.01 | HBB - OH Tank 2 @ 60,000 ltrs | 1.00 | Round | 10.00 | 4370.00 | 4370.00 | 4370.00 | AQUARIUS
1.01 | Water testing as mention above | 1.00 | Round | 10.00 | 35160.00 | 35160.00 | 35160.00 | AQUARIUS
| Total in Figures |  |  |  |  | 218460.00
Lowest Amount Quoted BY: AQUARIUS(218460.00)

## BOQ Summary
BOQ Summary Details Tender Title: Cleaning of Water Tanks in TMH premises Tender ID: 2026_TMC_928861_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | AQUARIUS (BID ID -3490940) | 218460.00 | L1